## Spectrum
Bruker Nano Berlin, Germany |  |  | 10/8/2019
Esprit
Spectrum: | mordenite_polished_coatedside.xlsx
Date: | 10/8/2019
Primary energy: |  | 20 | keV
Tilt angle: |  | 0 | °
Take off angle: |  | 35 | °
Azimut angle: |  | 45 | °
Real time: |  | 314496 | ms
Life time: |  | 312600 | ms
Detector type: |  | XFlash 6¦60
Si dead layer: |  | 0.029 | µm
Detector thickness: |  | 0.45 | mm
Window type: |  | slew AP3.3
Fano factor: |  | 0.11107
Mn FWHM: |  | 125.3217 | eV
Calibration, lin.: |  | 10 | eV
Calibration, abs.: |  | -949.9 | eV
Channels: |  | 2087
Channel | Energy | Counts | CPS
0 | -0.9499 | 0 | 0
1 | -0.9399 | 0 | 0
2 | -0.9299 | 0 | 0
3 | -0.9199 | 0 | 0
4 | -0.9099 | 0 | 0
5 | -0.8999 | 0 | 0
6 | -0.8899 | 0 | 0
7 | -0.8799 | 0 | 0
8 | -0.8699 | 0 | 0
9 | -0.8599 | 0 | 0
10 | -0.8499 | 0 | 0
11 | -0.8399 | 0 | 0
12 | -0.8299 | 0 | 0
13 | -0.8199 | 0 | 0
14 | -0.8099 | 0 | 0
15 | -0.7999 | 0 | 0
16 | -0.7899 | 0 | 0
17 | -0.7799 | 0 | 0
18 | -0.7699 | 0 | 0
19 | -0.7599 | 0 | 0
20 | -0.7499 | 0 | 0
21 | -0.7399 | 0 | 0
22 | -0.7299 | 0 | 0
23 | -0.7199 | 0 | 0
24 | -0.7099 | 0 | 0
25 | -0.6999 | 0 | 0
26 | -0.6899 | 0 | 0
27 | -0.6799 | 0 | 0
28 | -0.6699 | 0 | 0
29 | -0.6599 | 0 | 0
30 | -0.6499 | 0 | 0
31 | -0.6399 | 0 | 0
32 | -0.6299 | 0 | 0
33 | -0.6199 | 0 | 0
34 | -0.6099 | 0 | 0
35 | -0.5999 | 0 | 0
36 | -0.5899 | 0 | 0
37 | -0.5799 | 0 | 0
38 | -0.5699 | 0 | 0
39 | -0.5599 | 0 | 0
40 | -0.5499 | 0 | 0
41 | -0.5399 | 0 | 0
42 | -0.5299 | 0 | 0
43 | -0.5199 | 0 | 0
44 | -0.5099 | 0 | 0
45 | -0.4999 | 0 | 0
46 | -0.4899 | 0 | 0
47 | -0.4799 | 0 | 0
48 | -0.4699 | 0 | 0
49 | -0.4599 | 0 | 0
50 | -0.4499 | 0 | 0
51 | -0.4399 | 0 | 0
52 | -0.4299 | 0 | 0
53 | -0.4199 | 0 | 0
54 | -0.4099 | 0 | 0
55 | -0.3999 | 0 | 0
56 | -0.3899 | 0 | 0
57 | -0.3799 | 0 | 0
58 | -0.3699 | 0 | 0
59 | -0.3599 | 0 | 0
60 | -0.3499 | 0 | 0
61 | -0.3399 | 0 | 0
62 | -0.3299 | 0 | 0
63 | -0.3199 | 0 | 0
64 | -0.3099 | 0 | 0
65 | -0.2999 | 0 | 0
66 | -0.2899 | 0 | 0
67 | -0.2799 | 0 | 0
68 | -0.2699 | 0 | 0
69 | -0.2599 | 0 | 0
70 | -0.2499 | 0 | 0
71 | -0.2399 | 0 | 0
72 | -0.2299 | 0 | 0
73 | -0.2199 | 0 | 0
74 | -0.2099 | 0 | 0
75 | -0.1999 | 0 | 0
76 | -0.1899 | 0 | 0
77 | -0.1799 | 0 | 0
78 | -0.1699 | 0 | 0
79 | -0.1599 | 0 | 0
80 | -0.1499 | 0 | 0
81 | -0.1399 | 0 | 0
82 | -0.1299 | 1 | 0.0031797
83 | -0.1199 | 1 | 0.0031797
84 | -0.1099 | 1 | 0.0031797
85 | -0.0999 | 4 | 0.012719
86 | -0.0899 | 0 | 0
87 | -0.0799 | 3 | 0.0095391
88 | -0.0699 | 3 | 0.0095391
89 | -0.0599 | 30 | 0.095391
90 | -0.0499 | 242 | 0.76949
91 | -0.0399 | 1800 | 5.7234
92 | -0.0299 | 8136 | 25.87
93 | -0.0199 | 24784 | 78.8055
94 | -0.0099 | 50666 | 161.1022
95 | 0.0001 | 70718 | 224.8614
96 | 0.0101 | 69678 | 221.5545
97 | 0.0201 | 48921 | 155.5536
98 | 0.0301 | 24708 | 78.5638
99 | 0.0401 | 9039 | 28.7412
100 | 0.0501 | 2523 | 8.0224
101 | 0.0601 | 494 | 1.5708
102 | 0.0701 | 83 | 0.26391
103 | 0.0801 | 11 | 0.034977
104 | 0.0901 | 4 | 0.012719
105 | 0.1001 | 112.835 | 0.35878
106 | 0.1101 | 179.1976 | 0.56979
107 | 0.1201 | 96.0821 | 0.30551
108 | 0.1301 | 46.1868 | 0.14686
109 | 0.1401 | 30.2693 | 0.096247
110 | 0.1501 | 19.4178 | 0.061742
111 | 0.1601 | 21.5224 | 0.068435
112 | 0.1701 | 21.2908 | 0.067698
113 | 0.1801 | 15.4783 | 0.049216
114 | 0.1901 | 23.737 | 0.075476
115 | 0.2001 | 37.4778 | 0.11917
116 | 0.2101 | 54.5534 | 0.17346
117 | 0.2201 | 62.5915 | 0.19902
118 | 0.2301 | 126.91 | 0.40353
119 | 0.2401 | 259.9225 | 0.82647
120 | 0.2501 | 507.0615 | 1.6123
121 | 0.2601 | 860.5892 | 2.7364
122 | 0.2701 | 1209.1402 | 3.8447
123 | 0.2801 | 1425.3468 | 4.5322
124 | 0.2901 | 1371.2749 | 4.3602
125 | 0.3001 | 950.1658 | 3.0212
126 | 0.3101 | 597.5514 | 1.9
127 | 0.3201 | 312.3567 | 0.9932
128 | 0.3301 | 151.4302 | 0.4815
129 | 0.3401 | 75.4723 | 0.23998
130 | 0.3501 | 29.1045 | 0.092543
131 | 0.3601 | 16.4984 | 0.05246
132 | 0.3701 | 35.8273 | 0.11392
133 | 0.3801 | 37.5429 | 0.11937
134 | 0.3901 | 48.9375 | 0.15561
135 | 0.4001 | 43.3049 | 0.1377
136 | 0.4101 | 36.0814 | 0.11473
137 | 0.4201 | 30.0181 | 0.095448
138 | 0.4301 | 46.6476 | 0.14832
139 | 0.4401 | 56.0051 | 0.17808
140 | 0.4501 | 75.0158 | 0.23853
141 | 0.4601 | 131.8079 | 0.41911
142 | 0.4701 | 221.2567 | 0.70353
143 | 0.4801 | 476.364 | 1.5147
144 | 0.4901 | 961.4614 | 3.0571
145 | 0.5001 | 1801.2467 | 5.7274
146 | 0.5101 | 2830.6667 | 9.0006
147 | 0.5201 | 3684.0186 | 11.714
148 | 0.5301 | 4048.0873 | 12.8717
149 | 0.5401 | 3587.0896 | 11.4058
150 | 0.5501 | 2852.8607 | 9.0712
151 | 0.5601 | 1688.1492 | 5.3678
152 | 0.5701 | 917.7811 | 2.9183
153 | 0.5801 | 454.0444 | 1.4437
154 | 0.5901 | 162.9684 | 0.51819
155 | 0.6001 | 79.09 | 0.25148
156 | 0.6101 | 52.2355 | 0.16609
157 | 0.6201 | 35.5004 | 0.11288
158 | 0.6301 | 33.5024 | 0.10653
159 | 0.6401 | 33.5032 | 0.10653
160 | 0.6501 | 42.227 | 0.13427
161 | 0.6601 | 42.274 | 0.13442
162 | 0.6701 | 45.8012 | 0.14563
163 | 0.6801 | 59.1227 | 0.18799
164 | 0.6901 | 46.669 | 0.14839
165 | 0.7001 | 53.8998 | 0.17138
166 | 0.7101 | 61.7356 | 0.1963
167 | 0.7201 | 57.2507 | 0.18204
168 | 0.7301 | 70.6179 | 0.22454
169 | 0.7401 | 57.5621 | 0.18303
170 | 0.7501 | 56.2943 | 0.179
171 | 0.7601 | 53.7032 | 0.17076
172 | 0.7701 | 54.5157 | 0.17334
173 | 0.7801 | 62.6692 | 0.19927
174 | 0.7901 | 51.2612 | 0.16299
175 | 0.8001 | 62.3127 | 0.19814
176 | 0.8101 | 66.4422 | 0.21127
177 | 0.8201 | 67.2052 | 0.21369
178 | 0.8301 | 74.0947 | 0.2356
179 | 0.8401 | 72.0368 | 0.22905
180 | 0.8501 | 81.1699 | 0.2581
181 | 0.8601 | 61.5978 | 0.19586
182 | 0.8701 | 73.5896 | 0.23399
183 | 0.8801 | 91.8848 | 0.29217
184 | 0.8901 | 84.2032 | 0.26774
185 | 0.9001 | 78.3531 | 0.24914
186 | 0.9101 | 81.6155 | 0.25951
187 | 0.9201 | 84.7193 | 0.26938
188 | 0.9301 | 77.6349 | 0.24686
189 | 0.9401 | 79.2994 | 0.25215
190 | 0.9501 | 104.9887 | 0.33383
191 | 0.9601 | 95.4893 | 0.30363
192 | 0.9701 | 82.336 | 0.2618
193 | 0.9801 | 107.4529 | 0.34167
194 | 0.9901 | 144.2777 | 0.45876
195 | 1.0001 | 145.9619 | 0.46411
196 | 1.0101 | 188.7012 | 0.60001
197 | 1.0201 | 215.7649 | 0.68607
198 | 1.0301 | 309.7563 | 0.98493
199 | 1.0401 | 307.7742 | 0.97863
200 | 1.0501 | 329.2202 | 1.0468
201 | 1.0601 | 306.0577 | 0.97317
202 | 1.0701 | 242.6371 | 0.77151
203 | 1.0801 | 240.4808 | 0.76465
204 | 1.0901 | 201.676 | 0.64127
205 | 1.1001 | 170.3235 | 0.54158
206 | 1.1101 | 140.2158 | 0.44584
207 | 1.1201 | 128.5163 | 0.40864
208 | 1.1301 | 130.8036 | 0.41592
209 | 1.1401 | 113.7851 | 0.3618
210 | 1.1501 | 145.1072 | 0.4614
211 | 1.1601 | 134.4431 | 0.42749
212 | 1.1701 | 137.0789 | 0.43587
213 | 1.1801 | 149.1181 | 0.47415
214 | 1.1901 | 173.5803 | 0.55193
215 | 1.2001 | 188.2793 | 0.59867
216 | 1.2101 | 185.9807 | 0.59136
217 | 1.2201 | 189.8744 | 0.60374
218 | 1.2301 | 262.0848 | 0.83335
219 | 1.2401 | 297.048 | 0.94452
220 | 1.2501 | 326.597 | 1.0385
221 | 1.2601 | 355.1742 | 1.1293
222 | 1.2701 | 351.2027 | 1.1167
223 | 1.2801 | 296.8994 | 0.94405
224 | 1.2901 | 261.2159 | 0.83059
225 | 1.3001 | 234.8872 | 0.74687
226 | 1.3101 | 215.1906 | 0.68424
227 | 1.3201 | 215.5641 | 0.68543
228 | 1.3301 | 199.4373 | 0.63415
229 | 1.3401 | 172.5272 | 0.54858
230 | 1.3501 | 164.8766 | 0.52426
231 | 1.3601 | 180.2757 | 0.57322
232 | 1.3701 | 187.9313 | 0.59756
233 | 1.3801 | 182.8817 | 0.58151
234 | 1.3901 | 166.3494 | 0.52894
235 | 1.4001 | 185.0974 | 0.58855
236 | 1.4101 | 246.7214 | 0.7845
237 | 1.4201 | 310.7564 | 0.98811
238 | 1.4301 | 455.6773 | 1.4489
239 | 1.4401 | 652.7994 | 2.0757
240 | 1.4501 | 1004.4494 | 3.1938
241 | 1.4601 | 1423.7193 | 4.527
242 | 1.4701 | 1892.6653 | 6.0181
243 | 1.4801 | 2364.9008 | 7.5197
244 | 1.4901 | 2469.833 | 7.8533
245 | 1.5001 | 2510.4706 | 7.9825
246 | 1.5101 | 2266.5004 | 7.2068
247 | 1.5201 | 1802.3763 | 5.731
248 | 1.5301 | 1423.8634 | 4.5274
249 | 1.5401 | 1044.376 | 3.3208
250 | 1.5501 | 693.9039 | 2.2064
251 | 1.5601 | 523.0375 | 1.6631
252 | 1.5701 | 408.1673 | 1.2978
253 | 1.5801 | 316.1226 | 1.0052
254 | 1.5901 | 270.2821 | 0.85941
255 | 1.6001 | 246.697 | 0.78442
256 | 1.6101 | 212.2433 | 0.67487
257 | 1.6201 | 214.2176 | 0.68115
258 | 1.6301 | 221.0182 | 0.70277
259 | 1.6401 | 246.333 | 0.78326
260 | 1.6501 | 321.2461 | 1.0215
261 | 1.6601 | 527.3377 | 1.6768
262 | 1.6701 | 950.9262 | 3.0237
263 | 1.6801 | 1804.8824 | 5.739
264 | 1.6901 | 3073.5038 | 9.7728
265 | 1.7001 | 4881.5916 | 15.522
266 | 1.7101 | 7265.5334 | 23.1021
267 | 1.7201 | 9784.5161 | 31.1117
268 | 1.7301 | 11974.2987 | 38.0746
269 | 1.7401 | 13144.024 | 41.7939
270 | 1.7501 | 13430.4097 | 42.7045
271 | 1.7601 | 12352.5552 | 39.2773
272 | 1.7701 | 10510.2975 | 33.4195
273 | 1.7801 | 8102.012 | 25.7619
274 | 1.7901 | 5831.5425 | 18.5425
275 | 1.8001 | 4032.6401 | 12.8225
276 | 1.8101 | 2504.4931 | 7.9635
277 | 1.8201 | 1653.4218 | 5.2574
278 | 1.8301 | 1187.1806 | 3.7749
279 | 1.8401 | 890.9416 | 2.8329
280 | 1.8501 | 685.0019 | 2.1781
281 | 1.8601 | 522.3161 | 1.6608
282 | 1.8701 | 396.196 | 1.2598
283 | 1.8801 | 323.8267 | 1.0297
284 | 1.8901 | 257.1283 | 0.81759
285 | 1.9001 | 193.7484 | 0.61606
286 | 1.9101 | 167.0629 | 0.53121
287 | 1.9201 | 133.9161 | 0.42581
288 | 1.9301 | 108.5232 | 0.34507
289 | 1.9401 | 84.9978 | 0.27027
290 | 1.9501 | 80.9732 | 0.25747
291 | 1.9601 | 98.0219 | 0.31168
292 | 1.9701 | 96.5351 | 0.30695
293 | 1.9801 | 96.4449 | 0.30666
294 | 1.9901 | 100.1318 | 0.31839
295 | 2.0001 | 98.0329 | 0.31171
296 | 2.0101 | 102.0278 | 0.32442
297 | 2.0201 | 100.3525 | 0.31909
298 | 2.0301 | 114.991 | 0.36564
299 | 2.0401 | 107.2771 | 0.34111
300 | 2.0501 | 100.4624 | 0.31944
301 | 2.0601 | 88.2284 | 0.28054
302 | 2.0701 | 90.1383 | 0.28661
303 | 2.0801 | 94.6303 | 0.3009
304 | 2.0901 | 114.4472 | 0.36391
305 | 2.1001 | 105.6768 | 0.33602
306 | 2.1101 | 102.2486 | 0.32512
307 | 2.1201 | 89.3328 | 0.28405
308 | 2.1301 | 83.6906 | 0.26611
309 | 2.1401 | 91.7793 | 0.29183
310 | 2.1501 | 98.3387 | 0.31269
311 | 2.1601 | 100.9138 | 0.32087
312 | 2.1701 | 91.8718 | 0.29212
313 | 2.1801 | 93.0168 | 0.29576
314 | 2.1901 | 90.3663 | 0.28734
315 | 2.2001 | 99.5007 | 0.31638
316 | 2.2101 | 109.8404 | 0.34926
317 | 2.2201 | 110.5432 | 0.35149
318 | 2.2301 | 103.1216 | 0.32789
319 | 2.2401 | 95.6885 | 0.30426
320 | 2.2501 | 88.9506 | 0.28284
321 | 2.2601 | 98.92 | 0.31454
322 | 2.2701 | 104.6402 | 0.33272
323 | 2.2801 | 102.267 | 0.32518
324 | 2.2901 | 99.0661 | 0.315
325 | 2.3001 | 96.657 | 0.30734
326 | 2.3101 | 91.9123 | 0.29225
327 | 2.3201 | 104.1966 | 0.33131
328 | 2.3301 | 116.0265 | 0.36893
329 | 2.3401 | 107.2157 | 0.34091
330 | 2.3501 | 89.5215 | 0.28465
331 | 2.3601 | 83.9575 | 0.26696
332 | 2.3701 | 99.909 | 0.31768
333 | 2.3801 | 106.4906 | 0.33861
334 | 2.3901 | 99.225 | 0.3155
335 | 2.4001 | 109.2244 | 0.3473
336 | 2.4101 | 110.0095 | 0.3498
337 | 2.4201 | 104.9348 | 0.33366
338 | 2.4301 | 108.6494 | 0.34547
339 | 2.4401 | 95.327 | 0.30311
340 | 2.4501 | 99.0665 | 0.315
341 | 2.4601 | 109.9442 | 0.34959
342 | 2.4701 | 104.1893 | 0.33129
343 | 2.4801 | 99.4372 | 0.31618
344 | 2.4901 | 95.7416 | 0.30443
345 | 2.5001 | 98.0024 | 0.31162
346 | 2.5101 | 98.418 | 0.31294
347 | 2.5201 | 102.0161 | 0.32438
348 | 2.5301 | 109.2912 | 0.34751
349 | 2.5401 | 103.169 | 0.32805
350 | 2.5501 | 90.068 | 0.28639
351 | 2.5601 | 87.1056 | 0.27697
352 | 2.5701 | 94.0326 | 0.29899
353 | 2.5801 | 105.9955 | 0.33703
354 | 2.5901 | 108.7195 | 0.34569
355 | 2.6001 | 96.5994 | 0.30716
356 | 2.6101 | 98.9267 | 0.31456
357 | 2.6201 | 105.6147 | 0.33582
358 | 2.6301 | 103.3999 | 0.32878
359 | 2.6401 | 106.3322 | 0.3381
360 | 2.6501 | 103.0769 | 0.32775
361 | 2.6601 | 101.6928 | 0.32335
362 | 2.6701 | 111.3875 | 0.35418
363 | 2.6801 | 101.3504 | 0.32226
364 | 2.6901 | 105.6397 | 0.3359
365 | 2.7001 | 104.872 | 0.33346
366 | 2.7101 | 102.0988 | 0.32464
367 | 2.7201 | 100.6897 | 0.32016
368 | 2.7301 | 84.0351 | 0.26721
369 | 2.7401 | 88.1217 | 0.2802
370 | 2.7501 | 97.8923 | 0.31127
371 | 2.7601 | 90.2487 | 0.28696
372 | 2.7701 | 89.8016 | 0.28554
373 | 2.7801 | 101.1092 | 0.3215
374 | 2.7901 | 107.6806 | 0.34239
375 | 2.8001 | 101.8393 | 0.32382
376 | 2.8101 | 89.2274 | 0.28372
377 | 2.8201 | 96.663 | 0.30736
378 | 2.8301 | 98.1148 | 0.31197
379 | 2.8401 | 97.2317 | 0.30917
380 | 2.8501 | 104.8315 | 0.33333
381 | 2.8601 | 105.5534 | 0.33563
382 | 2.8701 | 98.7221 | 0.31391
383 | 2.8801 | 97.9429 | 0.31143
384 | 2.8901 | 97.6555 | 0.31051
385 | 2.9001 | 93.7363 | 0.29805
386 | 2.9101 | 85.5355 | 0.27198
387 | 2.9201 | 90.3563 | 0.2873
388 | 2.9301 | 96.0265 | 0.30533
389 | 2.9401 | 97.3334 | 0.30949
390 | 2.9501 | 93.1002 | 0.29603
391 | 2.9601 | 102.3266 | 0.32537
392 | 2.9701 | 112.1813 | 0.3567
393 | 2.9801 | 116.1164 | 0.36921
394 | 2.9901 | 111.7523 | 0.35534
395 | 3.0001 | 95.0937 | 0.30237
396 | 3.0101 | 91.6337 | 0.29137
397 | 3.0201 | 103.9247 | 0.33045
398 | 3.0301 | 100.6953 | 0.32018
399 | 3.0401 | 89.696 | 0.28521
400 | 3.0501 | 93.4928 | 0.29728
401 | 3.0601 | 87.1321 | 0.27705
402 | 3.0701 | 97.5474 | 0.31017
403 | 3.0801 | 105.3618 | 0.33502
404 | 3.0901 | 104.201 | 0.33133
405 | 3.1001 | 100.1447 | 0.31843
406 | 3.1101 | 92.52 | 0.29419
407 | 3.1201 | 91.5382 | 0.29106
408 | 3.1301 | 93.4917 | 0.29727
409 | 3.1401 | 92.2742 | 0.2934
410 | 3.1501 | 92.1276 | 0.29294
411 | 3.1601 | 108.6035 | 0.34533
412 | 3.1701 | 105.9903 | 0.33702
413 | 3.1801 | 106.7931 | 0.33957
414 | 3.1901 | 104.4579 | 0.33214
415 | 3.2001 | 118.2492 | 0.376
416 | 3.2101 | 145.9 | 0.46392
417 | 3.2201 | 146.4832 | 0.46577
418 | 3.2301 | 188.9929 | 0.60094
419 | 3.2401 | 285.2518 | 0.90701
420 | 3.2501 | 424.7815 | 1.3507
421 | 3.2601 | 533.5781 | 1.6966
422 | 3.2701 | 626.0198 | 1.9905
423 | 3.2801 | 764.2754 | 2.4302
424 | 3.2901 | 920.2973 | 2.9263
425 | 3.3001 | 1077.8229 | 3.4271
426 | 3.3101 | 1114.8032 | 3.5447
427 | 3.3201 | 1106.9331 | 3.5197
428 | 3.3301 | 1069.0144 | 3.3991
429 | 3.3401 | 989.3323 | 3.1458
430 | 3.3501 | 878.2397 | 2.7925
431 | 3.3601 | 739.5415 | 2.3515
432 | 3.3701 | 582.5301 | 1.8523
433 | 3.3801 | 444.7224 | 1.4141
434 | 3.3901 | 320.1758 | 1.0181
435 | 3.4001 | 237.5795 | 0.75543
436 | 3.4101 | 179.6028 | 0.57108
437 | 3.4201 | 134.2774 | 0.42696
438 | 3.4301 | 106.1 | 0.33737
439 | 3.4401 | 100.5925 | 0.31985
440 | 3.4501 | 96.5634 | 0.30704
441 | 3.4601 | 98.7619 | 0.31403
442 | 3.4701 | 106.9879 | 0.34019
443 | 3.4801 | 92.9466 | 0.29554
444 | 3.4901 | 99.9533 | 0.31782
445 | 3.5001 | 108.956 | 0.34645
446 | 3.5101 | 112.2439 | 0.3569
447 | 3.5201 | 117.5241 | 0.37369
448 | 3.5301 | 136.8297 | 0.43508
449 | 3.5401 | 155.0513 | 0.49302
450 | 3.5501 | 163.2914 | 0.51922
451 | 3.5601 | 174.22 | 0.55397
452 | 3.5701 | 196.0106 | 0.62325
453 | 3.5801 | 207.4447 | 0.65961
454 | 3.5901 | 219.0722 | 0.69658
455 | 3.6001 | 233.5546 | 0.74263
456 | 3.6101 | 213.4873 | 0.67882
457 | 3.6201 | 186.0604 | 0.59161
458 | 3.6301 | 189.4357 | 0.60235
459 | 3.6401 | 180.1717 | 0.57289
460 | 3.6501 | 174.7763 | 0.55573
461 | 3.6601 | 185.5152 | 0.58988
462 | 3.6701 | 181.8004 | 0.57807
463 | 3.6801 | 166.1687 | 0.52836
464 | 3.6901 | 171.2533 | 0.54453
465 | 3.7001 | 162.7216 | 0.5174
466 | 3.7101 | 132.3661 | 0.42088
467 | 3.7201 | 138.0096 | 0.43883
468 | 3.7301 | 147.6274 | 0.46941
469 | 3.7401 | 125.3007 | 0.39842
470 | 3.7501 | 110.9642 | 0.35283
471 | 3.7601 | 95.9378 | 0.30505
472 | 3.7701 | 93.6452 | 0.29776
473 | 3.7801 | 90.3975 | 0.28744
474 | 3.7901 | 83.492 | 0.26548
475 | 3.8001 | 76.5065 | 0.24327
476 | 3.8101 | 83.1994 | 0.26455
477 | 3.8201 | 87.8007 | 0.27918
478 | 3.8301 | 83.3793 | 0.26512
479 | 3.8401 | 85.0299 | 0.27037
480 | 3.8501 | 83.0685 | 0.26413
481 | 3.8601 | 88.0451 | 0.27996
482 | 3.8701 | 87.6531 | 0.27871
483 | 3.8801 | 72.3816 | 0.23015
484 | 3.8901 | 75.4447 | 0.23989
485 | 3.9001 | 75.3232 | 0.2395
486 | 3.9101 | 60.4973 | 0.19236
487 | 3.9201 | 63.2609 | 0.20115
488 | 3.9301 | 80.3425 | 0.25546
489 | 3.9401 | 83.7178 | 0.2662
490 | 3.9501 | 72.1481 | 0.22941
491 | 3.9601 | 71.0739 | 0.22599
492 | 3.9701 | 77.0321 | 0.24494
493 | 3.9801 | 85.5144 | 0.27191
494 | 3.9901 | 89.3249 | 0.28403
495 | 4.0001 | 83.8875 | 0.26674
496 | 4.0101 | 85.5321 | 0.27197
497 | 4.0201 | 85.9127 | 0.27318
498 | 4.0301 | 80.6554 | 0.25646
499 | 4.0401 | 80.7377 | 0.25672
500 | 4.0501 | 85.931 | 0.27323
501 | 4.0601 | 88.9924 | 0.28297
502 | 4.0701 | 81.5255 | 0.25923
503 | 4.0801 | 77.2014 | 0.24548
504 | 4.0901 | 73.0035 | 0.23213
505 | 4.1001 | 65.8504 | 0.20938
506 | 4.1101 | 59.9227 | 0.19054
507 | 4.1201 | 66.1625 | 0.21038
508 | 4.1301 | 75.9621 | 0.24154
509 | 4.1401 | 67.7096 | 0.2153
510 | 4.1501 | 64.1826 | 0.20408
511 | 4.1601 | 69.4418 | 0.2208
512 | 4.1701 | 77.2974 | 0.24578
513 | 4.1801 | 81.6818 | 0.25972
514 | 4.1901 | 72.3803 | 0.23015
515 | 4.2001 | 70.5375 | 0.22429
516 | 4.2101 | 70.1564 | 0.22308
517 | 4.2201 | 61.654 | 0.19604
518 | 4.2301 | 62.7672 | 0.19958
519 | 4.2401 | 70.6557 | 0.22466
520 | 4.2501 | 72.7218 | 0.23123
521 | 4.2601 | 60.9003 | 0.19364
522 | 4.2701 | 62.9903 | 0.20029
523 | 4.2801 | 69.5797 | 0.22124
524 | 4.2901 | 61.4725 | 0.19546
525 | 4.3001 | 69.768 | 0.22184
526 | 4.3101 | 78.2677 | 0.24887
527 | 4.3201 | 70.9029 | 0.22545
528 | 4.3301 | 68.2459 | 0.217
529 | 4.3401 | 65.256 | 0.20749
530 | 4.3501 | 75.7422 | 0.24084
531 | 4.3601 | 72.771 | 0.23139
532 | 4.3701 | 69.0862 | 0.21967
533 | 4.3801 | 68.7593 | 0.21863
534 | 4.3901 | 68.5751 | 0.21805
535 | 4.4001 | 69.5171 | 0.22104
536 | 4.4101 | 68.1609 | 0.21673
537 | 4.4201 | 66.9333 | 0.21283
538 | 4.4301 | 70.4964 | 0.22416
539 | 4.4401 | 73.4132 | 0.23343
540 | 4.4501 | 73.8893 | 0.23495
541 | 4.4601 | 69.2301 | 0.22013
542 | 4.4701 | 75.4692 | 0.23997
543 | 4.4801 | 82.7107 | 0.26299
544 | 4.4901 | 79.1971 | 0.25182
545 | 4.5001 | 77.0135 | 0.24488
546 | 4.5101 | 74.4259 | 0.23665
547 | 4.5201 | 66.8525 | 0.21257
548 | 4.5301 | 74.6362 | 0.23732
549 | 4.5401 | 70.5011 | 0.22417
550 | 4.5501 | 76.9217 | 0.24459
551 | 4.5601 | 68.5927 | 0.2181
552 | 4.5701 | 60.8185 | 0.19338
553 | 4.5801 | 65.4807 | 0.20821
554 | 4.5901 | 67.1082 | 0.21338
555 | 4.6001 | 57.5515 | 0.183
556 | 4.6101 | 61.4896 | 0.19552
557 | 4.6201 | 62.0077 | 0.19717
558 | 4.6301 | 57.3864 | 0.18247
559 | 4.6401 | 69.002 | 0.2194
560 | 4.6501 | 69.0248 | 0.21948
561 | 4.6601 | 69.053 | 0.21957
562 | 4.6701 | 70.5266 | 0.22425
563 | 4.6801 | 71.4224 | 0.2271
564 | 4.6901 | 64.3868 | 0.20473
565 | 4.7001 | 61.629 | 0.19596
566 | 4.7101 | 59.9727 | 0.19069
567 | 4.7201 | 54.9788 | 0.17482
568 | 4.7301 | 57.0099 | 0.18127
569 | 4.7401 | 54.7592 | 0.17412
570 | 4.7501 | 70.475 | 0.22409
571 | 4.7601 | 74.7513 | 0.23769
572 | 4.7701 | 58.4869 | 0.18597
573 | 4.7801 | 58.1281 | 0.18483
574 | 4.7901 | 60.8794 | 0.19358
575 | 4.8001 | 58.9833 | 0.18755
576 | 4.8101 | 54.8823 | 0.17451
577 | 4.8201 | 57.6543 | 0.18332
578 | 4.8301 | 61.2374 | 0.19472
579 | 4.8401 | 65.9507 | 0.2097
580 | 4.8501 | 61.9507 | 0.19698
581 | 4.8601 | 61.7135 | 0.19623
582 | 4.8701 | 68.8685 | 0.21898
583 | 4.8801 | 66.0255 | 0.20994
584 | 4.8901 | 56.1841 | 0.17865
585 | 4.9001 | 53.5555 | 0.17029
586 | 4.9101 | 75.2988 | 0.23943
587 | 4.9201 | 61.0308 | 0.19406
588 | 4.9301 | 54.5147 | 0.17334
589 | 4.9401 | 63.7911 | 0.20284
590 | 4.9501 | 67.4291 | 0.2144
591 | 4.9601 | 59.421 | 0.18894
592 | 4.9701 | 52.6487 | 0.16741
593 | 4.9801 | 57.0724 | 0.18147
594 | 4.9901 | 56.0709 | 0.17829
595 | 5.0001 | 60.4892 | 0.19234
596 | 5.0101 | 52.3931 | 0.16659
597 | 5.0201 | 54.6738 | 0.17385
598 | 5.0301 | 59.4343 | 0.18898
599 | 5.0401 | 66.5136 | 0.21149
600 | 5.0501 | 61.3842 | 0.19518
601 | 5.0601 | 59.5566 | 0.18937
602 | 5.0701 | 50.0987 | 0.1593
603 | 5.0801 | 60.341 | 0.19187
604 | 5.0901 | 53.3403 | 0.16961
605 | 5.1001 | 50.7249 | 0.16129
606 | 5.1101 | 51.7 | 0.16439
607 | 5.1201 | 59.3627 | 0.18876
608 | 5.1301 | 61.1562 | 0.19446
609 | 5.1401 | 61.8253 | 0.19659
610 | 5.1501 | 61.0217 | 0.19403
611 | 5.1601 | 59.7185 | 0.18989
612 | 5.1701 | 56.5808 | 0.17991
613 | 5.1801 | 66.9531 | 0.21289
614 | 5.1901 | 59.6001 | 0.18951
615 | 5.2001 | 47.7041 | 0.15168
616 | 5.2101 | 47.5593 | 0.15122
617 | 5.2201 | 54.2862 | 0.17261
618 | 5.2301 | 53.6486 | 0.17059
619 | 5.2401 | 64.7231 | 0.2058
620 | 5.2501 | 54.6729 | 0.17384
621 | 5.2601 | 60.6309 | 0.19279
622 | 5.2701 | 48.7748 | 0.15509
623 | 5.2801 | 52.6599 | 0.16744
624 | 5.2901 | 51.2399 | 0.16293
625 | 5.3001 | 50.553 | 0.16074
626 | 5.3101 | 40.0497 | 0.12735
627 | 5.3201 | 57.0725 | 0.18147
628 | 5.3301 | 52.9003 | 0.16821
629 | 5.3401 | 64.0652 | 0.20371
630 | 5.3501 | 62.049 | 0.1973
631 | 5.3601 | 50.2423 | 0.15975
632 | 5.3701 | 51.2709 | 0.16303
633 | 5.3801 | 48.0505 | 0.15279
634 | 5.3901 | 53.351 | 0.16964
635 | 5.4001 | 43.4847 | 0.13827
636 | 5.4101 | 55.3455 | 0.17598
637 | 5.4201 | 62.7614 | 0.19956
638 | 5.4301 | 46.0949 | 0.14657
639 | 5.4401 | 48.6273 | 0.15462
640 | 5.4501 | 60.3295 | 0.19183
641 | 5.4601 | 46.6571 | 0.14836
642 | 5.4701 | 45.7081 | 0.14534
643 | 5.4801 | 58.9895 | 0.18757
644 | 5.4901 | 49.5926 | 0.15769
645 | 5.5001 | 47.1403 | 0.14989
646 | 5.5101 | 57.6405 | 0.18328
647 | 5.5201 | 53.2868 | 0.16944
648 | 5.5301 | 46.5649 | 0.14806
649 | 5.5401 | 51.8271 | 0.16479
650 | 5.5501 | 50.3219 | 0.16001
651 | 5.5601 | 53.5909 | 0.1704
652 | 5.5701 | 49.0103 | 0.15584
653 | 5.5801 | 49.5891 | 0.15768
654 | 5.5901 | 57.2831 | 0.18214
655 | 5.6001 | 59.8847 | 0.19041
656 | 5.6101 | 45.9065 | 0.14597
657 | 5.6201 | 45.3129 | 0.14408
658 | 5.6301 | 50.1397 | 0.15943
659 | 5.6401 | 51.968 | 0.16524
660 | 5.6501 | 51.4283 | 0.16353
661 | 5.6601 | 57.3818 | 0.18246
662 | 5.6701 | 46.9036 | 0.14914
663 | 5.6801 | 45.679 | 0.14525
664 | 5.6901 | 57.7255 | 0.18355
665 | 5.7001 | 52.3556 | 0.16647
666 | 5.7101 | 59.649 | 0.18967
667 | 5.7201 | 53.6686 | 0.17065
668 | 5.7301 | 69.2992 | 0.22035
669 | 5.7401 | 50.8854 | 0.1618
670 | 5.7501 | 47.2768 | 0.15033
671 | 5.7601 | 54.907 | 0.17459
672 | 5.7701 | 51.8487 | 0.16486
673 | 5.7801 | 47.0483 | 0.1496
674 | 5.7901 | 49.739 | 0.15815
675 | 5.8001 | 40.1443 | 0.12765
676 | 5.8101 | 47.8041 | 0.152
677 | 5.8201 | 37.0552 | 0.11782
678 | 5.8301 | 41.0598 | 0.13056
679 | 5.8401 | 46.889 | 0.14909
680 | 5.8501 | 36.9667 | 0.11754
681 | 5.8601 | 43.0034 | 0.13674
682 | 5.8701 | 45.9715 | 0.14618
683 | 5.8801 | 38.0439 | 0.12097
684 | 5.8901 | 46.0847 | 0.14653
685 | 5.9001 | 59.1231 | 0.18799
686 | 5.9101 | 35.998 | 0.11446
687 | 5.9201 | 59.1781 | 0.18817
688 | 5.9301 | 43.1196 | 0.13711
689 | 5.9401 | 42.0888 | 0.13383
690 | 5.9501 | 46.0312 | 0.14636
691 | 5.9601 | 36.0509 | 0.11463
692 | 5.9701 | 44.1095 | 0.14025
693 | 5.9801 | 47.1503 | 0.14992
694 | 5.9901 | 45.0973 | 0.1434
695 | 6.0001 | 34.0567 | 0.10829
696 | 6.0101 | 52.0928 | 0.16564
697 | 6.0201 | 41.0764 | 0.13061
698 | 6.0301 | 44.0636 | 0.14011
699 | 6.0401 | 48.0815 | 0.15288
700 | 6.0501 | 40.0694 | 0.12741
701 | 6.0601 | 51.1136 | 0.16253
702 | 6.0701 | 44.1091 | 0.14025
703 | 6.0801 | 60.1558 | 0.19128
704 | 6.0901 | 40.058 | 0.12737
705 | 6.1001 | 54.1056 | 0.17204
706 | 6.1101 | 41.0834 | 0.13063
707 | 6.1201 | 50.1452 | 0.15945
708 | 6.1301 | 45.0999 | 0.1434
709 | 6.1401 | 35.0296 | 0.11138
710 | 6.1501 | 44.0514 | 0.14007
711 | 6.1601 | 47.0763 | 0.14969
712 | 6.1701 | 46.1104 | 0.14662
713 | 6.1801 | 41.0902 | 0.13065
714 | 6.1901 | 44.0936 | 0.1402
715 | 6.2001 | 34.0138 | 0.10815
716 | 6.2101 | 48.0765 | 0.15287
717 | 6.2201 | 43.073 | 0.13696
718 | 6.2301 | 48.1112 | 0.15298
719 | 6.2401 | 56.1304 | 0.17848
720 | 6.2501 | 37.0613 | 0.11784
721 | 6.2601 | 41.051 | 0.13053
722 | 6.2701 | 47.095 | 0.14975
723 | 6.2801 | 36.0688 | 0.11469
724 | 6.2901 | 57.1711 | 0.18179
725 | 6.3001 | 60.139 | 0.19122
726 | 6.3101 | 61.1386 | 0.1944
727 | 6.3201 | 39.0402 | 0.12414
728 | 6.3301 | 71.1381 | 0.2262
729 | 6.3401 | 46.0916 | 0.14656
730 | 6.3501 | 83.2195 | 0.26461
731 | 6.3601 | 80.2095 | 0.25504
732 | 6.3701 | 78.1797 | 0.24859
733 | 6.3801 | 85.192 | 0.27088
734 | 6.3901 | 74.1762 | 0.23586
735 | 6.4001 | 83.2181 | 0.26461
736 | 6.4101 | 69.1896 | 0.22
737 | 6.4201 | 78.1928 | 0.24863
738 | 6.4301 | 84.1825 | 0.26767
739 | 6.4401 | 84.1735 | 0.26765
740 | 6.4501 | 63.1233 | 0.20071
741 | 6.4601 | 61.1475 | 0.19443
742 | 6.4701 | 84.2294 | 0.26782
743 | 6.4801 | 55.1041 | 0.17521
744 | 6.4901 | 46.0328 | 0.14637
745 | 6.5001 | 55.0864 | 0.17516
746 | 6.5101 | 53.1036 | 0.16885
747 | 6.5201 | 45.1107 | 0.14344
748 | 6.5301 | 45.1216 | 0.14347
749 | 6.5401 | 69.1754 | 0.21996
750 | 6.5501 | 52.0964 | 0.16565
751 | 6.5601 | 38.0491 | 0.12098
752 | 6.5701 | 41.044 | 0.13051
753 | 6.5801 | 39.0519 | 0.12417
754 | 6.5901 | 41.0679 | 0.13058
755 | 6.6001 | 43.0778 | 0.13697
756 | 6.6101 | 33.0403 | 0.10506
757 | 6.6201 | 36.0492 | 0.11463
758 | 6.6301 | 38.0475 | 0.12098
759 | 6.6401 | 40.0454 | 0.12733
760 | 6.6501 | 50.081 | 0.15924
761 | 6.6601 | 36.0389 | 0.11459
762 | 6.6701 | 50.0929 | 0.15928
763 | 6.6801 | 32.0256 | 0.10183
764 | 6.6901 | 38.0302 | 0.12092
765 | 6.7001 | 33.0369 | 0.10505
766 | 6.7101 | 40.0638 | 0.12739
767 | 6.7201 | 37.0605 | 0.11784
768 | 6.7301 | 43.0793 | 0.13698
769 | 6.7401 | 35.0519 | 0.11145
770 | 6.7501 | 40.0654 | 0.1274
771 | 6.7601 | 44.0764 | 0.14015
772 | 6.7701 | 28.02 | 0.089095
773 | 6.7801 | 36.0409 | 0.1146
774 | 6.7901 | 27.028 | 0.085941
775 | 6.8001 | 37.0629 | 0.11785
776 | 6.8101 | 37.0535 | 0.11782
777 | 6.8201 | 27.0383 | 0.085973
778 | 6.8301 | 35.058 | 0.11147
779 | 6.8401 | 35.0559 | 0.11147
780 | 6.8501 | 38.039 | 0.12095
781 | 6.8601 | 43.0511 | 0.13689
782 | 6.8701 | 33.0114 | 0.10497
783 | 6.8801 | 46.0549 | 0.14644
784 | 6.8901 | 31.0398 | 0.098697
785 | 6.9001 | 37.0488 | 0.1178
786 | 6.9101 | 33.0512 | 0.10509
787 | 6.9201 | 30.032 | 0.095492
788 | 6.9301 | 40.0503 | 0.12735
789 | 6.9401 | 21.0017 | 0.066779
790 | 6.9501 | 31.042 | 0.098704
791 | 6.9601 | 37.0444 | 0.11779
792 | 6.9701 | 38.0475 | 0.12098
793 | 6.9801 | 44.0313 | 0.14001
794 | 6.9901 | 37.023 | 0.11772
795 | 7.0001 | 34.0479 | 0.10826
796 | 7.0101 | 45.0725 | 0.14332
797 | 7.0201 | 40.0742 | 0.12742
798 | 7.0301 | 43.0646 | 0.13693
799 | 7.0401 | 46.0752 | 0.14651
800 | 7.0501 | 42.0709 | 0.13377
801 | 7.0601 | 40.0739 | 0.12742
802 | 7.0701 | 26.0062 | 0.082692
803 | 7.0801 | 33.0254 | 0.10501
804 | 7.0901 | 32.0106 | 0.10178
805 | 7.1001 | 44.0599 | 0.1401
806 | 7.1101 | 31.0288 | 0.098662
807 | 7.1201 | 52.0855 | 0.16562
808 | 7.1301 | 24.0261 | 0.076396
809 | 7.1401 | 43.043 | 0.13686
810 | 7.1501 | 33.0383 | 0.10505
811 | 7.1601 | 38.0564 | 0.12101
812 | 7.1701 | 37.0324 | 0.11775
813 | 7.1801 | 34.0366 | 0.10823
814 | 7.1901 | 51.0838 | 0.16243
815 | 7.2001 | 32.0468 | 0.1019
816 | 7.2101 | 37.0498 | 0.11781
817 | 7.2201 | 34.0318 | 0.10821
818 | 7.2301 | 32.013 | 0.10179
819 | 7.2401 | 32.0304 | 0.10185
820 | 7.2501 | 38.0412 | 0.12096
821 | 7.2601 | 27.0148 | 0.085899
822 | 7.2701 | 31.0308 | 0.098668
823 | 7.2801 | 28.0194 | 0.089093
824 | 7.2901 | 32.0439 | 0.10189
825 | 7.3001 | 39.0466 | 0.12416
826 | 7.3101 | 31.0253 | 0.098651
827 | 7.3201 | 33.0159 | 0.10498
828 | 7.3301 | 43.067 | 0.13694
829 | 7.3401 | 36.0501 | 0.11463
830 | 7.3501 | 42.0648 | 0.13375
831 | 7.3601 | 32.0334 | 0.10186
832 | 7.3701 | 37.0513 | 0.11781
833 | 7.3801 | 31.0274 | 0.098658
834 | 7.3901 | 23.0173 | 0.073188
835 | 7.4001 | 32.0352 | 0.10186
836 | 7.4101 | 31.0303 | 0.098667
837 | 7.4201 | 23.0184 | 0.073191
838 | 7.4301 | 33.0175 | 0.10499
839 | 7.4401 | 30.0139 | 0.095435
840 | 7.4501 | 31.0131 | 0.098612
841 | 7.4601 | 41.0651 | 0.13057
842 | 7.4701 | 34.0375 | 0.10823
843 | 7.4801 | 27.0363 | 0.085967
844 | 7.4901 | 27.0145 | 0.085898
845 | 7.5001 | 31.0249 | 0.09865
846 | 7.5101 | 31.0278 | 0.098659
847 | 7.5201 | 28.0304 | 0.089128
848 | 7.5301 | 33.033 | 0.10503
849 | 7.5401 | 34.0294 | 0.1082
850 | 7.5501 | 26.9987 | 0.085847
851 | 7.5601 | 27.0341 | 0.08596
852 | 7.5701 | 32.0419 | 0.10188
853 | 7.5801 | 27.0319 | 0.085953
854 | 7.5901 | 27.0095 | 0.085882
855 | 7.6001 | 40.0332 | 0.12729
856 | 7.6101 | 24.0181 | 0.07637
857 | 7.6201 | 31.0377 | 0.09869
858 | 7.6301 | 20.0067 | 0.063615
859 | 7.6401 | 37.043 | 0.11779
860 | 7.6501 | 31.028 | 0.098659
861 | 7.6601 | 43.0477 | 0.13688
862 | 7.6701 | 24.0069 | 0.076334
863 | 7.6801 | 26.0117 | 0.082709
864 | 7.6901 | 34.0363 | 0.10822
865 | 7.7001 | 43.0609 | 0.13692
866 | 7.7101 | 24.0111 | 0.076348
867 | 7.7201 | 27.0223 | 0.085923
868 | 7.7301 | 26.0068 | 0.082694
869 | 7.7401 | 31.0383 | 0.098692
870 | 7.7501 | 29.0227 | 0.092283
871 | 7.7601 | 37.0345 | 0.11776
872 | 7.7701 | 27.0146 | 0.085898
873 | 7.7801 | 39.0392 | 0.12413
874 | 7.7901 | 33.0225 | 0.105
875 | 7.8001 | 28.0093 | 0.089061
876 | 7.8101 | 34.0247 | 0.10819
877 | 7.8201 | 25.0118 | 0.07953
878 | 7.8301 | 27.0202 | 0.085916
879 | 7.8401 | 32.0363 | 0.10187
880 | 7.8501 | 31.0149 | 0.098618
881 | 7.8601 | 27.0118 | 0.085889
882 | 7.8701 | 22.0138 | 0.069997
883 | 7.8801 | 32.0278 | 0.10184
884 | 7.8901 | 34.0464 | 0.10826
885 | 7.9001 | 33.0196 | 0.10499
886 | 7.9101 | 32.0263 | 0.10183
887 | 7.9201 | 27.9974 | 0.089023
888 | 7.9301 | 29.0117 | 0.092248
889 | 7.9401 | 28.0073 | 0.089055
890 | 7.9501 | 39.0397 | 0.12413
891 | 7.9601 | 29.0408 | 0.092341
892 | 7.9701 | 29.0197 | 0.092274
893 | 7.9801 | 28.0135 | 0.089074
894 | 7.9901 | 27.0071 | 0.085874
895 | 8.0001 | 26.0107 | 0.082706
896 | 8.0101 | 30.0273 | 0.095478
897 | 8.0201 | 25.0076 | 0.079516
898 | 8.0301 | 23.0117 | 0.07317
899 | 8.0401 | 17.0064 | 0.054075
900 | 8.0501 | 33.0336 | 0.10504
901 | 8.0601 | 21.9946 | 0.069936
902 | 8.0701 | 32.0201 | 0.10181
903 | 8.0801 | 34.0215 | 0.10818
904 | 8.0901 | 23.004 | 0.073145
905 | 8.1001 | 27.0206 | 0.085917
906 | 8.1101 | 25.0162 | 0.079544
907 | 8.1201 | 29.0168 | 0.092264
908 | 8.1301 | 28.0281 | 0.089121
909 | 8.1401 | 23.9997 | 0.076312
910 | 8.1501 | 25.0092 | 0.079522
911 | 8.1601 | 19.9971 | 0.063585
912 | 8.1701 | 28.0123 | 0.08907
913 | 8.1801 | 31.0122 | 0.098609
914 | 8.1901 | 29.012 | 0.092249
915 | 8.2001 | 31.0231 | 0.098644
916 | 8.2101 | 26.0152 | 0.08272
917 | 8.2201 | 19.9973 | 0.063585
918 | 8.2301 | 33.0241 | 0.10501
919 | 8.2401 | 38.0309 | 0.12093
920 | 8.2501 | 22.0163 | 0.070005
921 | 8.2601 | 26.0232 | 0.082746
922 | 8.2701 | 20.0068 | 0.063615
923 | 8.2801 | 14.9846 | 0.047646
924 | 8.2901 | 23.0052 | 0.07315
925 | 8.3001 | 26.0213 | 0.08274
926 | 8.3101 | 23.0226 | 0.073205
927 | 8.3201 | 31.0328 | 0.098675
928 | 8.3301 | 26.0022 | 0.082679
929 | 8.3401 | 24.0082 | 0.076339
930 | 8.3501 | 26.0199 | 0.082735
931 | 8.3601 | 28.0233 | 0.089106
932 | 8.3701 | 25.0173 | 0.079547
933 | 8.3801 | 29.0192 | 0.092272
934 | 8.3901 | 29.0223 | 0.092282
935 | 8.4001 | 28.0016 | 0.089036
936 | 8.4101 | 31.0177 | 0.098627
937 | 8.4201 | 22.0074 | 0.069977
938 | 8.4301 | 31.0347 | 0.098681
939 | 8.4401 | 32.0338 | 0.10186
940 | 8.4501 | 21.0028 | 0.066782
941 | 8.4601 | 25.004 | 0.079505
942 | 8.4701 | 23.0096 | 0.073163
943 | 8.4801 | 20.0096 | 0.063624
944 | 8.4901 | 24.0062 | 0.076332
945 | 8.5001 | 21.9937 | 0.069933
946 | 8.5101 | 20.0021 | 0.063601
947 | 8.5201 | 26.0137 | 0.082716
948 | 8.5301 | 25.0089 | 0.079521
949 | 8.5401 | 19.0144 | 0.06046
950 | 8.5501 | 20.008 | 0.063619
951 | 8.5601 | 25.0197 | 0.079555
952 | 8.5701 | 19.0036 | 0.060426
953 | 8.5801 | 21.0085 | 0.066801
954 | 8.5901 | 24.019 | 0.076373
955 | 8.6001 | 30.0192 | 0.095452
956 | 8.6101 | 25.0115 | 0.079529
957 | 8.6201 | 34.0238 | 0.10819
958 | 8.6301 | 27.0132 | 0.085894
959 | 8.6401 | 21.0016 | 0.066779
960 | 8.6501 | 29.0245 | 0.092289
961 | 8.6601 | 18.9993 | 0.060412
962 | 8.6701 | 24.0106 | 0.076346
963 | 8.6801 | 27.0111 | 0.085887
964 | 8.6901 | 24.0154 | 0.076362
965 | 8.7001 | 23.0027 | 0.073141
966 | 8.7101 | 28.0084 | 0.089058
967 | 8.7201 | 21.9953 | 0.069938
968 | 8.7301 | 37.0197 | 0.11771
969 | 8.7401 | 26.0207 | 0.082738
970 | 8.7501 | 18.0156 | 0.057284
971 | 8.7601 | 26.0216 | 0.082741
972 | 8.7701 | 14.9941 | 0.047677
973 | 8.7801 | 23.0112 | 0.073168
974 | 8.7901 | 22.0106 | 0.069987
975 | 8.8001 | 18.0125 | 0.057274
976 | 8.8101 | 18.0133 | 0.057277
977 | 8.8201 | 31.0215 | 0.098639
978 | 8.8301 | 23.9978 | 0.076306
979 | 8.8401 | 29.9962 | 0.095379
980 | 8.8501 | 21.9969 | 0.069943
981 | 8.8601 | 29.0169 | 0.092265
982 | 8.8701 | 21.0066 | 0.066795
983 | 8.8801 | 19.0003 | 0.060415
984 | 8.8901 | 35.0263 | 0.11137
985 | 8.9001 | 17.0067 | 0.054076
986 | 8.9101 | 19.0156 | 0.060464
987 | 8.9201 | 31.0219 | 0.09864
988 | 8.9301 | 20.003 | 0.063603
989 | 8.9401 | 21.0036 | 0.066785
990 | 8.9501 | 21.0073 | 0.066797
991 | 8.9601 | 22.0103 | 0.069986
992 | 8.9701 | 26.0153 | 0.082721
993 | 8.9801 | 30.0106 | 0.095424
994 | 8.9901 | 20.0015 | 0.063599
995 | 9.0001 | 27.0179 | 0.085909
996 | 9.0101 | 25.0084 | 0.079519
997 | 9.0201 | 22.0053 | 0.06997
998 | 9.0301 | 26.0121 | 0.08271
999 | 9.0401 | 18.0019 | 0.05724
1000 | 9.0501 | 23.0016 | 0.073138
1001 | 9.0601 | 23.0069 | 0.073155
1002 | 9.0701 | 28.0182 | 0.089089
1003 | 9.0801 | 12.9995 | 0.041334
1004 | 9.0901 | 20.0221 | 0.063664
1005 | 9.1001 | 19.0195 | 0.060476
1006 | 9.1101 | 20.0072 | 0.063617
1007 | 9.1201 | 15.9893 | 0.050841
1008 | 9.1301 | 22.996 | 0.07312
1009 | 9.1401 | 16.9999 | 0.054054
1010 | 9.1501 | 22.0022 | 0.06996
1011 | 9.1601 | 22.0099 | 0.069985
1012 | 9.1701 | 17.9985 | 0.05723
1013 | 9.1801 | 28.0239 | 0.089107
1014 | 9.1901 | 24.0198 | 0.076376
1015 | 9.2001 | 25.0139 | 0.079537
1016 | 9.2101 | 13.9925 | 0.044492
1017 | 9.2201 | 24.9898 | 0.07946
1018 | 9.2301 | 12.9824 | 0.04128
1019 | 9.2401 | 25.0122 | 0.079531
1020 | 9.2501 | 20.0087 | 0.063622
1021 | 9.2601 | 21.0106 | 0.066807
1022 | 9.2701 | 18.0041 | 0.057247
1023 | 9.2801 | 20.003 | 0.063603
1024 | 9.2901 | 22.0073 | 0.069976
1025 | 9.3001 | 29.0214 | 0.092279
1026 | 9.3101 | 10.9963 | 0.034965
1027 | 9.3201 | 20.01 | 0.063626
1028 | 9.3301 | 16.0113 | 0.050911
1029 | 9.3401 | 26.0159 | 0.082722
1030 | 9.3501 | 23.0061 | 0.073152
1031 | 9.3601 | 14.9975 | 0.047687
1032 | 9.3701 | 17.9987 | 0.05723
1033 | 9.3801 | 23.0101 | 0.073165
1034 | 9.3901 | 18.0045 | 0.057249
1035 | 9.4001 | 20.0036 | 0.063605
1036 | 9.4101 | 21.0036 | 0.066785
1037 | 9.4201 | 22.0094 | 0.069983
1038 | 9.4301 | 22.0099 | 0.069985
1039 | 9.4401 | 18.0071 | 0.057257
1040 | 9.4501 | 17.0029 | 0.054064
1041 | 9.4601 | 22.0033 | 0.069964
1042 | 9.4701 | 18.0097 | 0.057265
1043 | 9.4801 | 26.0106 | 0.082706
1044 | 9.4901 | 11.9947 | 0.038139
1045 | 9.5001 | 24.0102 | 0.076345
1046 | 9.5101 | 23.0132 | 0.073175
1047 | 9.5201 | 22.0093 | 0.069983
1048 | 9.5301 | 21.0111 | 0.066809
1049 | 9.5401 | 25.0149 | 0.07954
1050 | 9.5501 | 24.0126 | 0.076353
1051 | 9.5601 | 21.999 | 0.06995
1052 | 9.5701 | 23.0069 | 0.073155
1053 | 9.5801 | 19.0019 | 0.06042
1054 | 9.5901 | 15.9983 | 0.05087
1055 | 9.6001 | 27.0169 | 0.085905
1056 | 9.6101 | 19.0048 | 0.060429
1057 | 9.6201 | 17.0037 | 0.054066
1058 | 9.6301 | 22.0018 | 0.069959
1059 | 9.6401 | 13.9907 | 0.044486
1060 | 9.6501 | 28.0198 | 0.089094
1061 | 9.6601 | 18.0088 | 0.057262
1062 | 9.6701 | 30.0265 | 0.095475
1063 | 9.6801 | 19.0037 | 0.060426
1064 | 9.6901 | 28.0136 | 0.089075
1065 | 9.7001 | 19.0075 | 0.060438
1066 | 9.7101 | 11.9959 | 0.038143
1067 | 9.7201 | 25.0157 | 0.079542
1068 | 9.7301 | 20.9999 | 0.066773
1069 | 9.7401 | 23.0032 | 0.073143
1070 | 9.7501 | 19.002 | 0.060421
1071 | 9.7601 | 15.9985 | 0.05087
1072 | 9.7701 | 25.019 | 0.079553
1073 | 9.7801 | 18.0094 | 0.057264
1074 | 9.7901 | 15.0033 | 0.047706
1075 | 9.8001 | 17.9943 | 0.057216
1076 | 9.8101 | 27.0112 | 0.085887
1077 | 9.8201 | 16.0041 | 0.050888
1078 | 9.8301 | 22.0091 | 0.069982
1079 | 9.8401 | 20.0113 | 0.06363
1080 | 9.8501 | 15.0062 | 0.047715
1081 | 9.8601 | 19.0102 | 0.060446
1082 | 9.8701 | 20.0028 | 0.063603
1083 | 9.8801 | 10.9975 | 0.034969
1084 | 9.8901 | 27.0156 | 0.085901
1085 | 9.9001 | 17.0003 | 0.054056
1086 | 9.9101 | 21.0016 | 0.066778
1087 | 9.9201 | 18.9912 | 0.060386
1088 | 9.9301 | 24.0134 | 0.076355
1089 | 9.9401 | 20.0162 | 0.063645
1090 | 9.9501 | 17.0111 | 0.05409
1091 | 9.9601 | 18.0051 | 0.057251
1092 | 9.9701 | 21.0045 | 0.066788
1093 | 9.9801 | 15.9977 | 0.050868
1094 | 9.9901 | 20.0037 | 0.063606
1095 | 10.0001 | 13.0089 | 0.041364
1096 | 10.0101 | 14.0108 | 0.04455
1097 | 10.0201 | 16.006 | 0.050894
1098 | 10.0301 | 22.0145 | 0.069999
1099 | 10.0401 | 15.9933 | 0.050854
1100 | 10.0501 | 13.9959 | 0.044503
1101 | 10.0601 | 10.992 | 0.034951
1102 | 10.0701 | 13.9904 | 0.044485
1103 | 10.0801 | 25.0117 | 0.079529
1104 | 10.0901 | 13.9995 | 0.044514
1105 | 10.1001 | 13.0036 | 0.041347
1106 | 10.1101 | 17.0106 | 0.054088
1107 | 10.1201 | 18.0079 | 0.05726
1108 | 10.1301 | 16.9976 | 0.054047
1109 | 10.1401 | 13.9922 | 0.044491
1110 | 10.1501 | 26.0106 | 0.082706
1111 | 10.1601 | 15.9989 | 0.050872
1112 | 10.1701 | 19.0051 | 0.06043
1113 | 10.1801 | 10.997 | 0.034967
1114 | 10.1901 | 15.0052 | 0.047712
1115 | 10.2001 | 21.0176 | 0.066829
1116 | 10.2101 | 22.0123 | 0.069992
1117 | 10.2201 | 14.9987 | 0.047691
1118 | 10.2301 | 14.9971 | 0.047686
1119 | 10.2401 | 22.9997 | 0.073132
1120 | 10.2501 | 24.0029 | 0.076322
1121 | 10.2601 | 13.9914 | 0.044488
1122 | 10.2701 | 18.0084 | 0.057261
1123 | 10.2801 | 20.0145 | 0.06364
1124 | 10.2901 | 10.0023 | 0.031804
1125 | 10.3001 | 17.0109 | 0.054089
1126 | 10.3101 | 11.9869 | 0.038114
1127 | 10.3201 | 18.0064 | 0.057255
1128 | 10.3301 | 14.0011 | 0.044519
1129 | 10.3401 | 11.9937 | 0.038136
1130 | 10.3501 | 19.0081 | 0.06044
1131 | 10.3601 | 16.0008 | 0.050877
1132 | 10.3701 | 17.0001 | 0.054055
1133 | 10.3801 | 18.001 | 0.057238
1134 | 10.3901 | 20.0129 | 0.063635
1135 | 10.4001 | 11.9981 | 0.03815
1136 | 10.4101 | 22.0071 | 0.069976
1137 | 10.4201 | 17.0026 | 0.054063
1138 | 10.4301 | 21.0009 | 0.066776
1139 | 10.4401 | 13.9965 | 0.044504
1140 | 10.4501 | 23.012 | 0.073171
1141 | 10.4601 | 18.0113 | 0.05727
1142 | 10.4701 | 22.0212 | 0.070021
1143 | 10.4801 | 20.0055 | 0.063611
1144 | 10.4901 | 10.9981 | 0.03497
1145 | 10.5001 | 9.9936 | 0.031777
1146 | 10.5101 | 13.9935 | 0.044495
1147 | 10.5201 | 17.0066 | 0.054076
1148 | 10.5301 | 10.9962 | 0.034964
1149 | 10.5401 | 15.0077 | 0.04772
1150 | 10.5501 | 11.9957 | 0.038143
1151 | 10.5601 | 13.0032 | 0.041346
1152 | 10.5701 | 17.0058 | 0.054073
1153 | 10.5801 | 23.0086 | 0.07316
1154 | 10.5901 | 27.0162 | 0.085903
1155 | 10.6001 | 18.0006 | 0.057236
1156 | 10.6101 | 16.0057 | 0.050893
1157 | 10.6201 | 17.0056 | 0.054072
1158 | 10.6301 | 19.0106 | 0.060448
1159 | 10.6401 | 15.0033 | 0.047706
1160 | 10.6501 | 11.9971 | 0.038147
1161 | 10.6601 | 8.9958 | 0.028604
1162 | 10.6701 | 17.0034 | 0.054065
1163 | 10.6801 | 15.001 | 0.047699
1164 | 10.6901 | 16.0034 | 0.050886
1165 | 10.7001 | 13.9999 | 0.044515
1166 | 10.7101 | 13.9931 | 0.044494
1167 | 10.7201 | 14.9971 | 0.047686
1168 | 10.7301 | 22.0098 | 0.069984
1169 | 10.7401 | 15.0058 | 0.047714
1170 | 10.7501 | 13.0076 | 0.04136
1171 | 10.7601 | 20.0094 | 0.063624
1172 | 10.7701 | 17.0056 | 0.054072
1173 | 10.7801 | 15.0028 | 0.047704
1174 | 10.7901 | 14.9931 | 0.047673
1175 | 10.8001 | 19.005 | 0.06043
1176 | 10.8101 | 12.0022 | 0.038163
1177 | 10.8201 | 12.9989 | 0.041333
1178 | 10.8301 | 14.0043 | 0.044529
1179 | 10.8401 | 5.9956 | 0.019064
1180 | 10.8501 | 7.997 | 0.025428
1181 | 10.8601 | 16.0019 | 0.050881
1182 | 10.8701 | 19.999 | 0.063591
1183 | 10.8801 | 19.0049 | 0.06043
1184 | 10.8901 | 11.9981 | 0.03815
1185 | 10.9001 | 19.0038 | 0.060426
1186 | 10.9101 | 13.0028 | 0.041345
1187 | 10.9201 | 20.0125 | 0.063633
1188 | 10.9301 | 10.0028 | 0.031806
1189 | 10.9401 | 14.0071 | 0.044538
1190 | 10.9501 | 15.0006 | 0.047697
1191 | 10.9601 | 17.9966 | 0.057224
1192 | 10.9701 | 27.0067 | 0.085873
1193 | 10.9801 | 17.993 | 0.057212
1194 | 10.9901 | 13.0024 | 0.041343
1195 | 11.0001 | 15.0135 | 0.047738
1196 | 11.0101 | 14.0116 | 0.044553
1197 | 11.0201 | 14.0062 | 0.044536
1198 | 11.0301 | 14.9985 | 0.047691
1199 | 11.0401 | 11.9985 | 0.038151
1200 | 11.0501 | 9.9987 | 0.031793
1201 | 11.0601 | 14.0066 | 0.044537
1202 | 11.0701 | 11.0035 | 0.034988
1203 | 11.0801 | 6.991 | 0.022229
1204 | 11.0901 | 14.0008 | 0.044518
1205 | 11.1001 | 15.001 | 0.047698
1206 | 11.1101 | 13.0004 | 0.041337
1207 | 11.1201 | 16.0131 | 0.050917
1208 | 11.1301 | 11.9981 | 0.03815
1209 | 11.1401 | 12.9977 | 0.041329
1210 | 11.1501 | 15.0007 | 0.047698
1211 | 11.1601 | 14.9984 | 0.04769
1212 | 11.1701 | 12.0005 | 0.038158
1213 | 11.1801 | 12.0032 | 0.038166
1214 | 11.1901 | 11.0022 | 0.034984
1215 | 11.2001 | 14.0101 | 0.044548
1216 | 11.2101 | 16.0102 | 0.050908
1217 | 11.2201 | 5.9984 | 0.019073
1218 | 11.2301 | 17.0085 | 0.054082
1219 | 11.2401 | 11.993 | 0.038134
1220 | 11.2501 | 12.9893 | 0.041302
1221 | 11.2601 | 8.9899 | 0.028585
1222 | 11.2701 | 15.0053 | 0.047712
1223 | 11.2801 | 9.9949 | 0.031781
1224 | 11.2901 | 12 | 0.038156
1225 | 11.3001 | 12.0048 | 0.038171
1226 | 11.3101 | 20.0068 | 0.063615
1227 | 11.3201 | 10.9994 | 0.034975
1228 | 11.3301 | 15.0033 | 0.047706
1229 | 11.3401 | 14.9985 | 0.04769
1230 | 11.3501 | 13.0001 | 0.041336
1231 | 11.3601 | 13.0065 | 0.041357
1232 | 11.3701 | 11.0068 | 0.034998
1233 | 11.3801 | 17.01 | 0.054087
1234 | 11.3901 | 16.0087 | 0.050903
1235 | 11.4001 | 7.9937 | 0.025418
1236 | 11.4101 | 9.998 | 0.031791
1237 | 11.4201 | 7.9941 | 0.025419
1238 | 11.4301 | 15.0044 | 0.047709
1239 | 11.4401 | 12.0021 | 0.038163
1240 | 11.4501 | 10.0003 | 0.031798
1241 | 11.4601 | 13.0021 | 0.041343
1242 | 11.4701 | 10.0027 | 0.031805
1243 | 11.4801 | 18.0103 | 0.057267
1244 | 11.4901 | 13.0015 | 0.041341
1245 | 11.5001 | 12.997 | 0.041327
1246 | 11.5101 | 15.0038 | 0.047707
1247 | 11.5201 | 8.001 | 0.025441
1248 | 11.5301 | 10.0015 | 0.031802
1249 | 11.5401 | 11.0029 | 0.034986
1250 | 11.5501 | 19.007 | 0.060436
1251 | 11.5601 | 8.9879 | 0.028579
1252 | 11.5701 | 8.9892 | 0.028583
1253 | 11.5801 | 12.9957 | 0.041322
1254 | 11.5901 | 9.0004 | 0.028618
1255 | 11.6001 | 8.0022 | 0.025445
1256 | 11.6101 | 8.9992 | 0.028615
1257 | 11.6201 | 16.0099 | 0.050906
1258 | 11.6301 | 9.9975 | 0.031789
1259 | 11.6401 | 10.992 | 0.034951
1260 | 11.6501 | 11.9984 | 0.038151
1261 | 11.6601 | 15.0011 | 0.047699
1262 | 11.6701 | 20.008 | 0.063619
1263 | 11.6801 | 5.9958 | 0.019065
1264 | 11.6901 | 6.9984 | 0.022253
1265 | 11.7001 | 8.9999 | 0.028617
1266 | 11.7101 | 12.0053 | 0.038173
1267 | 11.7201 | 10.0014 | 0.031801
1268 | 11.7301 | 11.9984 | 0.038151
1269 | 11.7401 | 10.995 | 0.034961
1270 | 11.7501 | 3.9904 | 0.012688
1271 | 11.7601 | 7.0001 | 0.022258
1272 | 11.7701 | 11.0047 | 0.034992
1273 | 11.7801 | 7.9979 | 0.025431
1274 | 11.7901 | 18.0099 | 0.057266
1275 | 11.8001 | 9.9965 | 0.031786
1276 | 11.8101 | 14.0041 | 0.044529
1277 | 11.8201 | 16.0099 | 0.050906
1278 | 11.8301 | 10.0034 | 0.031808
1279 | 11.8401 | 13.0048 | 0.041351
1280 | 11.8501 | 9.0002 | 0.028618
1281 | 11.8601 | 7.9977 | 0.02543
1282 | 11.8701 | 9.9956 | 0.031783
1283 | 11.8801 | 16.0016 | 0.05088
1284 | 11.8901 | 14.0043 | 0.044529
1285 | 11.9001 | 10.0032 | 0.031807
1286 | 11.9101 | 12.008 | 0.038182
1287 | 11.9201 | 11.0055 | 0.034994
1288 | 11.9301 | 12.0021 | 0.038163
1289 | 11.9401 | 7.9942 | 0.025419
1290 | 11.9501 | 5.989 | 0.019043
1291 | 11.9601 | 12.0027 | 0.038165
1292 | 11.9701 | 14.0041 | 0.044529
1293 | 11.9801 | 12.0033 | 0.038167
1294 | 11.9901 | 16.0058 | 0.050893
1295 | 12.0001 | 14.0033 | 0.044526
1296 | 12.0101 | 16.0089 | 0.050903
1297 | 12.0201 | 7.9972 | 0.025429
1298 | 12.0301 | 7.9985 | 0.025433
1299 | 12.0401 | 7.9974 | 0.025429
1300 | 12.0501 | 7.9958 | 0.025424
1301 | 12.0601 | 20.0112 | 0.063629
1302 | 12.0701 | 3.9984 | 0.012714
1303 | 12.0801 | 12.0067 | 0.038178
1304 | 12.0901 | 14.0076 | 0.04454
1305 | 12.1001 | 7.9982 | 0.025432
1306 | 12.1101 | 11.9988 | 0.038153
1307 | 12.1201 | 12.9992 | 0.041333
1308 | 12.1301 | 13.0042 | 0.041349
1309 | 12.1401 | 4.9965 | 0.015887
1310 | 12.1501 | 14.0056 | 0.044533
1311 | 12.1601 | 11.007 | 0.034999
1312 | 12.1701 | 10.0047 | 0.031812
1313 | 12.1801 | 13.002 | 0.041342
1314 | 12.1901 | 12.0022 | 0.038163
1315 | 12.2001 | 7.9971 | 0.025428
1316 | 12.2101 | 5.9976 | 0.01907
1317 | 12.2201 | 3.9964 | 0.012707
1318 | 12.2301 | 14.0082 | 0.044542
1319 | 12.2401 | 7.0011 | 0.022261
1320 | 12.2501 | 11.0013 | 0.034981
1321 | 12.2601 | 14.003 | 0.044525
1322 | 12.2701 | 5.9978 | 0.019071
1323 | 12.2801 | 12.0056 | 0.038174
1324 | 12.2901 | 5.0002 | 0.015899
1325 | 12.3001 | 15.0065 | 0.047716
1326 | 12.3101 | 4.9952 | 0.015883
1327 | 12.3201 | 9.9969 | 0.031787
1328 | 12.3301 | 9.9948 | 0.03178
1329 | 12.3401 | 7.9953 | 0.025423
1330 | 12.3501 | 13.0033 | 0.041347
1331 | 12.3601 | 5.9998 | 0.019077
1332 | 12.3701 | 10.0083 | 0.031823
1333 | 12.3801 | 5.9978 | 0.019071
1334 | 12.3901 | 11.0023 | 0.034984
1335 | 12.4001 | 10.001 | 0.0318
1336 | 12.4101 | 8.994 | 0.028598
1337 | 12.4201 | 10.9999 | 0.034976
1338 | 12.4301 | 11.0035 | 0.034988
1339 | 12.4401 | 9.0033 | 0.028628
1340 | 12.4501 | 9.9987 | 0.031793
1341 | 12.4601 | 15.0067 | 0.047717
1342 | 12.4701 | 11.0025 | 0.034985
1343 | 12.4801 | 7.999 | 0.025434
1344 | 12.4901 | 6.9998 | 0.022257
1345 | 12.5001 | 7.0035 | 0.022269
1346 | 12.5101 | 10.0063 | 0.031817
1347 | 12.5201 | 6.9988 | 0.022254
1348 | 12.5301 | 9.0007 | 0.028619
1349 | 12.5401 | 16.0039 | 0.050888
1350 | 12.5501 | 6.9941 | 0.022239
1351 | 12.5601 | 6.9988 | 0.022254
1352 | 12.5701 | 12.0009 | 0.038159
1353 | 12.5801 | 9.0011 | 0.028621
1354 | 12.5901 | 8.0033 | 0.025448
1355 | 12.6001 | 7.9977 | 0.02543
1356 | 12.6101 | 12.0076 | 0.03818
1357 | 12.6201 | 15.0095 | 0.047726
1358 | 12.6301 | 7.0003 | 0.022259
1359 | 12.6401 | 9.9984 | 0.031792
1360 | 12.6501 | 10.9985 | 0.034972
1361 | 12.6601 | 7.998 | 0.025431
1362 | 12.6701 | 6.9956 | 0.022244
1363 | 12.6801 | 6.9997 | 0.022257
1364 | 12.6901 | 8.0018 | 0.025443
1365 | 12.7001 | 11.0053 | 0.034994
1366 | 12.7101 | 13.0081 | 0.041362
1367 | 12.7201 | 11.0025 | 0.034984
1368 | 12.7301 | 17.0092 | 0.054084
1369 | 12.7401 | 4.9921 | 0.015873
1370 | 12.7501 | 2.992 | 0.0095138
1371 | 12.7601 | 3.9993 | 0.012717
1372 | 12.7701 | 8.0024 | 0.025445
1373 | 12.7801 | 11.0079 | 0.035002
1374 | 12.7901 | 7.0028 | 0.022267
1375 | 12.8001 | 6.9985 | 0.022253
1376 | 12.8101 | 4.9949 | 0.015882
1377 | 12.8201 | 6.9967 | 0.022247
1378 | 12.8301 | 10.9954 | 0.034962
1379 | 12.8401 | 8 | 0.025438
1380 | 12.8501 | 10.0048 | 0.031812
1381 | 12.8601 | 8.0043 | 0.025451
1382 | 12.8701 | 1.9979 | 0.0063527
1383 | 12.8801 | 13.0029 | 0.041345
1384 | 12.8901 | 9.0032 | 0.028627
1385 | 12.9001 | 9.0017 | 0.028623
1386 | 12.9101 | 8.9991 | 0.028614
1387 | 12.9201 | 6.9987 | 0.022254
1388 | 12.9301 | 5.9954 | 0.019064
1389 | 12.9401 | 5.9957 | 0.019064
1390 | 12.9501 | 3.9973 | 0.01271
1391 | 12.9601 | 7.0014 | 0.022262
1392 | 12.9701 | 5.9994 | 0.019076
1393 | 12.9801 | 5.0034 | 0.015909
1394 | 12.9901 | 15.009 | 0.047724
1395 | 13.0001 | 15.0038 | 0.047707
1396 | 13.0101 | 10.0013 | 0.031801
1397 | 13.0201 | 4.9949 | 0.015882
1398 | 13.0301 | 14.0038 | 0.044528
1399 | 13.0401 | 8.001 | 0.025441
1400 | 13.0501 | 6.0005 | 0.01908
1401 | 13.0601 | 10.0053 | 0.031814
1402 | 13.0701 | 6.9983 | 0.022253
1403 | 13.0801 | 7.0001 | 0.022258
1404 | 13.0901 | 11.0056 | 0.034994
1405 | 13.1001 | 6.9949 | 0.022242
1406 | 13.1101 | 3.9948 | 0.012702
1407 | 13.1201 | 2.9969 | 0.0095292
1408 | 13.1301 | 6.9934 | 0.022237
1409 | 13.1401 | 3.9916 | 0.012692
1410 | 13.1501 | 10.0006 | 0.031799
1411 | 13.1601 | 4.9949 | 0.015882
1412 | 13.1701 | 10.0048 | 0.031812
1413 | 13.1801 | 4 | 0.012719
1414 | 13.1901 | 7.0024 | 0.022266
1415 | 13.2001 | 5.9997 | 0.019077
1416 | 13.2101 | 8.9998 | 0.028616
1417 | 13.2201 | 2.9903 | 0.0095084
1418 | 13.2301 | 4.9941 | 0.01588
1419 | 13.2401 | 8.0001 | 0.025438
1420 | 13.2501 | 11.0074 | 0.035
1421 | 13.2601 | 5.0003 | 0.015899
1422 | 13.2701 | 6.0024 | 0.019086
1423 | 13.2801 | 8.0039 | 0.02545
1424 | 13.2901 | 7.0004 | 0.022259
1425 | 13.3001 | 8.0004 | 0.025439
1426 | 13.3101 | 15.0055 | 0.047713
1427 | 13.3201 | 12.0016 | 0.038161
1428 | 13.3301 | 10.0013 | 0.031801
1429 | 13.3401 | 4.9957 | 0.015885
1430 | 13.3501 | 8.0017 | 0.025443
1431 | 13.3601 | 9.008 | 0.028643
1432 | 13.3701 | 4.003 | 0.012728
1433 | 13.3801 | 10.0086 | 0.031824
1434 | 13.3901 | 13.0029 | 0.041345
1435 | 13.4001 | 6.9953 | 0.022243
1436 | 13.4101 | 9.0006 | 0.028619
1437 | 13.4201 | 6.9978 | 0.022251
1438 | 13.4301 | 7.9977 | 0.02543
1439 | 13.4401 | 5.998 | 0.019072
1440 | 13.4501 | 8.0039 | 0.02545
1441 | 13.4601 | 3.9957 | 0.012705
1442 | 13.4701 | 6.0006 | 0.01908
1443 | 13.4801 | 9.0039 | 0.02863
1444 | 13.4901 | 11.0059 | 0.034995
1445 | 13.5001 | 7.0042 | 0.022271
1446 | 13.5101 | 3.9962 | 0.012707
1447 | 13.5201 | 4.996 | 0.015886
1448 | 13.5301 | 8.0005 | 0.025439
1449 | 13.5401 | 3.9947 | 0.012702
1450 | 13.5501 | 10.0044 | 0.031811
1451 | 13.5601 | 3.9991 | 0.012716
1452 | 13.5701 | 4.0015 | 0.012724
1453 | 13.5801 | 5.0003 | 0.015899
1454 | 13.5901 | 6.9999 | 0.022258
1455 | 13.6001 | 4.997 | 0.015889
1456 | 13.6101 | 5.9997 | 0.019077
1457 | 13.6201 | 9.0035 | 0.028628
1458 | 13.6301 | 8.0025 | 0.025445
1459 | 13.6401 | 4.9992 | 0.015896
1460 | 13.6501 | 5.0004 | 0.0159
1461 | 13.6601 | 3.9984 | 0.012714
1462 | 13.6701 | 3.9943 | 0.012701
1463 | 13.6801 | 6.9983 | 0.022252
1464 | 13.6901 | 9.0031 | 0.028627
1465 | 13.7001 | 11.0035 | 0.034988
1466 | 13.7101 | 2.9967 | 0.0095286
1467 | 13.7201 | 7.0041 | 0.022271
1468 | 13.7301 | 5.9982 | 0.019072
1469 | 13.7401 | 7.9995 | 0.025436
1470 | 13.7501 | 5.9997 | 0.019077
1471 | 13.7601 | 4.0013 | 0.012723
1472 | 13.7701 | 8.0043 | 0.025451
1473 | 13.7801 | 5.0024 | 0.015906
1474 | 13.7901 | 7.0049 | 0.022273
1475 | 13.8001 | 7.001 | 0.022261
1476 | 13.8101 | 4.9969 | 0.015889
1477 | 13.8201 | 3.9979 | 0.012712
1478 | 13.8301 | 3.9969 | 0.012709
1479 | 13.8401 | 3.997 | 0.012709
1480 | 13.8501 | 7.0008 | 0.02226
1481 | 13.8601 | 7.9991 | 0.025435
1482 | 13.8701 | 7.001 | 0.022261
1483 | 13.8801 | 2.9982 | 0.0095333
1484 | 13.8901 | 6.9996 | 0.022257
1485 | 13.9001 | 4.9992 | 0.015896
1486 | 13.9101 | 1.9989 | 0.0063558
1487 | 13.9201 | 2.9994 | 0.0095372
1488 | 13.9301 | 8.0031 | 0.025447
1489 | 13.9401 | 3.9942 | 0.0127
1490 | 13.9501 | 5.9989 | 0.019075
1491 | 13.9601 | 3.9993 | 0.012717
1492 | 13.9701 | 5.9994 | 0.019076
1493 | 13.9801 | 2.0006 | 0.0063613
1494 | 13.9901 | 4.0015 | 0.012723
1495 | 14.0001 | 6.0027 | 0.019087
1496 | 14.0101 | 7.0036 | 0.022269
1497 | 14.0201 | 3.9979 | 0.012712
1498 | 14.0301 | 3.9988 | 0.012715
1499 | 14.0401 | 3.9996 | 0.012717
1500 | 14.0501 | 7.0013 | 0.022262
1501 | 14.0601 | 5.9991 | 0.019075
1502 | 14.0701 | 8.0014 | 0.025442
1503 | 14.0801 | 8.0028 | 0.025446
1504 | 14.0901 | 8.003 | 0.025447
1505 | 14.1001 | 5.0027 | 0.015907
1506 | 14.1101 | 4.0018 | 0.012725
1507 | 14.1201 | 2.0002 | 0.0063601
1508 | 14.1301 | 8.002 | 0.025444
1509 | 14.1401 | 3.996 | 0.012706
1510 | 14.1501 | 4.9956 | 0.015884
1511 | 14.1601 | 11.0007 | 0.034979
1512 | 14.1701 | 4.9995 | 0.015897
1513 | 14.1801 | 4.0023 | 0.012726
1514 | 14.1901 | 3.0029 | 0.0095482
1515 | 14.2001 | 10.009 | 0.031826
1516 | 14.2101 | 1.9986 | 0.006355
1517 | 14.2201 | 5.0009 | 0.015901
1518 | 14.2301 | 5.0008 | 0.015901
1519 | 14.2401 | 4.9972 | 0.01589
1520 | 14.2501 | 0.99251 | 0.0031559
1521 | 14.2601 | 2.9986 | 0.0095345
1522 | 14.2701 | 5.9995 | 0.019077
1523 | 14.2801 | 4.9989 | 0.015895
1524 | 14.2901 | 7.0037 | 0.022269
1525 | 14.3001 | 7.003 | 0.022267
1526 | 14.3101 | 5.0022 | 0.015905
1527 | 14.3201 | 7.006 | 0.022277
1528 | 14.3301 | 3.9988 | 0.012715
1529 | 14.3401 | 2.9926 | 0.0095157
1530 | 14.3501 | 9.002 | 0.028623
1531 | 14.3601 | 0.99425 | 0.0031614
1532 | 14.3701 | 3.9987 | 0.012715
1533 | 14.3801 | 4.0017 | 0.012724
1534 | 14.3901 | 9.0043 | 0.028631
1535 | 14.4001 | 6.0033 | 0.019089
1536 | 14.4101 | 5.0015 | 0.015903
1537 | 14.4201 | 7.0033 | 0.022268
1538 | 14.4301 | 4.0015 | 0.012724
1539 | 14.4401 | 3.9975 | 0.012711
1540 | 14.4501 | 3.9998 | 0.012718
1541 | 14.4601 | 2.9994 | 0.009537
1542 | 14.4701 | 5.0002 | 0.015899
1543 | 14.4801 | 2.997 | 0.0095294
1544 | 14.4901 | 9.0027 | 0.028626
1545 | 14.5001 | 4.9995 | 0.015897
1546 | 14.5101 | 1.9994 | 0.0063574
1547 | 14.5201 | 4.0024 | 0.012726
1548 | 14.5301 | 1.9986 | 0.006355
1549 | 14.5401 | 5.0018 | 0.015904
1550 | 14.5501 | 4.9988 | 0.015895
1551 | 14.5601 | 5.9993 | 0.019076
1552 | 14.5701 | 4.9995 | 0.015897
1553 | 14.5801 | 11.0015 | 0.034981
1554 | 14.5901 | 2.9987 | 0.0095349
1555 | 14.6001 | 3.0015 | 0.009544
1556 | 14.6101 | 1.9973 | 0.0063508
1557 | 14.6201 | 5.0022 | 0.015905
1558 | 14.6301 | 7.0042 | 0.022271
1559 | 14.6401 | 1.9964 | 0.006348
1560 | 14.6501 | 4.999 | 0.015895
1561 | 14.6601 | 6.001 | 0.019081
1562 | 14.6701 | 4.9981 | 0.015892
1563 | 14.6801 | 6.9995 | 0.022256
1564 | 14.6901 | 5.0012 | 0.015902
1565 | 14.7001 | 4.0014 | 0.012723
1566 | 14.7101 | 4.0026 | 0.012727
1567 | 14.7201 | 5.0041 | 0.015911
1568 | 14.7301 | -6.6342e-07 | -2.109e-09
1569 | 14.7401 | 5.002 | 0.015905
1570 | 14.7501 | 7.0042 | 0.022271
1571 | 14.7601 | 4.0008 | 0.012721
1572 | 14.7701 | 6.0036 | 0.019089
1573 | 14.7801 | 6.0009 | 0.019081
1574 | 14.7901 | 4.0006 | 0.012721
1575 | 14.8001 | 3.0003 | 0.0095401
1576 | 14.8101 | 3.9997 | 0.012718
1577 | 14.8201 | 7.0034 | 0.022269
1578 | 14.8301 | 3.002 | 0.0095453
1579 | 14.8401 | 4.0015 | 0.012723
1580 | 14.8501 | 10.0065 | 0.031818
1581 | 14.8601 | 5.0021 | 0.015905
1582 | 14.8701 | 3.9989 | 0.012715
1583 | 14.8801 | 10.0008 | 0.031799
1584 | 14.8901 | 8.0021 | 0.025444
1585 | 14.9001 | 5.0023 | 0.015906
1586 | 14.9101 | 7.005 | 0.022274
1587 | 14.9201 | 2.9999 | 0.0095388
1588 | 14.9301 | 5.0004 | 0.0159
1589 | 14.9401 | 2.9976 | 0.0095316
1590 | 14.9501 | 4.998 | 0.015892
1591 | 14.9601 | 4.9991 | 0.015896
1592 | 14.9701 | 9.0034 | 0.028628
1593 | 14.9801 | 5.0017 | 0.015904
1594 | 14.9901 | 4.0021 | 0.012725
1595 | 15.0001 | 0.99829 | 0.0031742
1596 | 15.0101 | 5.0002 | 0.015899
1597 | 15.0201 | 1.9999 | 0.0063591
1598 | 15.0301 | 2.9995 | 0.0095374
1599 | 15.0401 | 4.0003 | 0.01272
1600 | 15.0501 | 5.0019 | 0.015905
1601 | 15.0601 | 5.0007 | 0.015901
1602 | 15.0701 | 5.0011 | 0.015902
1603 | 15.0801 | 4.0017 | 0.012724
1604 | 15.0901 | 6.0041 | 0.019091
1605 | 15.1001 | 4.0016 | 0.012724
1606 | 15.1101 | 0.00072691 | 2.3114e-06
1607 | 15.1201 | 1.0003 | 0.0031806
1608 | 15.1301 | 0.99882 | 0.0031759
1609 | 15.1401 | 9.0049 | 0.028633
1610 | 15.1501 | 6.001 | 0.019081
1611 | 15.1601 | 2.9968 | 0.0095289
1612 | 15.1701 | 5.9996 | 0.019077
1613 | 15.1801 | 7.0047 | 0.022273
1614 | 15.1901 | 5.0046 | 0.015913
1615 | 15.2001 | 1.0009 | 0.0031826
1616 | 15.2101 | 7.0062 | 0.022277
1617 | 15.2201 | 2.9979 | 0.0095323
1618 | 15.2301 | 3.9955 | 0.012704
1619 | 15.2401 | 1.9961 | 0.006347
1620 | 15.2501 | 1.9973 | 0.0063507
1621 | 15.2601 | 6.0026 | 0.019087
1622 | 15.2701 | 5.0024 | 0.015906
1623 | 15.2801 | 3.0012 | 0.0095428
1624 | 15.2901 | 6.0041 | 0.019091
1625 | 15.3001 | 2.0011 | 0.0063628
1626 | 15.3101 | 3.9997 | 0.012718
1627 | 15.3201 | 0 | 0
1628 | 15.3301 | 3.9981 | 0.012713
1629 | 15.3401 | 3.9986 | 0.012714
1630 | 15.3501 | 5.0018 | 0.015904
1631 | 15.3601 | 1.9996 | 0.0063582
1632 | 15.3701 | 3.0005 | 0.0095407
1633 | 15.3801 | 4.0018 | 0.012725
1634 | 15.3901 | 4.0023 | 0.012726
1635 | 15.4001 | 1.9993 | 0.0063573
1636 | 15.4101 | 4.0024 | 0.012726
1637 | 15.4201 | 7.0054 | 0.022275
1638 | 15.4301 | 3.9985 | 0.012714
1639 | 15.4401 | 2.9964 | 0.0095275
1640 | 15.4501 | 4.9982 | 0.015893
1641 | 15.4601 | 3.9998 | 0.012718
1642 | 15.4701 | 0 | 0
1643 | 15.4801 | 6.0032 | 0.019088
1644 | 15.4901 | 3.9991 | 0.012716
1645 | 15.5001 | 2.9998 | 0.0095385
1646 | 15.5101 | 0 | 0
1647 | 15.5201 | 2.9995 | 0.0095376
1648 | 15.5301 | 0.99675 | 0.0031693
1649 | 15.5401 | 0.99818 | 0.0031739
1650 | 15.5501 | 4.0007 | 0.012721
1651 | 15.5601 | 4.9994 | 0.015896
1652 | 15.5701 | 2.9997 | 0.009538
1653 | 15.5801 | 4.0014 | 0.012723
1654 | 15.5901 | 4.0013 | 0.012723
1655 | 15.6001 | 3.9997 | 0.012718
1656 | 15.6101 | 6.0025 | 0.019086
1657 | 15.6201 | 1.9997 | 0.0063584
1658 | 15.6301 | 3.0017 | 0.0095445
1659 | 15.6401 | 5.0029 | 0.015908
1660 | 15.6501 | 4.0025 | 0.012727
1661 | 15.6601 | 0.99908 | 0.0031768
1662 | 15.6701 | 1.9983 | 0.006354
1663 | 15.6801 | 3 | 0.009539
1664 | 15.6901 | 7.0049 | 0.022274
1665 | 15.7001 | 1.9998 | 0.0063589
1666 | 15.7101 | 2.0006 | 0.0063612
1667 | 15.7201 | 4.0017 | 0.012724
1668 | 15.7301 | 0 | 0
1669 | 15.7401 | 1.9996 | 0.006358
1670 | 15.7501 | 0.99908 | 0.0031768
1671 | 15.7601 | 2.0011 | 0.0063629
1672 | 15.7701 | 4.0036 | 0.01273
1673 | 15.7801 | 1.9978 | 0.0063524
1674 | 15.7901 | 1.9981 | 0.0063533
1675 | 15.8001 | 2.9983 | 0.0095335
1676 | 15.8101 | 3.9979 | 0.012712
1677 | 15.8201 | 2.9983 | 0.0095338
1678 | 15.8301 | 1.9964 | 0.006348
1679 | 15.8401 | 2.9976 | 0.0095315
1680 | 15.8501 | 0.99941 | 0.0031778
1681 | 15.8601 | 2.0016 | 0.0063645
1682 | 15.8701 | 1.0009 | 0.0031826
1683 | 15.8801 | 4.0017 | 0.012724
1684 | 15.8901 | 4.0023 | 0.012726
1685 | 15.9001 | 5.0022 | 0.015906
1686 | 15.9101 | 5.0017 | 0.015904
1687 | 15.9201 | 1.9984 | 0.0063544
1688 | 15.9301 | 0 | 0
1689 | 15.9401 | 0 | 0
1690 | 15.9501 | 0.99943 | 0.0031779
1691 | 15.9601 | 3.0017 | 0.0095444
1692 | 15.9701 | 0.99731 | 0.0031711
1693 | 15.9801 | 1.998 | 0.0063529
1694 | 15.9901 | 5.0009 | 0.015901
1695 | 16.0001 | 5.0018 | 0.015904
1696 | 16.0101 | 0.99987 | 0.0031793
1697 | 16.0201 | 4.0022 | 0.012726
1698 | 16.0301 | 3.0002 | 0.0095397
1699 | 16.0401 | 1.9997 | 0.0063585
1700 | 16.0501 | 3.0004 | 0.0095402
1701 | 16.0601 | 0.99931 | 0.0031775
1702 | 16.0701 | 0 | 0
1703 | 16.0801 | 3.9996 | 0.012717
1704 | 16.0901 | 7.0045 | 0.022272
1705 | 16.1001 | 2.0014 | 0.0063637
1706 | 16.1101 | 4.0024 | 0.012727
1707 | 16.1201 | 1.9972 | 0.0063506
1708 | 16.1301 | 0.99765 | 0.0031722
1709 | 16.1401 | 3.0004 | 0.0095403
1710 | 16.1501 | 0.99592 | 0.0031667
1711 | 16.1601 | 1.9981 | 0.0063532
1712 | 16.1701 | 0.99903 | 0.0031766
1713 | 16.1801 | 1.0001 | 0.00318
1714 | 16.1901 | 5.0012 | 0.015902
1715 | 16.2001 | 0.99738 | 0.0031714
1716 | 16.2101 | 1.9984 | 0.0063542
1717 | 16.2201 | 1.9994 | 0.0063576
1718 | 16.2301 | 4.0009 | 0.012722
1719 | 16.2401 | 3.0017 | 0.0095444
1720 | 16.2501 | 3.0024 | 0.0095467
1721 | 16.2601 | 0.99928 | 0.0031774
1722 | 16.2701 | 0.9969 | 0.0031698
1723 | 16.2801 | 2.9998 | 0.0095383
1724 | 16.2901 | 1.9994 | 0.0063575
1725 | 16.3001 | 4.0022 | 0.012726
1726 | 16.3101 | 3.0022 | 0.0095462
1727 | 16.3201 | 3.0013 | 0.0095433
1728 | 16.3301 | 6.0034 | 0.019089
1729 | 16.3401 | 0.99995 | 0.0031795
1730 | 16.3501 | 0.99822 | 0.003174
1731 | 16.3601 | 4.0019 | 0.012725
1732 | 16.3701 | 0.99818 | 0.0031739
1733 | 16.3801 | 2 | 0.0063593
1734 | 16.3901 | 3.9996 | 0.012718
1735 | 16.4001 | 3.0006 | 0.009541
1736 | 16.4101 | 1.9993 | 0.0063572
1737 | 16.4201 | 4.0024 | 0.012726
1738 | 16.4301 | 4.0031 | 0.012729
1739 | 16.4401 | 1.0005 | 0.0031812
1740 | 16.4501 | 0.99972 | 0.0031788
1741 | 16.4601 | 0 | 0
1742 | 16.4701 | 0 | 0
1743 | 16.4801 | 0.99968 | 0.0031787
1744 | 16.4901 | 0.99809 | 0.0031736
1745 | 16.5001 | 0 | 0
1746 | 16.5101 | 0.99866 | 0.0031754
1747 | 16.5201 | 0 | 0
1748 | 16.5301 | 3.0005 | 0.0095407
1749 | 16.5401 | 0.00035452 | 1.1273e-06
1750 | 16.5501 | 1.0004 | 0.0031811
1751 | 16.5601 | 2 | 0.0063595
1752 | 16.5701 | 0.99976 | 0.0031789
1753 | 16.5801 | 0 | 0
1754 | 16.5901 | 1.9993 | 0.0063571
1755 | 16.6001 | 0.99949 | 0.0031781
1756 | 16.6101 | 0.99995 | 0.0031795
1757 | 16.6201 | 3.0007 | 0.0095414
1758 | 16.6301 | 6.0042 | 0.019091
1759 | 16.6401 | 2 | 0.0063592
1760 | 16.6501 | 0.99933 | 0.0031776
1761 | 16.6601 | 0.99905 | 0.0031767
1762 | 16.6701 | 3.0006 | 0.009541
1763 | 16.6801 | 3.0004 | 0.0095404
1764 | 16.6901 | 3.0013 | 0.0095433
1765 | 16.7001 | 4.0026 | 0.012727
1766 | 16.7101 | 3.0001 | 0.0095392
1767 | 16.7201 | 3.0005 | 0.0095406
1768 | 16.7301 | 0.99987 | 0.0031793
1769 | 16.7401 | 0.99994 | 0.0031795
1770 | 16.7501 | 2.0009 | 0.0063623
1771 | 16.7601 | 3 | 0.0095392
1772 | 16.7701 | 0 | 0
1773 | 16.7801 | 2.0005 | 0.0063611
1774 | 16.7901 | 1.0003 | 0.0031807
1775 | 16.8001 | 1.0006 | 0.0031815
1776 | 16.8101 | 2.0017 | 0.0063647
1777 | 16.8201 | 1.0005 | 0.0031813
1778 | 16.8301 | 0 | 0
1779 | 16.8401 | 0 | 0
1780 | 16.8501 | 0.99817 | 0.0031739
1781 | 16.8601 | 0 | 0
1782 | 16.8701 | 0 | 0
1783 | 16.8801 | 0.9996 | 0.0031784
1784 | 16.8901 | 1.0003 | 0.0031807
1785 | 16.9001 | 2.0004 | 0.0063607
1786 | 16.9101 | 3.0017 | 0.0095445
1787 | 16.9201 | 3.0009 | 0.009542
1788 | 16.9301 | 0 | 0
1789 | 16.9401 | 0 | 0
1790 | 16.9501 | 0 | 0
1791 | 16.9601 | 0 | 0
1792 | 16.9701 | 4.0025 | 0.012727
1793 | 16.9801 | 5.004 | 0.015911
1794 | 16.9901 | 2.0012 | 0.0063633
1795 | 17.0001 | 2.0001 | 0.0063597
1796 | 17.0101 | 0.99976 | 0.0031789
1797 | 17.0201 | 2.0009 | 0.0063623
1798 | 17.0301 | 0.99912 | 0.0031769
1799 | 17.0401 | 0.99985 | 0.0031792
1800 | 17.0501 | 0.00015207 | 4.8353e-07
1801 | 17.0601 | 3.0018 | 0.0095449
1802 | 17.0701 | 1.0001 | 0.0031801
1803 | 17.0801 | 4.0019 | 0.012725
1804 | 17.0901 | 2.0007 | 0.0063615
1805 | 17.1001 | 1.0003 | 0.0031806
1806 | 17.1101 | 1.0004 | 0.0031809
1807 | 17.1201 | 1.0003 | 0.0031808
1808 | 17.1301 | 1.0004 | 0.0031809
1809 | 17.1401 | 0.99931 | 0.0031775
1810 | 17.1501 | 1.9996 | 0.0063582
1811 | 17.1601 | 0 | 0
1812 | 17.1701 | 0 | 0
1813 | 17.1801 | 4.0018 | 0.012725
1814 | 17.1901 | 4.0016 | 0.012724
1815 | 17.2001 | 4.0026 | 0.012727
1816 | 17.2101 | 1.0004 | 0.003181
1817 | 17.2201 | 1.0003 | 0.0031807
1818 | 17.2301 | 2.0002 | 0.0063601
1819 | 17.2401 | 4.0025 | 0.012727
1820 | 17.2501 | 1.0001 | 0.0031801
1821 | 17.2601 | 2.0001 | 0.0063598
1822 | 17.2701 | 2.0008 | 0.006362
1823 | 17.2801 | 3.0021 | 0.0095458
1824 | 17.2901 | 1.0002 | 0.0031803
1825 | 17.3001 | 2.0011 | 0.0063628
1826 | 17.3101 | 4.0019 | 0.012725
1827 | 17.3201 | 0.9997 | 0.0031787
1828 | 17.3301 | 1.0001 | 0.0031799
1829 | 17.3401 | 1.0001 | 0.0031799
1830 | 17.3501 | 3.002 | 0.0095456
1831 | 17.3601 | 1.0004 | 0.0031809
1832 | 17.3701 | 1.0002 | 0.0031803
1833 | 17.3801 | 0 | 0
1834 | 17.3901 | 1.0001 | 0.0031801
1835 | 17.4001 | 0 | 0
1836 | 17.4101 | 0.99966 | 0.0031786
1837 | 17.4201 | 2.001 | 0.0063626
1838 | 17.4301 | 1.0001 | 0.0031801
1839 | 17.4401 | 7.4729e-05 | 2.3761e-07
1840 | 17.4501 | 1.0004 | 0.0031811
1841 | 17.4601 | 0.00019121 | 6.08e-07
1842 | 17.4701 | 1.0002 | 0.0031804
1843 | 17.4801 | 2.0011 | 0.0063628
1844 | 17.4901 | 1.0003 | 0.0031807
1845 | 17.5001 | 0.99932 | 0.0031775
1846 | 17.5101 | 0 | 0
1847 | 17.5201 | 0.00012281 | 3.9051e-07
1848 | 17.5301 | 4.0029 | 0.012728
1849 | 17.5401 | 2.0002 | 0.0063599
1850 | 17.5501 | 3.0018 | 0.0095449
1851 | 17.5601 | 3.0021 | 0.0095459
1852 | 17.5701 | 2.0002 | 0.0063602
1853 | 17.5801 | 4.0028 | 0.012728
1854 | 17.5901 | 3.0023 | 0.0095464
1855 | 17.6001 | 0 | 0
1856 | 17.6101 | 0 | 0
1857 | 17.6201 | 0 | 0
1858 | 17.6301 | 1.9997 | 0.0063584
1859 | 17.6401 | 0 | 0
1860 | 17.6501 | 1.0004 | 0.0031808
1861 | 17.6601 | 1.0003 | 0.0031807
1862 | 17.6701 | 2.0014 | 0.0063637
1863 | 17.6801 | 2.0014 | 0.0063637
1864 | 17.6901 | 0 | 0
1865 | 17.7001 | 1.0004 | 0.0031809
1866 | 17.7101 | 0.00011207 | 3.5635e-07
1867 | 17.7201 | 3.002 | 0.0095453
1868 | 17.7301 | 2.0013 | 0.0063636
1869 | 17.7401 | 2.0013 | 0.0063635
1870 | 17.7501 | 0.99923 | 0.0031772
1871 | 17.7601 | 0 | 0
1872 | 17.7701 | 1.0002 | 0.0031803
1873 | 17.7801 | 1.9992 | 0.0063569
1874 | 17.7901 | 0.99956 | 0.0031783
1875 | 17.8001 | 1.0004 | 0.003181
1876 | 17.8101 | 6.2486e-05 | 1.9869e-07
1877 | 17.8201 | 2.0012 | 0.0063632
1878 | 17.8301 | 3.0013 | 0.0095432
1879 | 17.8401 | 0 | 0
1880 | 17.8501 | 0 | 0
1881 | 17.8601 | 1.0002 | 0.0031803
1882 | 17.8701 | 4.0029 | 0.012728
1883 | 17.8801 | 1.0003 | 0.0031805
1884 | 17.8901 | 1.0003 | 0.0031806
1885 | 17.9001 | 4.0029 | 0.012728
1886 | 17.9101 | 2.0012 | 0.0063632
1887 | 17.9201 | 1.0003 | 0.0031807
1888 | 17.9301 | 0 | 0
1889 | 17.9401 | 3.0021 | 0.0095456
1890 | 17.9501 | 2.0012 | 0.0063631
1891 | 17.9601 | 2.0012 | 0.0063631
1892 | 17.9701 | 1.0003 | 0.0031806
1893 | 17.9801 | 2.0012 | 0.0063631
1894 | 17.9901 | 0 | 0
1895 | 18.0001 | 0 | 0
1896 | 18.0101 | 1.0003 | 0.0031806
1897 | 18.0201 | 3.002 | 0.0095456
1898 | 18.0301 | 1.0003 | 0.0031806
1899 | 18.0401 | 1.0003 | 0.0031806
1900 | 18.0501 | 0 | 0
1901 | 18.0601 | 0 | 0
1902 | 18.0701 | 1.0002 | 0.0031803
1903 | 18.0801 | 1.0002 | 0.0031803
1904 | 18.0901 | 0 | 0
1905 | 18.1001 | 2.0011 | 0.0063629
1906 | 18.1101 | 0 | 0
1907 | 18.1201 | 2.0011 | 0.0063629
1908 | 18.1301 | 0 | 0
1909 | 18.1401 | 3.002 | 0.0095455
1910 | 18.1501 | 0 | 0
1911 | 18.1601 | 2.0011 | 0.006363
1912 | 18.1701 | 0 | 0
1913 | 18.1801 | 0 | 0
1914 | 18.1901 | 0 | 0
1915 | 18.2001 | 1.0004 | 0.0031808
1916 | 18.2101 | 3.0022 | 0.0095459
1917 | 18.2201 | 1.0004 | 0.003181
1918 | 18.2301 | 0 | 0
1919 | 18.2401 | 2.0013 | 0.0063635
1920 | 18.2501 | 2.0013 | 0.0063635
1921 | 18.2601 | 1.0004 | 0.003181
1922 | 18.2701 | 1.0004 | 0.003181
1923 | 18.2801 | 1.0004 | 0.003181
1924 | 18.2901 | 0 | 0
1925 | 18.3001 | 0 | 0
1926 | 18.3101 | 1.0004 | 0.003181
1927 | 18.3201 | 0 | 0
1928 | 18.3301 | 1.0004 | 0.0031811
1929 | 18.3401 | 1.0004 | 0.003181
1930 | 18.3501 | 0 | 0
1931 | 18.3601 | 0 | 0
1932 | 18.3701 | 1.0004 | 0.0031808
1933 | 18.3801 | 0 | 0
1934 | 18.3901 | 1.0003 | 0.0031807
1935 | 18.4001 | 0 | 0
1936 | 18.4101 | 1.0003 | 0.0031806
1937 | 18.4201 | 1.0003 | 0.0031806
1938 | 18.4301 | 1.0003 | 0.0031805
1939 | 18.4401 | 0 | 0
1940 | 18.4501 | 0 | 0
1941 | 18.4601 | 2.0012 | 0.0063632
1942 | 18.4701 | 1.0003 | 0.0031806
1943 | 18.4801 | 0 | 0
1944 | 18.4901 | 0 | 0
1945 | 18.5001 | 0 | 0
1946 | 18.5101 | 2.0013 | 0.0063634
1947 | 18.5201 | 1.0004 | 0.0031809
1948 | 18.5301 | 0 | 0
1949 | 18.5401 | 0 | 0
1950 | 18.5501 | 0 | 0
1951 | 18.5601 | 0 | 0
1952 | 18.5701 | 0 | 0
1953 | 18.5801 | 1.0005 | 0.0031813
1954 | 18.5901 | 2.0014 | 0.0063638
1955 | 18.6001 | 1.0005 | 0.0031813
1956 | 18.6101 | 2.0014 | 0.0063638
1957 | 18.6201 | 0 | 0
1958 | 18.6301 | 1.0005 | 0.0031812
1959 | 18.6401 | 0 | 0
1960 | 18.6501 | 1.0004 | 0.0031811
1961 | 18.6601 | 0 | 0
1962 | 18.6701 | 1.0004 | 0.0031811
1963 | 18.6801 | 1.0004 | 0.0031811
1964 | 18.6901 | 1.0004 | 0.0031811
1965 | 18.7001 | 0 | 0
1966 | 18.7101 | 1.0004 | 0.003181
1967 | 18.7201 | 0 | 0
1968 | 18.7301 | 0 | 0
1969 | 18.7401 | 0 | 0
1970 | 18.7501 | 1.0004 | 0.0031808
1971 | 18.7601 | 0 | 0
1972 | 18.7701 | 0 | 0
1973 | 18.7801 | 1.0004 | 0.003181
1974 | 18.7901 | 0 | 0
1975 | 18.8001 | 0 | 0
1976 | 18.8101 | 0 | 0
1977 | 18.8201 | 0 | 0
1978 | 18.8301 | 1.0004 | 0.0031811
1979 | 18.8401 | 0 | 0
1980 | 18.8501 | 0 | 0
1981 | 18.8601 | 0 | 0
1982 | 18.8701 | 0 | 0
1983 | 18.8801 | 0 | 0
1984 | 18.8901 | 1.0005 | 0.0031812
1985 | 18.9001 | 1.0005 | 0.0031812
1986 | 18.9101 | 1.0004 | 0.0031811
1987 | 18.9201 | 0 | 0
1988 | 18.9301 | 1.0004 | 0.003181
1989 | 18.9401 | 1.0004 | 0.003181
1990 | 18.9501 | 0 | 0
1991 | 18.9601 | 0 | 0
1992 | 18.9701 | 0 | 0
1993 | 18.9801 | 1.0004 | 0.003181
1994 | 18.9901 | 0 | 0
1995 | 19.0001 | 0 | 0
1996 | 19.0101 | 1.0004 | 0.003181
1997 | 19.0201 | 0 | 0
1998 | 19.0301 | 0 | 0
1999 | 19.0401 | 0 | 0
2000 | 19.0501 | 0 | 0
2001 | 19.0601 | 1.0004 | 0.0031811
2002 | 19.0701 | 0 | 0
2003 | 19.0801 | 0 | 0
2004 | 19.0901 | 0 | 0
2005 | 19.1001 | 0 | 0
2006 | 19.1101 | 0 | 0
2007 | 19.1201 | 0 | 0
2008 | 19.1301 | 0 | 0
2009 | 19.1401 | 0 | 0
2010 | 19.1501 | 1.0005 | 0.0031814
2011 | 19.1601 | 0 | 0
2012 | 19.1701 | 0 | 0
2013 | 19.1801 | 0 | 0
2014 | 19.1901 | 0 | 0
2015 | 19.2001 | 0 | 0
2016 | 19.2101 | 0 | 0
2017 | 19.2201 | 0 | 0
2018 | 19.2301 | 0 | 0
2019 | 19.2401 | 0 | 0
2020 | 19.2501 | 1.0005 | 0.0031814
2021 | 19.2601 | 0 | 0
2022 | 19.2701 | 0 | 0
2023 | 19.2801 | 0 | 0
2024 | 19.2901 | 1.0004 | 0.0031811
2025 | 19.3001 | 0 | 0
2026 | 19.3101 | 0 | 0
2027 | 19.3201 | 1.0004 | 0.0031811
2028 | 19.3301 | 0 | 0
2029 | 19.3401 | 0 | 0
2030 | 19.3501 | 1.0005 | 0.0031813
2031 | 19.3601 | 0 | 0
2032 | 19.3701 | 1.0006 | 0.0031814
2033 | 19.3801 | 1.0005 | 0.0031814
2034 | 19.3901 | 0 | 0
2035 | 19.4001 | 0 | 0
2036 | 19.4101 | 0 | 0
2037 | 19.4201 | 0 | 0
2038 | 19.4301 | 0 | 0
2039 | 19.4401 | 0 | 0
2040 | 19.4501 | 0 | 0
2041 | 19.4601 | 0 | 0
2042 | 19.4701 | 0 | 0
2043 | 19.4801 | 0 | 0
2044 | 19.4901 | 0 | 0
2045 | 19.5001 | 1.0005 | 0.0031814
2046 | 19.5101 | 0 | 0
2047 | 19.5201 | 0 | 0
2048 | 19.5301 | 2.0014 | 0.006364
2049 | 19.5401 | 0 | 0
2050 | 19.5501 | 0 | 0
2051 | 19.5601 | 0 | 0
2052 | 19.5701 | 0 | 0
2053 | 19.5801 | 1.0005 | 0.0031814
2054 | 19.5901 | 0 | 0
2055 | 19.6001 | 0 | 0
2056 | 19.6101 | 0 | 0
2057 | 19.6201 | 0 | 0
2058 | 19.6301 | 0 | 0
2059 | 19.6401 | 0 | 0
2060 | 19.6501 | 0 | 0
2061 | 19.6601 | 0 | 0
2062 | 19.6701 | 0 | 0
2063 | 19.6801 | 0 | 0
2064 | 19.6901 | 0 | 0
2065 | 19.7001 | 0 | 0
2066 | 19.7101 | 0 | 0
2067 | 19.7201 | 0 | 0
2068 | 19.7301 | 0 | 0
2069 | 19.7401 | 0 | 0
2070 | 19.7501 | 0 | 0
2071 | 19.7601 | 0 | 0
2072 | 19.7701 | 0 | 0
2073 | 19.7801 | 0 | 0
2074 | 19.7901 | 0 | 0
2075 | 19.8001 | 0 | 0
2076 | 19.8101 | 0 | 0
2077 | 19.8201 | 0 | 0
2078 | 19.8301 | 0 | 0
2079 | 19.8401 | 0 | 0
2080 | 19.8501 | 0 | 0
2081 | 19.8601 | 0 | 0
2082 | 19.8701 | 0 | 0
2083 | 19.8801 | 0 | 0
2084 | 19.8901 | 0 | 0
2085 | 19.9001 | 0 | 0
2086 | 19.9101 | 0 | 0