## Spectrum
Bruker Nano Berlin, Germany |  |  | 10/23/2019
Esprit
Spectrum: | Ferrierite Oil.xlsx
Date: | 10/23/2019
Primary energy: |  | 10 | keV
Tilt angle: |  | 0 | °
Take off angle: |  | 35 | °
Azimut angle: |  | 45 | °
Real time: |  | 316801 | ms
Life time: |  | 316331 | ms
Detector type: |  | XFlash 6¦60
Si dead layer: |  | 0.029 | µm
Detector thickness: |  | 0.45 | mm
Window type: |  | slew AP3.3
Fano factor: |  | 0.10774
Mn FWHM: |  | 123.5888 | eV
Calibration, lin.: |  | 9.997 | eV
Calibration, abs.: |  | -472.1083 | eV
Channels: |  | 1977
Channel | Energy | Counts | CPS
0 | -0.47211 | 0 | 0
1 | -0.46211 | 0 | 0
2 | -0.45211 | 0 | 0
3 | -0.44212 | 0 | 0
4 | -0.43212 | 0 | 0
5 | -0.42212 | 0 | 0
6 | -0.41213 | 0 | 0
7 | -0.40213 | 0 | 0
8 | -0.39213 | 0 | 0
9 | -0.38214 | 0 | 0
10 | -0.37214 | 0 | 0
11 | -0.36214 | 0 | 0
12 | -0.35214 | 0 | 0
13 | -0.34215 | 0 | 0
14 | -0.33215 | 0 | 0
15 | -0.32215 | 0 | 0
16 | -0.31216 | 0 | 0
17 | -0.30216 | 0 | 0
18 | -0.29216 | 0 | 0
19 | -0.28217 | 0 | 0
20 | -0.27217 | 0 | 0
21 | -0.26217 | 0 | 0
22 | -0.25217 | 0 | 0
23 | -0.24218 | 0 | 0
24 | -0.23218 | 0 | 0
25 | -0.22218 | 0 | 0
26 | -0.21219 | 0 | 0
27 | -0.20219 | 0 | 0
28 | -0.19219 | 0 | 0
29 | -0.1822 | 0 | 0
30 | -0.1722 | 0 | 0
31 | -0.1622 | 0 | 0
32 | -0.1522 | 0 | 0
33 | -0.14221 | 1 | 0.0031566
34 | -0.13221 | 1 | 0.0031566
35 | -0.12221 | 1 | 0.0031566
36 | -0.11222 | 0 | 0
37 | -0.10222 | 2 | 0.0063131
38 | -0.092222 | 0 | 0
39 | -0.082225 | 2 | 0.0063131
40 | -0.072228 | 2 | 0.0063131
41 | -0.062231 | 24 | 0.075757
42 | -0.052234 | 274 | 0.8649
43 | -0.042237 | 1870 | 5.9028
44 | -0.03224 | 8511 | 26.8654
45 | -0.022243 | 25188 | 79.5073
46 | -0.012246 | 51470 | 162.4679
47 | -0.0022493 | 71656 | 226.1862
48 | 0.0077477 | 70686 | 223.1243
49 | 0.017745 | 49059 | 154.8575
50 | 0.027742 | 24603 | 77.6607
51 | 0.037739 | 9123 | 28.7973
52 | 0.047736 | 2498 | 7.8851
53 | 0.057733 | 504 | 1.5909
54 | 0.06773 | 85 | 0.26831
55 | 0.077727 | 19 | 0.059975
56 | 0.087724 | 1 | 0.0031566
57 | 0.097721 | 96.7436 | 0.30538
58 | 0.10772 | 167.7548 | 0.52953
59 | 0.11771 | 79.2153 | 0.25005
60 | 0.12771 | 28.1787 | 0.088948
61 | 0.13771 | 16.8634 | 0.05323
62 | 0.14771 | 6.5315 | 0.020617
63 | 0.1577 | 9.3023 | 0.029363
64 | 0.1677 | 9.7078 | 0.030643
65 | 0.1777 | 12.4719 | 0.039368
66 | 0.18769 | 11.1687 | 0.035255
67 | 0.19769 | 11.2828 | 0.035615
68 | 0.20769 | 23.8537 | 0.075295
69 | 0.21768 | 38.563 | 0.12173
70 | 0.22768 | 51.193 | 0.16159
71 | 0.23768 | 93.0599 | 0.29375
72 | 0.24768 | 159.4338 | 0.50326
73 | 0.25767 | 297.9842 | 0.9406
74 | 0.26767 | 398.8624 | 1.259
75 | 0.27767 | 466.5069 | 1.4726
76 | 0.28766 | 467.4458 | 1.4755
77 | 0.29766 | 367.5426 | 1.1602
78 | 0.30766 | 227.104 | 0.71687
79 | 0.31765 | 111.6589 | 0.35246
80 | 0.32765 | 59.3885 | 0.18746
81 | 0.33765 | 48.0521 | 0.15168
82 | 0.34765 | 29.7654 | 0.093956
83 | 0.35764 | 38.3204 | 0.12096
84 | 0.36764 | 31.836 | 0.10049
85 | 0.37764 | 24.0774 | 0.076002
86 | 0.38763 | 15.1808 | 0.047919
87 | 0.39763 | 20.5481 | 0.064861
88 | 0.40763 | 26.5338 | 0.083755
89 | 0.41762 | 19.6641 | 0.062071
90 | 0.42762 | 18.9404 | 0.059786
91 | 0.43762 | 27.2231 | 0.085931
92 | 0.44762 | 36.7832 | 0.11611
93 | 0.45761 | 40.1115 | 0.12661
94 | 0.46761 | 76.3511 | 0.24101
95 | 0.47761 | 192.7972 | 0.60858
96 | 0.4876 | 329.5692 | 1.0403
97 | 0.4976 | 617.953 | 1.9506
98 | 0.5076 | 915.0206 | 2.8883
99 | 0.51759 | 1209.2864 | 3.8172
100 | 0.52759 | 1294.7043 | 4.0868
101 | 0.53759 | 1225.0427 | 3.8669
102 | 0.54759 | 945.0375 | 2.9831
103 | 0.55758 | 546.9221 | 1.7264
104 | 0.56758 | 309.0599 | 0.97556
105 | 0.57758 | 129.9502 | 0.41019
106 | 0.58757 | 62.1341 | 0.19613
107 | 0.59757 | 34.0022 | 0.10733
108 | 0.60757 | 18.4349 | 0.058191
109 | 0.61756 | 24.734 | 0.078074
110 | 0.62756 | 23.1883 | 0.073195
111 | 0.63756 | 16.6735 | 0.052631
112 | 0.64756 | 19.2752 | 0.060843
113 | 0.65755 | 24.7677 | 0.078181
114 | 0.66755 | 22.9619 | 0.07248
115 | 0.67755 | 23.5608 | 0.074371
116 | 0.68754 | 25.4625 | 0.080374
117 | 0.69754 | 28.8386 | 0.091031
118 | 0.70754 | 36.3216 | 0.11465
119 | 0.71753 | 38.3336 | 0.121
120 | 0.72753 | 34.8027 | 0.10986
121 | 0.73753 | 29.382 | 0.092746
122 | 0.74753 | 31.5808 | 0.099686
123 | 0.75752 | 35.858 | 0.11319
124 | 0.76752 | 29.1113 | 0.091892
125 | 0.77752 | 37.9731 | 0.11986
126 | 0.78751 | 32.8452 | 0.10368
127 | 0.79751 | 41.5316 | 0.1311
128 | 0.80751 | 31.4735 | 0.099348
129 | 0.8175 | 21.9627 | 0.069327
130 | 0.8275 | 32.5246 | 0.10267
131 | 0.8375 | 44.0587 | 0.13907
132 | 0.8475 | 36.7837 | 0.11611
133 | 0.85749 | 35.396 | 0.11173
134 | 0.86749 | 30.9148 | 0.097584
135 | 0.87749 | 43.422 | 0.13706
136 | 0.88748 | 47.0788 | 0.14861
137 | 0.89748 | 28.4043 | 0.08966
138 | 0.90748 | 30.0083 | 0.094723
139 | 0.91747 | 30.9401 | 0.097664
140 | 0.92747 | 40.995 | 0.1294
141 | 0.93747 | 48.333 | 0.15257
142 | 0.94747 | 33.837 | 0.10681
143 | 0.95746 | 43.349 | 0.13683
144 | 0.96746 | 33.8175 | 0.10675
145 | 0.97746 | 47.6246 | 0.15033
146 | 0.98745 | 45.232 | 0.14278
147 | 0.99745 | 54.861 | 0.17317
148 | 1.0074 | 53.0945 | 0.1676
149 | 1.0174 | 51.8456 | 0.16365
150 | 1.0274 | 46.3544 | 0.14632
151 | 1.0374 | 59.0187 | 0.1863
152 | 1.0474 | 60.6093 | 0.19132
153 | 1.0574 | 53.1362 | 0.16773
154 | 1.0674 | 62.1622 | 0.19622
155 | 1.0774 | 52.5974 | 0.16603
156 | 1.0874 | 52.0119 | 0.16418
157 | 1.0974 | 48.604 | 0.15342
158 | 1.1074 | 59.0802 | 0.18649
159 | 1.1174 | 36.6267 | 0.11561
160 | 1.1274 | 57.1603 | 0.18043
161 | 1.1374 | 52.3513 | 0.16525
162 | 1.1474 | 46.6727 | 0.14732
163 | 1.1574 | 62.5684 | 0.1975
164 | 1.1674 | 57.2136 | 0.1806
165 | 1.1774 | 64.6928 | 0.20421
166 | 1.1874 | 59.5075 | 0.18784
167 | 1.1974 | 51.6048 | 0.16289
168 | 1.2074 | 68.6332 | 0.21664
169 | 1.2174 | 81.9643 | 0.25872
170 | 1.2274 | 79.5971 | 0.25125
171 | 1.2374 | 97.372 | 0.30736
172 | 1.2474 | 106.3135 | 0.33558
173 | 1.2574 | 115.7851 | 0.36548
174 | 1.2674 | 101.3585 | 0.31994
175 | 1.2774 | 94.3394 | 0.29779
176 | 1.2874 | 94.2151 | 0.2974
177 | 1.2974 | 74.9053 | 0.23644
178 | 1.3074 | 81.624 | 0.25765
179 | 1.3174 | 72.8803 | 0.23005
180 | 1.3274 | 68.5269 | 0.21631
181 | 1.3373 | 71.0981 | 0.22443
182 | 1.3473 | 69.9685 | 0.22086
183 | 1.3573 | 72.134 | 0.22769
184 | 1.3673 | 73.0681 | 0.23064
185 | 1.3773 | 72.6657 | 0.22937
186 | 1.3873 | 56.7291 | 0.17907
187 | 1.3973 | 70.2934 | 0.22188
188 | 1.4073 | 73.6922 | 0.23261
189 | 1.4173 | 78.3161 | 0.24721
190 | 1.4273 | 96.8675 | 0.30577
191 | 1.4373 | 134.7054 | 0.42521
192 | 1.4473 | 163.5519 | 0.51626
193 | 1.4573 | 246.5379 | 0.77821
194 | 1.4673 | 281.6885 | 0.88917
195 | 1.4773 | 334.5689 | 1.0561
196 | 1.4873 | 351.1677 | 1.1085
197 | 1.4973 | 385.616 | 1.2172
198 | 1.5073 | 341.0251 | 1.0765
199 | 1.5173 | 278.2928 | 0.87845
200 | 1.5273 | 236.361 | 0.74609
201 | 1.5373 | 178.5606 | 0.56364
202 | 1.5473 | 128.8302 | 0.40666
203 | 1.5573 | 112.2324 | 0.35427
204 | 1.5673 | 96.0086 | 0.30306
205 | 1.5773 | 76.9231 | 0.24281
206 | 1.5873 | 90.9754 | 0.28717
207 | 1.5973 | 87.3501 | 0.27573
208 | 1.6073 | 68.0635 | 0.21485
209 | 1.6173 | 70.1184 | 0.22133
210 | 1.6273 | 59.7847 | 0.18871
211 | 1.6373 | 76.9132 | 0.24278
212 | 1.6473 | 93.079 | 0.29381
213 | 1.6573 | 117.0377 | 0.36944
214 | 1.6672 | 161.3433 | 0.50929
215 | 1.6772 | 312.6253 | 0.98682
216 | 1.6872 | 498.7381 | 1.5743
217 | 1.6972 | 727.5237 | 2.2965
218 | 1.7072 | 1075.2469 | 3.3941
219 | 1.7172 | 1382.1994 | 4.363
220 | 1.7272 | 1709.5295 | 5.3962
221 | 1.7372 | 2001.7219 | 6.3185
222 | 1.7472 | 2005.219 | 6.3296
223 | 1.7572 | 1801.5987 | 5.6868
224 | 1.7672 | 1529.0927 | 4.8267
225 | 1.7772 | 1254.2782 | 3.9592
226 | 1.7872 | 891.6922 | 2.8147
227 | 1.7972 | 633.458 | 1.9995
228 | 1.8072 | 404.4058 | 1.2765
229 | 1.8172 | 284.2176 | 0.89715
230 | 1.8272 | 216.2225 | 0.68252
231 | 1.8372 | 176.676 | 0.55769
232 | 1.8472 | 143.1873 | 0.45198
233 | 1.8572 | 116.199 | 0.36679
234 | 1.8672 | 97.9358 | 0.30914
235 | 1.8772 | 80.8861 | 0.25532
236 | 1.8872 | 74.9587 | 0.23661
237 | 1.8972 | 59.1281 | 0.18664
238 | 1.9072 | 62.5263 | 0.19737
239 | 1.9172 | 64.7124 | 0.20427
240 | 1.9272 | 47.6044 | 0.15027
241 | 1.9372 | 55.7411 | 0.17595
242 | 1.9472 | 46.7473 | 0.14756
243 | 1.9572 | 30.0542 | 0.094868
244 | 1.9672 | 32.9482 | 0.104
245 | 1.9772 | 44.5459 | 0.14061
246 | 1.9872 | 47.0434 | 0.1485
247 | 1.9972 | 41.8724 | 0.13217
248 | 2.0071 | 42.5082 | 0.13418
249 | 2.0171 | 51.7045 | 0.16321
250 | 2.0271 | 42.8735 | 0.13533
251 | 2.0371 | 49.2789 | 0.15555
252 | 2.0471 | 44.2193 | 0.13958
253 | 2.0571 | 44.9233 | 0.1418
254 | 2.0671 | 48.9782 | 0.1546
255 | 2.0771 | 42.0888 | 0.13286
256 | 2.0871 | 50.18 | 0.1584
257 | 2.0971 | 40.6044 | 0.12817
258 | 2.1071 | 41.0952 | 0.12972
259 | 2.1171 | 52.5033 | 0.16573
260 | 2.1271 | 54.8797 | 0.17323
261 | 2.1371 | 52.5442 | 0.16586
262 | 2.1471 | 40.3545 | 0.12738
263 | 2.1571 | 46.3167 | 0.1462
264 | 2.1671 | 57.8119 | 0.18249
265 | 2.1771 | 51.006 | 0.161
266 | 2.1871 | 54.0166 | 0.17051
267 | 2.1971 | 59.3151 | 0.18723
268 | 2.2071 | 57.7949 | 0.18243
269 | 2.2171 | 54.0723 | 0.17068
270 | 2.2271 | 52.8789 | 0.16692
271 | 2.2371 | 56.1437 | 0.17722
272 | 2.2471 | 57.1324 | 0.18034
273 | 2.2571 | 53.4553 | 0.16873
274 | 2.2671 | 53.7477 | 0.16966
275 | 2.2771 | 50.2976 | 0.15877
276 | 2.2871 | 52.2195 | 0.16483
277 | 2.2971 | 47.2582 | 0.14917
278 | 2.3071 | 51.0666 | 0.16119
279 | 2.3171 | 52.9372 | 0.1671
280 | 2.3271 | 56.428 | 0.17812
281 | 2.337 | 52.7263 | 0.16643
282 | 2.347 | 49.3306 | 0.15571
283 | 2.357 | 49.3787 | 0.15587
284 | 2.367 | 54.6729 | 0.17258
285 | 2.377 | 60.7105 | 0.19164
286 | 2.387 | 50.4913 | 0.15938
287 | 2.397 | 44.2097 | 0.13955
288 | 2.407 | 52.0778 | 0.16439
289 | 2.417 | 54.9349 | 0.17341
290 | 2.427 | 52.6167 | 0.16609
291 | 2.437 | 44.903 | 0.14174
292 | 2.447 | 39.977 | 0.12619
293 | 2.457 | 40.4511 | 0.12769
294 | 2.467 | 44.4861 | 0.14042
295 | 2.477 | 53.9329 | 0.17024
296 | 2.487 | 58.9408 | 0.18605
297 | 2.497 | 57.4912 | 0.18147
298 | 2.507 | 58.8353 | 0.18572
299 | 2.517 | 52.5934 | 0.16601
300 | 2.527 | 54.3816 | 0.17166
301 | 2.537 | 55.9287 | 0.17654
302 | 2.547 | 60.1493 | 0.18986
303 | 2.557 | 57.0711 | 0.18015
304 | 2.567 | 62.1553 | 0.1962
305 | 2.577 | 73.2154 | 0.23111
306 | 2.587 | 87.9683 | 0.27768
307 | 2.597 | 102.2965 | 0.3229
308 | 2.607 | 99.2902 | 0.31342
309 | 2.617 | 85.1277 | 0.26871
310 | 2.627 | 95.6108 | 0.3018
311 | 2.637 | 106.3657 | 0.33575
312 | 2.647 | 100.5413 | 0.31736
313 | 2.657 | 90.8279 | 0.2867
314 | 2.6669 | 71.4257 | 0.22546
315 | 2.6769 | 64.7726 | 0.20446
316 | 2.6869 | 65.7239 | 0.20746
317 | 2.6969 | 56.6845 | 0.17893
318 | 2.7069 | 60.9949 | 0.19253
319 | 2.7169 | 63.372 | 0.20004
320 | 2.7269 | 56.2156 | 0.17745
321 | 2.7369 | 47.4732 | 0.14985
322 | 2.7469 | 46.616 | 0.14715
323 | 2.7569 | 52.0928 | 0.16443
324 | 2.7669 | 54.0612 | 0.17065
325 | 2.7769 | 54.0212 | 0.17052
326 | 2.7869 | 48.8728 | 0.15427
327 | 2.7969 | 48.6479 | 0.15356
328 | 2.8069 | 56.4086 | 0.17806
329 | 2.8169 | 57.6741 | 0.18205
330 | 2.8269 | 51.0942 | 0.16128
331 | 2.8369 | 49.1746 | 0.15522
332 | 2.8469 | 48.1285 | 0.15192
333 | 2.8569 | 44.7373 | 0.14122
334 | 2.8669 | 42.0293 | 0.13267
335 | 2.8769 | 41.0668 | 0.12963
336 | 2.8869 | 45.7196 | 0.14432
337 | 2.8969 | 51.8565 | 0.16369
338 | 2.9069 | 49.3832 | 0.15588
339 | 2.9169 | 46.7439 | 0.14755
340 | 2.9269 | 39.4502 | 0.12453
341 | 2.9369 | 41.1092 | 0.12976
342 | 2.9469 | 45.8433 | 0.14471
343 | 2.9569 | 47.4204 | 0.14969
344 | 2.9669 | 46.6494 | 0.14725
345 | 2.9769 | 41.5827 | 0.13126
346 | 2.9869 | 44.7729 | 0.14133
347 | 2.9969 | 40.2095 | 0.12692
348 | 3.0068 | 44.8173 | 0.14147
349 | 3.0168 | 50.3743 | 0.15901
350 | 3.0268 | 48.7613 | 0.15392
351 | 3.0368 | 50.95 | 0.16083
352 | 3.0468 | 47.0729 | 0.14859
353 | 3.0568 | 45.7669 | 0.14447
354 | 3.0668 | 52.3263 | 0.16517
355 | 3.0768 | 51.9762 | 0.16407
356 | 3.0868 | 55.1083 | 0.17395
357 | 3.0968 | 49.9698 | 0.15773
358 | 3.1068 | 55.6546 | 0.17568
359 | 3.1168 | 52.7944 | 0.16665
360 | 3.1268 | 46.0135 | 0.14524
361 | 3.1368 | 46.7098 | 0.14744
362 | 3.1468 | 49.2666 | 0.15551
363 | 3.1568 | 49.2601 | 0.15549
364 | 3.1668 | 48.583 | 0.15335
365 | 3.1768 | 49.8599 | 0.15739
366 | 3.1868 | 46.6349 | 0.14721
367 | 3.1968 | 42.4859 | 0.13411
368 | 3.2068 | 42.104 | 0.1329
369 | 3.2168 | 48.3986 | 0.15277
370 | 3.2268 | 52.1983 | 0.16477
371 | 3.2368 | 48.5148 | 0.15314
372 | 3.2468 | 45.8474 | 0.14472
373 | 3.2568 | 46.2668 | 0.14604
374 | 3.2668 | 54.5968 | 0.17234
375 | 3.2768 | 48.4794 | 0.15303
376 | 3.2868 | 44.0206 | 0.13895
377 | 3.2968 | 49.458 | 0.15612
378 | 3.3068 | 59.6582 | 0.18831
379 | 3.3168 | 62.1456 | 0.19617
380 | 3.3268 | 53.9919 | 0.17043
381 | 3.3367 | 46.85 | 0.14788
382 | 3.3467 | 49.2115 | 0.15534
383 | 3.3567 | 57.8835 | 0.18271
384 | 3.3667 | 60.6995 | 0.1916
385 | 3.3767 | 50.4976 | 0.1594
386 | 3.3867 | 51.6604 | 0.16307
387 | 3.3967 | 55.3738 | 0.17479
388 | 3.4067 | 50.2361 | 0.15857
389 | 3.4167 | 42.6935 | 0.13476
390 | 3.4267 | 47.6968 | 0.15056
391 | 3.4367 | 45.071 | 0.14227
392 | 3.4467 | 39.2395 | 0.12386
393 | 3.4567 | 46.3839 | 0.14641
394 | 3.4667 | 48.8496 | 0.1542
395 | 3.4767 | 58.0186 | 0.18314
396 | 3.4867 | 56.8724 | 0.17952
397 | 3.4967 | 52.1591 | 0.16464
398 | 3.5067 | 43.4841 | 0.13726
399 | 3.5167 | 46.1741 | 0.14575
400 | 3.5267 | 55.5575 | 0.17537
401 | 3.5367 | 57.6684 | 0.18203
402 | 3.5467 | 57.2907 | 0.18084
403 | 3.5567 | 75.3863 | 0.23796
404 | 3.5667 | 97.6211 | 0.30815
405 | 3.5767 | 128.5806 | 0.40587
406 | 3.5867 | 184.4167 | 0.58212
407 | 3.5967 | 279.2174 | 0.88137
408 | 3.6067 | 407.1267 | 1.2851
409 | 3.6167 | 651.8744 | 2.0577
410 | 3.6267 | 904.5929 | 2.8554
411 | 3.6367 | 1191.7958 | 3.762
412 | 3.6467 | 1523.5756 | 4.8093
413 | 3.6567 | 1921.7434 | 6.0661
414 | 3.6666 | 2264.5434 | 7.1482
415 | 3.6766 | 2460.1065 | 7.7655
416 | 3.6866 | 2622.3696 | 8.2777
417 | 3.6966 | 2711.7826 | 8.5599
418 | 3.7066 | 2617.9946 | 8.2638
419 | 3.7166 | 2385.5597 | 7.5302
420 | 3.7266 | 2032.4181 | 6.4154
421 | 3.7366 | 1711.0655 | 5.4011
422 | 3.7466 | 1360.4228 | 4.2943
423 | 3.7566 | 996.9841 | 3.147
424 | 3.7666 | 688.8977 | 2.1745
425 | 3.7766 | 471.4641 | 1.4882
426 | 3.7866 | 350.4455 | 1.1062
427 | 3.7966 | 246.2998 | 0.77746
428 | 3.8066 | 155.3617 | 0.49041
429 | 3.8166 | 100.5287 | 0.31732
430 | 3.8266 | 75.3333 | 0.23779
431 | 3.8366 | 65.7202 | 0.20745
432 | 3.8466 | 56.2283 | 0.17749
433 | 3.8566 | 45.5049 | 0.14364
434 | 3.8666 | 49.9824 | 0.15777
435 | 3.8766 | 54.7231 | 0.17274
436 | 3.8866 | 58.4553 | 0.18452
437 | 3.8966 | 53.5172 | 0.16893
438 | 3.9066 | 59.0371 | 0.18635
439 | 3.9166 | 82.4578 | 0.26028
440 | 3.9266 | 103.1053 | 0.32546
441 | 3.9366 | 121.1427 | 0.38239
442 | 3.9466 | 136.7004 | 0.4315
443 | 3.9566 | 171.2623 | 0.5406
444 | 3.9666 | 228.3234 | 0.72072
445 | 3.9766 | 266.1907 | 0.84025
446 | 3.9866 | 299.9006 | 0.94665
447 | 3.9966 | 343.3781 | 1.0839
448 | 4.0065 | 359.8685 | 1.1359
449 | 4.0165 | 357.5052 | 1.1285
450 | 4.0265 | 354.7553 | 1.1198
451 | 4.0365 | 333.1632 | 1.0516
452 | 4.0465 | 295.9663 | 0.93423
453 | 4.0565 | 255.2431 | 0.80569
454 | 4.0665 | 212.8355 | 0.67183
455 | 4.0765 | 177.45 | 0.56013
456 | 4.0865 | 135.0679 | 0.42635
457 | 4.0965 | 106.6758 | 0.33673
458 | 4.1065 | 86.3658 | 0.27262
459 | 4.1165 | 66.3655 | 0.20949
460 | 4.1265 | 56.3295 | 0.17781
461 | 4.1365 | 51.0628 | 0.16118
462 | 4.1465 | 37.7816 | 0.11926
463 | 4.1565 | 25.6149 | 0.080855
464 | 4.1665 | 21.8628 | 0.069011
465 | 4.1765 | 23.2736 | 0.073464
466 | 4.1865 | 28.7219 | 0.090662
467 | 4.1965 | 27.0474 | 0.085377
468 | 4.2065 | 25.3211 | 0.079927
469 | 4.2165 | 21.7553 | 0.068672
470 | 4.2265 | 20.0613 | 0.063325
471 | 4.2365 | 22.1766 | 0.070002
472 | 4.2465 | 24.9812 | 0.078854
473 | 4.2565 | 25.8089 | 0.081467
474 | 4.2665 | 22.4462 | 0.070853
475 | 4.2765 | 19.8397 | 0.062625
476 | 4.2865 | 23.026 | 0.072683
477 | 4.2965 | 23.6813 | 0.074751
478 | 4.3065 | 24.4604 | 0.077211
479 | 4.3165 | 19.5871 | 0.061828
480 | 4.3265 | 26.8859 | 0.084867
481 | 4.3364 | 30.1199 | 0.095075
482 | 4.3464 | 24.8778 | 0.078528
483 | 4.3564 | 26.8468 | 0.084744
484 | 4.3664 | 27.6414 | 0.087252
485 | 4.3764 | 23.4931 | 0.074157
486 | 4.3864 | 19.565 | 0.061758
487 | 4.3964 | 25.1673 | 0.079442
488 | 4.4064 | 27.8031 | 0.087762
489 | 4.4164 | 22.8792 | 0.072219
490 | 4.4264 | 20.9779 | 0.066218
491 | 4.4364 | 20.9894 | 0.066254
492 | 4.4464 | 25.8511 | 0.081601
493 | 4.4564 | 30.7653 | 0.097112
494 | 4.4664 | 25.0897 | 0.079197
495 | 4.4764 | 27.9729 | 0.088298
496 | 4.4864 | 32.3137 | 0.102
497 | 4.4964 | 28.188 | 0.088977
498 | 4.5064 | 29.7919 | 0.09404
499 | 4.5164 | 35.6705 | 0.1126
500 | 4.5264 | 28.211 | 0.08905
501 | 4.5364 | 32.271 | 0.10187
502 | 4.5464 | 25.7853 | 0.081393
503 | 4.5564 | 24.991 | 0.078885
504 | 4.5664 | 22.033 | 0.069548
505 | 4.5764 | 22.2751 | 0.070313
506 | 4.5864 | 22.6739 | 0.071571
507 | 4.5964 | 31.734 | 0.10017
508 | 4.6064 | 30.4405 | 0.096087
509 | 4.6164 | 19.6537 | 0.062038
510 | 4.6264 | 20.8354 | 0.065768
511 | 4.6364 | 28.0057 | 0.088402
512 | 4.6464 | 21.2432 | 0.067055
513 | 4.6564 | 15.4202 | 0.048675
514 | 4.6663 | 23.7332 | 0.074915
515 | 4.6763 | 25.0169 | 0.078967
516 | 4.6863 | 31.5872 | 0.099707
517 | 4.6963 | 24.4886 | 0.0773
518 | 4.7063 | 23.1502 | 0.073075
519 | 4.7163 | 26.8149 | 0.084643
520 | 4.7263 | 24.5934 | 0.07763
521 | 4.7363 | 22.7319 | 0.071755
522 | 4.7463 | 21.156 | 0.06678
523 | 4.7563 | 31.4522 | 0.09928
524 | 4.7663 | 18.029 | 0.056909
525 | 4.7763 | 16.1378 | 0.05094
526 | 4.7863 | 25.1256 | 0.07931
527 | 4.7963 | 26.9223 | 0.084982
528 | 4.8063 | 26.276 | 0.082942
529 | 4.8163 | 30.1286 | 0.095103
530 | 4.8263 | 25.0412 | 0.079044
531 | 4.8363 | 24.7336 | 0.078073
532 | 4.8463 | 24.532 | 0.077437
533 | 4.8563 | 24.4322 | 0.077122
534 | 4.8663 | 21.0569 | 0.066467
535 | 4.8763 | 21.6954 | 0.068483
536 | 4.8863 | 19.6129 | 0.061909
537 | 4.8963 | 30.7231 | 0.096979
538 | 4.9063 | 23.2576 | 0.073414
539 | 4.9163 | 21.8078 | 0.068838
540 | 4.9263 | 23.3329 | 0.073652
541 | 4.9363 | 22.2485 | 0.070229
542 | 4.9463 | 24.799 | 0.078279
543 | 4.9563 | 21.4507 | 0.06771
544 | 4.9663 | 22.0598 | 0.069633
545 | 4.9763 | 20.4057 | 0.064412
546 | 4.9863 | 25.0393 | 0.079038
547 | 4.9963 | 23.4454 | 0.074007
548 | 5.0062 | 18.4614 | 0.058274
549 | 5.0162 | 21.3519 | 0.067399
550 | 5.0262 | 26.4778 | 0.083579
551 | 5.0362 | 27.1621 | 0.085739
552 | 5.0462 | 26.1712 | 0.082611
553 | 5.0562 | 30.6234 | 0.096664
554 | 5.0662 | 17.9973 | 0.05681
555 | 5.0762 | 20.5176 | 0.064765
556 | 5.0862 | 28.1697 | 0.088919
557 | 5.0962 | 19.9784 | 0.063063
558 | 5.1062 | 17.7708 | 0.056094
559 | 5.1162 | 23.4532 | 0.074031
560 | 5.1262 | 18.2011 | 0.057453
561 | 5.1362 | 23.2204 | 0.073297
562 | 5.1462 | 22.3036 | 0.070402
563 | 5.1562 | 16.6797 | 0.05265
564 | 5.1662 | 24.9334 | 0.078704
565 | 5.1762 | 29.052 | 0.091704
566 | 5.1862 | 29.2034 | 0.092182
567 | 5.1962 | 27.5488 | 0.086959
568 | 5.2062 | 17.6903 | 0.05584
569 | 5.2162 | 23.2512 | 0.073394
570 | 5.2262 | 11.3509 | 0.03583
571 | 5.2362 | 18.6868 | 0.058986
572 | 5.2462 | 22.4922 | 0.070998
573 | 5.2562 | 25.0012 | 0.078918
574 | 5.2662 | 23.5815 | 0.074436
575 | 5.2762 | 17.7083 | 0.055897
576 | 5.2862 | 26.2757 | 0.082941
577 | 5.2962 | 21.5658 | 0.068074
578 | 5.3062 | 20.0309 | 0.063229
579 | 5.3162 | 25.561 | 0.080685
580 | 5.3262 | 22.1708 | 0.069983
581 | 5.3361 | 16.4362 | 0.051882
582 | 5.3461 | 14.0864 | 0.044464
583 | 5.3561 | 21.6661 | 0.06839
584 | 5.3661 | 25.8847 | 0.081707
585 | 5.3761 | 25.1288 | 0.07932
586 | 5.3861 | 25.632 | 0.080909
587 | 5.3961 | 22.7736 | 0.071886
588 | 5.4061 | 21.5183 | 0.067924
589 | 5.4161 | 24.0523 | 0.075922
590 | 5.4261 | 18.1456 | 0.057278
591 | 5.4361 | 26.1944 | 0.082684
592 | 5.4461 | 20.0309 | 0.063229
593 | 5.4561 | 19.5706 | 0.061776
594 | 5.4661 | 15.6861 | 0.049514
595 | 5.4761 | 13.3025 | 0.04199
596 | 5.4861 | 16.5184 | 0.052141
597 | 5.4961 | 20.6208 | 0.065091
598 | 5.5061 | 17.3807 | 0.054863
599 | 5.5161 | 21.8338 | 0.06892
600 | 5.5261 | 30.1021 | 0.095019
601 | 5.5361 | 30.1468 | 0.09516
602 | 5.5461 | 21.6913 | 0.06847
603 | 5.5561 | 28.1034 | 0.08871
604 | 5.5661 | 17.4276 | 0.055011
605 | 5.5761 | 12.079 | 0.038128
606 | 5.5861 | 24.7716 | 0.078193
607 | 5.5961 | 21.7041 | 0.06851
608 | 5.6061 | 18.4298 | 0.058175
609 | 5.6161 | 23.1416 | 0.073048
610 | 5.6261 | 11.6031 | 0.036626
611 | 5.6361 | 19.6309 | 0.061966
612 | 5.6461 | 14.0357 | 0.044304
613 | 5.6561 | 15.4803 | 0.048864
614 | 5.666 | 23.756 | 0.074987
615 | 5.676 | 18.7608 | 0.059219
616 | 5.686 | 14.4095 | 0.045484
617 | 5.696 | 21.6556 | 0.068357
618 | 5.706 | 15.151 | 0.047825
619 | 5.716 | 19.0646 | 0.060178
620 | 5.726 | 21.0209 | 0.066354
621 | 5.736 | 21.8182 | 0.06887
622 | 5.746 | 16.9306 | 0.053442
623 | 5.756 | 14.9893 | 0.047314
624 | 5.766 | 14.1673 | 0.04472
625 | 5.776 | 18.9969 | 0.059965
626 | 5.786 | 20.1457 | 0.063591
627 | 5.796 | 26.9932 | 0.085205
628 | 5.806 | 27.7913 | 0.087725
629 | 5.816 | 15.9513 | 0.050351
630 | 5.826 | 13.9418 | 0.044008
631 | 5.836 | 11.0177 | 0.034778
632 | 5.846 | 13.0083 | 0.041061
633 | 5.856 | 13.9982 | 0.044186
634 | 5.866 | 13.0153 | 0.041084
635 | 5.876 | 25.0114 | 0.07895
636 | 5.886 | 16.0424 | 0.050639
637 | 5.896 | 12.0373 | 0.037996
638 | 5.906 | 18.0345 | 0.056927
639 | 5.916 | 27.0607 | 0.085418
640 | 5.926 | 21.0231 | 0.066361
641 | 5.936 | 23.0545 | 0.072773
642 | 5.946 | 23.065 | 0.072806
643 | 5.956 | 19.0686 | 0.060191
644 | 5.966 | 20.0401 | 0.063258
645 | 5.976 | 21.0249 | 0.066366
646 | 5.986 | 15.0253 | 0.047428
647 | 5.996 | 24.0738 | 0.07599
648 | 6.0059 | 25.0548 | 0.079087
649 | 6.0159 | 22.0586 | 0.069629
650 | 6.0259 | 14.0216 | 0.04426
651 | 6.0359 | 19.0677 | 0.060188
652 | 6.0459 | 20.0539 | 0.063301
653 | 6.0559 | 29.0898 | 0.091824
654 | 6.0659 | 22.0581 | 0.069628
655 | 6.0759 | 19.0519 | 0.060138
656 | 6.0859 | 18.0387 | 0.05694
657 | 6.0959 | 15.0323 | 0.04745
658 | 6.1059 | 19.045 | 0.060117
659 | 6.1159 | 16.0309 | 0.050602
660 | 6.1259 | 21.0477 | 0.066438
661 | 6.1359 | 20.0279 | 0.063219
662 | 6.1459 | 13.0072 | 0.041058
663 | 6.1559 | 16.0411 | 0.050634
664 | 6.1659 | 20.0703 | 0.063353
665 | 6.1759 | 22.0726 | 0.069674
666 | 6.1859 | 20.0372 | 0.063248
667 | 6.1959 | 18.0224 | 0.056889
668 | 6.2059 | 22.0435 | 0.069582
669 | 6.2159 | 14.0204 | 0.044256
670 | 6.2259 | 13.0153 | 0.041084
671 | 6.2359 | 28.0849 | 0.088652
672 | 6.2459 | 18.0328 | 0.056922
673 | 6.2559 | 16.03 | 0.050599
674 | 6.2659 | 28.0166 | 0.088436
675 | 6.2759 | 23.045 | 0.072743
676 | 6.2859 | 17.0401 | 0.053788
677 | 6.2959 | 14.0115 | 0.044228
678 | 6.3059 | 26.007 | 0.082092
679 | 6.3159 | 13.9782 | 0.044123
680 | 6.3259 | 29.0569 | 0.09172
681 | 6.3358 | 27.0886 | 0.085507
682 | 6.3458 | 19.0528 | 0.060141
683 | 6.3558 | 27.0418 | 0.085359
684 | 6.3658 | 31.0535 | 0.098022
685 | 6.3758 | 25.0566 | 0.079093
686 | 6.3858 | 38.1172 | 0.12032
687 | 6.3958 | 22.051 | 0.069605
688 | 6.4058 | 25.0496 | 0.079071
689 | 6.4158 | 28.0616 | 0.088578
690 | 6.4258 | 32.0764 | 0.10125
691 | 6.4358 | 17.0269 | 0.053746
692 | 6.4458 | 28.0519 | 0.088547
693 | 6.4558 | 21.0114 | 0.066324
694 | 6.4658 | 23.0392 | 0.072725
695 | 6.4758 | 22.0624 | 0.069641
696 | 6.4858 | 22.0656 | 0.069651
697 | 6.4958 | 22.0488 | 0.069598
698 | 6.5058 | 13.0097 | 0.041066
699 | 6.5158 | 15.0148 | 0.047395
700 | 6.5258 | 15.0218 | 0.047417
701 | 6.5358 | 23.0425 | 0.072735
702 | 6.5458 | 13.0055 | 0.041053
703 | 6.5558 | 14.0019 | 0.044198
704 | 6.5658 | 22.0245 | 0.069522
705 | 6.5758 | 12.0259 | 0.03796
706 | 6.5858 | 22.0884 | 0.069723
707 | 6.5958 | 22.0658 | 0.069652
708 | 6.6058 | 16.0269 | 0.05059
709 | 6.6158 | 23.0217 | 0.072669
710 | 6.6258 | 16.0168 | 0.050558
711 | 6.6358 | 18.0355 | 0.05693
712 | 6.6458 | 21.0399 | 0.066414
713 | 6.6558 | 18.0283 | 0.056907
714 | 6.6657 | 11.0153 | 0.03477
715 | 6.6757 | 13.027 | 0.04112
716 | 6.6857 | 16.0321 | 0.050606
717 | 6.6957 | 17.0209 | 0.053727
718 | 6.7057 | 22.0361 | 0.069558
719 | 6.7157 | 15.0247 | 0.047426
720 | 6.7257 | 19.0331 | 0.060079
721 | 6.7357 | 16.0214 | 0.050572
722 | 6.7457 | 11.999 | 0.037875
723 | 6.7557 | 17.0348 | 0.053771
724 | 6.7657 | 16.0329 | 0.050609
725 | 6.7757 | 14.0197 | 0.044254
726 | 6.7857 | 17.0286 | 0.053752
727 | 6.7957 | 16.0342 | 0.050613
728 | 6.8057 | 19.052 | 0.060139
729 | 6.8157 | 19.043 | 0.06011
730 | 6.8257 | 13.0261 | 0.041118
731 | 6.8357 | 22.0334 | 0.06955
732 | 6.8457 | 16.0201 | 0.050568
733 | 6.8557 | 21.0435 | 0.066425
734 | 6.8657 | 15.0405 | 0.047476
735 | 6.8757 | 11.0208 | 0.034788
736 | 6.8857 | 17.0178 | 0.053718
737 | 6.8957 | 16.0297 | 0.050598
738 | 6.9057 | 14.0125 | 0.044231
739 | 6.9157 | 19.0254 | 0.060055
740 | 6.9257 | 12.9706 | 0.040942
741 | 6.9357 | 21.0285 | 0.066378
742 | 6.9457 | 15.03 | 0.047443
743 | 6.9557 | 24.076 | 0.075997
744 | 6.9657 | 22.0415 | 0.069575
745 | 6.9757 | 13.0248 | 0.041114
746 | 6.9857 | 16.0233 | 0.050578
747 | 6.9957 | 21.0249 | 0.066366
748 | 7.0056 | 16.0089 | 0.050533
749 | 7.0156 | 16.0189 | 0.050564
750 | 7.0256 | 19.0316 | 0.060074
751 | 7.0356 | 13.0258 | 0.041117
752 | 7.0456 | 14.0304 | 0.044288
753 | 7.0556 | 18.0336 | 0.056924
754 | 7.0656 | 20.0123 | 0.06317
755 | 7.0756 | 11.004 | 0.034735
756 | 7.0856 | 18.0373 | 0.056936
757 | 7.0956 | 18.0377 | 0.056937
758 | 7.1056 | 18.0362 | 0.056932
759 | 7.1156 | 14.0155 | 0.044241
760 | 7.1256 | 19.0153 | 0.060023
761 | 7.1356 | 16.02 | 0.050568
762 | 7.1456 | 14.0238 | 0.044267
763 | 7.1556 | 13.0198 | 0.041098
764 | 7.1656 | 15.0228 | 0.04742
765 | 7.1756 | 18.0257 | 0.056899
766 | 7.1856 | 18.0204 | 0.056883
767 | 7.1956 | 7.0087 | 0.022123
768 | 7.2056 | 17.0321 | 0.053763
769 | 7.2156 | 12.0114 | 0.037915
770 | 7.2256 | 13.0031 | 0.041045
771 | 7.2356 | 11.9906 | 0.037849
772 | 7.2456 | 13.0103 | 0.041068
773 | 7.2556 | 14.0246 | 0.044269
774 | 7.2656 | 16.0394 | 0.050629
775 | 7.2756 | 16.0172 | 0.050559
776 | 7.2856 | 13.0023 | 0.041042
777 | 7.2956 | 15.0153 | 0.047397
778 | 7.3056 | 16.0353 | 0.050616
779 | 7.3156 | 16.0289 | 0.050596
780 | 7.3256 | 12.0096 | 0.037909
781 | 7.3355 | 18.0027 | 0.056826
782 | 7.3455 | 14.0164 | 0.044244
783 | 7.3555 | 10.0258 | 0.031647
784 | 7.3655 | 15.0416 | 0.04748
785 | 7.3755 | 8.0133 | 0.025294
786 | 7.3855 | 12.0162 | 0.03793
787 | 7.3955 | 16.0091 | 0.050534
788 | 7.4055 | 16.0141 | 0.050549
789 | 7.4155 | 9.0057 | 0.028427
790 | 7.4255 | 13.0143 | 0.04108
791 | 7.4355 | 11.0189 | 0.034782
792 | 7.4455 | 20.0249 | 0.06321
793 | 7.4555 | 15.0162 | 0.047399
794 | 7.4655 | 17.0085 | 0.053688
795 | 7.4755 | 18.0262 | 0.056901
796 | 7.4855 | 12.008 | 0.037904
797 | 7.4955 | 18.0323 | 0.05692
798 | 7.5055 | 9.0092 | 0.028438
799 | 7.5155 | 10.0182 | 0.031623
800 | 7.5255 | 23.0435 | 0.072738
801 | 7.5355 | 14.0091 | 0.04422
802 | 7.5455 | 22.0195 | 0.069506
803 | 7.5555 | 12.9991 | 0.041032
804 | 7.5655 | 17.0171 | 0.053715
805 | 7.5755 | 17.0265 | 0.053745
806 | 7.5855 | 10.0226 | 0.031637
807 | 7.5955 | 12.0171 | 0.037933
808 | 7.6055 | 11.0164 | 0.034774
809 | 7.6155 | 13.0117 | 0.041072
810 | 7.6255 | 11.0142 | 0.034767
811 | 7.6355 | 12.0174 | 0.037933
812 | 7.6455 | 11.0119 | 0.03476
813 | 7.6555 | 16.0173 | 0.05056
814 | 7.6654 | 16.002 | 0.050511
815 | 7.6754 | 17.0138 | 0.053705
816 | 7.6854 | 15.0276 | 0.047435
817 | 7.6954 | 16.0272 | 0.050591
818 | 7.7054 | 8.0036 | 0.025264
819 | 7.7154 | 17.0208 | 0.053727
820 | 7.7254 | 21.0381 | 0.066408
821 | 7.7354 | 9.003 | 0.028418
822 | 7.7454 | 12.0113 | 0.037914
823 | 7.7554 | 17.0001 | 0.053662
824 | 7.7654 | 8.9954 | 0.028394
825 | 7.7754 | 13.0094 | 0.041065
826 | 7.7854 | 6.0101 | 0.018971
827 | 7.7954 | 11.0203 | 0.034786
828 | 7.8054 | 10.0087 | 0.031593
829 | 7.8154 | 9.005 | 0.028425
830 | 7.8254 | 10.0038 | 0.031578
831 | 7.8354 | 13.0136 | 0.041078
832 | 7.8454 | 10.0094 | 0.031595
833 | 7.8554 | 13.0221 | 0.041105
834 | 7.8654 | 14.0179 | 0.044248
835 | 7.8754 | 11.015 | 0.034769
836 | 7.8854 | 16.0116 | 0.050541
837 | 7.8954 | 14.0112 | 0.044227
838 | 7.9054 | 10.0056 | 0.031583
839 | 7.9154 | 9.0078 | 0.028434
840 | 7.9254 | 8.9975 | 0.028401
841 | 7.9354 | 16.0205 | 0.05057
842 | 7.9454 | 15.0098 | 0.047379
843 | 7.9554 | 12.0174 | 0.037933
844 | 7.9654 | 16.0199 | 0.050568
845 | 7.9754 | 15.0126 | 0.047388
846 | 7.9854 | 15.0273 | 0.047435
847 | 7.9954 | 17.0252 | 0.053741
848 | 8.0053 | 13.0238 | 0.04111
849 | 8.0153 | 33.0365 | 0.10428
850 | 8.0253 | 17.0053 | 0.053678
851 | 8.0353 | 15.0012 | 0.047352
852 | 8.0453 | 26.0358 | 0.082184
853 | 8.0553 | 28.0512 | 0.088545
854 | 8.0653 | 22.0413 | 0.069575
855 | 8.0753 | 21.0298 | 0.066382
856 | 8.0853 | 12.0049 | 0.037894
857 | 8.0953 | 14.0145 | 0.044238
858 | 8.1053 | 21.0243 | 0.066364
859 | 8.1153 | 17.0241 | 0.053737
860 | 8.1253 | 12.0101 | 0.037911
861 | 8.1353 | 9.9941 | 0.031547
862 | 8.1453 | 16.0168 | 0.050558
863 | 8.1553 | 15.0281 | 0.047437
864 | 8.1653 | 13.0107 | 0.041069
865 | 8.1753 | 17.0237 | 0.053736
866 | 8.1853 | 15.0103 | 0.047381
867 | 8.1953 | 15.0142 | 0.047393
868 | 8.2053 | 22.0238 | 0.069519
869 | 8.2153 | 14.0106 | 0.044225
870 | 8.2253 | 9.008 | 0.028434
871 | 8.2353 | 12.0085 | 0.037905
872 | 8.2453 | 14.0218 | 0.04426
873 | 8.2553 | 15.0255 | 0.047429
874 | 8.2653 | 15.0248 | 0.047427
875 | 8.2753 | 14.023 | 0.044265
876 | 8.2853 | 17.0279 | 0.05375
877 | 8.2953 | 15.0246 | 0.047426
878 | 8.3053 | 14.0229 | 0.044264
879 | 8.3153 | 18.0293 | 0.056911
880 | 8.3253 | 8.0129 | 0.025293
881 | 8.3352 | 2.0031 | 0.0063229
882 | 8.3452 | 11.0177 | 0.034778
883 | 8.3552 | 11.0177 | 0.034778
884 | 8.3652 | 17.0273 | 0.053748
885 | 8.3752 | 12.0192 | 0.037939
886 | 8.3852 | 10.0159 | 0.031616
887 | 8.3952 | 14.0223 | 0.044262
888 | 8.4052 | 13.0206 | 0.0411
889 | 8.4152 | 11.0174 | 0.034777
890 | 8.4252 | 10.0157 | 0.031615
891 | 8.4352 | 11.0173 | 0.034777
892 | 8.4452 | 15.0236 | 0.047423
893 | 8.4552 | 13.0203 | 0.041099
894 | 8.4652 | 12.0187 | 0.037938
895 | 8.4752 | 12.0187 | 0.037938
896 | 8.4852 | 13.0202 | 0.041099
897 | 8.4952 | 17.0264 | 0.053745
898 | 8.5052 | 7.0107 | 0.02213
899 | 8.5152 | 9.0138 | 0.028453
900 | 8.5252 | 12.0184 | 0.037937
901 | 8.5352 | 9.0137 | 0.028452
902 | 8.5452 | 6.0091 | 0.018968
903 | 8.5552 | 6.0091 | 0.018968
904 | 8.5652 | 9.0136 | 0.028452
905 | 8.5752 | 6.009 | 0.018968
906 | 8.5852 | 11.0166 | 0.034775
907 | 8.5952 | 11.0166 | 0.034774
908 | 8.6052 | 9.0135 | 0.028452
909 | 8.6152 | 5.0074 | 0.015806
910 | 8.6252 | 11.0164 | 0.034774
911 | 8.6352 | 16.0239 | 0.05058
912 | 8.6452 | 11.0164 | 0.034774
913 | 8.6552 | 14.0208 | 0.044257
914 | 8.6651 | 13.0193 | 0.041096
915 | 8.6751 | 26.0386 | 0.082192
916 | 8.6851 | 11.0162 | 0.034773
917 | 8.6951 | 8.0117 | 0.025289
918 | 8.7051 | 5.0072 | 0.015806
919 | 8.7151 | 16.0234 | 0.050579
920 | 8.7251 | 7.0101 | 0.022128
921 | 8.7351 | 10.0145 | 0.031611
922 | 8.7451 | 16.0233 | 0.050578
923 | 8.7551 | 14.0203 | 0.044256
924 | 8.7651 | 10.0144 | 0.031611
925 | 8.7751 | 12.0173 | 0.037933
926 | 8.7851 | 11.0158 | 0.034772
927 | 8.7951 | 7.01 | 0.022127
928 | 8.8051 | 9.0128 | 0.02845
929 | 8.8151 | 19.0272 | 0.06006
930 | 8.8251 | 9.0128 | 0.028449
931 | 8.8351 | 7.0099 | 0.022127
932 | 8.8451 | 12.017 | 0.037932
933 | 8.8551 | 8.0113 | 0.025288
934 | 8.8651 | 11.0155 | 0.034771
935 | 8.8751 | 16.0225 | 0.050576
936 | 8.8851 | 9.0126 | 0.028449
937 | 8.8951 | 9.0126 | 0.028449
938 | 8.9051 | 12.0168 | 0.037932
939 | 8.9151 | 9.0125 | 0.028448
940 | 8.9251 | 11.0153 | 0.03477
941 | 8.9351 | 14.0194 | 0.044253
942 | 8.9451 | 8.011 | 0.025287
943 | 8.9551 | 11.0152 | 0.03477
944 | 8.9651 | 13.0179 | 0.041092
945 | 8.9751 | 14.0192 | 0.044253
946 | 8.9851 | 17.0234 | 0.053735
947 | 8.9951 | 12.0164 | 0.03793
948 | 9.005 | 10.0136 | 0.031609
949 | 9.015 | 6.0081 | 0.018965
950 | 9.025 | 14.019 | 0.044252
951 | 9.035 | 14.019 | 0.044252
952 | 9.045 | 10.0135 | 0.031608
953 | 9.055 | 7.0094 | 0.022126
954 | 9.065 | 9.0121 | 0.028447
955 | 9.075 | 10.0134 | 0.031608
956 | 9.085 | 17.0228 | 0.053734
957 | 9.095 | 6.008 | 0.018964
958 | 9.105 | 3.0039 | 0.009482
959 | 9.115 | 6.0079 | 0.018964
960 | 9.125 | 8.0106 | 0.025286
961 | 9.135 | 7.0092 | 0.022125
962 | 9.145 | 14.0185 | 0.04425
963 | 9.155 | 10.0132 | 0.031607
964 | 9.165 | 10.0131 | 0.031607
965 | 9.175 | 12.0158 | 0.037928
966 | 9.185 | 8.0104 | 0.025285
967 | 9.195 | 13.017 | 0.041089
968 | 9.205 | 11.0144 | 0.034767
969 | 9.215 | 15.0196 | 0.04741
970 | 9.225 | 8.0104 | 0.025285
971 | 9.235 | 12.0156 | 0.037928
972 | 9.245 | 7.009 | 0.022124
973 | 9.255 | 11.0142 | 0.034767
974 | 9.265 | 7.009 | 0.022124
975 | 9.275 | 8.0103 | 0.025285
976 | 9.285 | 14.018 | 0.044249
977 | 9.295 | 13.0167 | 0.041088
978 | 9.305 | 13.0166 | 0.041088
979 | 9.315 | 11.014 | 0.034766
980 | 9.325 | 8.0102 | 0.025284
981 | 9.3349 | 5.0063 | 0.015803
982 | 9.3449 | 9.0114 | 0.028445
983 | 9.3549 | 6.0075 | 0.018963
984 | 9.3649 | 10.0126 | 0.031605
985 | 9.3749 | 7.0088 | 0.022124
986 | 9.3849 | 9.0113 | 0.028445
987 | 9.3949 | 9.0113 | 0.028445
988 | 9.4049 | 9.0113 | 0.028445
989 | 9.4149 | 17.0213 | 0.053729
990 | 9.4249 | 11.0137 | 0.034765
991 | 9.4349 | 4.0049 | 0.012642
992 | 9.4449 | 9.0112 | 0.028444
993 | 9.4549 | 12.0149 | 0.037926
994 | 9.4649 | 9.0111 | 0.028444
995 | 9.4749 | 7.0086 | 0.022123
996 | 9.4849 | 13.0161 | 0.041086
997 | 9.4949 | 9.0111 | 0.028444
998 | 9.5049 | 18.0222 | 0.056888
999 | 9.5149 | 11.0135 | 0.034765
1000 | 9.5249 | 11.0135 | 0.034765
1001 | 9.5349 | 6.0073 | 0.018962
1002 | 9.5449 | 7.0085 | 0.022123
1003 | 9.5549 | 10.0122 | 0.031604
1004 | 9.5649 | 8.0097 | 0.025283
1005 | 9.5749 | 9.0109 | 0.028443
1006 | 9.5849 | 8.0097 | 0.025283
1007 | 9.5949 | 8.0096 | 0.025283
1008 | 9.6049 | 6.0072 | 0.018962
1009 | 9.6149 | 9.0108 | 0.028443
1010 | 9.6249 | 6.0072 | 0.018962
1011 | 9.6349 | 13.0156 | 0.041085
1012 | 9.6449 | 10.012 | 0.031603
1013 | 9.6549 | 9.0108 | 0.028443
1014 | 9.6648 | 9.0107 | 0.028443
1015 | 9.6748 | 13.0155 | 0.041084
1016 | 9.6848 | 7.0083 | 0.022122
1017 | 9.6948 | 13.0155 | 0.041084
1018 | 9.7048 | 4.0047 | 0.012641
1019 | 9.7148 | 9.0106 | 0.028443
1020 | 9.7248 | 11.013 | 0.034763
1021 | 9.7348 | 4.0047 | 0.012641
1022 | 9.7448 | 9.0106 | 0.028442
1023 | 9.7548 | 5.0058 | 0.015801
1024 | 9.7648 | 15.0177 | 0.047404
1025 | 9.7748 | 12.0141 | 0.037923
1026 | 9.7848 | 13.0152 | 0.041083
1027 | 9.7948 | 8.0093 | 0.025282
1028 | 9.8048 | 5.0058 | 0.015801
1029 | 9.8148 | 5.0058 | 0.015801
1030 | 9.8248 | 9.0105 | 0.028442
1031 | 9.8348 | 10.0116 | 0.031602
1032 | 9.8448 | 7.0081 | 0.022121
1033 | 9.8548 | 11.0127 | 0.034762
1034 | 9.8648 | 5.0057 | 0.015801
1035 | 9.8748 | 9.0104 | 0.028442
1036 | 9.8848 | 16.0185 | 0.050563
1037 | 9.8948 | 6.0069 | 0.018961
1038 | 9.9048 | 3.0034 | 0.0094803
1039 | 9.9148 | 13.0149 | 0.041082
1040 | 9.9248 | 6.0068 | 0.018961
1041 | 9.9348 | 11.0126 | 0.034762
1042 | 9.9448 | 8.0091 | 0.025281
1043 | 9.9548 | 10.0114 | 0.031602
1044 | 9.9648 | 9.0102 | 0.028441
1045 | 9.9748 | 7.0079 | 0.022121
1046 | 9.9848 | 9.0102 | 0.028441
1047 | 9.9948 | 3.0033 | 0.0094802
1048 | 10.0047 | 10.0001 | 0.031566
1049 | 10.0147 | 5 | 0.015783
1050 | 10.0247 | 5 | 0.015783
1051 | 10.0347 | 6 | 0.018939
1052 | 10.0447 | 10.0001 | 0.031566
1053 | 10.0547 | 10.0001 | 0.031566
1054 | 10.0647 | 9 | 0.028409
1055 | 10.0747 | 7 | 0.022096
1056 | 10.0847 | 13.0001 | 0.041036
1057 | 10.0947 | 10.0001 | 0.031566
1058 | 10.1047 | 10.0001 | 0.031566
1059 | 10.1147 | 8 | 0.025253
1060 | 10.1247 | 5 | 0.015783
1061 | 10.1347 | 8 | 0.025253
1062 | 10.1447 | 9 | 0.028409
1063 | 10.1547 | 8 | 0.025253
1064 | 10.1647 | 8 | 0.025253
1065 | 10.1747 | 5 | 0.015783
1066 | 10.1847 | 11.0001 | 0.034722
1067 | 10.1947 | 7 | 0.022096
1068 | 10.2047 | 6 | 0.018939
1069 | 10.2147 | 7 | 0.022096
1070 | 10.2247 | 7 | 0.022096
1071 | 10.2347 | 8 | 0.025253
1072 | 10.2447 | 6 | 0.018939
1073 | 10.2547 | 5 | 0.015783
1074 | 10.2647 | 6 | 0.018939
1075 | 10.2747 | 5 | 0.015783
1076 | 10.2847 | 7 | 0.022096
1077 | 10.2947 | 9 | 0.028409
1078 | 10.3047 | 18.0002 | 0.056819
1079 | 10.3147 | 9.0001 | 0.028409
1080 | 10.3247 | 6 | 0.018939
1081 | 10.3346 | 5 | 0.015783
1082 | 10.3446 | 7 | 0.022096
1083 | 10.3546 | 12.0001 | 0.037879
1084 | 10.3646 | 6 | 0.018939
1085 | 10.3746 | 5 | 0.015783
1086 | 10.3846 | 15.0001 | 0.047349
1087 | 10.3946 | 7 | 0.022096
1088 | 10.4046 | 13.0001 | 0.041036
1089 | 10.4146 | 5 | 0.015783
1090 | 10.4246 | 6 | 0.018939
1091 | 10.4346 | 7 | 0.022096
1092 | 10.4446 | 14.0001 | 0.044192
1093 | 10.4546 | 7 | 0.022096
1094 | 10.4646 | 10.0001 | 0.031566
1095 | 10.4746 | 5 | 0.015783
1096 | 10.4846 | 9.0001 | 0.028409
1097 | 10.4946 | 8 | 0.025253
1098 | 10.5046 | 8 | 0.025253
1099 | 10.5146 | 4 | 0.012626
1100 | 10.5246 | 8 | 0.025253
1101 | 10.5346 | 10.0001 | 0.031566
1102 | 10.5446 | 6 | 0.018939
1103 | 10.5546 | 7 | 0.022096
1104 | 10.5646 | 7 | 0.022096
1105 | 10.5746 | 4 | 0.012626
1106 | 10.5846 | 7 | 0.022096
1107 | 10.5946 | 8 | 0.025253
1108 | 10.6046 | 4 | 0.012626
1109 | 10.6146 | 5 | 0.015783
1110 | 10.6246 | 8 | 0.025253
1111 | 10.6346 | 8 | 0.025253
1112 | 10.6446 | 10.0001 | 0.031566
1113 | 10.6546 | 10.0001 | 0.031566
1114 | 10.6645 | 9.0001 | 0.028409
1115 | 10.6745 | 5 | 0.015783
1116 | 10.6845 | 0.99994 | 0.0031564
1117 | 10.6945 | 9.0001 | 0.028409
1118 | 10.7045 | 6 | 0.018939
1119 | 10.7145 | 2 | 0.006313
1120 | 10.7245 | 8 | 0.025253
1121 | 10.7345 | 6 | 0.018939
1122 | 10.7445 | 10.0001 | 0.031566
1123 | 10.7545 | 8 | 0.025253
1124 | 10.7645 | 7 | 0.022096
1125 | 10.7745 | 10.0001 | 0.031566
1126 | 10.7845 | 5 | 0.015783
1127 | 10.7945 | 6 | 0.018939
1128 | 10.8045 | 8.0001 | 0.025253
1129 | 10.8145 | 7 | 0.022096
1130 | 10.8245 | 3 | 0.0094696
1131 | 10.8345 | 4 | 0.012626
1132 | 10.8445 | 7 | 0.022096
1133 | 10.8545 | 8.0001 | 0.025253
1134 | 10.8645 | 4 | 0.012626
1135 | 10.8745 | 5 | 0.015783
1136 | 10.8845 | 6 | 0.018939
1137 | 10.8945 | 7 | 0.022096
1138 | 10.9045 | 8.0001 | 0.025253
1139 | 10.9145 | 12.0001 | 0.037879
1140 | 10.9245 | 9.0001 | 0.028409
1141 | 10.9345 | 6 | 0.018939
1142 | 10.9445 | 13.0001 | 0.041036
1143 | 10.9545 | 5 | 0.015783
1144 | 10.9645 | 7 | 0.022096
1145 | 10.9745 | 4 | 0.012626
1146 | 10.9845 | 8.0001 | 0.025253
1147 | 10.9945 | 12.0001 | 0.037879
1148 | 11.0044 | 10.0001 | 0.031566
1149 | 11.0144 | 6 | 0.018939
1150 | 11.0244 | 7 | 0.022096
1151 | 11.0344 | 4 | 0.012626
1152 | 11.0444 | 4 | 0.012626
1153 | 11.0544 | 8.0001 | 0.025253
1154 | 11.0644 | 7 | 0.022096
1155 | 11.0744 | 0.99995 | 0.0031564
1156 | 11.0844 | 9.0001 | 0.028409
1157 | 11.0944 | 7 | 0.022096
1158 | 11.1044 | 4 | 0.012626
1159 | 11.1144 | 6 | 0.018939
1160 | 11.1244 | 2 | 0.006313
1161 | 11.1344 | 4 | 0.012626
1162 | 11.1444 | 4 | 0.012626
1163 | 11.1544 | 7 | 0.022096
1164 | 11.1644 | 2 | 0.006313
1165 | 11.1744 | 5 | 0.015783
1166 | 11.1844 | 8.0001 | 0.025253
1167 | 11.1944 | 3 | 0.0094696
1168 | 11.2044 | 7 | 0.022096
1169 | 11.2144 | 6 | 0.018939
1170 | 11.2244 | 5 | 0.015783
1171 | 11.2344 | 3 | 0.0094696
1172 | 11.2444 | 6 | 0.018939
1173 | 11.2544 | 3 | 0.0094696
1174 | 11.2644 | 3 | 0.0094696
1175 | 11.2744 | 4 | 0.012626
1176 | 11.2844 | 7 | 0.022096
1177 | 11.2944 | 13.0001 | 0.041036
1178 | 11.3044 | 9.0001 | 0.028409
1179 | 11.3144 | 4 | 0.012626
1180 | 11.3244 | 9.0001 | 0.028409
1181 | 11.3343 | 5 | 0.015783
1182 | 11.3443 | 6 | 0.018939
1183 | 11.3543 | 4 | 0.012626
1184 | 11.3643 | 7.0001 | 0.022096
1185 | 11.3743 | 7.0001 | 0.022096
1186 | 11.3843 | 10.0001 | 0.031566
1187 | 11.3943 | 5 | 0.015783
1188 | 11.4043 | 3 | 0.0094696
1189 | 11.4143 | 8.0001 | 0.025253
1190 | 11.4243 | 4 | 0.012626
1191 | 11.4343 | 4 | 0.012626
1192 | 11.4443 | 7.0001 | 0.022096
1193 | 11.4543 | 3 | 0.0094696
1194 | 11.4643 | 7.0001 | 0.022096
1195 | 11.4743 | 5 | 0.015783
1196 | 11.4843 | 9.0001 | 0.028409
1197 | 11.4943 | 9.0001 | 0.028409
1198 | 11.5043 | 3 | 0.0094697
1199 | 11.5143 | 4 | 0.012626
1200 | 11.5243 | 5 | 0.015783
1201 | 11.5343 | 4 | 0.012626
1202 | 11.5443 | 3 | 0.0094697
1203 | 11.5543 | 6 | 0.018939
1204 | 11.5643 | 5 | 0.015783
1205 | 11.5743 | 5 | 0.015783
1206 | 11.5843 | 3 | 0.0094697
1207 | 11.5943 | 4 | 0.012626
1208 | 11.6043 | 4 | 0.012626
1209 | 11.6143 | 2 | 0.0063131
1210 | 11.6243 | 5 | 0.015783
1211 | 11.6343 | 9.0001 | 0.028409
1212 | 11.6443 | 5 | 0.015783
1213 | 11.6543 | 11.0001 | 0.034722
1214 | 11.6642 | 8.0001 | 0.025253
1215 | 11.6742 | 8.0001 | 0.025253
1216 | 11.6842 | 3 | 0.0094697
1217 | 11.6942 | 7.0001 | 0.022096
1218 | 11.7042 | 4 | 0.012626
1219 | 11.7142 | 9.0001 | 0.028409
1220 | 11.7242 | 4 | 0.012626
1221 | 11.7342 | 2 | 0.0063131
1222 | 11.7442 | 5 | 0.015783
1223 | 11.7542 | 7.0001 | 0.022096
1224 | 11.7642 | 4 | 0.012626
1225 | 11.7742 | 2 | 0.0063131
1226 | 11.7842 | 4 | 0.012626
1227 | 11.7942 | 5 | 0.015783
1228 | 11.8042 | 6 | 0.018939
1229 | 11.8142 | 6 | 0.018939
1230 | 11.8242 | 9.0001 | 0.028409
1231 | 11.8342 | 8.0001 | 0.025253
1232 | 11.8442 | 4 | 0.012626
1233 | 11.8542 | 5 | 0.015783
1234 | 11.8642 | 7.0001 | 0.022096
1235 | 11.8742 | 9.0001 | 0.028409
1236 | 11.8842 | 3 | 0.0094697
1237 | 11.8942 | 3 | 0.0094697
1238 | 11.9042 | 2 | 0.0063131
1239 | 11.9142 | 6 | 0.018939
1240 | 11.9242 | 9.0001 | 0.028409
1241 | 11.9342 | 4 | 0.012626
1242 | 11.9442 | 7.0001 | 0.022096
1243 | 11.9542 | 5 | 0.015783
1244 | 11.9642 | 2 | 0.0063131
1245 | 11.9742 | 2 | 0.0063131
1246 | 11.9842 | 4 | 0.012626
1247 | 11.9942 | 5 | 0.015783
1248 | 12.0041 | 6.0001 | 0.018939
1249 | 12.0141 | 3 | 0.0094697
1250 | 12.0241 | 5 | 0.015783
1251 | 12.0341 | 2 | 0.0063131
1252 | 12.0441 | 3 | 0.0094697
1253 | 12.0541 | 4 | 0.012626
1254 | 12.0641 | 5 | 0.015783
1255 | 12.0741 | 5 | 0.015783
1256 | 12.0841 | -3.7511e-05 | -1.184e-07
1257 | 12.0941 | 7.0001 | 0.022096
1258 | 12.1041 | 4 | 0.012626
1259 | 12.1141 | 7.0001 | 0.022096
1260 | 12.1241 | 3 | 0.0094697
1261 | 12.1341 | 7.0001 | 0.022096
1262 | 12.1441 | 0.99998 | 0.0031565
1263 | 12.1541 | 8.0001 | 0.025253
1264 | 12.1641 | 7.0001 | 0.022096
1265 | 12.1741 | 0.99998 | 0.0031565
1266 | 12.1841 | 5 | 0.015783
1267 | 12.1941 | 6.0001 | 0.01894
1268 | 12.2041 | 7.0001 | 0.022096
1269 | 12.2141 | 4 | 0.012626
1270 | 12.2241 | 4 | 0.012626
1271 | 12.2341 | 3 | 0.0094697
1272 | 12.2441 | 4 | 0.012626
1273 | 12.2541 | 2 | 0.0063131
1274 | 12.2641 | 2 | 0.0063131
1275 | 12.2741 | 4 | 0.012626
1276 | 12.2841 | 6.0001 | 0.01894
1277 | 12.2941 | 2 | 0.0063131
1278 | 12.3041 | 0.99998 | 0.0031565
1279 | 12.3141 | 2 | 0.0063131
1280 | 12.3241 | 6.0001 | 0.01894
1281 | 12.334 | 4 | 0.012626
1282 | 12.344 | 8.0001 | 0.025253
1283 | 12.354 | 3 | 0.0094697
1284 | 12.364 | 3 | 0.0094697
1285 | 12.374 | 6.0001 | 0.01894
1286 | 12.384 | 3 | 0.0094697
1287 | 12.394 | 5 | 0.015783
1288 | 12.404 | 2 | 0.0063131
1289 | 12.414 | 6.0001 | 0.01894
1290 | 12.424 | 2 | 0.0063131
1291 | 12.434 | 4 | 0.012626
1292 | 12.444 | 5 | 0.015783
1293 | 12.454 | 5 | 0.015783
1294 | 12.464 | 0.99999 | 0.0031565
1295 | 12.474 | 2 | 0.0063131
1296 | 12.484 | 4 | 0.012626
1297 | 12.494 | 3 | 0.0094697
1298 | 12.504 | 3 | 0.0094697
1299 | 12.514 | 6.0001 | 0.01894
1300 | 12.524 | 5 | 0.015783
1301 | 12.534 | 6.0001 | 0.01894
1302 | 12.544 | 6.0001 | 0.01894
1303 | 12.554 | 2 | 0.0063131
1304 | 12.564 | 8.0001 | 0.025253
1305 | 12.574 | -2.7559e-05 | -8.6991e-08
1306 | 12.584 | 6.0001 | 0.01894
1307 | 12.594 | 6.0001 | 0.01894
1308 | 12.604 | 4 | 0.012626
1309 | 12.614 | 8.0001 | 0.025253
1310 | 12.624 | 4 | 0.012626
1311 | 12.634 | 7.0001 | 0.022096
1312 | 12.644 | 7.0001 | 0.022096
1313 | 12.654 | 6.0001 | 0.01894
1314 | 12.6639 | 9.0001 | 0.028409
1315 | 12.6739 | 0.99999 | 0.0031565
1316 | 12.6839 | 8.0001 | 0.025253
1317 | 12.6939 | 2 | 0.0063131
1318 | 12.7039 | 4 | 0.012626
1319 | 12.7139 | 4 | 0.012626
1320 | 12.7239 | 5.0001 | 0.015783
1321 | 12.7339 | 5.0001 | 0.015783
1322 | 12.7439 | 3 | 0.0094697
1323 | 12.7539 | 7.0001 | 0.022096
1324 | 12.7639 | 8.0001 | 0.025253
1325 | 12.7739 | 3 | 0.0094697
1326 | 12.7839 | 5.0001 | 0.015783
1327 | 12.7939 | 3 | 0.0094697
1328 | 12.8039 | 0.99999 | 0.0031565
1329 | 12.8139 | 4 | 0.012626
1330 | 12.8239 | 7.0001 | 0.022096
1331 | 12.8339 | 4 | 0.012626
1332 | 12.8439 | 8.0001 | 0.025253
1333 | 12.8539 | 4 | 0.012626
1334 | 12.8639 | 1 | 0.0031565
1335 | 12.8739 | 4 | 0.012626
1336 | 12.8839 | 1 | 0.0031565
1337 | 12.8939 | 1 | 0.0031565
1338 | 12.9039 | 4 | 0.012626
1339 | 12.9139 | 4 | 0.012626
1340 | 12.9239 | 5.0001 | 0.015783
1341 | 12.9339 | 4 | 0.012626
1342 | 12.9439 | 2 | 0.0063132
1343 | 12.9539 | 2 | 0.0063132
1344 | 12.9639 | 2 | 0.0063132
1345 | 12.9739 | 5.0001 | 0.015783
1346 | 12.9839 | 6.0001 | 0.01894
1347 | 12.9939 | 4 | 0.012626
1348 | 13.0038 | 1 | 0.0031566
1349 | 13.0138 | 3 | 0.0094698
1350 | 13.0238 | 3 | 0.0094698
1351 | 13.0338 | 4 | 0.012626
1352 | 13.0438 | 6.0001 | 0.01894
1353 | 13.0538 | 5.0001 | 0.015783
1354 | 13.0638 | 4 | 0.012626
1355 | 13.0738 | 2 | 0.0063132
1356 | 13.0838 | 4 | 0.012626
1357 | 13.0938 | 2 | 0.0063132
1358 | 13.1038 | 6.0001 | 0.01894
1359 | 13.1138 | 1 | 0.0031566
1360 | 13.1238 | 1 | 0.0031566
1361 | 13.1338 | 1 | 0.0031566
1362 | 13.1438 | 3 | 0.0094698
1363 | 13.1538 | 5.0001 | 0.015783
1364 | 13.1638 | 2 | 0.0063132
1365 | 13.1738 | 3 | 0.0094698
1366 | 13.1838 | 4 | 0.012626
1367 | 13.1938 | 2 | 0.0063132
1368 | 13.2038 | 2 | 0.0063132
1369 | 13.2138 | 5.0001 | 0.015783
1370 | 13.2238 | 1 | 0.0031566
1371 | 13.2338 | 6.0001 | 0.01894
1372 | 13.2438 | 3 | 0.0094698
1373 | 13.2538 | 3 | 0.0094698
1374 | 13.2638 | 2 | 0.0063132
1375 | 13.2738 | 3 | 0.0094698
1376 | 13.2838 | 4 | 0.012626
1377 | 13.2938 | 1 | 0.0031566
1378 | 13.3038 | 1 | 0.0031566
1379 | 13.3138 | 4 | 0.012626
1380 | 13.3238 | 6.0001 | 0.01894
1381 | 13.3337 | 2 | 0.0063132
1382 | 13.3437 | 4 | 0.012626
1383 | 13.3537 | 2 | 0.0063132
1384 | 13.3637 | 3 | 0.0094698
1385 | 13.3737 | 3 | 0.0094698
1386 | 13.3837 | 1 | 0.0031566
1387 | 13.3937 | 3 | 0.0094698
1388 | 13.4037 | -1.0223e-05 | -3.2269e-08
1389 | 13.4137 | 3 | 0.0094697
1390 | 13.4237 | 3 | 0.0094697
1391 | 13.4337 | 3 | 0.0094697
1392 | 13.4437 | 2 | 0.0063132
1393 | 13.4537 | 5 | 0.015783
1394 | 13.4637 | 3 | 0.0094697
1395 | 13.4737 | 3 | 0.0094697
1396 | 13.4837 | 1 | 0.0031566
1397 | 13.4937 | 1 | 0.0031566
1398 | 13.5037 | 4 | 0.012626
1399 | 13.5137 | 3 | 0.0094697
1400 | 13.5237 | 3 | 0.0094697
1401 | 13.5337 | 3 | 0.0094697
1402 | 13.5437 | 4 | 0.012626
1403 | 13.5537 | 1 | 0.0031566
1404 | 13.5637 | 6.0001 | 0.01894
1405 | 13.5737 | 6.0001 | 0.01894
1406 | 13.5837 | 3 | 0.0094697
1407 | 13.5937 | 7.0001 | 0.022096
1408 | 13.6037 | 4 | 0.012626
1409 | 13.6137 | 2 | 0.0063132
1410 | 13.6237 | 2 | 0.0063132
1411 | 13.6337 | -7.0162e-06 | -2.2147e-08
1412 | 13.6437 | 6.0001 | 0.01894
1413 | 13.6537 | 2 | 0.0063132
1414 | 13.6636 | -6.6915e-06 | -2.1122e-08
1415 | 13.6736 | 2 | 0.0063132
1416 | 13.6836 | 2 | 0.0063132
1417 | 13.6936 | 3 | 0.0094697
1418 | 13.7036 | 1 | 0.0031566
1419 | 13.7136 | 5 | 0.015783
1420 | 13.7236 | 3 | 0.0094697
1421 | 13.7336 | 1 | 0.0031566
1422 | 13.7436 | -6.0693e-06 | -1.9158e-08
1423 | 13.7536 | 3 | 0.0094697
1424 | 13.7636 | 4 | 0.012626
1425 | 13.7736 | -5.8166e-06 | -1.836e-08
1426 | 13.7836 | 1 | 0.0031566
1427 | 13.7936 | -5.8154e-06 | -1.8357e-08
1428 | 13.8036 | 3 | 0.0094697
1429 | 13.8136 | 3 | 0.0094697
1430 | 13.8236 | 2 | 0.0063132
1431 | 13.8336 | 8.0001 | 0.025253
1432 | 13.8436 | 2 | 0.0063132
1433 | 13.8536 | 2 | 0.0063132
1434 | 13.8636 | 6 | 0.018939
1435 | 13.8736 | 4 | 0.012626
1436 | 13.8836 | 1 | 0.0031566
1437 | 13.8936 | 7.0001 | 0.022096
1438 | 13.9036 | 1 | 0.0031566
1439 | 13.9136 | 1 | 0.0031566
1440 | 13.9236 | 4 | 0.012626
1441 | 13.9336 | 5 | 0.015783
1442 | 13.9436 | 3 | 0.0094697
1443 | 13.9536 | 3 | 0.0094697
1444 | 13.9636 | 1 | 0.0031566
1445 | 13.9736 | 3 | 0.0094697
1446 | 13.9836 | 3 | 0.0094697
1447 | 13.9936 | 2 | 0.0063131
1448 | 14.0035 | 1 | 0.0031566
1449 | 14.0135 | 1 | 0.0031566
1450 | 14.0235 | 3 | 0.0094697
1451 | 14.0335 | 4 | 0.012626
1452 | 14.0435 | -3.3203e-06 | -1.0481e-08
1453 | 14.0535 | 3 | 0.0094697
1454 | 14.0635 | 2 | 0.0063131
1455 | 14.0735 | 1 | 0.0031566
1456 | 14.0835 | 4 | 0.012626
1457 | 14.0935 | 5 | 0.015783
1458 | 14.1035 | 3 | 0.0094697
1459 | 14.1135 | 5 | 0.015783
1460 | 14.1235 | 3 | 0.0094697
1461 | 14.1335 | 2 | 0.0063131
1462 | 14.1435 | 3 | 0.0094697
1463 | 14.1535 | 4 | 0.012626
1464 | 14.1635 | 2 | 0.0063131
1465 | 14.1735 | 3 | 0.0094697
1466 | 14.1835 | 4 | 0.012626
1467 | 14.1935 | 2 | 0.0063131
1468 | 14.2035 | 3 | 0.0094697
1469 | 14.2135 | 2 | 0.0063131
1470 | 14.2235 | 1 | 0.0031566
1471 | 14.2335 | 1 | 0.0031566
1472 | 14.2435 | 2 | 0.0063131
1473 | 14.2535 | 1 | 0.0031566
1474 | 14.2635 | 3 | 0.0094697
1475 | 14.2735 | 1 | 0.0031566
1476 | 14.2835 | 1 | 0.0031566
1477 | 14.2935 | 1 | 0.0031566
1478 | 14.3035 | 5 | 0.015783
1479 | 14.3135 | 2 | 0.0063131
1480 | 14.3235 | 3 | 0.0094697
1481 | 14.3334 | 2 | 0.0063131
1482 | 14.3434 | 1 | 0.0031566
1483 | 14.3534 | 3 | 0.0094697
1484 | 14.3634 | 2 | 0.0063131
1485 | 14.3734 | 1 | 0.0031566
1486 | 14.3834 | 1 | 0.0031566
1487 | 14.3934 | 6 | 0.018939
1488 | 14.4034 | -1.1007e-06 | -3.474e-09
1489 | 14.4134 | 3 | 0.0094697
1490 | 14.4234 | 4 | 0.012626
1491 | 14.4334 | 2 | 0.0063131
1492 | 14.4434 | 3 | 0.0094697
1493 | 14.4534 | 1 | 0.0031566
1494 | 14.4634 | -8.5889e-07 | -2.711e-09
1495 | 14.4734 | 1 | 0.0031566
1496 | 14.4834 | 1 | 0.0031566
1497 | 14.4934 | 1 | 0.0031566
1498 | 14.5034 | 3 | 0.0094697
1499 | 14.5134 | 1 | 0.0031566
1500 | 14.5234 | 3 | 0.0094697
1501 | 14.5334 | 2 | 0.0063131
1502 | 14.5434 | -6.7346e-07 | -2.126e-09
1503 | 14.5534 | 2 | 0.0063131
1504 | 14.5634 | 2 | 0.0063131
1505 | 14.5734 | 3 | 0.0094697
1506 | 14.5834 | 1 | 0.0031566
1507 | 14.5934 | 3 | 0.0094697
1508 | 14.6034 | 3 | 0.0094697
1509 | 14.6134 | 2 | 0.0063131
1510 | 14.6234 | 1 | 0.0031566
1511 | 14.6334 | 2 | 0.0063131
1512 | 14.6434 | 2 | 0.0063131
1513 | 14.6534 | 1 | 0.0031566
1514 | 14.6633 | 2 | 0.0063131
1515 | 14.6733 | 1 | 0.0031566
1516 | 14.6833 | 1 | 0.0031566
1517 | 14.6933 | 3 | 0.0094697
1518 | 14.7033 | 2 | 0.0063131
1519 | 14.7133 | 4 | 0.012626
1520 | 14.7233 | 1 | 0.0031566
1521 | 14.7333 | 3 | 0.0094697
1522 | 14.7433 | 1 | 0.0031566
1523 | 14.7533 | 2 | 0.0063131
1524 | 14.7633 | 2 | 0.0063131
1525 | 14.7733 | 1 | 0.0031566
1526 | 14.7833 | 1 | 0.0031566
1527 | 14.7933 | 4 | 0.012626
1528 | 14.8033 | 4 | 0.012626
1529 | 14.8133 | 1 | 0.0031566
1530 | 14.8233 | 1 | 0.0031566
1531 | 14.8333 | 2 | 0.0063131
1532 | 14.8433 | 2 | 0.0063131
1533 | 14.8533 | 1 | 0.0031566
1534 | 14.8633 | 1 | 0.0031566
1535 | 14.8733 | -5.7648e-08 | -1.82e-10
1536 | 14.8833 | 1 | 0.0031566
1537 | 14.8933 | 2 | 0.0063131
1538 | 14.9033 | 2 | 0.0063131
1539 | 14.9133 | 1 | 0.0031566
1540 | 14.9233 | 7 | 0.022096
1541 | 14.9333 | 3 | 0.0094697
1542 | 14.9433 | -7.866e-09 | -2.5e-11
1543 | 14.9533 | -7.895e-09 | -2.5e-11
1544 | 14.9633 | 3 | 0.0094697
1545 | 14.9733 | 1 | 0.0031566
1546 | 14.9833 | 1 | 0.0031566
1547 | 14.9933 | 2 | 0.0063131
1548 | 15.0032 | 0 | 0
1549 | 15.0132 | 4 | 0.012626
1550 | 15.0232 | 1 | 0.0031566
1551 | 15.0332 | 2 | 0.0063131
1552 | 15.0432 | 2 | 0.0063131
1553 | 15.0532 | 1 | 0.0031566
1554 | 15.0632 | 3 | 0.0094697
1555 | 15.0732 | 4 | 0.012626
1556 | 15.0832 | 3 | 0.0094697
1557 | 15.0932 | 2 | 0.0063131
1558 | 15.1032 | 4 | 0.012626
1559 | 15.1132 | 3 | 0.0094697
1560 | 15.1232 | 1 | 0.0031566
1561 | 15.1332 | 1 | 0.0031566
1562 | 15.1432 | 1 | 0.0031566
1563 | 15.1532 | 1 | 0.0031566
1564 | 15.1632 | 1 | 0.0031566
1565 | 15.1732 | 0 | 0
1566 | 15.1832 | 3 | 0.0094697
1567 | 15.1932 | 2 | 0.0063131
1568 | 15.2032 | 2 | 0.0063131
1569 | 15.2132 | 3 | 0.0094697
1570 | 15.2232 | 1 | 0.0031566
1571 | 15.2332 | 1 | 0.0031566
1572 | 15.2432 | 0 | 0
1573 | 15.2532 | 3 | 0.0094697
1574 | 15.2632 | 2 | 0.0063131
1575 | 15.2732 | 0 | 0
1576 | 15.2832 | 0 | 0
1577 | 15.2932 | 0 | 0
1578 | 15.3032 | 0 | 0
1579 | 15.3132 | 2 | 0.0063131
1580 | 15.3232 | 2 | 0.0063131
1581 | 15.3331 | 3 | 0.0094697
1582 | 15.3431 | 0 | 0
1583 | 15.3531 | 0 | 0
1584 | 15.3631 | 0 | 0
1585 | 15.3731 | 1 | 0.0031566
1586 | 15.3831 | 1 | 0.0031566
1587 | 15.3931 | 2 | 0.0063131
1588 | 15.4031 | 4 | 0.012626
1589 | 15.4131 | 1 | 0.0031566
1590 | 15.4231 | 1 | 0.0031566
1591 | 15.4331 | 1 | 0.0031566
1592 | 15.4431 | 1 | 0.0031566
1593 | 15.4531 | 0 | 0
1594 | 15.4631 | 2 | 0.0063131
1595 | 15.4731 | 3 | 0.0094697
1596 | 15.4831 | 0 | 0
1597 | 15.4931 | 1 | 0.0031566
1598 | 15.5031 | 1 | 0.0031566
1599 | 15.5131 | 1 | 0.0031566
1600 | 15.5231 | 7 | 0.022096
1601 | 15.5331 | 1 | 0.0031566
1602 | 15.5431 | 4 | 0.012626
1603 | 15.5531 | 2 | 0.0063131
1604 | 15.5631 | 1 | 0.0031566
1605 | 15.5731 | 1 | 0.0031566
1606 | 15.5831 | 2 | 0.0063131
1607 | 15.5931 | 1 | 0.0031566
1608 | 15.6031 | 2 | 0.0063131
1609 | 15.6131 | 2 | 0.0063131
1610 | 15.6231 | 1 | 0.0031566
1611 | 15.6331 | 2 | 0.0063131
1612 | 15.6431 | 0 | 0
1613 | 15.6531 | 0 | 0
1614 | 15.663 | 0 | 0
1615 | 15.673 | 4 | 0.012626
1616 | 15.683 | 2 | 0.0063131
1617 | 15.693 | 2 | 0.0063131
1618 | 15.703 | 3 | 0.0094697
1619 | 15.713 | 2 | 0.0063131
1620 | 15.723 | 2 | 0.0063131
1621 | 15.733 | 1 | 0.0031566
1622 | 15.743 | 4 | 0.012626
1623 | 15.753 | 2 | 0.0063131
1624 | 15.763 | 2 | 0.0063131
1625 | 15.773 | 2 | 0.0063131
1626 | 15.783 | 2 | 0.0063131
1627 | 15.793 | 0 | 0
1628 | 15.803 | 0 | 0
1629 | 15.813 | 3 | 0.0094697
1630 | 15.823 | 1 | 0.0031566
1631 | 15.833 | 2 | 0.0063131
1632 | 15.843 | 2 | 0.0063131
1633 | 15.853 | 2 | 0.0063131
1634 | 15.863 | 0 | 0
1635 | 15.873 | 1 | 0.0031566
1636 | 15.883 | 2 | 0.0063131
1637 | 15.893 | 0 | 0
1638 | 15.903 | 0 | 0
1639 | 15.913 | 3 | 0.0094697
1640 | 15.923 | 0 | 0
1641 | 15.933 | 1 | 0.0031566
1642 | 15.943 | 1 | 0.0031566
1643 | 15.953 | 1 | 0.0031566
1644 | 15.963 | 0 | 0
1645 | 15.973 | 1 | 0.0031566
1646 | 15.983 | 2 | 0.0063131
1647 | 15.993 | 1 | 0.0031566
1648 | 16.0029 | 6 | 0.018939
1649 | 16.0129 | 2 | 0.0063131
1650 | 16.0229 | 3 | 0.0094697
1651 | 16.0329 | 1 | 0.0031566
1652 | 16.0429 | 1 | 0.0031566
1653 | 16.0529 | 2 | 0.0063131
1654 | 16.0629 | 0 | 0
1655 | 16.0729 | 0 | 0
1656 | 16.0829 | 0 | 0
1657 | 16.0929 | 0 | 0
1658 | 16.1029 | 0 | 0
1659 | 16.1129 | 0 | 0
1660 | 16.1229 | 1 | 0.0031566
1661 | 16.1329 | 1 | 0.0031566
1662 | 16.1429 | 0 | 0
1663 | 16.1529 | 2 | 0.0063131
1664 | 16.1629 | 2 | 0.0063131
1665 | 16.1729 | 0 | 0
1666 | 16.1829 | 1 | 0.0031566
1667 | 16.1929 | 0 | 0
1668 | 16.2029 | 1 | 0.0031566
1669 | 16.2129 | 0 | 0
1670 | 16.2229 | 3 | 0.0094697
1671 | 16.2329 | 2 | 0.0063131
1672 | 16.2429 | 1 | 0.0031566
1673 | 16.2529 | 2 | 0.0063131
1674 | 16.2629 | 1 | 0.0031566
1675 | 16.2729 | 1 | 0.0031566
1676 | 16.2829 | 1 | 0.0031566
1677 | 16.2929 | 2 | 0.0063131
1678 | 16.3029 | 4 | 0.012626
1679 | 16.3129 | 0 | 0
1680 | 16.3229 | 3 | 0.0094697
1681 | 16.3328 | 1 | 0.0031566
1682 | 16.3428 | 2 | 0.0063131
1683 | 16.3528 | 1 | 0.0031566
1684 | 16.3628 | 2 | 0.0063131
1685 | 16.3728 | 1 | 0.0031566
1686 | 16.3828 | 2 | 0.0063131
1687 | 16.3928 | 0 | 0
1688 | 16.4028 | 1 | 0.0031566
1689 | 16.4128 | 0 | 0
1690 | 16.4228 | 0 | 0
1691 | 16.4328 | 1 | 0.0031566
1692 | 16.4428 | 2 | 0.0063131
1693 | 16.4528 | 1 | 0.0031566
1694 | 16.4628 | 2 | 0.0063131
1695 | 16.4728 | 1 | 0.0031566
1696 | 16.4828 | 0 | 0
1697 | 16.4928 | 0 | 0
1698 | 16.5028 | 3 | 0.0094697
1699 | 16.5128 | 1 | 0.0031566
1700 | 16.5228 | 1 | 0.0031566
1701 | 16.5328 | 1 | 0.0031566
1702 | 16.5428 | 0 | 0
1703 | 16.5528 | 0 | 0
1704 | 16.5628 | 0 | 0
1705 | 16.5728 | 1 | 0.0031566
1706 | 16.5828 | 2 | 0.0063131
1707 | 16.5928 | 3 | 0.0094697
1708 | 16.6028 | 2 | 0.0063131
1709 | 16.6128 | 3 | 0.0094697
1710 | 16.6228 | 1 | 0.0031566
1711 | 16.6328 | 1 | 0.0031566
1712 | 16.6428 | 0 | 0
1713 | 16.6528 | 1 | 0.0031566
1714 | 16.6627 | 0 | 0
1715 | 16.6727 | 0 | 0
1716 | 16.6827 | 0 | 0
1717 | 16.6927 | 1 | 0.0031566
1718 | 16.7027 | 2 | 0.0063131
1719 | 16.7127 | 4 | 0.012626
1720 | 16.7227 | 0 | 0
1721 | 16.7327 | 1 | 0.0031566
1722 | 16.7427 | 1 | 0.0031566
1723 | 16.7527 | 1 | 0.0031566
1724 | 16.7627 | 1 | 0.0031566
1725 | 16.7727 | 0 | 0
1726 | 16.7827 | 1 | 0.0031566
1727 | 16.7927 | 1 | 0.0031566
1728 | 16.8027 | 1 | 0.0031566
1729 | 16.8127 | 1 | 0.0031566
1730 | 16.8227 | 1 | 0.0031566
1731 | 16.8327 | 1 | 0.0031566
1732 | 16.8427 | 0 | 0
1733 | 16.8527 | 0 | 0
1734 | 16.8627 | 0 | 0
1735 | 16.8727 | 0 | 0
1736 | 16.8827 | 2 | 0.0063131
1737 | 16.8927 | 0 | 0
1738 | 16.9027 | 2 | 0.0063131
1739 | 16.9127 | 0 | 0
1740 | 16.9227 | 0 | 0
1741 | 16.9327 | 0 | 0
1742 | 16.9427 | 0 | 0
1743 | 16.9527 | 0 | 0
1744 | 16.9627 | 1 | 0.0031566
1745 | 16.9727 | 2 | 0.0063131
1746 | 16.9827 | 0 | 0
1747 | 16.9927 | 2 | 0.0063131
1748 | 17.0026 | 0 | 0
1749 | 17.0126 | 0 | 0
1750 | 17.0226 | 1 | 0.0031566
1751 | 17.0326 | 1 | 0.0031566
1752 | 17.0426 | 1 | 0.0031566
1753 | 17.0526 | 0 | 0
1754 | 17.0626 | 1 | 0.0031566
1755 | 17.0726 | 0 | 0
1756 | 17.0826 | 1 | 0.0031566
1757 | 17.0926 | 0 | 0
1758 | 17.1026 | 1 | 0.0031566
1759 | 17.1126 | 0 | 0
1760 | 17.1226 | 1 | 0.0031566
1761 | 17.1326 | 0 | 0
1762 | 17.1426 | 0 | 0
1763 | 17.1526 | 0 | 0
1764 | 17.1626 | 1 | 0.0031566
1765 | 17.1726 | 0 | 0
1766 | 17.1826 | 0 | 0
1767 | 17.1926 | 0 | 0
1768 | 17.2026 | 0 | 0
1769 | 17.2126 | 1 | 0.0031566
1770 | 17.2226 | 1 | 0.0031566
1771 | 17.2326 | 1 | 0.0031566
1772 | 17.2426 | 1 | 0.0031566
1773 | 17.2526 | 1 | 0.0031566
1774 | 17.2626 | 2 | 0.0063131
1775 | 17.2726 | 2 | 0.0063131
1776 | 17.2826 | 1 | 0.0031566
1777 | 17.2926 | 2 | 0.0063131
1778 | 17.3026 | 0 | 0
1779 | 17.3126 | 2 | 0.0063131
1780 | 17.3226 | 0 | 0
1781 | 17.3325 | 2 | 0.0063131
1782 | 17.3425 | 0 | 0
1783 | 17.3525 | 0 | 0
1784 | 17.3625 | 1 | 0.0031566
1785 | 17.3725 | 0 | 0
1786 | 17.3825 | 0 | 0
1787 | 17.3925 | 0 | 0
1788 | 17.4025 | 2 | 0.0063131
1789 | 17.4125 | 0 | 0
1790 | 17.4225 | 0 | 0
1791 | 17.4325 | 0 | 0
1792 | 17.4425 | 0 | 0
1793 | 17.4525 | 0 | 0
1794 | 17.4625 | 1 | 0.0031566
1795 | 17.4725 | 0 | 0
1796 | 17.4825 | 0 | 0
1797 | 17.4925 | 1 | 0.0031566
1798 | 17.5025 | 0 | 0
1799 | 17.5125 | 0 | 0
1800 | 17.5225 | 0 | 0
1801 | 17.5325 | 1 | 0.0031566
1802 | 17.5425 | 0 | 0
1803 | 17.5525 | 0 | 0
1804 | 17.5625 | 0 | 0
1805 | 17.5725 | 2 | 0.0063131
1806 | 17.5825 | 1 | 0.0031566
1807 | 17.5925 | 0 | 0
1808 | 17.6025 | 1 | 0.0031566
1809 | 17.6125 | 1 | 0.0031566
1810 | 17.6225 | 2 | 0.0063131
1811 | 17.6325 | 0 | 0
1812 | 17.6425 | 1 | 0.0031566
1813 | 17.6525 | 1 | 0.0031566
1814 | 17.6624 | 0 | 0
1815 | 17.6724 | 0 | 0
1816 | 17.6824 | 0 | 0
1817 | 17.6924 | 1 | 0.0031566
1818 | 17.7024 | 1 | 0.0031566
1819 | 17.7124 | 0 | 0
1820 | 17.7224 | 0 | 0
1821 | 17.7324 | 1 | 0.0031566
1822 | 17.7424 | 0 | 0
1823 | 17.7524 | 0 | 0
1824 | 17.7624 | 1 | 0.0031566
1825 | 17.7724 | 1 | 0.0031566
1826 | 17.7824 | 0 | 0
1827 | 17.7924 | 0 | 0
1828 | 17.8024 | 0 | 0
1829 | 17.8124 | 0 | 0
1830 | 17.8224 | 1 | 0.0031566
1831 | 17.8324 | 1 | 0.0031566
1832 | 17.8424 | 1 | 0.0031566
1833 | 17.8524 | 1 | 0.0031566
1834 | 17.8624 | 0 | 0
1835 | 17.8724 | 1 | 0.0031566
1836 | 17.8824 | 1 | 0.0031566
1837 | 17.8924 | 0 | 0
1838 | 17.9024 | 0 | 0
1839 | 17.9124 | 1 | 0.0031566
1840 | 17.9224 | 0 | 0
1841 | 17.9324 | 0 | 0
1842 | 17.9424 | 0 | 0
1843 | 17.9524 | 0 | 0
1844 | 17.9624 | 0 | 0
1845 | 17.9724 | 1 | 0.0031566
1846 | 17.9824 | 0 | 0
1847 | 17.9924 | 1 | 0.0031566
1848 | 18.0023 | 1 | 0.0031566
1849 | 18.0123 | 0 | 0
1850 | 18.0223 | 1 | 0.0031566
1851 | 18.0323 | 1 | 0.0031566
1852 | 18.0423 | 1 | 0.0031566
1853 | 18.0523 | 0 | 0
1854 | 18.0623 | 0 | 0
1855 | 18.0723 | 0 | 0
1856 | 18.0823 | 0 | 0
1857 | 18.0923 | 1 | 0.0031566
1858 | 18.1023 | 0 | 0
1859 | 18.1123 | 2 | 0.0063131
1860 | 18.1223 | 1 | 0.0031566
1861 | 18.1323 | 1 | 0.0031566
1862 | 18.1423 | 0 | 0
1863 | 18.1523 | 0 | 0
1864 | 18.1623 | 1 | 0.0031566
1865 | 18.1723 | 0 | 0
1866 | 18.1823 | 0 | 0
1867 | 18.1923 | 0 | 0
1868 | 18.2023 | 0 | 0
1869 | 18.2123 | 0 | 0
1870 | 18.2223 | 0 | 0
1871 | 18.2323 | 2 | 0.0063131
1872 | 18.2423 | 0 | 0
1873 | 18.2523 | 0 | 0
1874 | 18.2623 | 0 | 0
1875 | 18.2723 | 0 | 0
1876 | 18.2823 | 0 | 0
1877 | 18.2923 | 0 | 0
1878 | 18.3023 | 0 | 0
1879 | 18.3123 | 0 | 0
1880 | 18.3223 | 1 | 0.0031566
1881 | 18.3322 | 0 | 0
1882 | 18.3422 | 0 | 0
1883 | 18.3522 | 1 | 0.0031566
1884 | 18.3622 | 0 | 0
1885 | 18.3722 | 0 | 0
1886 | 18.3822 | 0 | 0
1887 | 18.3922 | 0 | 0
1888 | 18.4022 | 1 | 0.0031566
1889 | 18.4122 | 1 | 0.0031566
1890 | 18.4222 | 1 | 0.0031566
1891 | 18.4322 | 1 | 0.0031566
1892 | 18.4422 | 1 | 0.0031566
1893 | 18.4522 | 1 | 0.0031566
1894 | 18.4622 | 0 | 0
1895 | 18.4722 | 0 | 0
1896 | 18.4822 | 0 | 0
1897 | 18.4922 | 0 | 0
1898 | 18.5022 | 0 | 0
1899 | 18.5122 | 0 | 0
1900 | 18.5222 | 0 | 0
1901 | 18.5322 | 1 | 0.0031566
1902 | 18.5422 | 0 | 0
1903 | 18.5522 | 0 | 0
1904 | 18.5622 | 0 | 0
1905 | 18.5722 | 1 | 0.0031566
1906 | 18.5822 | 0 | 0
1907 | 18.5922 | 0 | 0
1908 | 18.6022 | 0 | 0
1909 | 18.6122 | 0 | 0
1910 | 18.6222 | 0 | 0
1911 | 18.6322 | 0 | 0
1912 | 18.6422 | 1 | 0.0031566
1913 | 18.6522 | 0 | 0
1914 | 18.6621 | 0 | 0
1915 | 18.6721 | 0 | 0
1916 | 18.6821 | 0 | 0
1917 | 18.6921 | 0 | 0
1918 | 18.7021 | 0 | 0
1919 | 18.7121 | 0 | 0
1920 | 18.7221 | 0 | 0
1921 | 18.7321 | 0 | 0
1922 | 18.7421 | 0 | 0
1923 | 18.7521 | 1 | 0.0031566
1924 | 18.7621 | 1 | 0.0031566
1925 | 18.7721 | 1 | 0.0031566
1926 | 18.7821 | 0 | 0
1927 | 18.7921 | 0 | 0
1928 | 18.8021 | 0 | 0
1929 | 18.8121 | 0 | 0
1930 | 18.8221 | 0 | 0
1931 | 18.8321 | 1 | 0.0031566
1932 | 18.8421 | 0 | 0
1933 | 18.8521 | 0 | 0
1934 | 18.8621 | 0 | 0
1935 | 18.8721 | 0 | 0
1936 | 18.8821 | 0 | 0
1937 | 18.8921 | 2 | 0.0063131
1938 | 18.9021 | 0 | 0
1939 | 18.9121 | 0 | 0
1940 | 18.9221 | 0 | 0
1941 | 18.9321 | 1 | 0.0031566
1942 | 18.9421 | 0 | 0
1943 | 18.9521 | 0 | 0
1944 | 18.9621 | 0 | 0
1945 | 18.9721 | 1 | 0.0031566
1946 | 18.9821 | 0 | 0
1947 | 18.9921 | 0 | 0
1948 | 19.002 | 0 | 0
1949 | 19.012 | 0 | 0
1950 | 19.022 | 0 | 0
1951 | 19.032 | 0 | 0
1952 | 19.042 | 0 | 0
1953 | 19.052 | 0 | 0
1954 | 19.062 | 0 | 0
1955 | 19.072 | 0 | 0
1956 | 19.082 | 0 | 0
1957 | 19.092 | 2 | 0.0063131
1958 | 19.102 | 0 | 0
1959 | 19.112 | 0 | 0
1960 | 19.122 | 0 | 0
1961 | 19.132 | 0 | 0
1962 | 19.142 | 0 | 0
1963 | 19.152 | 0 | 0
1964 | 19.162 | 1 | 0.0031566
1965 | 19.172 | 0 | 0
1966 | 19.182 | 0 | 0
1967 | 19.192 | 0 | 0
1968 | 19.202 | 0 | 0
1969 | 19.212 | 0 | 0
1970 | 19.222 | 1 | 0.0031566
1971 | 19.232 | 0 | 0
1972 | 19.242 | 0 | 0
1973 | 19.252 | 0 | 0
1974 | 19.262 | 0 | 0
1975 | 19.272 | 0 | 0
1976 | 19.282 | 1 | 0.0031566