## Spectrum
Bruker Nano Berlin, Germany |  |  | 11/27/2019
Esprit
Spectrum: | Map
Date: | 11/27/2019
Primary energy: |  | 20 | keV
Tilt angle: |  | 0 | °
Take off angle: |  | 35 | °
Azimut angle: |  | 45 | °
Real time: |  | 580387 | ms
Life time: |  | 518327 | ms
Detector type: |  | XFlash 6¦60
Si dead layer: |  | 0.029 | µm
Detector thickness: |  | 0.45 | mm
Window type: |  | slew AP3.3
Fano factor: |  | 0.10774
Mn FWHM: |  | 123.7029 | eV
Calibration, lin.: |  | 9.997 | eV
Calibration, abs.: |  | -472.1083 | eV
Channels: |  | 2047
Channel | Energy | Counts | CPS
0 | -0.47211 | 0 | 0
1 | -0.46211 | 0 | 0
2 | -0.45211 | 0 | 0
3 | -0.44212 | 0 | 0
4 | -0.43212 | 0 | 0
5 | -0.42212 | 0 | 0
6 | -0.41213 | 0 | 0
7 | -0.40213 | 0 | 0
8 | -0.39213 | 0 | 0
9 | -0.38214 | 0 | 0
10 | -0.37214 | 0 | 0
11 | -0.36214 | 0 | 0
12 | -0.35214 | 0 | 0
13 | -0.34215 | 0 | 0
14 | -0.33215 | 0 | 0
15 | -0.32215 | 0 | 0
16 | -0.31216 | 0 | 0
17 | -0.30216 | 0 | 0
18 | -0.29216 | 0 | 0
19 | -0.28217 | 0 | 0
20 | -0.27217 | 0 | 0
21 | -0.26217 | 0 | 0
22 | -0.25217 | 0 | 0
23 | -0.24218 | 0 | 0
24 | -0.23218 | 0 | 0
25 | -0.22218 | 0 | 0
26 | -0.21219 | 0 | 0
27 | -0.20219 | 0 | 0
28 | -0.19219 | 0 | 0
29 | -0.1822 | 1 | 0.001723
30 | -0.1722 | 4 | 0.006892
31 | -0.1622 | 8 | 0.013784
32 | -0.1522 | 7 | 0.012061
33 | -0.14221 | 5 | 0.0086149
34 | -0.13221 | 13 | 0.022399
35 | -0.12221 | 21 | 0.036183
36 | -0.11222 | 18 | 0.031014
37 | -0.10222 | 17 | 0.029291
38 | -0.092222 | 17 | 0.029291
39 | -0.082225 | 17 | 0.029291
40 | -0.072228 | 17 | 0.029291
41 | -0.062231 | 117 | 0.20159
42 | -0.052234 | 1016 | 1.7506
43 | -0.042237 | 6483 | 11.1701
44 | -0.03224 | 28450 | 49.019
45 | -0.022243 | 83447 | 143.7782
46 | -0.012246 | 167062 | 287.8459
47 | -0.0022493 | 233504 | 402.3247
48 | 0.0077477 | 229543 | 395.4999
49 | 0.017745 | 160439 | 276.4345
50 | 0.027742 | 82254 | 141.7227
51 | 0.037739 | 30985 | 53.3868
52 | 0.047736 | 8847 | 15.2433
53 | 0.057733 | 2035 | 3.5063
54 | 0.06773 | 407 | 0.70126
55 | 0.077727 | 91 | 0.15679
56 | 0.087724 | 40 | 0.06892
57 | 0.097721 | 1530.3863 | 2.6368
58 | 0.10772 | 2510.4089 | 4.3254
59 | 0.11771 | 1520.0473 | 2.619
60 | 0.12771 | 893.7726 | 1.54
61 | 0.13771 | 658.7683 | 1.135
62 | 0.14771 | 634.3833 | 1.093
63 | 0.1577 | 631.8033 | 1.0886
64 | 0.1677 | 651.8072 | 1.1231
65 | 0.1777 | 729.1055 | 1.2562
66 | 0.18769 | 726.6897 | 1.2521
67 | 0.19769 | 772.3683 | 1.3308
68 | 0.20769 | 911.3371 | 1.5702
69 | 0.21768 | 1187.6686 | 2.0463
70 | 0.22768 | 1630.7181 | 2.8097
71 | 0.23768 | 2614.365 | 4.5045
72 | 0.24768 | 4370.3328 | 7.53
73 | 0.25767 | 6674.0554 | 11.4993
74 | 0.26767 | 8808.577 | 15.1771
75 | 0.27767 | 9964.7299 | 17.1691
76 | 0.28766 | 9582.9694 | 16.5113
77 | 0.29766 | 7854.1789 | 13.5327
78 | 0.30766 | 5719.1255 | 9.854
79 | 0.31765 | 3870.022 | 6.668
80 | 0.32765 | 2831.5546 | 4.8787
81 | 0.33765 | 2477.8757 | 4.2694
82 | 0.34765 | 2139.7698 | 3.6868
83 | 0.35764 | 1850.6843 | 3.1887
84 | 0.36764 | 1542.3944 | 2.6575
85 | 0.37764 | 1280.9645 | 2.2071
86 | 0.38763 | 1059.3185 | 1.8252
87 | 0.39763 | 892.0047 | 1.5369
88 | 0.40763 | 865.6734 | 1.4915
89 | 0.41762 | 840.3085 | 1.4478
90 | 0.42762 | 880.7904 | 1.5176
91 | 0.43762 | 1040.7785 | 1.7932
92 | 0.44762 | 1205.0934 | 2.0764
93 | 0.45761 | 1662.4488 | 2.8644
94 | 0.46761 | 2788.43 | 4.8044
95 | 0.47761 | 5142.941 | 8.8612
96 | 0.4876 | 9842.5747 | 16.9586
97 | 0.4976 | 17740.1053 | 30.566
98 | 0.5076 | 27008.5412 | 46.5354
99 | 0.51759 | 35631.407 | 61.3925
100 | 0.52759 | 38801.8653 | 66.8552
101 | 0.53759 | 35830.5693 | 61.7357
102 | 0.54759 | 27574.203 | 47.51
103 | 0.55758 | 18156.9351 | 31.2842
104 | 0.56758 | 10008.6888 | 17.2449
105 | 0.57758 | 5014.4072 | 8.6398
106 | 0.58757 | 2409.5292 | 4.1516
107 | 0.59757 | 1421.5395 | 2.4493
108 | 0.60757 | 1143.4942 | 1.9702
109 | 0.61756 | 994.4712 | 1.7135
110 | 0.62756 | 1069.871 | 1.8434
111 | 0.63756 | 1030.6817 | 1.7759
112 | 0.64756 | 1116.3804 | 1.9235
113 | 0.65755 | 1179.2527 | 2.0318
114 | 0.66755 | 1300.6466 | 2.241
115 | 0.67755 | 1465.8155 | 2.5256
116 | 0.68754 | 1649.3337 | 2.8418
117 | 0.69754 | 1883.1734 | 3.2447
118 | 0.70754 | 2022.8622 | 3.4854
119 | 0.71753 | 2049.4191 | 3.5311
120 | 0.72753 | 1808.6469 | 3.1163
121 | 0.73753 | 1785.809 | 3.0769
122 | 0.74753 | 1648.5521 | 2.8404
123 | 0.75752 | 1580.456 | 2.7231
124 | 0.76752 | 1567.8777 | 2.7014
125 | 0.77752 | 1477.2801 | 2.5453
126 | 0.78751 | 1595.8355 | 2.7496
127 | 0.79751 | 1551.5723 | 2.6733
128 | 0.80751 | 1592.1913 | 2.7433
129 | 0.8175 | 1528.6454 | 2.6338
130 | 0.8275 | 1679.8996 | 2.8944
131 | 0.8375 | 1630.4434 | 2.8092
132 | 0.8475 | 1693.6347 | 2.9181
133 | 0.85749 | 1726.4863 | 2.9747
134 | 0.86749 | 1797.2535 | 3.0966
135 | 0.87749 | 1774.2372 | 3.057
136 | 0.88748 | 1848.4833 | 3.1849
137 | 0.89748 | 1869.9477 | 3.2219
138 | 0.90748 | 1854.984 | 3.1961
139 | 0.91747 | 1960.1163 | 3.3773
140 | 0.92747 | 1949.1397 | 3.3583
141 | 0.93747 | 2025.5235 | 3.49
142 | 0.94747 | 2008.3007 | 3.4603
143 | 0.95746 | 2057.1354 | 3.5444
144 | 0.96746 | 2081.1801 | 3.5858
145 | 0.97746 | 2222.5015 | 3.8293
146 | 0.98745 | 2195.5912 | 3.783
147 | 0.99745 | 2350.4404 | 4.0498
148 | 1.0074 | 2472.3525 | 4.2598
149 | 1.0174 | 2538.2746 | 4.3734
150 | 1.0274 | 2590.1785 | 4.4628
151 | 1.0374 | 2769.3088 | 4.7715
152 | 1.0474 | 2640.9809 | 4.5504
153 | 1.0574 | 2710.6315 | 4.6704
154 | 1.0674 | 2693.8176 | 4.6414
155 | 1.0774 | 2569.8658 | 4.4278
156 | 1.0874 | 2550.3229 | 4.3942
157 | 1.0974 | 2510.9491 | 4.3263
158 | 1.1074 | 2497.45 | 4.3031
159 | 1.1174 | 2510.494 | 4.3256
160 | 1.1274 | 2535.0696 | 4.3679
161 | 1.1374 | 2506.6608 | 4.3189
162 | 1.1474 | 2622.9503 | 4.5193
163 | 1.1574 | 2693.0168 | 4.64
164 | 1.1674 | 2718.937 | 4.6847
165 | 1.1774 | 2903.2244 | 5.0022
166 | 1.1874 | 2935.4058 | 5.0577
167 | 1.1974 | 3208.0431 | 5.5274
168 | 1.2074 | 3778.2663 | 6.5099
169 | 1.2174 | 4518.0938 | 7.7846
170 | 1.2274 | 5426.4955 | 9.3498
171 | 1.2374 | 6485.616 | 11.1746
172 | 1.2474 | 7401.0695 | 12.752
173 | 1.2574 | 7780.1601 | 13.4051
174 | 1.2674 | 7616.4251 | 13.123
175 | 1.2774 | 7078.1259 | 12.1955
176 | 1.2874 | 6278.1209 | 10.8171
177 | 1.2974 | 5212.7304 | 8.9815
178 | 1.3074 | 4336.4647 | 7.4717
179 | 1.3174 | 3789.5908 | 6.5294
180 | 1.3274 | 3445.6508 | 5.9368
181 | 1.3373 | 3250.0278 | 5.5998
182 | 1.3473 | 2999.7857 | 5.1686
183 | 1.3573 | 3036.0383 | 5.2311
184 | 1.3673 | 3009.003 | 5.1845
185 | 1.3773 | 3133.3148 | 5.3987
186 | 1.3873 | 3059.5509 | 5.2716
187 | 1.3973 | 3166.9191 | 5.4566
188 | 1.4073 | 3190.7146 | 5.4976
189 | 1.4173 | 3354.337 | 5.7795
190 | 1.4273 | 3710.001 | 6.3923
191 | 1.4373 | 4204.524 | 7.2443
192 | 1.4473 | 4913.5674 | 8.466
193 | 1.4573 | 5916.5237 | 10.1941
194 | 1.4673 | 6992.8516 | 12.0486
195 | 1.4773 | 7873.1292 | 13.5653
196 | 1.4873 | 8324.9645 | 14.3438
197 | 1.4973 | 8323.0572 | 14.3405
198 | 1.5073 | 7949.6771 | 13.6972
199 | 1.5173 | 7207.0663 | 12.4177
200 | 1.5273 | 6138.0022 | 10.5757
201 | 1.5373 | 5278.6466 | 9.095
202 | 1.5473 | 4466.8122 | 7.6963
203 | 1.5573 | 4054.3424 | 6.9856
204 | 1.5673 | 3775.3149 | 6.5048
205 | 1.5773 | 3517.1972 | 6.0601
206 | 1.5873 | 3436.0246 | 5.9202
207 | 1.5973 | 3390.6358 | 5.842
208 | 1.6073 | 3378.7968 | 5.8216
209 | 1.6173 | 3305.2413 | 5.6949
210 | 1.6273 | 3429.533 | 5.909
211 | 1.6373 | 3608.7658 | 6.2179
212 | 1.6473 | 3908.2924 | 6.7339
213 | 1.6573 | 5096.7335 | 8.7816
214 | 1.6672 | 7157.6384 | 12.3325
215 | 1.6772 | 10857.3238 | 18.707
216 | 1.6872 | 17454.6549 | 30.0742
217 | 1.6972 | 26850.4878 | 46.2631
218 | 1.7072 | 38361.5965 | 66.0966
219 | 1.7172 | 50492.9737 | 86.9988
220 | 1.7272 | 61676.6116 | 106.2681
221 | 1.7372 | 68912.1965 | 118.7349
222 | 1.7472 | 70260.4497 | 121.0579
223 | 1.7572 | 65799.5474 | 113.3718
224 | 1.7672 | 56694.4354 | 97.6838
225 | 1.7772 | 44577.6817 | 76.8068
226 | 1.7872 | 32930.7708 | 56.7393
227 | 1.7972 | 23107.1471 | 39.8133
228 | 1.8072 | 16144.0278 | 27.816
229 | 1.8172 | 11644.3516 | 20.0631
230 | 1.8272 | 8842.3356 | 15.2352
231 | 1.8372 | 7283.3397 | 12.5491
232 | 1.8472 | 6207.0387 | 10.6947
233 | 1.8572 | 5535.946 | 9.5384
234 | 1.8672 | 5022.2845 | 8.6533
235 | 1.8772 | 4281.5196 | 7.377
236 | 1.8872 | 3778.8839 | 6.511
237 | 1.8972 | 3425.9475 | 5.9029
238 | 1.9072 | 3041.0997 | 5.2398
239 | 1.9172 | 2911.2035 | 5.016
240 | 1.9272 | 2744.6232 | 4.729
241 | 1.9372 | 2784.2255 | 4.7972
242 | 1.9472 | 2737.0571 | 4.7159
243 | 1.9572 | 2871.691 | 4.9479
244 | 1.9672 | 3118.2861 | 5.3728
245 | 1.9772 | 3081.8491 | 5.31
246 | 1.9872 | 3015.3256 | 5.1954
247 | 1.9972 | 3004.7911 | 5.1772
248 | 2.0071 | 3122.7691 | 5.3805
249 | 2.0171 | 3250.6966 | 5.6009
250 | 2.0271 | 3106.9979 | 5.3533
251 | 2.0371 | 3031.6298 | 5.2235
252 | 2.0471 | 3000.9583 | 5.1706
253 | 2.0571 | 2889.0488 | 4.9778
254 | 2.0671 | 2807.2853 | 4.8369
255 | 2.0771 | 2745.0883 | 4.7298
256 | 2.0871 | 2767.5315 | 4.7684
257 | 2.0971 | 2808.5821 | 4.8392
258 | 2.1071 | 2765.5081 | 4.7649
259 | 2.1171 | 2779.0221 | 4.7882
260 | 2.1271 | 2795.866 | 4.8172
261 | 2.1371 | 2768.8414 | 4.7707
262 | 2.1471 | 2798.2524 | 4.8214
263 | 2.1571 | 2830.7117 | 4.8773
264 | 2.1671 | 2813.6678 | 4.8479
265 | 2.1771 | 2850.1144 | 4.9107
266 | 2.1871 | 2874.0654 | 4.952
267 | 2.1971 | 2880.5628 | 4.9632
268 | 2.2071 | 2911.1442 | 5.0159
269 | 2.2171 | 2985.5167 | 5.144
270 | 2.2271 | 3114.1844 | 5.3657
271 | 2.2371 | 3344.2745 | 5.7621
272 | 2.2471 | 3726.0203 | 6.4199
273 | 2.2571 | 4258.2372 | 7.3369
274 | 2.2671 | 4892.6046 | 8.4299
275 | 2.2771 | 5594.1411 | 9.6386
276 | 2.2871 | 6320.7267 | 10.8905
277 | 2.2971 | 6933.2482 | 11.9459
278 | 2.3071 | 7302.9736 | 12.5829
279 | 2.3171 | 7353.4173 | 12.6699
280 | 2.3271 | 7055.8367 | 12.1571
281 | 2.337 | 6507.8754 | 11.213
282 | 2.347 | 5840.0483 | 10.0623
283 | 2.357 | 5090.6229 | 8.7711
284 | 2.367 | 4352.0279 | 7.4985
285 | 2.377 | 3767.6124 | 6.4916
286 | 2.387 | 3388.0107 | 5.8375
287 | 2.397 | 3198.8189 | 5.5115
288 | 2.407 | 3060.3511 | 5.2729
289 | 2.417 | 2976.2848 | 5.1281
290 | 2.427 | 3050.2641 | 5.2556
291 | 2.437 | 3048.6899 | 5.2529
292 | 2.447 | 3012.2066 | 5.19
293 | 2.457 | 3060.4488 | 5.2731
294 | 2.467 | 3050.2386 | 5.2555
295 | 2.477 | 3016.1454 | 5.1968
296 | 2.487 | 3057.3091 | 5.2677
297 | 2.497 | 2941.8008 | 5.0687
298 | 2.507 | 2896.3187 | 4.9903
299 | 2.517 | 2944.4284 | 5.0732
300 | 2.527 | 2951.8408 | 5.086
301 | 2.537 | 2888.5663 | 4.977
302 | 2.547 | 2794.8811 | 4.8155
303 | 2.557 | 2744.6279 | 4.729
304 | 2.567 | 2757.1018 | 4.7505
305 | 2.577 | 2741.0467 | 4.7228
306 | 2.587 | 2760.4801 | 4.7563
307 | 2.597 | 2797.3964 | 4.8199
308 | 2.607 | 2822.2445 | 4.8627
309 | 2.617 | 2840.2172 | 4.8937
310 | 2.627 | 2805.5316 | 4.8339
311 | 2.637 | 2830.7176 | 4.8773
312 | 2.647 | 2834.137 | 4.8832
313 | 2.657 | 2801.7925 | 4.8275
314 | 2.6669 | 2808.3477 | 4.8388
315 | 2.6769 | 2733.8097 | 4.7103
316 | 2.6869 | 2733.108 | 4.7091
317 | 2.6969 | 2748.4214 | 4.7355
318 | 2.7069 | 2795.0539 | 4.8158
319 | 2.7169 | 2847.7401 | 4.9066
320 | 2.7269 | 2810.5071 | 4.8425
321 | 2.7369 | 2747.5568 | 4.734
322 | 2.7469 | 2757.3977 | 4.751
323 | 2.7569 | 2816.5448 | 4.8529
324 | 2.7669 | 2830.1695 | 4.8763
325 | 2.7769 | 2811.2752 | 4.8438
326 | 2.7869 | 2717.5254 | 4.6823
327 | 2.7969 | 2744.0165 | 4.7279
328 | 2.8069 | 2851.0302 | 4.9123
329 | 2.8169 | 2796.7314 | 4.8187
330 | 2.8269 | 2765.1563 | 4.7643
331 | 2.8369 | 2823.692 | 4.8652
332 | 2.8469 | 2835.4817 | 4.8855
333 | 2.8569 | 2780.963 | 4.7916
334 | 2.8669 | 2813.9511 | 4.8484
335 | 2.8769 | 2831.4297 | 4.8785
336 | 2.8869 | 2757.3879 | 4.7509
337 | 2.8969 | 2753.8568 | 4.7449
338 | 2.9069 | 2752.3761 | 4.7423
339 | 2.9169 | 2795.5475 | 4.8167
340 | 2.9269 | 2798.4533 | 4.8217
341 | 2.9369 | 2761.3159 | 4.7577
342 | 2.9469 | 2834.2025 | 4.8833
343 | 2.9569 | 2864.2423 | 4.9351
344 | 2.9669 | 2821.0234 | 4.8606
345 | 2.9769 | 2809.3565 | 4.8405
346 | 2.9869 | 2786.4125 | 4.801
347 | 2.9969 | 2801.2774 | 4.8266
348 | 3.0068 | 2828.0223 | 4.8726
349 | 3.0168 | 2824.7083 | 4.8669
350 | 3.0268 | 2845.2805 | 4.9024
351 | 3.0368 | 2857.0777 | 4.9227
352 | 3.0468 | 2840.2281 | 4.8937
353 | 3.0568 | 2854.1364 | 4.9176
354 | 3.0668 | 2849.1362 | 4.909
355 | 3.0768 | 2813.9079 | 4.8483
356 | 3.0868 | 2868.6093 | 4.9426
357 | 3.0968 | 2928.2421 | 5.0453
358 | 3.1068 | 2907.1404 | 5.009
359 | 3.1168 | 2876.6691 | 4.9565
360 | 3.1268 | 2841.2149 | 4.8954
361 | 3.1368 | 2877.6241 | 4.9581
362 | 3.1468 | 2843.9771 | 4.9001
363 | 3.1568 | 2851.9834 | 4.9139
364 | 3.1668 | 2882.6722 | 4.9668
365 | 3.1768 | 2879.714 | 4.9617
366 | 3.1868 | 2896.5857 | 4.9908
367 | 3.1968 | 2913.1127 | 5.0193
368 | 3.2068 | 2872.1405 | 4.9487
369 | 3.2168 | 2926.2989 | 5.042
370 | 3.2268 | 2940.6626 | 5.0667
371 | 3.2368 | 2992.8381 | 5.1566
372 | 3.2468 | 3140.9458 | 5.4118
373 | 3.2568 | 3173.5811 | 5.468
374 | 3.2668 | 3290.2963 | 5.6691
375 | 3.2768 | 3341.8876 | 5.758
376 | 3.2868 | 3430.724 | 5.9111
377 | 3.2968 | 3514.4572 | 6.0554
378 | 3.3068 | 3463.6262 | 5.9678
379 | 3.3168 | 3446.7237 | 5.9387
380 | 3.3268 | 3498.7851 | 6.0284
381 | 3.3367 | 3466.6098 | 5.9729
382 | 3.3467 | 3316.5707 | 5.7144
383 | 3.3567 | 3149.6782 | 5.4269
384 | 3.3667 | 3120.1368 | 5.376
385 | 3.3767 | 3029.5258 | 5.2198
386 | 3.3867 | 2925.0403 | 5.0398
387 | 3.3967 | 2832.4219 | 4.8802
388 | 3.4067 | 2793.6907 | 4.8135
389 | 3.4167 | 2802.7605 | 4.8291
390 | 3.4267 | 2784.7371 | 4.7981
391 | 3.4367 | 2769.6965 | 4.7722
392 | 3.4467 | 2809.2889 | 4.8404
393 | 3.4567 | 2863.6287 | 4.934
394 | 3.4667 | 2906.6292 | 5.0081
395 | 3.4767 | 2975.1983 | 5.1262
396 | 3.4867 | 3062.3528 | 5.2764
397 | 3.4967 | 3131.1415 | 5.3949
398 | 3.5067 | 3215.2072 | 5.5398
399 | 3.5167 | 3372.1868 | 5.8102
400 | 3.5267 | 3613.0781 | 6.2253
401 | 3.5367 | 3982.9222 | 6.8625
402 | 3.5467 | 4621.977 | 7.9636
403 | 3.5567 | 5741.7507 | 9.893
404 | 3.5667 | 7710.9609 | 13.2859
405 | 3.5767 | 11140.0413 | 19.1942
406 | 3.5867 | 16752.102 | 28.8637
407 | 3.5967 | 25298.1025 | 43.5883
408 | 3.6067 | 36896.4399 | 63.5721
409 | 3.6167 | 54082.82 | 93.1841
410 | 3.6267 | 77472.0544 | 133.4834
411 | 3.6367 | 105360.0945 | 181.5342
412 | 3.6467 | 137301.4944 | 236.5689
413 | 3.6567 | 170569.886 | 293.8899
414 | 3.6666 | 200882.6666 | 346.1185
415 | 3.6766 | 225158.1311 | 387.9448
416 | 3.6866 | 239904.4611 | 413.3526
417 | 3.6966 | 242278.5955 | 417.4432
418 | 3.7066 | 231666.4428 | 399.1586
419 | 3.7166 | 211092.5168 | 363.7099
420 | 3.7266 | 183357.6472 | 315.9231
421 | 3.7366 | 151144.8995 | 260.4209
422 | 3.7466 | 118876.4238 | 204.8227
423 | 3.7566 | 88967.8457 | 153.2906
424 | 3.7666 | 63599.1159 | 109.5805
425 | 3.7766 | 43800.4182 | 75.4676
426 | 3.7866 | 28897.7903 | 49.7906
427 | 3.7966 | 18624.9211 | 32.0905
428 | 3.8066 | 12180.9009 | 20.9875
429 | 3.8166 | 8138.6809 | 14.0229
430 | 3.8266 | 5665.4833 | 9.7616
431 | 3.8366 | 4427.0104 | 7.6277
432 | 3.8466 | 3835.4164 | 6.6084
433 | 3.8566 | 3571.5354 | 6.1537
434 | 3.8666 | 3531.2079 | 6.0842
435 | 3.8766 | 3658.8743 | 6.3042
436 | 3.8866 | 3931.2706 | 6.7735
437 | 3.8966 | 4364.3713 | 7.5198
438 | 3.9066 | 5152.3729 | 8.8775
439 | 3.9166 | 6299.0752 | 10.8532
440 | 3.9266 | 7795.5877 | 13.4317
441 | 3.9366 | 9915.5724 | 17.0844
442 | 3.9466 | 12529.4262 | 21.5881
443 | 3.9566 | 15444.9984 | 26.6116
444 | 3.9666 | 19058.4276 | 32.8374
445 | 3.9766 | 22939.7922 | 39.525
446 | 3.9866 | 26429.3601 | 45.5375
447 | 3.9966 | 29259.8194 | 50.4143
448 | 4.0065 | 31048.1793 | 53.4956
449 | 4.0165 | 31737.9179 | 54.6841
450 | 4.0265 | 30870.0606 | 53.1888
451 | 4.0365 | 28789.1439 | 49.6034
452 | 4.0465 | 25911.1857 | 44.6447
453 | 4.0565 | 22197.7701 | 38.2465
454 | 4.0665 | 18060.4508 | 31.1179
455 | 4.0765 | 14187.3462 | 24.4446
456 | 4.0865 | 11010.0117 | 18.9701
457 | 4.0965 | 8092.5438 | 13.9434
458 | 4.1065 | 5887.9525 | 10.1449
459 | 4.1165 | 4412.409 | 7.6025
460 | 4.1265 | 3301.0687 | 5.6877
461 | 4.1365 | 2546.6874 | 4.3879
462 | 4.1465 | 2088.0414 | 3.5977
463 | 4.1565 | 1816.1303 | 3.1292
464 | 4.1665 | 1643.3595 | 2.8315
465 | 4.1765 | 1542.5091 | 2.6577
466 | 4.1865 | 1491.2508 | 2.5694
467 | 4.1965 | 1482.8357 | 2.5549
468 | 4.2065 | 1482.9518 | 2.5551
469 | 4.2165 | 1454.5152 | 2.5061
470 | 4.2265 | 1417.7455 | 2.4428
471 | 4.2365 | 1382.2401 | 2.3816
472 | 4.2465 | 1357.9871 | 2.3398
473 | 4.2565 | 1353.6734 | 2.3324
474 | 4.2665 | 1355.9699 | 2.3363
475 | 4.2765 | 1367.4464 | 2.3561
476 | 4.2865 | 1367.7815 | 2.3567
477 | 4.2965 | 1337.2283 | 2.304
478 | 4.3065 | 1298.4983 | 2.2373
479 | 4.3165 | 1264.5907 | 2.1789
480 | 4.3265 | 1247.1317 | 2.1488
481 | 4.3364 | 1269.4206 | 2.1872
482 | 4.3464 | 1312.5488 | 2.2615
483 | 4.3564 | 1331.8375 | 2.2947
484 | 4.3664 | 1348.8522 | 2.3241
485 | 4.3764 | 1355.1482 | 2.3349
486 | 4.3864 | 1311.9272 | 2.2604
487 | 4.3964 | 1304.2029 | 2.2471
488 | 4.4064 | 1307.1573 | 2.2522
489 | 4.4164 | 1354.1501 | 2.3332
490 | 4.4264 | 1384.5137 | 2.3855
491 | 4.4364 | 1373.4125 | 2.3664
492 | 4.4464 | 1407.7272 | 2.4255
493 | 4.4564 | 1437.4956 | 2.4768
494 | 4.4664 | 1450.9793 | 2.5
495 | 4.4764 | 1537.9385 | 2.6498
496 | 4.4864 | 1540.1022 | 2.6536
497 | 4.4964 | 1555.8672 | 2.6807
498 | 4.5064 | 1558.4436 | 2.6852
499 | 4.5164 | 1546.3794 | 2.6644
500 | 4.5264 | 1559.952 | 2.6878
501 | 4.5364 | 1531.9067 | 2.6395
502 | 4.5464 | 1475.4462 | 2.5422
503 | 4.5564 | 1482.9927 | 2.5552
504 | 4.5664 | 1448.9483 | 2.4965
505 | 4.5764 | 1375.64 | 2.3702
506 | 4.5864 | 1334.2671 | 2.2989
507 | 4.5964 | 1316.4853 | 2.2683
508 | 4.6064 | 1302.832 | 2.2448
509 | 4.6164 | 1314.0997 | 2.2642
510 | 4.6264 | 1348.545 | 2.3235
511 | 4.6364 | 1364.7176 | 2.3514
512 | 4.6464 | 1368.5982 | 2.3581
513 | 4.6564 | 1337.0199 | 2.3037
514 | 4.6663 | 1323.0417 | 2.2796
515 | 4.6763 | 1368.4295 | 2.3578
516 | 4.6863 | 1291.8332 | 2.2258
517 | 4.6963 | 1268.9674 | 2.1864
518 | 4.7063 | 1290.5063 | 2.2235
519 | 4.7163 | 1348.8759 | 2.3241
520 | 4.7263 | 1333.8829 | 2.2983
521 | 4.7363 | 1315.5307 | 2.2666
522 | 4.7463 | 1287.2126 | 2.2179
523 | 4.7563 | 1309.7468 | 2.2567
524 | 4.7663 | 1329.256 | 2.2903
525 | 4.7763 | 1329.529 | 2.2908
526 | 4.7863 | 1324.1135 | 2.2814
527 | 4.7963 | 1256.7193 | 2.1653
528 | 4.8063 | 1262.2685 | 2.1749
529 | 4.8163 | 1317.175 | 2.2695
530 | 4.8263 | 1336.7983 | 2.3033
531 | 4.8363 | 1338.6976 | 2.3066
532 | 4.8463 | 1321.8689 | 2.2776
533 | 4.8563 | 1292.779 | 2.2274
534 | 4.8663 | 1317.7708 | 2.2705
535 | 4.8763 | 1289.3124 | 2.2215
536 | 4.8863 | 1285.1648 | 2.2143
537 | 4.8963 | 1329.3144 | 2.2904
538 | 4.9063 | 1303.012 | 2.2451
539 | 4.9163 | 1294.6028 | 2.2306
540 | 4.9263 | 1305.1428 | 2.2487
541 | 4.9363 | 1363.8241 | 2.3499
542 | 4.9463 | 1386.5198 | 2.389
543 | 4.9563 | 1352.517 | 2.3304
544 | 4.9663 | 1316.8308 | 2.2689
545 | 4.9763 | 1293.7442 | 2.2291
546 | 4.9863 | 1335.7828 | 2.3015
547 | 4.9963 | 1311.1759 | 2.2591
548 | 5.0062 | 1309.6038 | 2.2564
549 | 5.0162 | 1319.6896 | 2.2738
550 | 5.0262 | 1291.7541 | 2.2257
551 | 5.0362 | 1268.3218 | 2.1853
552 | 5.0462 | 1317.8783 | 2.2707
553 | 5.0562 | 1311.095 | 2.259
554 | 5.0662 | 1248.3733 | 2.1509
555 | 5.0762 | 1241.7935 | 2.1396
556 | 5.0862 | 1263.781 | 2.1775
557 | 5.0962 | 1262.9674 | 2.1761
558 | 5.1062 | 1268.1444 | 2.185
559 | 5.1162 | 1192.9612 | 2.0555
560 | 5.1262 | 1204.1124 | 2.0747
561 | 5.1362 | 1264.1998 | 2.1782
562 | 5.1462 | 1276.2768 | 2.199
563 | 5.1562 | 1305.1944 | 2.2488
564 | 5.1662 | 1317.5988 | 2.2702
565 | 5.1762 | 1320.2188 | 2.2747
566 | 5.1862 | 1323.6615 | 2.2807
567 | 5.1962 | 1263.2377 | 2.1765
568 | 5.2062 | 1225.5529 | 2.1116
569 | 5.2162 | 1291.302 | 2.2249
570 | 5.2262 | 1255.5682 | 2.1633
571 | 5.2362 | 1257.813 | 2.1672
572 | 5.2462 | 1252.3975 | 2.1579
573 | 5.2562 | 1283.6769 | 2.2118
574 | 5.2662 | 1274.6382 | 2.1962
575 | 5.2762 | 1279.7963 | 2.2051
576 | 5.2862 | 1247.2355 | 2.149
577 | 5.2962 | 1222.3364 | 2.1061
578 | 5.3062 | 1230.2952 | 2.1198
579 | 5.3162 | 1216.0717 | 2.0953
580 | 5.3262 | 1200.9071 | 2.0691
581 | 5.3361 | 1200.1524 | 2.0678
582 | 5.3461 | 1210.338 | 2.0854
583 | 5.3561 | 1210.1696 | 2.0851
584 | 5.3661 | 1236.9029 | 2.1312
585 | 5.3761 | 1271.9226 | 2.1915
586 | 5.3861 | 1263.373 | 2.1768
587 | 5.3961 | 1247.1822 | 2.1489
588 | 5.4061 | 1249.4769 | 2.1528
589 | 5.4161 | 1244.9152 | 2.145
590 | 5.4261 | 1223.6024 | 2.1083
591 | 5.4361 | 1217.2321 | 2.0973
592 | 5.4461 | 1233.9123 | 2.126
593 | 5.4561 | 1249.3304 | 2.1526
594 | 5.4661 | 1253.2546 | 2.1593
595 | 5.4761 | 1232.438 | 2.1235
596 | 5.4861 | 1227.1835 | 2.1144
597 | 5.4961 | 1250.3535 | 2.1543
598 | 5.5061 | 1243.0536 | 2.1418
599 | 5.5161 | 1221.7366 | 2.105
600 | 5.5261 | 1216.7375 | 2.0964
601 | 5.5361 | 1207.1209 | 2.0799
602 | 5.5461 | 1198.3641 | 2.0648
603 | 5.5561 | 1209.3047 | 2.0836
604 | 5.5661 | 1230.1829 | 2.1196
605 | 5.5761 | 1231.8831 | 2.1225
606 | 5.5861 | 1208.1636 | 2.0817
607 | 5.5961 | 1181.7703 | 2.0362
608 | 5.6061 | 1176.7183 | 2.0275
609 | 5.6161 | 1215.3847 | 2.0941
610 | 5.6261 | 1218.171 | 2.0989
611 | 5.6361 | 1166.3555 | 2.0096
612 | 5.6461 | 1167.996 | 2.0124
613 | 5.6561 | 1196.5777 | 2.0617
614 | 5.666 | 1172.8475 | 2.0208
615 | 5.676 | 1172.7029 | 2.0206
616 | 5.686 | 1160.0222 | 1.9987
617 | 5.696 | 1181.7329 | 2.0361
618 | 5.706 | 1169.0993 | 2.0143
619 | 5.716 | 1153.7819 | 1.988
620 | 5.726 | 1166.2785 | 2.0095
621 | 5.736 | 1230.5519 | 2.1202
622 | 5.746 | 1220.5888 | 2.1031
623 | 5.756 | 1160.1397 | 1.9989
624 | 5.766 | 1156.6918 | 1.993
625 | 5.776 | 1207.6873 | 2.0808
626 | 5.786 | 1200.8827 | 2.0691
627 | 5.796 | 1216.9384 | 2.0968
628 | 5.806 | 1156.5267 | 1.9927
629 | 5.816 | 1159.2396 | 1.9974
630 | 5.826 | 1183.9739 | 2.04
631 | 5.836 | 1207.8635 | 2.0811
632 | 5.846 | 1208.7089 | 2.0826
633 | 5.856 | 1259.693 | 2.1704
634 | 5.866 | 1252.9186 | 2.1588
635 | 5.876 | 1205.3594 | 2.0768
636 | 5.886 | 1199.6169 | 2.0669
637 | 5.896 | 1252.7319 | 2.1584
638 | 5.906 | 1203.3119 | 2.0733
639 | 5.916 | 1182.066 | 2.0367
640 | 5.926 | 1224.1385 | 2.1092
641 | 5.936 | 1283.0719 | 2.2107
642 | 5.946 | 1153.9929 | 1.9883
643 | 5.956 | 1169.3392 | 2.0148
644 | 5.966 | 1182.8996 | 2.0381
645 | 5.976 | 1145.619 | 1.9739
646 | 5.986 | 1136.6247 | 1.9584
647 | 5.996 | 1181.3667 | 2.0355
648 | 6.0059 | 1156.1282 | 1.992
649 | 6.0159 | 1149.9592 | 1.9814
650 | 6.0259 | 1128.3442 | 1.9441
651 | 6.0359 | 1233.9584 | 2.1261
652 | 6.0459 | 1129.4668 | 1.9461
653 | 6.0559 | 1171.8599 | 2.0191
654 | 6.0659 | 1182.4137 | 2.0373
655 | 6.0759 | 1203.9186 | 2.0743
656 | 6.0859 | 1151.1407 | 1.9834
657 | 6.0959 | 1184.6224 | 2.0411
658 | 6.1059 | 1137.3977 | 1.9597
659 | 6.1159 | 1140.7353 | 1.9655
660 | 6.1259 | 1123.7047 | 1.9361
661 | 6.1359 | 1196.2824 | 2.0612
662 | 6.1459 | 1137.9751 | 1.9607
663 | 6.1559 | 1138.2198 | 1.9611
664 | 6.1659 | 1128.0596 | 1.9436
665 | 6.1759 | 1119.9779 | 1.9297
666 | 6.1859 | 1219.4318 | 2.1011
667 | 6.1959 | 1107.2263 | 1.9077
668 | 6.2059 | 1155.4462 | 1.9908
669 | 6.2159 | 1115.1721 | 1.9214
670 | 6.2259 | 1140.0905 | 1.9644
671 | 6.2359 | 1221.2973 | 2.1043
672 | 6.2459 | 1191.2059 | 2.0524
673 | 6.2559 | 1183.1751 | 2.0386
674 | 6.2659 | 1215.1918 | 2.0938
675 | 6.2759 | 1275.2405 | 2.1972
676 | 6.2859 | 1390.5118 | 2.3958
677 | 6.2959 | 1459.6807 | 2.515
678 | 6.3059 | 1578.0028 | 2.7189
679 | 6.3159 | 1743.4467 | 3.0039
680 | 6.3259 | 2004.3299 | 3.4534
681 | 6.3358 | 2183.0878 | 3.7614
682 | 6.3458 | 2556.4386 | 4.4047
683 | 6.3558 | 2862.45 | 4.932
684 | 6.3658 | 2938.6564 | 5.0633
685 | 6.3758 | 3242.6054 | 5.587
686 | 6.3858 | 3307.8665 | 5.6994
687 | 6.3958 | 3360.0919 | 5.7894
688 | 6.4058 | 3431.3641 | 5.9122
689 | 6.4158 | 3442.4894 | 5.9314
690 | 6.4258 | 3309.1656 | 5.7017
691 | 6.4358 | 3208.8807 | 5.5289
692 | 6.4458 | 2806.6126 | 4.8358
693 | 6.4558 | 2666.171 | 4.5938
694 | 6.4658 | 2322.1908 | 4.0011
695 | 6.4758 | 2025.3233 | 3.4896
696 | 6.4858 | 1912.8832 | 3.2959
697 | 6.4958 | 1723.1739 | 2.969
698 | 6.5058 | 1521.5278 | 2.6216
699 | 6.5158 | 1394.2068 | 2.4022
700 | 6.5258 | 1271.863 | 2.1914
701 | 6.5358 | 1259.7978 | 2.1706
702 | 6.5458 | 1100.3302 | 1.8959
703 | 6.5558 | 1192.6865 | 2.055
704 | 6.5658 | 1142.674 | 1.9688
705 | 6.5758 | 998.2808 | 1.72
706 | 6.5858 | 1063.24 | 1.832
707 | 6.5958 | 1094.1136 | 1.8851
708 | 6.6058 | 1036.8747 | 1.7865
709 | 6.6158 | 1024.1425 | 1.7646
710 | 6.6258 | 1091.4498 | 1.8806
711 | 6.6358 | 1071.4222 | 1.846
712 | 6.6458 | 1088.4349 | 1.8754
713 | 6.6558 | 1073.2487 | 1.8492
714 | 6.6657 | 1002.9482 | 1.7281
715 | 6.6757 | 1009.9975 | 1.7402
716 | 6.6857 | 1077.0678 | 1.8558
717 | 6.6957 | 1045.2155 | 1.8009
718 | 6.7057 | 1065.2484 | 1.8354
719 | 6.7157 | 1050.3581 | 1.8098
720 | 6.7257 | 1066.1696 | 1.837
721 | 6.7357 | 1043.22 | 1.7975
722 | 6.7457 | 1054.0807 | 1.8162
723 | 6.7557 | 1071.1905 | 1.8456
724 | 6.7657 | 1039.0468 | 1.7903
725 | 6.7757 | 1041.1798 | 1.7939
726 | 6.7857 | 1028.0457 | 1.7713
727 | 6.7957 | 1034.0751 | 1.7817
728 | 6.8057 | 1055.2587 | 1.8182
729 | 6.8157 | 1049.1269 | 1.8076
730 | 6.8257 | 1027.0228 | 1.7695
731 | 6.8357 | 1013.798 | 1.7468
732 | 6.8457 | 1045.079 | 1.8007
733 | 6.8557 | 987.9269 | 1.7022
734 | 6.8657 | 1043.9777 | 1.7988
735 | 6.8757 | 1035.8111 | 1.7847
736 | 6.8857 | 1026.6608 | 1.7689
737 | 6.8957 | 1065.8154 | 1.8364
738 | 6.9057 | 989.5095 | 1.7049
739 | 6.9157 | 1094.8147 | 1.8864
740 | 6.9257 | 1044.5927 | 1.7998
741 | 6.9357 | 1047.6338 | 1.8051
742 | 6.9457 | 1037.5782 | 1.7877
743 | 6.9557 | 1153.8299 | 1.988
744 | 6.9657 | 1128.6911 | 1.9447
745 | 6.9757 | 1087.4765 | 1.8737
746 | 6.9857 | 1121.5664 | 1.9324
747 | 6.9957 | 1196.7482 | 2.062
748 | 7.0056 | 1231.7785 | 2.1223
749 | 7.0156 | 1240.7954 | 2.1379
750 | 7.0256 | 1204.8181 | 2.0759
751 | 7.0356 | 1287.0147 | 2.2175
752 | 7.0456 | 1286.1342 | 2.216
753 | 7.0556 | 1320.3312 | 2.2749
754 | 7.0656 | 1388.577 | 2.3925
755 | 7.0756 | 1296.4321 | 2.2337
756 | 7.0856 | 1241.2995 | 2.1387
757 | 7.0956 | 1275.2805 | 2.1973
758 | 7.1056 | 1192.0607 | 2.0539
759 | 7.1156 | 1206.219 | 2.0783
760 | 7.1256 | 1150.2209 | 1.9818
761 | 7.1356 | 1128.2701 | 1.944
762 | 7.1456 | 1135.2431 | 1.956
763 | 7.1556 | 1075.0917 | 1.8524
764 | 7.1656 | 1066.0901 | 1.8369
765 | 7.1756 | 1029.7791 | 1.7743
766 | 7.1856 | 996.5596 | 1.7171
767 | 7.1956 | 988.5601 | 1.7033
768 | 7.2056 | 1036.6015 | 1.7861
769 | 7.2156 | 925.1405 | 1.594
770 | 7.2256 | 952.0708 | 1.6404
771 | 7.2356 | 979.7238 | 1.6881
772 | 7.2456 | 1028.0618 | 1.7713
773 | 7.2556 | 980.0239 | 1.6886
774 | 7.2656 | 1014.9494 | 1.7487
775 | 7.2756 | 998.3054 | 1.7201
776 | 7.2856 | 987.5889 | 1.7016
777 | 7.2956 | 987.1184 | 1.7008
778 | 7.3056 | 968.1337 | 1.6681
779 | 7.3156 | 947.0908 | 1.6318
780 | 7.3256 | 945.9346 | 1.6298
781 | 7.3355 | 972.6828 | 1.6759
782 | 7.3455 | 977.6348 | 1.6845
783 | 7.3555 | 962.0964 | 1.6577
784 | 7.3655 | 973.5214 | 1.6774
785 | 7.3755 | 979.9909 | 1.6885
786 | 7.3855 | 988.6173 | 1.7034
787 | 7.3955 | 994.9782 | 1.7143
788 | 7.4055 | 968.9624 | 1.6695
789 | 7.4155 | 947.2084 | 1.632
790 | 7.4255 | 942.7651 | 1.6244
791 | 7.4355 | 957.1709 | 1.6492
792 | 7.4455 | 956.3322 | 1.6477
793 | 7.4555 | 942.7907 | 1.6244
794 | 7.4655 | 948.1423 | 1.6336
795 | 7.4755 | 942.3685 | 1.6237
796 | 7.4855 | 941.38 | 1.622
797 | 7.4955 | 956.8621 | 1.6487
798 | 7.5055 | 953.9174 | 1.6436
799 | 7.5155 | 939.2944 | 1.6184
800 | 7.5255 | 940.7078 | 1.6208
801 | 7.5355 | 944.3781 | 1.6272
802 | 7.5455 | 949.1982 | 1.6355
803 | 7.5555 | 961.9345 | 1.6574
804 | 7.5655 | 908.2939 | 1.565
805 | 7.5755 | 927.2 | 1.5976
806 | 7.5855 | 883.5444 | 1.5223
807 | 7.5955 | 908.9129 | 1.566
808 | 7.6055 | 929.1218 | 1.6009
809 | 7.6155 | 919.9794 | 1.5851
810 | 7.6255 | 900.3476 | 1.5513
811 | 7.6355 | 899.5601 | 1.5499
812 | 7.6455 | 903.2943 | 1.5564
813 | 7.6555 | 912.9121 | 1.5729
814 | 7.6654 | 903.2864 | 1.5564
815 | 7.6754 | 871.7035 | 1.5019
816 | 7.6854 | 866.3642 | 1.4927
817 | 7.6954 | 893.9588 | 1.5403
818 | 7.7054 | 928.257 | 1.5994
819 | 7.7154 | 920.1487 | 1.5854
820 | 7.7254 | 894.7145 | 1.5416
821 | 7.7354 | 893.8899 | 1.5402
822 | 7.7454 | 886.8065 | 1.528
823 | 7.7554 | 897.4925 | 1.5464
824 | 7.7654 | 918.1809 | 1.582
825 | 7.7754 | 907.9229 | 1.5643
826 | 7.7854 | 897.0077 | 1.5455
827 | 7.7954 | 885.9608 | 1.5265
828 | 7.8054 | 861.6243 | 1.4846
829 | 7.8154 | 852.9257 | 1.4696
830 | 7.8254 | 863.7511 | 1.4882
831 | 7.8354 | 865.9433 | 1.492
832 | 7.8454 | 858.7979 | 1.4797
833 | 7.8554 | 877.4387 | 1.5118
834 | 7.8654 | 913.7275 | 1.5743
835 | 7.8754 | 913.3085 | 1.5736
836 | 7.8854 | 897.3452 | 1.5461
837 | 7.8954 | 903.5982 | 1.5569
838 | 7.9054 | 914.9588 | 1.5765
839 | 7.9154 | 934.6508 | 1.6104
840 | 7.9254 | 942.6879 | 1.6242
841 | 7.9354 | 928.5625 | 1.5999
842 | 7.9454 | 910.4776 | 1.5687
843 | 7.9554 | 912.672 | 1.5725
844 | 7.9654 | 948.6291 | 1.6345
845 | 7.9754 | 974.6473 | 1.6793
846 | 7.9854 | 986.1942 | 1.6992
847 | 7.9954 | 1001.881 | 1.7262
848 | 8.0053 | 1012.7512 | 1.745
849 | 8.0153 | 1032.78 | 1.7795
850 | 8.0253 | 1066.3292 | 1.8373
851 | 8.0353 | 1080.2714 | 1.8613
852 | 8.0453 | 1076.471 | 1.8547
853 | 8.0553 | 1083.1558 | 1.8663
854 | 8.0653 | 1086.4239 | 1.8719
855 | 8.0753 | 1055.4609 | 1.8185
856 | 8.0853 | 1003.2272 | 1.7285
857 | 8.0953 | 968.9243 | 1.6694
858 | 8.1053 | 951.0165 | 1.6386
859 | 8.1153 | 941.8349 | 1.6228
860 | 8.1253 | 930.2645 | 1.6028
861 | 8.1353 | 904.4969 | 1.5584
862 | 8.1453 | 889.4831 | 1.5326
863 | 8.1553 | 879.8173 | 1.5159
864 | 8.1653 | 852.4713 | 1.4688
865 | 8.1753 | 830.6058 | 1.4311
866 | 8.1853 | 820.6379 | 1.4139
867 | 8.1953 | 820.8057 | 1.4142
868 | 8.2053 | 823.6154 | 1.4191
869 | 8.2153 | 806.6552 | 1.3899
870 | 8.2253 | 802.477 | 1.3827
871 | 8.2353 | 830.3348 | 1.4307
872 | 8.2453 | 857.1417 | 1.4768
873 | 8.2553 | 856.2015 | 1.4752
874 | 8.2653 | 840.4403 | 1.4481
875 | 8.2753 | 844.5205 | 1.4551
876 | 8.2853 | 844.1614 | 1.4545
877 | 8.2953 | 832.4802 | 1.4344
878 | 8.3053 | 824.2442 | 1.4202
879 | 8.3153 | 801.6191 | 1.3812
880 | 8.3253 | 797.7034 | 1.3744
881 | 8.3352 | 833.7094 | 1.4365
882 | 8.3452 | 873.8863 | 1.5057
883 | 8.3552 | 874.8225 | 1.5073
884 | 8.3652 | 776.7009 | 1.3382
885 | 8.3752 | 800.6999 | 1.3796
886 | 8.3852 | 787.7044 | 1.3572
887 | 8.3952 | 759.6535 | 1.3089
888 | 8.4052 | 813.779 | 1.4021
889 | 8.4152 | 797.8197 | 1.3746
890 | 8.4252 | 779.7557 | 1.3435
891 | 8.4352 | 828.8587 | 1.4281
892 | 8.4452 | 751.635 | 1.2951
893 | 8.4552 | 763.6504 | 1.3158
894 | 8.4652 | 733.5438 | 1.2639
895 | 8.4752 | 805.6892 | 1.3882
896 | 8.4852 | 738.603 | 1.2726
897 | 8.4952 | 794.7886 | 1.3694
898 | 8.5052 | 789.7581 | 1.3607
899 | 8.5152 | 795.7799 | 1.3711
900 | 8.5252 | 744.6801 | 1.2831
901 | 8.5352 | 809.76 | 1.3952
902 | 8.5452 | 791.7307 | 1.3641
903 | 8.5552 | 749.6883 | 1.2917
904 | 8.5652 | 790.6703 | 1.3623
905 | 8.5752 | 791.6063 | 1.3639
906 | 8.5852 | 849.6869 | 1.464
907 | 8.5952 | 764.7139 | 1.3176
908 | 8.6052 | 790.7042 | 1.3624
909 | 8.6152 | 813.7001 | 1.402
910 | 8.6252 | 826.7293 | 1.4244
911 | 8.6352 | 833.7161 | 1.4365
912 | 8.6452 | 798.7115 | 1.3762
913 | 8.6552 | 827.7684 | 1.4262
914 | 8.6651 | 785.677 | 1.3537
915 | 8.6751 | 799.715 | 1.3779
916 | 8.6851 | 767.5631 | 1.3225
917 | 8.6951 | 767.7121 | 1.3228
918 | 8.7051 | 759.7134 | 1.309
919 | 8.7151 | 763.6986 | 1.3158
920 | 8.7251 | 796.6718 | 1.3727
921 | 8.7351 | 769.615 | 1.326
922 | 8.7451 | 764.7064 | 1.3176
923 | 8.7551 | 803.7035 | 1.3848
924 | 8.7651 | 783.7468 | 1.3504
925 | 8.7751 | 743.6495 | 1.2813
926 | 8.7851 | 784.7395 | 1.3521
927 | 8.7951 | 742.5806 | 1.2795
928 | 8.8051 | 731.5646 | 1.2605
929 | 8.8151 | 756.697 | 1.3038
930 | 8.8251 | 744.69 | 1.2831
931 | 8.8351 | 760.74 | 1.3107
932 | 8.8451 | 816.7958 | 1.4073
933 | 8.8551 | 823.7999 | 1.4194
934 | 8.8651 | 804.7767 | 1.3866
935 | 8.8751 | 783.7425 | 1.3504
936 | 8.8851 | 759.731 | 1.309
937 | 8.8951 | 802.8003 | 1.3832
938 | 8.9051 | 776.766 | 1.3384
939 | 8.9151 | 729.6811 | 1.2572
940 | 8.9251 | 807.822 | 1.3919
941 | 8.9351 | 803.7949 | 1.3849
942 | 8.9451 | 741.7721 | 1.2781
943 | 8.9551 | 724.8111 | 1.2488
944 | 8.9651 | 731.7322 | 1.2608
945 | 8.9751 | 765.7986 | 1.3195
946 | 8.9851 | 709.6424 | 1.2227
947 | 8.9951 | 797.845 | 1.3747
948 | 9.005 | 794.8978 | 1.3696
949 | 9.015 | 678.7167 | 1.1694
950 | 9.025 | 738.8201 | 1.273
951 | 9.035 | 714.7211 | 1.2315
952 | 9.045 | 703.6925 | 1.2125
953 | 9.055 | 725.703 | 1.2504
954 | 9.065 | 734.7142 | 1.2659
955 | 9.075 | 753.7833 | 1.2988
956 | 9.085 | 698.6559 | 1.2038
957 | 9.095 | 699.6562 | 1.2055
958 | 9.105 | 682.6448 | 1.1762
959 | 9.115 | 718.6637 | 1.2382
960 | 9.125 | 704.7479 | 1.2143
961 | 9.135 | 705.7246 | 1.216
962 | 9.145 | 720.7321 | 1.2418
963 | 9.155 | 709.6744 | 1.2228
964 | 9.165 | 648.6124 | 1.1176
965 | 9.175 | 737.7717 | 1.2712
966 | 9.185 | 680.7088 | 1.1729
967 | 9.195 | 685.6937 | 1.1814
968 | 9.205 | 665.6686 | 1.1469
969 | 9.215 | 669.6804 | 1.1539
970 | 9.225 | 641.6404 | 1.1055
971 | 9.235 | 675.7359 | 1.1643
972 | 9.245 | 668.6885 | 1.1521
973 | 9.255 | 672.663 | 1.159
974 | 9.265 | 669.7403 | 1.154
975 | 9.275 | 693.7525 | 1.1953
976 | 9.285 | 669.7715 | 1.154
977 | 9.295 | 687.7848 | 1.185
978 | 9.305 | 638.7242 | 1.1005
979 | 9.315 | 692.8308 | 1.1937
980 | 9.325 | 701.7891 | 1.2092
981 | 9.3349 | 645.6791 | 1.1125
982 | 9.3449 | 644.7479 | 1.1109
983 | 9.3549 | 694.8616 | 1.1972
984 | 9.3649 | 677.7917 | 1.1678
985 | 9.3749 | 642.7238 | 1.1074
986 | 9.3849 | 677.7976 | 1.1678
987 | 9.3949 | 656.7762 | 1.1316
988 | 9.4049 | 699.8528 | 1.2058
989 | 9.4149 | 686.835 | 1.1834
990 | 9.4249 | 677.8155 | 1.1679
991 | 9.4349 | 637.6568 | 1.0987
992 | 9.4449 | 631.6421 | 1.0883
993 | 9.4549 | 652.7512 | 1.1247
994 | 9.4649 | 610.7449 | 1.0523
995 | 9.4749 | 621.7384 | 1.0712
996 | 9.4849 | 638.765 | 1.1006
997 | 9.4949 | 686.8287 | 1.1834
998 | 9.5049 | 702.8289 | 1.211
999 | 9.5149 | 673.8249 | 1.161
1000 | 9.5249 | 625.7186 | 1.0781
1001 | 9.5349 | 699.7521 | 1.2057
1002 | 9.5449 | 642.6793 | 1.1073
1003 | 9.5549 | 674.7365 | 1.1626
1004 | 9.5649 | 663.7787 | 1.1437
1005 | 9.5749 | 653.8013 | 1.1265
1006 | 9.5849 | 646.7962 | 1.1144
1007 | 9.5949 | 640.7636 | 1.104
1008 | 9.6049 | 610.6668 | 1.0522
1009 | 9.6149 | 663.7468 | 1.1436
1010 | 9.6249 | 614.7916 | 1.0593
1011 | 9.6349 | 635.781 | 1.0954
1012 | 9.6449 | 640.808 | 1.1041
1013 | 9.6549 | 673.8326 | 1.161
1014 | 9.6648 | 618.6982 | 1.066
1015 | 9.6748 | 638.7458 | 1.1006
1016 | 9.6848 | 677.7697 | 1.1678
1017 | 9.6948 | 653.7958 | 1.1265
1018 | 9.7048 | 656.849 | 1.1317
1019 | 9.7148 | 666.8635 | 1.149
1020 | 9.7248 | 621.8101 | 1.0714
1021 | 9.7348 | 673.884 | 1.1611
1022 | 9.7448 | 636.7873 | 1.0972
1023 | 9.7548 | 658.8275 | 1.1352
1024 | 9.7648 | 609.786 | 1.0507
1025 | 9.7748 | 594.7598 | 1.0248
1026 | 9.7848 | 610.7718 | 1.0524
1027 | 9.7948 | 594.7023 | 1.0247
1028 | 9.8048 | 624.7642 | 1.0765
1029 | 9.8148 | 625.7544 | 1.0782
1030 | 9.8248 | 597.7178 | 1.0299
1031 | 9.8348 | 586.756 | 1.011
1032 | 9.8448 | 625.7826 | 1.0782
1033 | 9.8548 | 602.8321 | 1.0387
1034 | 9.8648 | 610.8423 | 1.0525
1035 | 9.8748 | 558.7227 | 0.96267
1036 | 9.8848 | 616.8152 | 1.0628
1037 | 9.8948 | 625.7983 | 1.0782
1038 | 9.9048 | 597.7913 | 1.03
1039 | 9.9148 | 664.8307 | 1.1455
1040 | 9.9248 | 602.7598 | 1.0385
1041 | 9.9348 | 632.7462 | 1.0902
1042 | 9.9448 | 581.6359 | 1.0022
1043 | 9.9548 | 607.7201 | 1.0471
1044 | 9.9648 | 603.6185 | 1.04
1045 | 9.9748 | 593.5819 | 1.0227
1046 | 9.9848 | 601.433 | 1.0363
1047 | 9.9948 | 624.3501 | 1.0757
1048 | 10.0047 | 603.1565 | 1.0392
1049 | 10.0147 | 626.9969 | 1.0803
1050 | 10.0247 | 619.8802 | 1.068
1051 | 10.0347 | 574.6443 | 0.99011
1052 | 10.0447 | 558.4757 | 0.96225
1053 | 10.0547 | 567.27 | 0.9774
1054 | 10.0647 | 609.1809 | 1.0496
1055 | 10.0747 | 551.9248 | 0.95096
1056 | 10.0847 | 601.8906 | 1.0371
1057 | 10.0947 | 541.7384 | 0.93341
1058 | 10.1047 | 596.8154 | 1.0283
1059 | 10.1147 | 564.7981 | 0.97314
1060 | 10.1247 | 585.9037 | 1.0095
1061 | 10.1347 | 564.9871 | 0.97347
1062 | 10.1447 | 582.1472 | 1.003
1063 | 10.1547 | 560.2837 | 0.96536
1064 | 10.1647 | 541.4142 | 0.93285
1065 | 10.1747 | 571.6762 | 0.98499
1066 | 10.1847 | 550.7984 | 0.94902
1067 | 10.1947 | 603.0422 | 1.039
1068 | 10.2047 | 581.1743 | 1.0014
1069 | 10.2147 | 612.4098 | 1.0552
1070 | 10.2247 | 592.4962 | 1.0209
1071 | 10.2347 | 589.6191 | 1.0159
1072 | 10.2447 | 537.5831 | 0.92625
1073 | 10.2547 | 566.7062 | 0.97643
1074 | 10.2647 | 539.7368 | 0.92996
1075 | 10.2747 | 547.7632 | 0.94379
1076 | 10.2847 | 560.8144 | 0.96628
1077 | 10.2947 | 561.8456 | 0.96805
1078 | 10.3047 | 535.7868 | 0.92315
1079 | 10.3147 | 580.8516 | 1.0008
1080 | 10.3247 | 614.9633 | 1.0596
1081 | 10.3346 | 605.9133 | 1.044
1082 | 10.3446 | 520.7939 | 0.89732
1083 | 10.3546 | 588.8394 | 1.0146
1084 | 10.3646 | 587.824 | 1.0128
1085 | 10.3746 | 566.7546 | 0.97651
1086 | 10.3846 | 579.7863 | 0.99897
1087 | 10.3946 | 557.7084 | 0.96093
1088 | 10.4046 | 554.685 | 0.95572
1089 | 10.4146 | 555.7683 | 0.95758
1090 | 10.4246 | 541.6744 | 0.9333
1091 | 10.4346 | 607.7943 | 1.0472
1092 | 10.4446 | 506.6468 | 0.87295
1093 | 10.4546 | 522.7301 | 0.90066
1094 | 10.4646 | 536.7691 | 0.92485
1095 | 10.4746 | 572.8223 | 0.98697
1096 | 10.4846 | 553.8298 | 0.95424
1097 | 10.4946 | 504.8199 | 0.8698
1098 | 10.5046 | 567.9135 | 0.97851
1099 | 10.5146 | 521.863 | 0.89916
1100 | 10.5246 | 541.906 | 0.9337
1101 | 10.5346 | 508.8795 | 0.87679
1102 | 10.5446 | 578.9737 | 0.99756
1103 | 10.5546 | 554.986 | 0.95623
1104 | 10.5646 | 505.9423 | 0.87173
1105 | 10.5746 | 521.952 | 0.89932
1106 | 10.5846 | 510.9472 | 0.88036
1107 | 10.5946 | 519.9722 | 0.89591
1108 | 10.6046 | 512.9471 | 0.8838
1109 | 10.6146 | 509.9296 | 0.8786
1110 | 10.6246 | 517.9608 | 0.89244
1111 | 10.6346 | 507.9516 | 0.87519
1112 | 10.6446 | 509.9626 | 0.87866
1113 | 10.6546 | 514.9705 | 0.88729
1114 | 10.6645 | 517.9041 | 0.89234
1115 | 10.6745 | 503.8943 | 0.8682
1116 | 10.6845 | 534.9447 | 0.9217
1117 | 10.6945 | 494.8696 | 0.85265
1118 | 10.7045 | 472.8212 | 0.81467
1119 | 10.7145 | 527.8373 | 0.90946
1120 | 10.7245 | 499.7682 | 0.86109
1121 | 10.7345 | 551.8368 | 0.95081
1122 | 10.7445 | 490.7393 | 0.84554
1123 | 10.7545 | 485.7355 | 0.83692
1124 | 10.7645 | 510.7613 | 0.88004
1125 | 10.7745 | 491.7808 | 0.84733
1126 | 10.7845 | 519.8042 | 0.89562
1127 | 10.7945 | 514.8512 | 0.88708
1128 | 10.8045 | 530.8713 | 0.91469
1129 | 10.8145 | 521.8852 | 0.8992
1130 | 10.8245 | 496.8918 | 0.85614
1131 | 10.8345 | 526.9665 | 0.90796
1132 | 10.8445 | 504.9358 | 0.87
1133 | 10.8545 | 495.988 | 0.85458
1134 | 10.8645 | 515.978 | 0.88902
1135 | 10.8745 | 443.9428 | 0.76491
1136 | 10.8845 | 471.9633 | 0.81319
1137 | 10.8945 | 468.0025 | 0.80636
1138 | 10.9045 | 491.1108 | 0.84618
1139 | 10.9145 | 469.0656 | 0.80819
1140 | 10.9245 | 456.0773 | 0.78582
1141 | 10.9345 | 462.1009 | 0.79619
1142 | 10.9445 | 481.0843 | 0.8289
1143 | 10.9545 | 474.0474 | 0.81678
1144 | 10.9645 | 485.0481 | 0.83573
1145 | 10.9745 | 488.0342 | 0.84088
1146 | 10.9845 | 458.0323 | 0.78918
1147 | 10.9945 | 499.1185 | 0.85998
1148 | 11.0044 | 510.1162 | 0.87892
1149 | 11.0144 | 455.0509 | 0.78405
1150 | 11.0244 | 485.0739 | 0.83578
1151 | 11.0344 | 457.0119 | 0.78743
1152 | 11.0444 | 483.0549 | 0.8323
1153 | 11.0544 | 470.0716 | 0.80993
1154 | 11.0644 | 441.0378 | 0.7599
1155 | 11.0744 | 488.0724 | 0.84094
1156 | 11.0844 | 512.0866 | 0.88232
1157 | 11.0944 | 453.0259 | 0.78056
1158 | 11.1044 | 439.0284 | 0.75644
1159 | 11.1144 | 484.0603 | 0.83403
1160 | 11.1244 | 482.0366 | 0.83054
1161 | 11.1344 | 451.9808 | 0.77876
1162 | 11.1444 | 468.0297 | 0.80641
1163 | 11.1544 | 465.0854 | 0.80134
1164 | 11.1644 | 458.0997 | 0.7893
1165 | 11.1744 | 450.0974 | 0.77551
1166 | 11.1844 | 521.1814 | 0.89799
1167 | 11.1944 | 502.1289 | 0.86516
1168 | 11.2044 | 448.129 | 0.77212
1169 | 11.2144 | 442.0797 | 0.7617
1170 | 11.2244 | 466.1726 | 0.80321
1171 | 11.2344 | 448.1579 | 0.77217
1172 | 11.2444 | 448.1448 | 0.77215
1173 | 11.2544 | 461.1637 | 0.79458
1174 | 11.2644 | 433.1576 | 0.74633
1175 | 11.2744 | 465.1947 | 0.80152
1176 | 11.2844 | 488.2329 | 0.84122
1177 | 11.2944 | 478.2117 | 0.82395
1178 | 11.3044 | 470.1962 | 0.81014
1179 | 11.3144 | 450.2419 | 0.77576
1180 | 11.3244 | 443.1948 | 0.76362
1181 | 11.3343 | 431.2005 | 0.74295
1182 | 11.3443 | 442.1777 | 0.76187
1183 | 11.3543 | 477.1982 | 0.82221
1184 | 11.3643 | 454.2385 | 0.78265
1185 | 11.3743 | 402.2345 | 0.69305
1186 | 11.3843 | 456.2429 | 0.7861
1187 | 11.3943 | 434.1981 | 0.74812
1188 | 11.4043 | 444.2278 | 0.7654
1189 | 11.4143 | 477.2108 | 0.82223
1190 | 11.4243 | 453.2101 | 0.78088
1191 | 11.4343 | 478.2491 | 0.82402
1192 | 11.4443 | 439.2489 | 0.75682
1193 | 11.4543 | 426.2134 | 0.73436
1194 | 11.4643 | 430.212 | 0.74125
1195 | 11.4743 | 421.2321 | 0.72578
1196 | 11.4843 | 404.1549 | 0.69635
1197 | 11.4943 | 441.229 | 0.76023
1198 | 11.5043 | 420.2351 | 0.72406
1199 | 11.5143 | 410.2588 | 0.70687
1200 | 11.5243 | 417.2618 | 0.71894
1201 | 11.5343 | 426.268 | 0.73445
1202 | 11.5443 | 451.2864 | 0.77756
1203 | 11.5543 | 424.2327 | 0.73095
1204 | 11.5643 | 440.2772 | 0.75859
1205 | 11.5743 | 441.2441 | 0.76026
1206 | 11.5843 | 420.2419 | 0.72407
1207 | 11.5943 | 443.2894 | 0.76378
1208 | 11.6043 | 389.217 | 0.67062
1209 | 11.6143 | 406.2232 | 0.69992
1210 | 11.6243 | 442.2473 | 0.76199
1211 | 11.6343 | 411.2391 | 0.70856
1212 | 11.6443 | 431.2239 | 0.74299
1213 | 11.6543 | 413.2312 | 0.71199
1214 | 11.6642 | 431.2192 | 0.74299
1215 | 11.6742 | 409.1856 | 0.70502
1216 | 11.6842 | 431.214 | 0.74298
1217 | 11.6942 | 435.1814 | 0.74981
1218 | 11.7042 | 365.1217 | 0.6291
1219 | 11.7142 | 412.1409 | 0.71011
1220 | 11.7242 | 368.0783 | 0.63419
1221 | 11.7342 | 410.1124 | 0.70662
1222 | 11.7442 | 375.11 | 0.64631
1223 | 11.7542 | 403.1489 | 0.69462
1224 | 11.7642 | 412.1485 | 0.71013
1225 | 11.7742 | 365.1037 | 0.62907
1226 | 11.7842 | 385.1242 | 0.66356
1227 | 11.7942 | 364.1051 | 0.62735
1228 | 11.8042 | 399.2009 | 0.68782
1229 | 11.8142 | 362.2093 | 0.62408
1230 | 11.8242 | 412.26 | 0.71032
1231 | 11.8342 | 386.2761 | 0.66555
1232 | 11.8442 | 411.2232 | 0.70853
1233 | 11.8542 | 378.261 | 0.65174
1234 | 11.8642 | 399.3215 | 0.68803
1235 | 11.8742 | 385.3251 | 0.66391
1236 | 11.8842 | 386.3604 | 0.66569
1237 | 11.8942 | 383.3464 | 0.6605
1238 | 11.9042 | 389.333 | 0.67082
1239 | 11.9142 | 406.3636 | 0.70016
1240 | 11.9242 | 363.3324 | 0.62602
1241 | 11.9342 | 405.3865 | 0.69848
1242 | 11.9442 | 388.3414 | 0.66911
1243 | 11.9542 | 406.3522 | 0.70014
1244 | 11.9642 | 358.3336 | 0.6174
1245 | 11.9742 | 389.3599 | 0.67086
1246 | 11.9842 | 368.3765 | 0.63471
1247 | 11.9942 | 421.4343 | 0.72613
1248 | 12.0041 | 378.3569 | 0.6519
1249 | 12.0141 | 392.3616 | 0.67603
1250 | 12.0241 | 406.3979 | 0.70022
1251 | 12.0341 | 387.3812 | 0.66745
1252 | 12.0441 | 375.3952 | 0.6468
1253 | 12.0541 | 411.4397 | 0.70891
1254 | 12.0641 | 389.3775 | 0.67089
1255 | 12.0741 | 329.3232 | 0.56742
1256 | 12.0841 | 369.3537 | 0.63639
1257 | 12.0941 | 366.3825 | 0.63127
1258 | 12.1041 | 369.3997 | 0.63647
1259 | 12.1141 | 360.3831 | 0.62094
1260 | 12.1241 | 375.3996 | 0.64681
1261 | 12.1341 | 351.3655 | 0.6054
1262 | 12.1441 | 390.4558 | 0.67275
1263 | 12.1541 | 389.4865 | 0.67108
1264 | 12.1641 | 320.4134 | 0.55207
1265 | 12.1741 | 394.5099 | 0.67974
1266 | 12.1841 | 346.4424 | 0.59692
1267 | 12.1941 | 395.4576 | 0.68137
1268 | 12.2041 | 331.4248 | 0.57104
1269 | 12.2141 | 354.4428 | 0.6107
1270 | 12.2241 | 354.4143 | 0.61065
1271 | 12.2341 | 358.4395 | 0.61759
1272 | 12.2441 | 337.4558 | 0.58143
1273 | 12.2541 | 345.4823 | 0.59526
1274 | 12.2641 | 361.4592 | 0.62279
1275 | 12.2741 | 357.4505 | 0.61588
1276 | 12.2841 | 367.448 | 0.63311
1277 | 12.2941 | 364.3845 | 0.62783
1278 | 12.3041 | 349.4594 | 0.60211
1279 | 12.3141 | 359.4547 | 0.61934
1280 | 12.3241 | 370.475 | 0.63832
1281 | 12.334 | 358.4811 | 0.61766
1282 | 12.344 | 344.4185 | 0.59343
1283 | 12.354 | 358.4354 | 0.61758
1284 | 12.364 | 358.4858 | 0.61767
1285 | 12.374 | 340.4665 | 0.58662
1286 | 12.384 | 337.4704 | 0.58146
1287 | 12.394 | 318.4413 | 0.54867
1288 | 12.404 | 310.398 | 0.53481
1289 | 12.414 | 353.4565 | 0.609
1290 | 12.424 | 325.4546 | 0.56075
1291 | 12.434 | 307.4744 | 0.52977
1292 | 12.444 | 320.5183 | 0.55225
1293 | 12.454 | 330.5235 | 0.56949
1294 | 12.464 | 341.5052 | 0.58841
1295 | 12.474 | 351.5055 | 0.60564
1296 | 12.484 | 322.4705 | 0.55561
1297 | 12.494 | 354.5141 | 0.61082
1298 | 12.504 | 340.5112 | 0.5867
1299 | 12.514 | 349.4984 | 0.60218
1300 | 12.524 | 319.4877 | 0.55047
1301 | 12.534 | 346.5288 | 0.59707
1302 | 12.544 | 306.4762 | 0.52805
1303 | 12.554 | 336.5136 | 0.57981
1304 | 12.564 | 318.4651 | 0.54871
1305 | 12.574 | 323.4667 | 0.55733
1306 | 12.584 | 302.4586 | 0.52113
1307 | 12.594 | 341.5137 | 0.58842
1308 | 12.604 | 296.4882 | 0.51085
1309 | 12.614 | 339.554 | 0.58505
1310 | 12.624 | 313.5293 | 0.54021
1311 | 12.634 | 347.5362 | 0.5988
1312 | 12.644 | 307.5057 | 0.52983
1313 | 12.654 | 274.4766 | 0.47292
1314 | 12.6639 | 316.5162 | 0.54535
1315 | 12.6739 | 296.5306 | 0.51092
1316 | 12.6839 | 287.5008 | 0.49536
1317 | 12.6939 | 309.5254 | 0.53331
1318 | 12.7039 | 324.5611 | 0.55921
1319 | 12.7139 | 325.545 | 0.56091
1320 | 12.7239 | 338.5486 | 0.58332
1321 | 12.7339 | 316.5417 | 0.5454
1322 | 12.7439 | 295.5356 | 0.5092
1323 | 12.7539 | 309.5808 | 0.5334
1324 | 12.7639 | 302.6043 | 0.52138
1325 | 12.7739 | 297.5721 | 0.51271
1326 | 12.7839 | 316.5984 | 0.5455
1327 | 12.7939 | 294.5257 | 0.50746
1328 | 12.8039 | 271.5251 | 0.46783
1329 | 12.8139 | 273.5374 | 0.4713
1330 | 12.8239 | 282.5535 | 0.48684
1331 | 12.8339 | 284.597 | 0.49036
1332 | 12.8439 | 284.6007 | 0.49036
1333 | 12.8539 | 269.5556 | 0.46444
1334 | 12.8639 | 282.5802 | 0.48688
1335 | 12.8739 | 298.6096 | 0.5145
1336 | 12.8839 | 321.6248 | 0.55416
1337 | 12.8939 | 291.6315 | 0.50248
1338 | 12.9039 | 273.6055 | 0.47142
1339 | 12.9139 | 274.5961 | 0.47313
1340 | 12.9239 | 292.633 | 0.5042
1341 | 12.9339 | 272.6053 | 0.4697
1342 | 12.9439 | 307.6707 | 0.53011
1343 | 12.9539 | 267.6215 | 0.46111
1344 | 12.9639 | 328.6724 | 0.5663
1345 | 12.9739 | 258.6062 | 0.44558
1346 | 12.9839 | 289.612 | 0.499
1347 | 12.9939 | 291.6388 | 0.50249
1348 | 13.0038 | 300.6692 | 0.51805
1349 | 13.0138 | 278.648 | 0.48011
1350 | 13.0238 | 280.6595 | 0.48357
1351 | 13.0338 | 279.6496 | 0.48183
1352 | 13.0438 | 291.6522 | 0.50251
1353 | 13.0538 | 299.647 | 0.51629
1354 | 13.0638 | 251.6096 | 0.43352
1355 | 13.0738 | 291.6643 | 0.50253
1356 | 13.0838 | 259.6645 | 0.4474
1357 | 13.0938 | 305.7109 | 0.52674
1358 | 13.1038 | 300.6953 | 0.51809
1359 | 13.1138 | 252.6542 | 0.43532
1360 | 13.1238 | 235.6349 | 0.406
1361 | 13.1338 | 284.6939 | 0.49052
1362 | 13.1438 | 283.703 | 0.48882
1363 | 13.1538 | 249.6923 | 0.43022
1364 | 13.1638 | 298.7158 | 0.51468
1365 | 13.1738 | 275.7071 | 0.47504
1366 | 13.1838 | 269.6969 | 0.46468
1367 | 13.1938 | 249.6453 | 0.43014
1368 | 13.2038 | 282.7014 | 0.48709
1369 | 13.2138 | 271.684 | 0.46811
1370 | 13.2238 | 248.6837 | 0.42848
1371 | 13.2338 | 308.7729 | 0.53201
1372 | 13.2438 | 271.7219 | 0.46817
1373 | 13.2538 | 268.6994 | 0.46297
1374 | 13.2638 | 249.6836 | 0.4302
1375 | 13.2738 | 269.6967 | 0.46468
1376 | 13.2838 | 267.7038 | 0.46125
1377 | 13.2938 | 268.7224 | 0.46301
1378 | 13.3038 | 279.7197 | 0.48195
1379 | 13.3138 | 254.6962 | 0.43884
1380 | 13.3238 | 290.7387 | 0.50094
1381 | 13.3337 | 263.7038 | 0.45436
1382 | 13.3437 | 244.7128 | 0.42164
1383 | 13.3537 | 261.7474 | 0.45099
1384 | 13.3637 | 260.7457 | 0.44926
1385 | 13.3737 | 262.7308 | 0.45268
1386 | 13.3837 | 233.7025 | 0.40267
1387 | 13.3937 | 263.7251 | 0.4544
1388 | 13.4037 | 229.7023 | 0.39577
1389 | 13.4137 | 252.7234 | 0.43544
1390 | 13.4237 | 242.7212 | 0.41821
1391 | 13.4337 | 235.7122 | 0.40613
1392 | 13.4437 | 252.7239 | 0.43544
1393 | 13.4537 | 227.7102 | 0.39234
1394 | 13.4637 | 245.7255 | 0.42338
1395 | 13.4737 | 249.7583 | 0.43033
1396 | 13.4837 | 255.7705 | 0.44069
1397 | 13.4937 | 227.7439 | 0.3924
1398 | 13.5037 | 236.7822 | 0.40797
1399 | 13.5137 | 245.7687 | 0.42346
1400 | 13.5237 | 247.7662 | 0.4269
1401 | 13.5337 | 256.7733 | 0.44242
1402 | 13.5437 | 264.7932 | 0.45624
1403 | 13.5537 | 246.7523 | 0.42515
1404 | 13.5637 | 227.7599 | 0.39243
1405 | 13.5737 | 246.7707 | 0.42518
1406 | 13.5837 | 224.7604 | 0.38726
1407 | 13.5937 | 303.8621 | 0.52355
1408 | 13.6037 | 232.7635 | 0.40105
1409 | 13.6137 | 243.7983 | 0.42006
1410 | 13.6237 | 234.7836 | 0.40453
1411 | 13.6337 | 231.7508 | 0.3993
1412 | 13.6437 | 235.8083 | 0.40629
1413 | 13.6537 | 256.8289 | 0.44251
1414 | 13.6636 | 240.8087 | 0.41491
1415 | 13.6736 | 230.7962 | 0.39766
1416 | 13.6836 | 223.7746 | 0.38556
1417 | 13.6936 | 246.7952 | 0.42523
1418 | 13.7036 | 239.7999 | 0.41317
1419 | 13.7136 | 222.7935 | 0.38387
1420 | 13.7236 | 232.8013 | 0.40111
1421 | 13.7336 | 202.7716 | 0.34937
1422 | 13.7436 | 209.7972 | 0.36148
1423 | 13.7536 | 232.8192 | 0.40114
1424 | 13.7636 | 231.8262 | 0.39943
1425 | 13.7736 | 215.8453 | 0.3719
1426 | 13.7836 | 223.8577 | 0.3857
1427 | 13.7936 | 210.8192 | 0.36324
1428 | 13.8036 | 204.8098 | 0.35288
1429 | 13.8136 | 238.8442 | 0.41153
1430 | 13.8236 | 232.8394 | 0.40118
1431 | 13.8336 | 243.8314 | 0.42012
1432 | 13.8436 | 219.8257 | 0.37876
1433 | 13.8536 | 221.8478 | 0.38224
1434 | 13.8636 | 231.8498 | 0.39947
1435 | 13.8736 | 236.881 | 0.40814
1436 | 13.8836 | 241.8887 | 0.41677
1437 | 13.8936 | 204.8362 | 0.35293
1438 | 13.9036 | 204.8442 | 0.35294
1439 | 13.9136 | 210.8335 | 0.36326
1440 | 13.9236 | 190.8343 | 0.32881
1441 | 13.9336 | 218.8615 | 0.3771
1442 | 13.9436 | 231.8888 | 0.39954
1443 | 13.9536 | 196.8584 | 0.33918
1444 | 13.9636 | 204.8711 | 0.35299
1445 | 13.9736 | 240.905 | 0.41508
1446 | 13.9836 | 217.8695 | 0.37539
1447 | 13.9936 | 186.865 | 0.32197
1448 | 14.0035 | 191.8692 | 0.33059
1449 | 14.0135 | 214.8599 | 0.3702
1450 | 14.0235 | 207.8667 | 0.35815
1451 | 14.0335 | 205.8586 | 0.35469
1452 | 14.0435 | 252.8868 | 0.43572
1453 | 14.0535 | 177.8248 | 0.30639
1454 | 14.0635 | 217.9017 | 0.37544
1455 | 14.0735 | 188.8605 | 0.3254
1456 | 14.0835 | 195.8735 | 0.33749
1457 | 14.0935 | 223.8909 | 0.38576
1458 | 14.1035 | 221.8842 | 0.3823
1459 | 14.1135 | 186.8697 | 0.32197
1460 | 14.1235 | 200.916 | 0.34618
1461 | 14.1335 | 200.9012 | 0.34615
1462 | 14.1435 | 209.9095 | 0.36167
1463 | 14.1535 | 227.9316 | 0.39272
1464 | 14.1635 | 210.896 | 0.36337
1465 | 14.1735 | 204.9176 | 0.35307
1466 | 14.1835 | 183.8989 | 0.31686
1467 | 14.1935 | 173.9109 | 0.29965
1468 | 14.2035 | 176.8846 | 0.30477
1469 | 14.2135 | 197.9211 | 0.34102
1470 | 14.2235 | 198.9259 | 0.34275
1471 | 14.2335 | 198.9412 | 0.34277
1472 | 14.2435 | 184.9178 | 0.31861
1473 | 14.2535 | 189.9221 | 0.32723
1474 | 14.2635 | 204.9371 | 0.3531
1475 | 14.2735 | 187.9393 | 0.32382
1476 | 14.2835 | 173.9349 | 0.29969
1477 | 14.2935 | 187.9434 | 0.32382
1478 | 14.3035 | 173.9547 | 0.29972
1479 | 14.3135 | 198.9627 | 0.34281
1480 | 14.3235 | 185.9472 | 0.32038
1481 | 14.3334 | 186.9543 | 0.32212
1482 | 14.3434 | 176.9458 | 0.30488
1483 | 14.3534 | 176.9619 | 0.3049
1484 | 14.3634 | 159.9629 | 0.27561
1485 | 14.3734 | 169.9531 | 0.29283
1486 | 14.3834 | 184.9575 | 0.31868
1487 | 14.3934 | 183.9552 | 0.31695
1488 | 14.4034 | 182.962 | 0.31524
1489 | 14.4134 | 182.971 | 0.31526
1490 | 14.4234 | 166.9512 | 0.28765
1491 | 14.4334 | 199.0119 | 0.3429
1492 | 14.4434 | 187.0056 | 0.32221
1493 | 14.4534 | 171.9893 | 0.29634
1494 | 14.4634 | 186.992 | 0.32219
1495 | 14.4734 | 193.9821 | 0.33423
1496 | 14.4834 | 188.9581 | 0.32557
1497 | 14.4934 | 175.96 | 0.30318
1498 | 14.5034 | 170.9771 | 0.29459
1499 | 14.5134 | 147.9488 | 0.25491
1500 | 14.5234 | 181.0026 | 0.31187
1501 | 14.5334 | 160.9783 | 0.27736
1502 | 14.5434 | 206.0243 | 0.35498
1503 | 14.5534 | 168.9911 | 0.29117
1504 | 14.5634 | 188.0177 | 0.32395
1505 | 14.5734 | 175.0264 | 0.30157
1506 | 14.5834 | 154.9973 | 0.26706
1507 | 14.5934 | 159.0039 | 0.27396
1508 | 14.6034 | 184.0293 | 0.31708
1509 | 14.6134 | 170.9999 | 0.29463
1510 | 14.6234 | 164.0172 | 0.2826
1511 | 14.6334 | 173.0282 | 0.29813
1512 | 14.6434 | 154.0176 | 0.26537
1513 | 14.6534 | 167.054 | 0.28783
1514 | 14.6633 | 178.0476 | 0.30677
1515 | 14.6733 | 164.0359 | 0.28263
1516 | 14.6833 | 176.041 | 0.30332
1517 | 14.6933 | 152.0187 | 0.26193
1518 | 14.7033 | 173.0488 | 0.29816
1519 | 14.7133 | 167.0476 | 0.28782
1520 | 14.7233 | 175.0395 | 0.30159
1521 | 14.7333 | 185.0622 | 0.31886
1522 | 14.7433 | 165.0504 | 0.28438
1523 | 14.7533 | 156.0393 | 0.26885
1524 | 14.7633 | 165.0629 | 0.2844
1525 | 14.7733 | 157.0489 | 0.27059
1526 | 14.7833 | 162.0327 | 0.27918
1527 | 14.7933 | 161.0246 | 0.27744
1528 | 14.8033 | 175.057 | 0.30162
1529 | 14.8133 | 168.0416 | 0.28953
1530 | 14.8233 | 159.0526 | 0.27405
1531 | 14.8333 | 142.0527 | 0.24476
1532 | 14.8433 | 147.0468 | 0.25336
1533 | 14.8533 | 156.0666 | 0.2689
1534 | 14.8633 | 148.0677 | 0.25512
1535 | 14.8733 | 157.0611 | 0.27061
1536 | 14.8833 | 142.0504 | 0.24475
1537 | 14.8933 | 144.0394 | 0.24818
1538 | 14.9033 | 132.0362 | 0.2275
1539 | 14.9133 | 154.0688 | 0.26546
1540 | 14.9233 | 138.0573 | 0.23787
1541 | 14.9333 | 144.0884 | 0.24826
1542 | 14.9433 | 162.0889 | 0.27928
1543 | 14.9533 | 141.0705 | 0.24306
1544 | 14.9633 | 159.0936 | 0.27412
1545 | 14.9733 | 137.0784 | 0.23618
1546 | 14.9833 | 120.0565 | 0.20686
1547 | 14.9933 | 136.0789 | 0.23446
1548 | 15.0032 | 152.086 | 0.26204
1549 | 15.0132 | 148.0796 | 0.25514
1550 | 15.0232 | 150.0885 | 0.2586
1551 | 15.0332 | 146.081 | 0.2517
1552 | 15.0432 | 143.0754 | 0.24652
1553 | 15.0532 | 153.1031 | 0.26379
1554 | 15.0632 | 149.1021 | 0.2569
1555 | 15.0732 | 144.1087 | 0.2483
1556 | 15.0832 | 159.1083 | 0.27414
1557 | 15.0932 | 133.0707 | 0.22928
1558 | 15.1032 | 125.0861 | 0.21552
1559 | 15.1132 | 126.0866 | 0.21725
1560 | 15.1232 | 144.1084 | 0.2483
1561 | 15.1332 | 133.1161 | 0.22936
1562 | 15.1432 | 137.0984 | 0.23622
1563 | 15.1532 | 131.0996 | 0.22588
1564 | 15.1632 | 139.1228 | 0.23971
1565 | 15.1732 | 134.1204 | 0.23109
1566 | 15.1832 | 139.1248 | 0.23971
1567 | 15.1932 | 146.1502 | 0.25182
1568 | 15.2032 | 144.1407 | 0.24835
1569 | 15.2132 | 146.1442 | 0.2518
1570 | 15.2232 | 131.1344 | 0.22594
1571 | 15.2332 | 138.1468 | 0.23803
1572 | 15.2432 | 142.1392 | 0.2449
1573 | 15.2532 | 116.1051 | 0.20005
1574 | 15.2632 | 148.1348 | 0.25523
1575 | 15.2732 | 140.1452 | 0.24147
1576 | 15.2832 | 148.1566 | 0.25527
1577 | 15.2932 | 128.1421 | 0.22079
1578 | 15.3032 | 158.1653 | 0.27252
1579 | 15.3132 | 133.1374 | 0.22939
1580 | 15.3232 | 143.1444 | 0.24664
1581 | 15.3331 | 130.1499 | 0.22425
1582 | 15.3431 | 118.131 | 0.20354
1583 | 15.3531 | 140.1664 | 0.24151
1584 | 15.3631 | 111.1492 | 0.19151
1585 | 15.3731 | 127.1512 | 0.21908
1586 | 15.3831 | 148.1653 | 0.25529
1587 | 15.3931 | 103.1434 | 0.17771
1588 | 15.4031 | 114.1553 | 0.19669
1589 | 15.4131 | 116.1711 | 0.20016
1590 | 15.4231 | 126.1897 | 0.21742
1591 | 15.4331 | 131.1889 | 0.22604
1592 | 15.4431 | 130.1927 | 0.22432
1593 | 15.4531 | 121.1721 | 0.20878
1594 | 15.4631 | 122.1793 | 0.21051
1595 | 15.4731 | 128.2134 | 0.22091
1596 | 15.4831 | 127.2262 | 0.21921
1597 | 15.4931 | 112.2145 | 0.19334
1598 | 15.5031 | 124.2144 | 0.21402
1599 | 15.5131 | 118.2003 | 0.20366
1600 | 15.5231 | 94.1647 | 0.16224
1601 | 15.5331 | 100.1736 | 0.1726
1602 | 15.5431 | 130.2189 | 0.22437
1603 | 15.5531 | 123.2054 | 0.21228
1604 | 15.5631 | 116.1957 | 0.2002
1605 | 15.5731 | 121.2146 | 0.20885
1606 | 15.5831 | 140.216 | 0.24159
1607 | 15.5931 | 122.2169 | 0.21058
1608 | 15.6031 | 113.1936 | 0.19503
1609 | 15.6131 | 123.2141 | 0.2123
1610 | 15.6231 | 103.1991 | 0.17781
1611 | 15.6331 | 101.2001 | 0.17437
1612 | 15.6431 | 116.2156 | 0.20024
1613 | 15.6531 | 105.2129 | 0.18128
1614 | 15.663 | 121.2191 | 0.20886
1615 | 15.673 | 98.2092 | 0.16921
1616 | 15.683 | 111.2355 | 0.19166
1617 | 15.693 | 98.2084 | 0.16921
1618 | 15.703 | 103.2138 | 0.17784
1619 | 15.713 | 97.2017 | 0.16748
1620 | 15.723 | 105.2027 | 0.18126
1621 | 15.733 | 112.223 | 0.19336
1622 | 15.743 | 90.2018 | 0.15542
1623 | 15.753 | 99.2318 | 0.17098
1624 | 15.763 | 122.2442 | 0.21063
1625 | 15.773 | 98.2241 | 0.16924
1626 | 15.783 | 110.2459 | 0.18995
1627 | 15.793 | 118.2503 | 0.20374
1628 | 15.803 | 120.2558 | 0.2072
1629 | 15.813 | 83.228 | 0.1434
1630 | 15.823 | 108.2477 | 0.18651
1631 | 15.833 | 96.2402 | 0.16582
1632 | 15.843 | 116.2717 | 0.20033
1633 | 15.853 | 112.2579 | 0.19342
1634 | 15.863 | 103.2522 | 0.1779
1635 | 15.873 | 83.2314 | 0.14341
1636 | 15.883 | 106.2596 | 0.18308
1637 | 15.893 | 105.2502 | 0.18134
1638 | 15.903 | 100.2417 | 0.17272
1639 | 15.913 | 123.2814 | 0.21241
1640 | 15.923 | 93.257 | 0.16068
1641 | 15.933 | 106.2805 | 0.18312
1642 | 15.943 | 82.2686 | 0.14175
1643 | 15.953 | 124.2856 | 0.21414
1644 | 15.963 | 93.2529 | 0.16067
1645 | 15.973 | 101.2632 | 0.17448
1646 | 15.983 | 81.2559 | 0.14
1647 | 15.993 | 105.2861 | 0.18141
1648 | 16.0029 | 100.2733 | 0.17277
1649 | 16.0129 | 101.2907 | 0.17452
1650 | 16.0229 | 89.2813 | 0.15383
1651 | 16.0329 | 92.2776 | 0.15899
1652 | 16.0429 | 99.2886 | 0.17107
1653 | 16.0529 | 79.278 | 0.1366
1654 | 16.0629 | 96.2809 | 0.16589
1655 | 16.0729 | 93.2711 | 0.1607
1656 | 16.0829 | 95.2956 | 0.16419
1657 | 16.0929 | 94.3076 | 0.16249
1658 | 16.1029 | 82.2933 | 0.14179
1659 | 16.1129 | 72.2872 | 0.12455
1660 | 16.1229 | 93.3191 | 0.16079
1661 | 16.1329 | 97.3249 | 0.16769
1662 | 16.1429 | 92.3082 | 0.15905
1663 | 16.1529 | 85.3096 | 0.14699
1664 | 16.1629 | 84.3152 | 0.14527
1665 | 16.1729 | 96.3157 | 0.16595
1666 | 16.1829 | 69.2943 | 0.11939
1667 | 16.1929 | 76.307 | 0.13148
1668 | 16.2029 | 72.2899 | 0.12455
1669 | 16.2129 | 82.3047 | 0.14181
1670 | 16.2229 | 92.3332 | 0.15909
1671 | 16.2329 | 103.3495 | 0.17807
1672 | 16.2429 | 89.3395 | 0.15393
1673 | 16.2529 | 78.3227 | 0.13495
1674 | 16.2629 | 97.3277 | 0.16769
1675 | 16.2729 | 76.3086 | 0.13148
1676 | 16.2829 | 90.3233 | 0.15563
1677 | 16.2929 | 84.3255 | 0.14529
1678 | 16.3029 | 94.3458 | 0.16256
1679 | 16.3129 | 86.3501 | 0.14878
1680 | 16.3229 | 78.3386 | 0.13498
1681 | 16.3328 | 93.3623 | 0.16086
1682 | 16.3428 | 91.3579 | 0.15741
1683 | 16.3528 | 90.3578 | 0.15569
1684 | 16.3628 | 103.3753 | 0.17811
1685 | 16.3728 | 83.3568 | 0.14362
1686 | 16.3828 | 89.3502 | 0.15395
1687 | 16.3928 | 83.3547 | 0.14362
1688 | 16.4028 | 65.338 | 0.11258
1689 | 16.4128 | 81.3614 | 0.14018
1690 | 16.4228 | 74.3571 | 0.12812
1691 | 16.4328 | 83.3675 | 0.14364
1692 | 16.4428 | 76.363 | 0.13157
1693 | 16.4528 | 70.3516 | 0.12121
1694 | 16.4628 | 71.3692 | 0.12297
1695 | 16.4728 | 86.3764 | 0.14883
1696 | 16.4828 | 73.3612 | 0.1264
1697 | 16.4928 | 75.3778 | 0.12988
1698 | 16.5028 | 78.3864 | 0.13506
1699 | 16.5128 | 65.3872 | 0.11266
1700 | 16.5228 | 77.3932 | 0.13335
1701 | 16.5328 | 89.4012 | 0.15404
1702 | 16.5428 | 93.4062 | 0.16094
1703 | 16.5528 | 75.3956 | 0.12991
1704 | 16.5628 | 89.4062 | 0.15405
1705 | 16.5728 | 71.3898 | 0.123
1706 | 16.5828 | 69.3984 | 0.11957
1707 | 16.5928 | 79.3983 | 0.1368
1708 | 16.6028 | 69.3873 | 0.11955
1709 | 16.6128 | 63.3943 | 0.10923
1710 | 16.6228 | 76.3963 | 0.13163
1711 | 16.6328 | 72.4011 | 0.12475
1712 | 16.6428 | 84.413 | 0.14544
1713 | 16.6528 | 76.4151 | 0.13166
1714 | 16.6627 | 70.4036 | 0.1213
1715 | 16.6727 | 71.407 | 0.12303
1716 | 16.6827 | 51.3862 | 0.088538
1717 | 16.6927 | 74.4051 | 0.1282
1718 | 16.7027 | 65.4021 | 0.11269
1719 | 16.7127 | 63.3976 | 0.10923
1720 | 16.7227 | 57.3917 | 0.098885
1721 | 16.7327 | 67.4112 | 0.11615
1722 | 16.7427 | 60.4049 | 0.10408
1723 | 16.7527 | 70.415 | 0.12132
1724 | 16.7627 | 68.4172 | 0.11788
1725 | 16.7727 | 65.4149 | 0.11271
1726 | 16.7827 | 72.4154 | 0.12477
1727 | 16.7927 | 80.4233 | 0.13857
1728 | 16.8027 | 64.4253 | 0.111
1729 | 16.8127 | 64.4265 | 0.11101
1730 | 16.8227 | 56.4175 | 0.097207
1731 | 16.8327 | 74.44 | 0.12826
1732 | 16.8427 | 81.4457 | 0.14033
1733 | 16.8527 | 62.4211 | 0.10755
1734 | 16.8627 | 68.4363 | 0.11791
1735 | 16.8727 | 64.4433 | 0.11104
1736 | 16.8827 | 56.4293 | 0.097227
1737 | 16.8927 | 79.447 | 0.13689
1738 | 16.9027 | 67.4471 | 0.11621
1739 | 16.9127 | 62.4407 | 0.10758
1740 | 16.9227 | 63.4471 | 0.10932
1741 | 16.9327 | 67.4478 | 0.11621
1742 | 16.9427 | 51.4326 | 0.088618
1743 | 16.9527 | 66.4446 | 0.11448
1744 | 16.9627 | 62.4457 | 0.10759
1745 | 16.9727 | 60.4396 | 0.10414
1746 | 16.9827 | 50.4396 | 0.086907
1747 | 16.9927 | 64.456 | 0.11106
1748 | 17.0026 | 71.4557 | 0.12312
1749 | 17.0126 | 69.4549 | 0.11967
1750 | 17.0226 | 54.4426 | 0.093804
1751 | 17.0326 | 57.4493 | 0.098984
1752 | 17.0426 | 56.4585 | 0.097277
1753 | 17.0526 | 63.4657 | 0.10935
1754 | 17.0626 | 63.4663 | 0.10935
1755 | 17.0726 | 65.4687 | 0.1128
1756 | 17.0826 | 53.4646 | 0.092119
1757 | 17.0926 | 68.48 | 0.11799
1758 | 17.1026 | 51.4631 | 0.08867
1759 | 17.1126 | 53.4644 | 0.092118
1760 | 17.1226 | 64.4835 | 0.1111
1761 | 17.1326 | 69.4851 | 0.11972
1762 | 17.1426 | 55.4842 | 0.095599
1763 | 17.1526 | 61.4979 | 0.10596
1764 | 17.1626 | 54.4939 | 0.093892
1765 | 17.1726 | 52.485 | 0.090431
1766 | 17.1826 | 56.493 | 0.097337
1767 | 17.1926 | 52.4811 | 0.090424
1768 | 17.2026 | 68.4936 | 0.11801
1769 | 17.2126 | 61.4896 | 0.10595
1770 | 17.2226 | 42.4743 | 0.073183
1771 | 17.2326 | 39.466 | 0.068
1772 | 17.2426 | 40.4768 | 0.069741
1773 | 17.2526 | 51.4939 | 0.088723
1774 | 17.2626 | 55.4864 | 0.095602
1775 | 17.2726 | 63.4959 | 0.1094
1776 | 17.2826 | 54.4935 | 0.093892
1777 | 17.2926 | 42.4839 | 0.073199
1778 | 17.3026 | 54.497 | 0.093898
1779 | 17.3126 | 57.5034 | 0.099078
1780 | 17.3226 | 41.4851 | 0.071478
1781 | 17.3325 | 58.5015 | 0.1008
1782 | 17.3425 | 38.4801 | 0.066301
1783 | 17.3525 | 60.5157 | 0.10427
1784 | 17.3625 | 42.492 | 0.073213
1785 | 17.3725 | 50.5013 | 0.087013
1786 | 17.3825 | 44.4981 | 0.07667
1787 | 17.3925 | 45.5066 | 0.078407
1788 | 17.4025 | 41.5051 | 0.071513
1789 | 17.4125 | 52.5178 | 0.090488
1790 | 17.4225 | 41.5106 | 0.071522
1791 | 17.4325 | 31.5114 | 0.054294
1792 | 17.4425 | 47.528 | 0.08189
1793 | 17.4525 | 43.5205 | 0.074985
1794 | 17.4625 | 50.534 | 0.08707
1795 | 17.4725 | 54.5382 | 0.093969
1796 | 17.4825 | 43.53 | 0.075002
1797 | 17.4925 | 52.5396 | 0.090525
1798 | 17.5025 | 34.5148 | 0.059469
1799 | 17.5125 | 52.5307 | 0.09051
1800 | 17.5225 | 48.5301 | 0.083617
1801 | 17.5325 | 42.5191 | 0.07326
1802 | 17.5425 | 46.5253 | 0.080163
1803 | 17.5525 | 43.5274 | 0.074997
1804 | 17.5625 | 44.5346 | 0.076733
1805 | 17.5725 | 47.5415 | 0.081913
1806 | 17.5825 | 44.5375 | 0.076738
1807 | 17.5925 | 34.5299 | 0.059495
1808 | 17.6025 | 50.5449 | 0.087088
1809 | 17.6125 | 45.5355 | 0.078457
1810 | 17.6225 | 50.5473 | 0.087092
1811 | 17.6325 | 41.542 | 0.071576
1812 | 17.6425 | 53.56 | 0.092283
1813 | 17.6525 | 57.5607 | 0.099176
1814 | 17.6624 | 44.5471 | 0.076754
1815 | 17.6724 | 49.555 | 0.085383
1816 | 17.6824 | 38.5546 | 0.066429
1817 | 17.6924 | 34.5469 | 0.059524
1818 | 17.7024 | 53.5689 | 0.092299
1819 | 17.7124 | 51.5635 | 0.088843
1820 | 17.7224 | 46.5667 | 0.080234
1821 | 17.7324 | 37.5571 | 0.06471
1822 | 17.7424 | 35.5575 | 0.061265
1823 | 17.7524 | 46.5681 | 0.080236
1824 | 17.7624 | 29.557 | 0.050926
1825 | 17.7724 | 37.5593 | 0.064714
1826 | 17.7824 | 42.5698 | 0.073347
1827 | 17.7924 | 37.5662 | 0.064726
1828 | 17.8024 | 34.5597 | 0.059546
1829 | 17.8124 | 50.5792 | 0.087147
1830 | 17.8224 | 56.5835 | 0.097493
1831 | 17.8324 | 36.5698 | 0.063009
1832 | 17.8424 | 34.5698 | 0.059563
1833 | 17.8524 | 44.5754 | 0.076803
1834 | 17.8624 | 42.5769 | 0.073359
1835 | 17.8724 | 31.5694 | 0.054394
1836 | 17.8824 | 32.5793 | 0.056134
1837 | 17.8924 | 43.5876 | 0.075101
1838 | 17.9024 | 34.5894 | 0.059597
1839 | 17.9124 | 31.5891 | 0.054428
1840 | 17.9224 | 38.592 | 0.066493
1841 | 17.9324 | 32.5878 | 0.056148
1842 | 17.9424 | 28.5828 | 0.049248
1843 | 17.9524 | 43.5963 | 0.075116
1844 | 17.9624 | 38.5976 | 0.066503
1845 | 17.9724 | 26.5914 | 0.045817
1846 | 17.9824 | 25.5933 | 0.044097
1847 | 17.9924 | 27.5959 | 0.047547
1848 | 18.0023 | 36.6041 | 0.063068
1849 | 18.0123 | 43.6102 | 0.07514
1850 | 18.0223 | 41.6108 | 0.071695
1851 | 18.0323 | 41.6125 | 0.071698
1852 | 18.0423 | 36.6091 | 0.063077
1853 | 18.0523 | 32.61 | 0.056187
1854 | 18.0623 | 26.6066 | 0.045843
1855 | 18.0723 | 34.607 | 0.059627
1856 | 18.0823 | 25.6002 | 0.044109
1857 | 18.0923 | 33.6091 | 0.057908
1858 | 18.1023 | 30.6072 | 0.052736
1859 | 18.1123 | 26.6053 | 0.045841
1860 | 18.1223 | 28.6071 | 0.04929
1861 | 18.1323 | 40.6173 | 0.069983
1862 | 18.1423 | 29.6101 | 0.051018
1863 | 18.1523 | 34.616 | 0.059643
1864 | 18.1623 | 23.6084 | 0.040677
1865 | 18.1723 | 27.61 | 0.047572
1866 | 18.1823 | 27.6135 | 0.047578
1867 | 18.1923 | 27.6147 | 0.04758
1868 | 18.2023 | 33.6216 | 0.05793
1869 | 18.2123 | 17.6097 | 0.030341
1870 | 18.2223 | 31.6244 | 0.054489
1871 | 18.2323 | 35.6291 | 0.061388
1872 | 18.2423 | 25.622 | 0.044146
1873 | 18.2523 | 25.6235 | 0.044149
1874 | 18.2623 | 16.6169 | 0.028631
1875 | 18.2723 | 28.6289 | 0.049327
1876 | 18.2823 | 27.6294 | 0.047605
1877 | 18.2923 | 26.6296 | 0.045882
1878 | 18.3023 | 23.6282 | 0.040711
1879 | 18.3123 | 26.6326 | 0.045888
1880 | 18.3223 | 27.6351 | 0.047615
1881 | 18.3322 | 19.6291 | 0.033821
1882 | 18.3422 | 30.6396 | 0.052792
1883 | 18.3522 | 29.6397 | 0.051069
1884 | 18.3622 | 19.6319 | 0.033826
1885 | 18.3722 | 32.6441 | 0.056245
1886 | 18.3822 | 22.6358 | 0.039001
1887 | 18.3922 | 27.6408 | 0.047625
1888 | 18.4022 | 16.6321 | 0.028657
1889 | 18.4122 | 26.6419 | 0.045904
1890 | 18.4222 | 23.6403 | 0.040732
1891 | 18.4322 | 27.6453 | 0.047632
1892 | 18.4422 | 26.6461 | 0.045911
1893 | 18.4522 | 23.645 | 0.04074
1894 | 18.4622 | 29.6517 | 0.051089
1895 | 18.4722 | 30.6541 | 0.052817
1896 | 18.4822 | 22.6486 | 0.039023
1897 | 18.4922 | 26.6537 | 0.045924
1898 | 18.5022 | 23.6531 | 0.040754
1899 | 18.5122 | 21.6535 | 0.037309
1900 | 18.5222 | 23.6571 | 0.040761
1901 | 18.5322 | 29.664 | 0.051111
1902 | 18.5422 | 28.6649 | 0.049389
1903 | 18.5522 | 16.6565 | 0.028699
1904 | 18.5622 | 21.6631 | 0.037325
1905 | 18.5722 | 22.6662 | 0.039054
1906 | 18.5822 | 18.665 | 0.032159
1907 | 18.5922 | 22.6705 | 0.039061
1908 | 18.6022 | 28.6772 | 0.04941
1909 | 18.6122 | 17.6685 | 0.030443
1910 | 18.6222 | 11.6643 | 0.020098
1911 | 18.6322 | 20.6733 | 0.03562
1912 | 18.6422 | 22.676 | 0.039071
1913 | 18.6522 | 12.6679 | 0.021827
1914 | 18.6621 | 16.6722 | 0.028726
1915 | 18.6721 | 11.669 | 0.020106
1916 | 18.6821 | 17.6755 | 0.030455
1917 | 18.6921 | 15.6744 | 0.027007
1918 | 18.7021 | 18.6771 | 0.03218
1919 | 18.7121 | 15.6747 | 0.027007
1920 | 18.7221 | 21.6803 | 0.037355
1921 | 18.7321 | 12.6725 | 0.021835
1922 | 18.7421 | 12.6725 | 0.021835
1923 | 18.7521 | 19.6793 | 0.033907
1924 | 18.7621 | 18.6799 | 0.032185
1925 | 18.7721 | 19.6827 | 0.033913
1926 | 18.7821 | 16.6818 | 0.028743
1927 | 18.7921 | 10.6786 | 0.018399
1928 | 18.8021 | 15.6852 | 0.027025
1929 | 18.8121 | 16.6876 | 0.028753
1930 | 18.8221 | 18.6903 | 0.032203
1931 | 18.8321 | 14.688 | 0.025307
1932 | 18.8421 | 16.6911 | 0.028759
1933 | 18.8521 | 19.6943 | 0.033933
1934 | 18.8621 | 21.6958 | 0.037382
1935 | 18.8721 | 15.6906 | 0.027035
1936 | 18.8821 | 22.6973 | 0.039107
1937 | 18.8921 | 11.688 | 0.020138
1938 | 18.9021 | 9.6866 | 0.01669
1939 | 18.9121 | 8.6865 | 0.014967
1940 | 18.9221 | 15.6937 | 0.02704
1941 | 18.9321 | 9.6892 | 0.016694
1942 | 18.9421 | 17.6968 | 0.030491
1943 | 18.9521 | 14.6949 | 0.025319
1944 | 18.9621 | 15.6965 | 0.027045
1945 | 18.9721 | 15.6971 | 0.027046
1946 | 18.9821 | 20.7022 | 0.03567
1947 | 18.9921 | 10.6944 | 0.018426
1948 | 19.002 | 7.6931 | 0.013255
1949 | 19.012 | 19.7051 | 0.033952
1950 | 19.022 | 14.7024 | 0.025332
1951 | 19.032 | 11.7019 | 0.020162
1952 | 19.042 | 11.7041 | 0.020166
1953 | 19.052 | 9.7045 | 0.016721
1954 | 19.062 | 8.7057 | 0.015
1955 | 19.072 | 14.713 | 0.02535
1956 | 19.082 | 13.7143 | 0.02363
1957 | 19.092 | 19.7214 | 0.03398
1958 | 19.102 | 3.7086 | 0.0063898
1959 | 19.112 | 18.7227 | 0.032259
1960 | 19.122 | 15.721 | 0.027087
1961 | 19.132 | 17.7238 | 0.030538
1962 | 19.142 | 11.7194 | 0.020192
1963 | 19.152 | 14.7233 | 0.025368
1964 | 19.162 | 14.7248 | 0.025371
1965 | 19.172 | 14.7261 | 0.025373
1966 | 19.182 | 7.7212 | 0.013304
1967 | 19.192 | 9.7244 | 0.016755
1968 | 19.202 | 15.731 | 0.027104
1969 | 19.212 | 8.7256 | 0.015034
1970 | 19.222 | 9.7268 | 0.016759
1971 | 19.232 | 7.7254 | 0.013311
1972 | 19.242 | 7.7256 | 0.013311
1973 | 19.252 | 15.7327 | 0.027107
1974 | 19.262 | 10.7286 | 0.018485
1975 | 19.272 | 7.7262 | 0.013312
1976 | 19.282 | 13.732 | 0.02366
1977 | 19.292 | 10.7303 | 0.018488
1978 | 19.302 | 9.7309 | 0.016766
1979 | 19.312 | 5.7293 | 0.0098715
1980 | 19.322 | 4.7305 | 0.0081505
1981 | 19.3319 | 8.7361 | 0.015052
1982 | 19.3419 | 7.7373 | 0.013331
1983 | 19.3519 | 8.7397 | 0.015058
1984 | 19.3619 | 15.7474 | 0.027133
1985 | 19.3719 | 8.7429 | 0.015064
1986 | 19.3819 | 9.7452 | 0.016791
1987 | 19.3919 | 3.7409 | 0.0064455
1988 | 19.4019 | 10.7484 | 0.018519
1989 | 19.4119 | 12.7517 | 0.021971
1990 | 19.4219 | 8.7492 | 0.015075
1991 | 19.4319 | 1.7435 | 0.0030041
1992 | 19.4419 | 9.7511 | 0.016801
1993 | 19.4519 | 4.747 | 0.008179
1994 | 19.4619 | 10.7522 | 0.018526
1995 | 19.4719 | 1.7441 | 0.003005
1996 | 19.4819 | 6.7487 | 0.011628
1997 | 19.4919 | 4.7478 | 0.0081804
1998 | 19.5019 | 6.7504 | 0.011631
1999 | 19.5119 | 3.7485 | 0.0064586
2000 | 19.5219 | 9.7547 | 0.016807
2001 | 19.5319 | 2.7495 | 0.0047374
2002 | 19.5419 | 4.752 | 0.0081876
2003 | 19.5519 | 8.7559 | 0.015086
2004 | 19.5619 | 3.7522 | 0.006465
2005 | 19.5719 | 7.7568 | 0.013365
2006 | 19.5819 | 2.7531 | 0.0047436
2007 | 19.5919 | 4.7553 | 0.0081934
2008 | 19.6019 | 8.7596 | 0.015093
2009 | 19.6119 | 5.758 | 0.0099209
2010 | 19.6219 | 7.7606 | 0.013371
2011 | 19.6319 | 0.75552 | 0.0013017
2012 | 19.6419 | 7.7631 | 0.013376
2013 | 19.6519 | 0 | 0
2014 | 19.6618 | 1.7604 | 0.0030331
2015 | 19.6718 | 4.7646 | 0.0082093
2016 | 19.6818 | 3.7654 | 0.0064877
2017 | 19.6918 | 7.7705 | 0.013388
2018 | 19.7018 | 6.7711 | 0.011666
2019 | 19.7118 | 2.7691 | 0.0047711
2020 | 19.7218 | 1.7697 | 0.0030491
2021 | 19.7318 | 0.76999 | 0.0013267
2022 | 19.7418 | 1.772 | 0.0030531
2023 | 19.7518 | 1.773 | 0.0030549
2024 | 19.7618 | 2.7748 | 0.004781
2025 | 19.7718 | 2.7757 | 0.0047824
2026 | 19.7818 | 2.7765 | 0.0047839
2027 | 19.7918 | 2.7776 | 0.0047858
2028 | 19.8018 | 0 | 0
2029 | 19.8118 | 0 | 0
2030 | 19.8218 | 6.7852 | 0.011691
2031 | 19.8318 | 3.7837 | 0.0065193
2032 | 19.8418 | 2.7843 | 0.0047974
2033 | 19.8518 | 1.7848 | 0.0030751
2034 | 19.8618 | 0.78468 | 0.001352
2035 | 19.8718 | 2.7872 | 0.0048022
2036 | 19.8818 | 2.7879 | 0.0048036
2037 | 19.8918 | 0.78669 | 0.0013555
2038 | 19.9018 | 0.78697 | 0.0013559
2039 | 19.9118 | 0 | 0
2040 | 19.9218 | 3.79 | 0.0065301
2041 | 19.9318 | 0.7871 | 0.0013562
2042 | 19.9418 | 1.7878 | 0.0030804
2043 | 19.9518 | 1.788 | 0.0030807
2044 | 19.9618 | 1.7882 | 0.003081
2045 | 19.9718 | 0.78744 | 0.0013568
2046 | 19.9818 | 0.7871 | 0.0013562