## Spectrum
Bruker Nano Berlin, Germany |  |  | 4/27/2020
Esprit
Spectrum: | FlexCem_2_100um.xlsx
Date: | 4/27/2020
Primary energy: |  | 20 | keV
Tilt angle: |  | 0 | °
Take off angle: |  | 35 | °
Azimut angle: |  | 45 | °
Real time: |  | 616563 | ms
Life time: |  | 602577 | ms
Detector type: |  | XFlash 6¦60
Si dead layer: |  | 0.029 | µm
Detector thickness: |  | 0.45 | mm
Window type: |  | slew AP3.3
Fano factor: |  | 0.10774
Mn FWHM: |  | 123.7127 | eV
Calibration, lin.: |  | 9.997 | eV
Calibration, abs.: |  | -472.1083 | eV
Channels: |  | 2048
Channel | Energy | Counts | CPS
0 | -0.47211 | 0 | 0
1 | -0.46211 | 0 | 0
2 | -0.45211 | 0 | 0
3 | -0.44212 | 0 | 0
4 | -0.43212 | 0 | 0
5 | -0.42212 | 0 | 0
6 | -0.41213 | 0 | 0
7 | -0.40213 | 0 | 0
8 | -0.39213 | 0 | 0
9 | -0.38214 | 0 | 0
10 | -0.37214 | 0 | 0
11 | -0.36214 | 0 | 0
12 | -0.35214 | 0 | 0
13 | -0.34215 | 0 | 0
14 | -0.33215 | 0 | 0
15 | -0.32215 | 0 | 0
16 | -0.31216 | 0 | 0
17 | -0.30216 | 0 | 0
18 | -0.29216 | 0 | 0
19 | -0.28217 | 0 | 0
20 | -0.27217 | 0 | 0
21 | -0.26217 | 0 | 0
22 | -0.25217 | 0 | 0
23 | -0.24218 | 0 | 0
24 | -0.23218 | 0 | 0
25 | -0.22218 | 0 | 0
26 | -0.21219 | 0 | 0
27 | -0.20219 | 0 | 0
28 | -0.19219 | 0 | 0
29 | -0.1822 | 0 | 0
30 | -0.1722 | 0 | 0
31 | -0.1622 | 1 | 0.0016219
32 | -0.1522 | 2 | 0.0032438
33 | -0.14221 | 2 | 0.0032438
34 | -0.13221 | 0 | 0
35 | -0.12221 | 2 | 0.0032438
36 | -0.11222 | 2 | 0.0032438
37 | -0.10222 | 4 | 0.0064876
38 | -0.092222 | 5 | 0.0081095
39 | -0.082225 | 8 | 0.012975
40 | -0.072228 | 12 | 0.019463
41 | -0.062231 | 87 | 0.1411
42 | -0.052234 | 595 | 0.96503
43 | -0.042237 | 3884 | 6.2994
44 | -0.03224 | 16563 | 26.8634
45 | -0.022243 | 48658 | 78.9181
46 | -0.012246 | 97465 | 158.0779
47 | -0.0022493 | 135692 | 220.0781
48 | 0.0077477 | 133167 | 215.9828
49 | 0.017745 | 93485 | 151.6228
50 | 0.027742 | 47523 | 77.0773
51 | 0.037739 | 17843 | 28.9395
52 | 0.047736 | 4994 | 8.0997
53 | 0.057733 | 1061 | 1.7208
54 | 0.06773 | 174 | 0.28221
55 | 0.077727 | 34 | 0.055144
56 | 0.087724 | 5 | 0.0081095
57 | 0.097721 | 414.3837 | 0.67209
58 | 0.10772 | 759.686 | 1.2321
59 | 0.11771 | 455.4652 | 0.73872
60 | 0.12771 | 251.1631 | 0.40736
61 | 0.13771 | 166.1169 | 0.26942
62 | 0.14771 | 110.2499 | 0.17881
63 | 0.1577 | 141.942 | 0.23021
64 | 0.1677 | 114.1763 | 0.18518
65 | 0.1777 | 125.4937 | 0.20354
66 | 0.18769 | 165.5146 | 0.26845
67 | 0.19769 | 206.9989 | 0.33573
68 | 0.20769 | 264.1232 | 0.42838
69 | 0.21768 | 460.7483 | 0.74728
70 | 0.22768 | 955.1608 | 1.5492
71 | 0.23768 | 2088.862 | 3.3879
72 | 0.24768 | 4047.5956 | 6.5648
73 | 0.25767 | 6709.1264 | 10.8815
74 | 0.26767 | 9509.0713 | 15.4227
75 | 0.27767 | 11096.1751 | 17.9968
76 | 0.28766 | 10132.9249 | 16.4345
77 | 0.29766 | 7715.9028 | 12.5144
78 | 0.30766 | 4921.7331 | 7.9825
79 | 0.31765 | 2579.3023 | 4.1834
80 | 0.32765 | 1127.8327 | 1.8292
81 | 0.33765 | 469.9281 | 0.76217
82 | 0.34765 | 211.5452 | 0.3431
83 | 0.35764 | 145.3566 | 0.23575
84 | 0.36764 | 159.9704 | 0.25946
85 | 0.37764 | 160.813 | 0.26082
86 | 0.38763 | 179.8753 | 0.29174
87 | 0.39763 | 172.9243 | 0.28046
88 | 0.40763 | 168.3902 | 0.27311
89 | 0.41762 | 181.9689 | 0.29513
90 | 0.42762 | 220.4814 | 0.3576
91 | 0.43762 | 265.7157 | 0.43096
92 | 0.44762 | 335.8496 | 0.54471
93 | 0.45761 | 471.3663 | 0.76451
94 | 0.46761 | 849.4621 | 1.3777
95 | 0.47761 | 1633.6566 | 2.6496
96 | 0.4876 | 3188.5272 | 5.1715
97 | 0.4976 | 5648.8931 | 9.1619
98 | 0.5076 | 8839.4492 | 14.3367
99 | 0.51759 | 11495.6144 | 18.6447
100 | 0.52759 | 12763.2699 | 20.7007
101 | 0.53759 | 11459.0301 | 18.5853
102 | 0.54759 | 8875.9415 | 14.3958
103 | 0.55758 | 5613.9868 | 9.1053
104 | 0.56758 | 3166.5181 | 5.1358
105 | 0.57758 | 1615.2582 | 2.6198
106 | 0.58757 | 903.0129 | 1.4646
107 | 0.59757 | 637.7853 | 1.0344
108 | 0.60757 | 593.9349 | 0.9633
109 | 0.61756 | 658.9863 | 1.0688
110 | 0.62756 | 722.0701 | 1.1711
111 | 0.63756 | 672.906 | 1.0914
112 | 0.64756 | 622.6004 | 1.0098
113 | 0.65755 | 765.5269 | 1.2416
114 | 0.66755 | 944.1221 | 1.5313
115 | 0.67755 | 1260.6861 | 2.0447
116 | 0.68754 | 1669.5542 | 2.7078
117 | 0.69754 | 2099.54 | 3.4052
118 | 0.70754 | 2222.2296 | 3.6042
119 | 0.71753 | 2102.3965 | 3.4099
120 | 0.72753 | 1901.4637 | 3.084
121 | 0.73753 | 1401.8543 | 2.2737
122 | 0.74753 | 1025.385 | 1.6631
123 | 0.75752 | 741.1956 | 1.2021
124 | 0.76752 | 565.8662 | 0.91778
125 | 0.77752 | 412.9643 | 0.66978
126 | 0.78751 | 360.0001 | 0.58388
127 | 0.79751 | 365.3136 | 0.5925
128 | 0.80751 | 345.6008 | 0.56053
129 | 0.8175 | 325.6261 | 0.52813
130 | 0.8275 | 318.9533 | 0.51731
131 | 0.8375 | 356.6351 | 0.57842
132 | 0.8475 | 354.0757 | 0.57427
133 | 0.85749 | 340.1985 | 0.55177
134 | 0.86749 | 368.2563 | 0.59727
135 | 0.87749 | 396.8294 | 0.64362
136 | 0.88748 | 336.0693 | 0.54507
137 | 0.89748 | 379.1477 | 0.61494
138 | 0.90748 | 397.0769 | 0.64402
139 | 0.91747 | 411.3635 | 0.66719
140 | 0.92747 | 403.4366 | 0.65433
141 | 0.93747 | 460.4694 | 0.74683
142 | 0.94747 | 460.3791 | 0.74669
143 | 0.95746 | 454.9551 | 0.73789
144 | 0.96746 | 500.7493 | 0.81216
145 | 0.97746 | 475.839 | 0.77176
146 | 0.98745 | 468.2932 | 0.75952
147 | 0.99745 | 552.924 | 0.89678
148 | 1.0074 | 550.1941 | 0.89236
149 | 1.0174 | 623.2783 | 1.0109
150 | 1.0274 | 698.2957 | 1.1326
151 | 1.0374 | 748.128 | 1.2134
152 | 1.0474 | 716.2678 | 1.1617
153 | 1.0574 | 748.6017 | 1.2142
154 | 1.0674 | 716.1816 | 1.1616
155 | 1.0774 | 678.3927 | 1.1003
156 | 1.0874 | 637.86 | 1.0345
157 | 1.0974 | 615.0189 | 0.9975
158 | 1.1074 | 604.1274 | 0.97983
159 | 1.1174 | 633.0721 | 1.0268
160 | 1.1274 | 646.5018 | 1.0486
161 | 1.1374 | 601.2301 | 0.97513
162 | 1.1474 | 663.6982 | 1.0764
163 | 1.1574 | 666.6446 | 1.0812
164 | 1.1674 | 642.8745 | 1.0427
165 | 1.1774 | 664.4455 | 1.0777
166 | 1.1874 | 712.3867 | 1.1554
167 | 1.1974 | 796.4298 | 1.2917
168 | 1.2074 | 895.3938 | 1.4522
169 | 1.2174 | 1060.7987 | 1.7205
170 | 1.2274 | 1256.4808 | 2.0379
171 | 1.2374 | 1490.1556 | 2.4169
172 | 1.2474 | 1748.4909 | 2.8359
173 | 1.2574 | 1829.9492 | 2.968
174 | 1.2674 | 1807.8102 | 2.9321
175 | 1.2774 | 1686.0977 | 2.7347
176 | 1.2874 | 1460.083 | 2.3681
177 | 1.2974 | 1231.1669 | 1.9968
178 | 1.3074 | 1118.477 | 1.8141
179 | 1.3174 | 940.2706 | 1.525
180 | 1.3274 | 856.1856 | 1.3886
181 | 1.3373 | 819.7275 | 1.3295
182 | 1.3473 | 768.191 | 1.2459
183 | 1.3573 | 801.7416 | 1.3003
184 | 1.3673 | 773.8058 | 1.255
185 | 1.3773 | 845.8111 | 1.3718
186 | 1.3873 | 858.8199 | 1.3929
187 | 1.3973 | 857.9857 | 1.3916
188 | 1.4073 | 980.3594 | 1.59
189 | 1.4173 | 1103.7188 | 1.7901
190 | 1.4273 | 1324.387 | 2.148
191 | 1.4373 | 1764.6224 | 2.862
192 | 1.4473 | 2395.1697 | 3.8847
193 | 1.4573 | 3067.7323 | 4.9755
194 | 1.4673 | 4040.7311 | 6.5536
195 | 1.4773 | 4820.5669 | 7.8184
196 | 1.4873 | 5123.8767 | 8.3104
197 | 1.4973 | 5204.665 | 8.4414
198 | 1.5073 | 4727.4325 | 7.6674
199 | 1.5173 | 4007.7629 | 6.5002
200 | 1.5273 | 3321.0639 | 5.3864
201 | 1.5373 | 2579.0693 | 4.183
202 | 1.5473 | 1943.8128 | 3.1527
203 | 1.5573 | 1464.6354 | 2.3755
204 | 1.5673 | 1205.6312 | 1.9554
205 | 1.5773 | 1150.9056 | 1.8666
206 | 1.5873 | 1061.3882 | 1.7215
207 | 1.5973 | 942.3835 | 1.5284
208 | 1.6073 | 955.5548 | 1.5498
209 | 1.6173 | 933.188 | 1.5135
210 | 1.6273 | 907.5133 | 1.4719
211 | 1.6373 | 1016.7893 | 1.6491
212 | 1.6473 | 1114.673 | 1.8079
213 | 1.6573 | 1490.5347 | 2.4175
214 | 1.6672 | 2259.9385 | 3.6654
215 | 1.6772 | 3728.975 | 6.048
216 | 1.6872 | 6011.1094 | 9.7494
217 | 1.6972 | 9083.1389 | 14.7319
218 | 1.7072 | 13424.7563 | 21.7735
219 | 1.7172 | 17649.3628 | 28.6254
220 | 1.7272 | 21678.2711 | 35.1599
221 | 1.7372 | 24115.7233 | 39.1132
222 | 1.7472 | 24596.6839 | 39.8932
223 | 1.7572 | 23268.5259 | 37.7391
224 | 1.7672 | 19848.7907 | 32.1926
225 | 1.7772 | 15624.5684 | 25.3414
226 | 1.7872 | 11510.4508 | 18.6687
227 | 1.7972 | 8092.469 | 13.1251
228 | 1.8072 | 5428.5625 | 8.8046
229 | 1.8172 | 3801.1471 | 6.1651
230 | 1.8272 | 2754.5695 | 4.4676
231 | 1.8372 | 2220.0612 | 3.6007
232 | 1.8472 | 1882.9769 | 3.054
233 | 1.8572 | 1653.1383 | 2.6812
234 | 1.8672 | 1378.6791 | 2.2361
235 | 1.8772 | 1222.5173 | 1.9828
236 | 1.8872 | 1075.0219 | 1.7436
237 | 1.8972 | 911.6431 | 1.4786
238 | 1.9072 | 851.2911 | 1.3807
239 | 1.9172 | 805.776 | 1.3069
240 | 1.9272 | 763.7013 | 1.2386
241 | 1.9372 | 755.1572 | 1.2248
242 | 1.9472 | 774.8041 | 1.2567
243 | 1.9572 | 750.7603 | 1.2177
244 | 1.9672 | 774.8336 | 1.2567
245 | 1.9772 | 865.0036 | 1.4029
246 | 1.9872 | 801.845 | 1.3005
247 | 1.9972 | 835.017 | 1.3543
248 | 2.0071 | 803.9237 | 1.3039
249 | 2.0171 | 821.1714 | 1.3319
250 | 2.0271 | 855.135 | 1.3869
251 | 2.0371 | 838.4313 | 1.3598
252 | 2.0471 | 815.8885 | 1.3233
253 | 2.0571 | 790.0563 | 1.2814
254 | 2.0671 | 787.6368 | 1.2775
255 | 2.0771 | 778.5026 | 1.2626
256 | 2.0871 | 806.7533 | 1.3085
257 | 2.0971 | 802.5475 | 1.3016
258 | 2.1071 | 774.6287 | 1.2564
259 | 2.1171 | 726.8016 | 1.1788
260 | 2.1271 | 754.8601 | 1.2243
261 | 2.1371 | 789.0069 | 1.2797
262 | 2.1471 | 780.1044 | 1.2652
263 | 2.1571 | 807.7543 | 1.3101
264 | 2.1671 | 799.7815 | 1.2972
265 | 2.1771 | 784.4453 | 1.2723
266 | 2.1871 | 795.4267 | 1.2901
267 | 2.1971 | 777.9255 | 1.2617
268 | 2.2071 | 785.3266 | 1.2737
269 | 2.2171 | 833.0906 | 1.3512
270 | 2.2271 | 844.5968 | 1.3698
271 | 2.2371 | 894.1998 | 1.4503
272 | 2.2471 | 957.4223 | 1.5528
273 | 2.2571 | 1059.5737 | 1.7185
274 | 2.2671 | 1274.4422 | 2.067
275 | 2.2771 | 1493.0452 | 2.4216
276 | 2.2871 | 1638.367 | 2.6573
277 | 2.2971 | 1788.5639 | 2.9009
278 | 2.3071 | 1860.2822 | 3.0172
279 | 2.3171 | 1908.3649 | 3.0952
280 | 2.3271 | 1805.2267 | 2.9279
281 | 2.337 | 1648.6557 | 2.6739
282 | 2.347 | 1518.619 | 2.463
283 | 2.357 | 1345.4212 | 2.1821
284 | 2.367 | 1143.3335 | 1.8544
285 | 2.377 | 984.6959 | 1.5971
286 | 2.387 | 909.5351 | 1.4752
287 | 2.397 | 865.902 | 1.4044
288 | 2.407 | 844.9036 | 1.3703
289 | 2.417 | 822.1045 | 1.3334
290 | 2.427 | 838.0967 | 1.3593
291 | 2.437 | 818.0051 | 1.3267
292 | 2.447 | 788.7088 | 1.2792
293 | 2.457 | 794.8582 | 1.2892
294 | 2.467 | 818.8421 | 1.3281
295 | 2.477 | 841.7163 | 1.3652
296 | 2.487 | 815.7926 | 1.3231
297 | 2.497 | 782.4456 | 1.269
298 | 2.507 | 774.6398 | 1.2564
299 | 2.517 | 785.7053 | 1.2743
300 | 2.527 | 761.0133 | 1.2343
301 | 2.537 | 784.213 | 1.2719
302 | 2.547 | 816.1547 | 1.3237
303 | 2.557 | 792.4947 | 1.2853
304 | 2.567 | 754.4742 | 1.2237
305 | 2.577 | 759.3853 | 1.2316
306 | 2.587 | 800.0525 | 1.2976
307 | 2.597 | 823.1741 | 1.3351
308 | 2.607 | 792.8897 | 1.286
309 | 2.617 | 792.2906 | 1.285
310 | 2.627 | 803.9771 | 1.304
311 | 2.637 | 819.3301 | 1.3289
312 | 2.647 | 807.0565 | 1.309
313 | 2.657 | 755.4069 | 1.2252
314 | 2.6669 | 755.7767 | 1.2258
315 | 2.6769 | 775.2403 | 1.2574
316 | 2.6869 | 757.1951 | 1.2281
317 | 2.6969 | 762.9612 | 1.2374
318 | 2.7069 | 768.2034 | 1.2459
319 | 2.7169 | 723.676 | 1.1737
320 | 2.7269 | 721.1915 | 1.1697
321 | 2.7369 | 754.7023 | 1.224
322 | 2.7469 | 763.962 | 1.2391
323 | 2.7569 | 757.1894 | 1.2281
324 | 2.7669 | 748.6056 | 1.2142
325 | 2.7769 | 747.2053 | 1.2119
326 | 2.7869 | 755.5031 | 1.2253
327 | 2.7969 | 736.9851 | 1.1953
328 | 2.8069 | 728.5221 | 1.1816
329 | 2.8169 | 731.3791 | 1.1862
330 | 2.8269 | 740.042 | 1.2003
331 | 2.8369 | 761.0218 | 1.2343
332 | 2.8469 | 748.9702 | 1.2148
333 | 2.8569 | 723.493 | 1.1734
334 | 2.8669 | 741.8782 | 1.2032
335 | 2.8769 | 754.2639 | 1.2233
336 | 2.8869 | 739.1612 | 1.1988
337 | 2.8969 | 744.6479 | 1.2077
338 | 2.9069 | 766.7394 | 1.2436
339 | 2.9169 | 767.4885 | 1.2448
340 | 2.9269 | 740.4484 | 1.2009
341 | 2.9369 | 721.9247 | 1.1709
342 | 2.9469 | 711.9664 | 1.1547
343 | 2.9569 | 717.0079 | 1.1629
344 | 2.9669 | 711.4987 | 1.154
345 | 2.9769 | 724.1025 | 1.1744
346 | 2.9869 | 694.0682 | 1.1257
347 | 2.9969 | 696.595 | 1.1298
348 | 3.0068 | 723.8395 | 1.174
349 | 3.0168 | 729.0979 | 1.1825
350 | 3.0268 | 711.3515 | 1.1537
351 | 3.0368 | 727.8717 | 1.1805
352 | 3.0468 | 708.3239 | 1.1488
353 | 3.0568 | 712.0927 | 1.1549
354 | 3.0668 | 720.5136 | 1.1686
355 | 3.0768 | 702.0013 | 1.1386
356 | 3.0868 | 710.3626 | 1.1521
357 | 3.0968 | 724.7281 | 1.1754
358 | 3.1068 | 703.0695 | 1.1403
359 | 3.1168 | 685.0136 | 1.111
360 | 3.1268 | 700.417 | 1.136
361 | 3.1368 | 716.4193 | 1.162
362 | 3.1468 | 735.0737 | 1.1922
363 | 3.1568 | 737.8747 | 1.1968
364 | 3.1668 | 731.0704 | 1.1857
365 | 3.1768 | 683.4192 | 1.1084
366 | 3.1868 | 721.7177 | 1.1705
367 | 3.1968 | 718.8731 | 1.1659
368 | 3.2068 | 759.8845 | 1.2325
369 | 3.2168 | 828.8075 | 1.3442
370 | 3.2268 | 884.9208 | 1.4352
371 | 3.2368 | 950.4701 | 1.5416
372 | 3.2468 | 1067.0781 | 1.7307
373 | 3.2568 | 1211.1682 | 1.9644
374 | 3.2668 | 1364.848 | 2.2136
375 | 3.2768 | 1541.9436 | 2.5009
376 | 3.2868 | 1768.2331 | 2.8679
377 | 3.2968 | 1931.1342 | 3.1321
378 | 3.3068 | 2047.1822 | 3.3203
379 | 3.3168 | 2041.0088 | 3.3103
380 | 3.3268 | 1975.2889 | 3.2037
381 | 3.3367 | 1868.066 | 3.0298
382 | 3.3467 | 1685.3293 | 2.7334
383 | 3.3567 | 1526.5591 | 2.4759
384 | 3.3667 | 1359.1369 | 2.2044
385 | 3.3767 | 1188.9568 | 1.9284
386 | 3.3867 | 995.3988 | 1.6144
387 | 3.3967 | 859.8427 | 1.3946
388 | 3.4067 | 793.7878 | 1.2874
389 | 3.4167 | 744.9038 | 1.2082
390 | 3.4267 | 705.3367 | 1.144
391 | 3.4367 | 649.5615 | 1.0535
392 | 3.4467 | 642.9693 | 1.0428
393 | 3.4567 | 669.9503 | 1.0866
394 | 3.4667 | 681.4742 | 1.1053
395 | 3.4767 | 694.8995 | 1.1271
396 | 3.4867 | 697.609 | 1.1314
397 | 3.4967 | 688.0956 | 1.116
398 | 3.5067 | 715.0866 | 1.1598
399 | 3.5167 | 741.6098 | 1.2028
400 | 3.5267 | 753.3531 | 1.2219
401 | 3.5367 | 802.4572 | 1.3015
402 | 3.5467 | 864.2264 | 1.4017
403 | 3.5567 | 1012.2194 | 1.6417
404 | 3.5667 | 1190.1113 | 1.9302
405 | 3.5767 | 1458.4554 | 2.3655
406 | 3.5867 | 1975.0474 | 3.2033
407 | 3.5967 | 2695.1157 | 4.3712
408 | 3.6067 | 3810.1067 | 6.1796
409 | 3.6167 | 5300.5408 | 8.5969
410 | 3.6267 | 7195.1482 | 11.6698
411 | 3.6367 | 9758.7694 | 15.8277
412 | 3.6467 | 12502.5662 | 20.2778
413 | 3.6567 | 15213.2409 | 24.6743
414 | 3.6666 | 17699.3148 | 28.7064
415 | 3.6766 | 19832.9533 | 32.167
416 | 3.6866 | 21109.8293 | 34.2379
417 | 3.6966 | 21220.889 | 34.418
418 | 3.7066 | 20372.8109 | 33.0425
419 | 3.7166 | 18477.388 | 29.9684
420 | 3.7266 | 16024.4915 | 25.99
421 | 3.7366 | 13401.2303 | 21.7354
422 | 3.7466 | 10753.1653 | 17.4405
423 | 3.7566 | 8054.0993 | 13.0629
424 | 3.7666 | 5762.7134 | 9.3465
425 | 3.7766 | 4096.9833 | 6.6449
426 | 3.7866 | 2853.0775 | 4.6274
427 | 3.7966 | 1953.2033 | 3.1679
428 | 3.8066 | 1370.0905 | 2.2221
429 | 3.8166 | 1040.3697 | 1.6874
430 | 3.8266 | 844.0171 | 1.3689
431 | 3.8366 | 731.0952 | 1.1858
432 | 3.8466 | 660.7253 | 1.0716
433 | 3.8566 | 630.7976 | 1.0231
434 | 3.8666 | 646.8099 | 1.0491
435 | 3.8766 | 667.595 | 1.0828
436 | 3.8866 | 679.0523 | 1.1014
437 | 3.8966 | 732.4314 | 1.1879
438 | 3.9066 | 789.02 | 1.2797
439 | 3.9166 | 902.6843 | 1.4641
440 | 3.9266 | 1039.292 | 1.6856
441 | 3.9366 | 1154.668 | 1.8727
442 | 3.9466 | 1419.9735 | 2.303
443 | 3.9566 | 1706.1647 | 2.7672
444 | 3.9666 | 1986.0176 | 3.2211
445 | 3.9766 | 2308.3173 | 3.7438
446 | 3.9866 | 2641.057 | 4.2835
447 | 3.9966 | 2900.7167 | 4.7047
448 | 4.0065 | 3000.3829 | 4.8663
449 | 4.0165 | 3049.5817 | 4.9461
450 | 4.0265 | 3020.553 | 4.899
451 | 4.0365 | 2815.0885 | 4.5658
452 | 4.0465 | 2528.4687 | 4.1009
453 | 4.0565 | 2222.7503 | 3.6051
454 | 4.0665 | 1893.4026 | 3.0709
455 | 4.0765 | 1626.1406 | 2.6374
456 | 4.0865 | 1344.1756 | 2.1801
457 | 4.0965 | 1071.9751 | 1.7386
458 | 4.1065 | 880.486 | 1.4281
459 | 4.1165 | 756.5282 | 1.227
460 | 4.1265 | 666.3219 | 1.0807
461 | 4.1365 | 612.2673 | 0.99303
462 | 4.1465 | 538.4333 | 0.87328
463 | 4.1565 | 501.1435 | 0.8128
464 | 4.1665 | 512.9202 | 0.8319
465 | 4.1765 | 491.759 | 0.79758
466 | 4.1865 | 472.6804 | 0.76664
467 | 4.1965 | 499.8071 | 0.81063
468 | 4.2065 | 491.0969 | 0.79651
469 | 4.2165 | 442.9 | 0.71834
470 | 4.2265 | 450.3761 | 0.73046
471 | 4.2365 | 493.603 | 0.80057
472 | 4.2465 | 487.7328 | 0.79105
473 | 4.2565 | 464.2674 | 0.75299
474 | 4.2665 | 465.7334 | 0.75537
475 | 4.2765 | 471.9538 | 0.76546
476 | 4.2865 | 462.8408 | 0.75068
477 | 4.2965 | 447.8737 | 0.7264
478 | 4.3065 | 458.7106 | 0.74398
479 | 4.3165 | 455.1661 | 0.73823
480 | 4.3265 | 457.0998 | 0.74137
481 | 4.3364 | 460.7842 | 0.74734
482 | 4.3464 | 452.4335 | 0.7338
483 | 4.3564 | 467.8893 | 0.75887
484 | 4.3664 | 485.2551 | 0.78703
485 | 4.3764 | 472.9187 | 0.76702
486 | 4.3864 | 467.3967 | 0.75807
487 | 4.3964 | 441.4926 | 0.71605
488 | 4.4064 | 457.0267 | 0.74125
489 | 4.4164 | 479.7666 | 0.77813
490 | 4.4264 | 492.8725 | 0.79939
491 | 4.4364 | 495.5721 | 0.80377
492 | 4.4464 | 486.7275 | 0.78942
493 | 4.4564 | 485.9136 | 0.7881
494 | 4.4664 | 496.6786 | 0.80556
495 | 4.4764 | 497.818 | 0.80741
496 | 4.4864 | 482.2694 | 0.78219
497 | 4.4964 | 491.2178 | 0.7967
498 | 4.5064 | 533.2743 | 0.86491
499 | 4.5164 | 514.9675 | 0.83522
500 | 4.5264 | 463.5021 | 0.75175
501 | 4.5364 | 443.7088 | 0.71965
502 | 4.5464 | 479.9694 | 0.77846
503 | 4.5564 | 462.6094 | 0.7503
504 | 4.5664 | 457.7856 | 0.74248
505 | 4.5764 | 478.554 | 0.77616
506 | 4.5864 | 440.3716 | 0.71424
507 | 4.5964 | 428.0806 | 0.6943
508 | 4.6064 | 433.648 | 0.70333
509 | 4.6164 | 427.0463 | 0.69262
510 | 4.6264 | 443.3955 | 0.71914
511 | 4.6364 | 468.089 | 0.75919
512 | 4.6464 | 437.3218 | 0.70929
513 | 4.6564 | 437.2806 | 0.70922
514 | 4.6663 | 443.9729 | 0.72008
515 | 4.6763 | 430.2141 | 0.69776
516 | 4.6863 | 426.3598 | 0.69151
517 | 4.6963 | 428.6233 | 0.69518
518 | 4.7063 | 414.575 | 0.6724
519 | 4.7163 | 427.067 | 0.69266
520 | 4.7263 | 446.5037 | 0.72418
521 | 4.7363 | 444.7579 | 0.72135
522 | 4.7463 | 438.0419 | 0.71046
523 | 4.7563 | 415.2562 | 0.6735
524 | 4.7663 | 440.7694 | 0.71488
525 | 4.7763 | 451.8926 | 0.73292
526 | 4.7863 | 419.9868 | 0.68117
527 | 4.7963 | 397.4056 | 0.64455
528 | 4.8063 | 395.731 | 0.64183
529 | 4.8163 | 412.5769 | 0.66916
530 | 4.8263 | 441.6352 | 0.71629
531 | 4.8363 | 431.7679 | 0.70028
532 | 4.8463 | 434.5837 | 0.70485
533 | 4.8563 | 418.0444 | 0.67802
534 | 4.8663 | 417.0942 | 0.67648
535 | 4.8763 | 412.2396 | 0.66861
536 | 4.8863 | 441.5864 | 0.71621
537 | 4.8963 | 427.5078 | 0.69337
538 | 4.9063 | 405.8197 | 0.6582
539 | 4.9163 | 422.4352 | 0.68515
540 | 4.9263 | 434.5336 | 0.70477
541 | 4.9363 | 434.7511 | 0.70512
542 | 4.9463 | 421.5491 | 0.68371
543 | 4.9563 | 399.6358 | 0.64817
544 | 4.9663 | 436.2305 | 0.70752
545 | 4.9763 | 391.8135 | 0.63548
546 | 4.9863 | 402.0721 | 0.65212
547 | 4.9963 | 414.552 | 0.67236
548 | 5.0062 | 421.0222 | 0.68285
549 | 5.0162 | 374.8014 | 0.60789
550 | 5.0262 | 385.1108 | 0.62461
551 | 5.0362 | 385.082 | 0.62456
552 | 5.0462 | 407.7777 | 0.66137
553 | 5.0562 | 388.4124 | 0.62996
554 | 5.0662 | 394.8438 | 0.64039
555 | 5.0762 | 402.118 | 0.65219
556 | 5.0862 | 393.261 | 0.63783
557 | 5.0962 | 398.0698 | 0.64563
558 | 5.1062 | 409.2247 | 0.66372
559 | 5.1162 | 379.8074 | 0.61601
560 | 5.1262 | 393.5912 | 0.63836
561 | 5.1362 | 404.0905 | 0.65539
562 | 5.1462 | 395.6539 | 0.64171
563 | 5.1562 | 406.3353 | 0.65903
564 | 5.1662 | 369.2429 | 0.59887
565 | 5.1762 | 368.8401 | 0.59822
566 | 5.1862 | 352.2216 | 0.57127
567 | 5.1962 | 381.9168 | 0.61943
568 | 5.2062 | 369.519 | 0.59932
569 | 5.2162 | 398.7916 | 0.6468
570 | 5.2262 | 384.8785 | 0.62423
571 | 5.2362 | 402.7694 | 0.65325
572 | 5.2462 | 375.0861 | 0.60835
573 | 5.2562 | 367.7173 | 0.5964
574 | 5.2662 | 343.9972 | 0.55793
575 | 5.2762 | 371.3851 | 0.60235
576 | 5.2862 | 364.5099 | 0.5912
577 | 5.2962 | 332.4311 | 0.53917
578 | 5.3062 | 346.4288 | 0.56187
579 | 5.3162 | 409.9659 | 0.66492
580 | 5.3262 | 369.688 | 0.59959
581 | 5.3361 | 387.2488 | 0.62808
582 | 5.3461 | 397.3162 | 0.6444
583 | 5.3561 | 384.3888 | 0.62344
584 | 5.3661 | 364.5552 | 0.59127
585 | 5.3761 | 378.0449 | 0.61315
586 | 5.3861 | 370.4478 | 0.60083
587 | 5.3961 | 365.7356 | 0.59318
588 | 5.4061 | 412.0659 | 0.66833
589 | 5.4161 | 363.1146 | 0.58893
590 | 5.4261 | 353.5566 | 0.57343
591 | 5.4361 | 371.8731 | 0.60314
592 | 5.4461 | 366.1952 | 0.59393
593 | 5.4561 | 385.1622 | 0.62469
594 | 5.4661 | 345.1762 | 0.55984
595 | 5.4761 | 353.3976 | 0.57317
596 | 5.4861 | 349.8569 | 0.56743
597 | 5.4961 | 365.2702 | 0.59243
598 | 5.5061 | 358.6413 | 0.58168
599 | 5.5161 | 360.9422 | 0.58541
600 | 5.5261 | 341.2187 | 0.55342
601 | 5.5361 | 361.6551 | 0.58657
602 | 5.5461 | 365.0835 | 0.59213
603 | 5.5561 | 344.7701 | 0.55918
604 | 5.5661 | 352.9122 | 0.57239
605 | 5.5761 | 351.0698 | 0.5694
606 | 5.5861 | 362.1678 | 0.5874
607 | 5.5961 | 363.0115 | 0.58877
608 | 5.6061 | 373.6639 | 0.60604
609 | 5.6161 | 356.7911 | 0.57868
610 | 5.6261 | 378.9294 | 0.61458
611 | 5.6361 | 358.9429 | 0.58217
612 | 5.6461 | 342.382 | 0.55531
613 | 5.6561 | 358.9716 | 0.58221
614 | 5.666 | 311.9288 | 0.50592
615 | 5.676 | 380.8117 | 0.61764
616 | 5.686 | 373.6598 | 0.60604
617 | 5.696 | 309.2232 | 0.50153
618 | 5.706 | 354.5383 | 0.57502
619 | 5.716 | 363.0764 | 0.58887
620 | 5.726 | 297.0944 | 0.48186
621 | 5.736 | 324.4489 | 0.52622
622 | 5.746 | 334.8125 | 0.54303
623 | 5.756 | 381.3959 | 0.61858
624 | 5.766 | 329.7458 | 0.53481
625 | 5.776 | 360.59 | 0.58484
626 | 5.786 | 348.9797 | 0.56601
627 | 5.796 | 349.154 | 0.56629
628 | 5.806 | 350.5051 | 0.56848
629 | 5.816 | 369.9173 | 0.59997
630 | 5.826 | 356.2675 | 0.57783
631 | 5.836 | 304.0759 | 0.49318
632 | 5.846 | 332.0215 | 0.5385
633 | 5.856 | 345.9634 | 0.56112
634 | 5.866 | 334.2149 | 0.54206
635 | 5.876 | 348.1106 | 0.5646
636 | 5.886 | 359.9342 | 0.58378
637 | 5.896 | 358.8485 | 0.58201
638 | 5.906 | 334.821 | 0.54304
639 | 5.916 | 346.9768 | 0.56276
640 | 5.926 | 336.8717 | 0.54637
641 | 5.936 | 325.7911 | 0.5284
642 | 5.946 | 317.7954 | 0.51543
643 | 5.956 | 332.8162 | 0.53979
644 | 5.966 | 335.8288 | 0.54468
645 | 5.976 | 350.8637 | 0.56906
646 | 5.986 | 329.7646 | 0.53484
647 | 5.996 | 324.8023 | 0.52679
648 | 6.0059 | 345.8287 | 0.5609
649 | 6.0159 | 323.7682 | 0.52512
650 | 6.0259 | 339.7717 | 0.55107
651 | 6.0359 | 305.8176 | 0.496
652 | 6.0459 | 335.8414 | 0.5447
653 | 6.0559 | 342.9132 | 0.55617
654 | 6.0659 | 299.6679 | 0.48603
655 | 6.0759 | 296.6775 | 0.48118
656 | 6.0859 | 376.9324 | 0.61134
657 | 6.0959 | 354.8238 | 0.57549
658 | 6.1059 | 289.5585 | 0.46963
659 | 6.1159 | 323.6337 | 0.5249
660 | 6.1259 | 355.9172 | 0.57726
661 | 6.1359 | 330.8559 | 0.53661
662 | 6.1459 | 356.8706 | 0.57881
663 | 6.1559 | 345.7069 | 0.5607
664 | 6.1659 | 311.6697 | 0.5055
665 | 6.1759 | 326.8204 | 0.53007
666 | 6.1859 | 349.8349 | 0.5674
667 | 6.1959 | 333.6903 | 0.54121
668 | 6.2059 | 407.9149 | 0.66159
669 | 6.2159 | 382.8454 | 0.62093
670 | 6.2259 | 415.1168 | 0.67328
671 | 6.2359 | 466.2185 | 0.75616
672 | 6.2459 | 558.5446 | 0.9059
673 | 6.2559 | 629.7361 | 1.0214
674 | 6.2659 | 832.4399 | 1.3501
675 | 6.2759 | 944.8249 | 1.5324
676 | 6.2859 | 1333.9702 | 2.1636
677 | 6.2959 | 1748.3368 | 2.8356
678 | 6.3059 | 2250.8531 | 3.6506
679 | 6.3159 | 2917.1191 | 4.7313
680 | 6.3259 | 3613.3022 | 5.8604
681 | 6.3358 | 4706.7193 | 7.6338
682 | 6.3458 | 5687.8272 | 9.2251
683 | 6.3558 | 6642.7453 | 10.7738
684 | 6.3658 | 7484.4343 | 12.139
685 | 6.3758 | 8293.8213 | 13.4517
686 | 6.3858 | 9031.0549 | 14.6474
687 | 6.3958 | 9456.2982 | 15.3371
688 | 6.4058 | 9223.4795 | 14.9595
689 | 6.4158 | 9292.5524 | 15.0715
690 | 6.4258 | 8837.0584 | 14.3328
691 | 6.4358 | 7872.8146 | 12.7689
692 | 6.4458 | 7069.3395 | 11.4657
693 | 6.4558 | 6132.4585 | 9.9462
694 | 6.4658 | 5196.6662 | 8.4284
695 | 6.4758 | 4138.3554 | 6.712
696 | 6.4858 | 3340.8322 | 5.4185
697 | 6.4958 | 2535.2719 | 4.1119
698 | 6.5058 | 1918.3937 | 3.1114
699 | 6.5158 | 1460.0581 | 2.3681
700 | 6.5258 | 1085.013 | 1.7598
701 | 6.5358 | 846.2037 | 1.3725
702 | 6.5458 | 659.6029 | 1.0698
703 | 6.5558 | 491.1047 | 0.79652
704 | 6.5658 | 389.8476 | 0.63229
705 | 6.5758 | 369.8301 | 0.59983
706 | 6.5858 | 341.8215 | 0.5544
707 | 6.5958 | 337.7695 | 0.54783
708 | 6.6058 | 303.6391 | 0.49247
709 | 6.6158 | 274.4322 | 0.4451
710 | 6.6258 | 312.5769 | 0.50697
711 | 6.6358 | 295.5104 | 0.47929
712 | 6.6458 | 303.6635 | 0.49251
713 | 6.6558 | 272.5811 | 0.4421
714 | 6.6657 | 282.5296 | 0.45823
715 | 6.6757 | 294.5005 | 0.47765
716 | 6.6857 | 314.521 | 0.51012
717 | 6.6957 | 246.3363 | 0.39953
718 | 6.7057 | 254.4136 | 0.41263
719 | 6.7157 | 263.4894 | 0.42735
720 | 6.7257 | 278.5321 | 0.45175
721 | 6.7357 | 291.625 | 0.47298
722 | 6.7457 | 264.5309 | 0.42904
723 | 6.7557 | 271.501 | 0.44035
724 | 6.7657 | 293.4827 | 0.476
725 | 6.7757 | 256.3415 | 0.41576
726 | 6.7857 | 290.4564 | 0.47109
727 | 6.7957 | 268.4014 | 0.43532
728 | 6.8057 | 261.4855 | 0.4241
729 | 6.8157 | 286.578 | 0.4648
730 | 6.8257 | 261.488 | 0.42411
731 | 6.8357 | 283.4512 | 0.45973
732 | 6.8457 | 287.4859 | 0.46627
733 | 6.8557 | 304.5276 | 0.49391
734 | 6.8657 | 284.5239 | 0.46147
735 | 6.8757 | 294.4636 | 0.47759
736 | 6.8857 | 322.5311 | 0.52311
737 | 6.8957 | 315.5329 | 0.51176
738 | 6.9057 | 353.7639 | 0.57377
739 | 6.9157 | 330.6022 | 0.5362
740 | 6.9257 | 375.6974 | 0.60934
741 | 6.9357 | 439.8037 | 0.71332
742 | 6.9457 | 439.8718 | 0.71343
743 | 6.9557 | 564.1952 | 0.91507
744 | 6.9657 | 619.3495 | 1.0045
745 | 6.9757 | 737.6562 | 1.1964
746 | 6.9857 | 792.737 | 1.2857
747 | 6.9957 | 984.25 | 1.5963
748 | 7.0056 | 1041.3818 | 1.689
749 | 7.0156 | 1155.6791 | 1.8744
750 | 7.0256 | 1259.8735 | 2.0434
751 | 7.0356 | 1313.9724 | 2.1311
752 | 7.0456 | 1378.1269 | 2.2352
753 | 7.0556 | 1370.1088 | 2.2222
754 | 7.0656 | 1369.151 | 2.2206
755 | 7.0756 | 1382.1925 | 2.2418
756 | 7.0856 | 1268.8601 | 2.058
757 | 7.0956 | 1150.5659 | 1.8661
758 | 7.1056 | 1132.4488 | 1.8367
759 | 7.1156 | 943.0211 | 1.5295
760 | 7.1256 | 804.6796 | 1.3051
761 | 7.1356 | 715.5211 | 1.1605
762 | 7.1456 | 634.34 | 1.0288
763 | 7.1556 | 520.0028 | 0.84339
764 | 7.1656 | 436.7904 | 0.70843
765 | 7.1756 | 370.6262 | 0.60112
766 | 7.1856 | 348.5974 | 0.56539
767 | 7.1956 | 273.3932 | 0.44341
768 | 7.2056 | 278.426 | 0.45158
769 | 7.2156 | 255.3498 | 0.41415
770 | 7.2256 | 256.4277 | 0.4159
771 | 7.2356 | 245.3568 | 0.39794
772 | 7.2456 | 239.3596 | 0.38822
773 | 7.2556 | 221.2581 | 0.35886
774 | 7.2656 | 229.294 | 0.37189
775 | 7.2756 | 200.1726 | 0.32466
776 | 7.2856 | 223.2767 | 0.36213
777 | 7.2956 | 236.2949 | 0.38325
778 | 7.3056 | 219.332 | 0.35573
779 | 7.3156 | 208.271 | 0.33779
780 | 7.3256 | 226.2702 | 0.36699
781 | 7.3355 | 203.2105 | 0.32959
782 | 7.3455 | 220.3047 | 0.35731
783 | 7.3555 | 230.3201 | 0.37355
784 | 7.3655 | 202.2683 | 0.32806
785 | 7.3755 | 200.2446 | 0.32478
786 | 7.3855 | 223.28 | 0.36214
787 | 7.3955 | 202.2359 | 0.32801
788 | 7.4055 | 222.2624 | 0.36049
789 | 7.4155 | 221.3214 | 0.35896
790 | 7.4255 | 236.3475 | 0.38333
791 | 7.4355 | 215.3087 | 0.34921
792 | 7.4455 | 206.1964 | 0.33443
793 | 7.4555 | 231.212 | 0.375
794 | 7.4655 | 226.242 | 0.36694
795 | 7.4755 | 198.2542 | 0.32155
796 | 7.4855 | 208.2753 | 0.3378
797 | 7.4955 | 205.2869 | 0.33295
798 | 7.5055 | 215.2466 | 0.34911
799 | 7.5155 | 241.3269 | 0.39141
800 | 7.5255 | 226.2755 | 0.36699
801 | 7.5355 | 214.2416 | 0.34748
802 | 7.5455 | 200.2093 | 0.32472
803 | 7.5555 | 205.2329 | 0.33287
804 | 7.5655 | 199.2496 | 0.32316
805 | 7.5755 | 222.2614 | 0.36048
806 | 7.5855 | 225.3 | 0.36541
807 | 7.5955 | 205.2405 | 0.33288
808 | 7.6055 | 204.2623 | 0.33129
809 | 7.6155 | 172.121 | 0.27916
810 | 7.6255 | 191.2221 | 0.31014
811 | 7.6355 | 198.2349 | 0.32152
812 | 7.6455 | 211.2326 | 0.3426
813 | 7.6555 | 197.222 | 0.31987
814 | 7.6654 | 173.1587 | 0.28085
815 | 7.6754 | 210.2423 | 0.34099
816 | 7.6854 | 201.2285 | 0.32637
817 | 7.6954 | 184.1995 | 0.29875
818 | 7.7054 | 211.2633 | 0.34265
819 | 7.7154 | 197.1693 | 0.31979
820 | 7.7254 | 201.2245 | 0.32636
821 | 7.7354 | 211.2377 | 0.34261
822 | 7.7454 | 193.2461 | 0.31342
823 | 7.7554 | 196.1929 | 0.3182
824 | 7.7654 | 200.1906 | 0.32469
825 | 7.7754 | 203.2047 | 0.32958
826 | 7.7854 | 161.1305 | 0.26134
827 | 7.7954 | 198.2198 | 0.32149
828 | 7.8054 | 178.1549 | 0.28895
829 | 7.8154 | 193.1909 | 0.31334
830 | 7.8254 | 193.2008 | 0.31335
831 | 7.8354 | 204.2403 | 0.33126
832 | 7.8454 | 197.2368 | 0.3199
833 | 7.8554 | 204.2478 | 0.33127
834 | 7.8654 | 225.254 | 0.36534
835 | 7.8754 | 180.1643 | 0.29221
836 | 7.8854 | 179.1196 | 0.29051
837 | 7.8954 | 198.1927 | 0.32145
838 | 7.9054 | 221.2426 | 0.35883
839 | 7.9154 | 187.1589 | 0.30355
840 | 7.9254 | 177.1725 | 0.28735
841 | 7.9354 | 210.235 | 0.34098
842 | 7.9454 | 197.1882 | 0.31982
843 | 7.9554 | 205.2464 | 0.33289
844 | 7.9654 | 203.1988 | 0.32957
845 | 7.9754 | 159.1481 | 0.25812
846 | 7.9854 | 190.174 | 0.30844
847 | 7.9954 | 170.1378 | 0.27595
848 | 8.0053 | 181.1794 | 0.29385
849 | 8.0153 | 166.1476 | 0.26947
850 | 8.0253 | 171.1609 | 0.2776
851 | 8.0353 | 192.1932 | 0.31172
852 | 8.0453 | 173.196 | 0.28091
853 | 8.0553 | 212.2045 | 0.34417
854 | 8.0653 | 160.0915 | 0.25965
855 | 8.0753 | 186.1353 | 0.30189
856 | 8.0853 | 191.1805 | 0.31007
857 | 8.0953 | 173.1979 | 0.28091
858 | 8.1053 | 198.2231 | 0.3215
859 | 8.1153 | 157.1323 | 0.25485
860 | 8.1253 | 195.1582 | 0.31653
861 | 8.1353 | 187.1425 | 0.30353
862 | 8.1453 | 167.1643 | 0.27112
863 | 8.1553 | 195.2153 | 0.31662
864 | 8.1653 | 189.1603 | 0.3068
865 | 8.1753 | 169.139 | 0.27433
866 | 8.1853 | 225.1889 | 0.36523
867 | 8.1953 | 185.1415 | 0.30028
868 | 8.2053 | 175.1021 | 0.284
869 | 8.2153 | 160.1333 | 0.25972
870 | 8.2253 | 172.1642 | 0.27923
871 | 8.2353 | 175.1606 | 0.28409
872 | 8.2453 | 186.1728 | 0.30195
873 | 8.2553 | 195.1653 | 0.31654
874 | 8.2653 | 180.1615 | 0.2922
875 | 8.2753 | 157.1206 | 0.25483
876 | 8.2853 | 195.1442 | 0.3165
877 | 8.2953 | 187.1374 | 0.30352
878 | 8.3053 | 170.1389 | 0.27595
879 | 8.3153 | 173.1741 | 0.28087
880 | 8.3253 | 164.1652 | 0.26626
881 | 8.3352 | 146.0628 | 0.2369
882 | 8.3452 | 158.1173 | 0.25645
883 | 8.3552 | 164.1217 | 0.26619
884 | 8.3652 | 183.1917 | 0.29712
885 | 8.3752 | 166.1772 | 0.26952
886 | 8.3852 | 191.1573 | 0.31004
887 | 8.3952 | 150.0684 | 0.2434
888 | 8.4052 | 160.1038 | 0.25967
889 | 8.4152 | 189.1319 | 0.30675
890 | 8.4252 | 181.1353 | 0.29378
891 | 8.4352 | 188.167 | 0.30519
892 | 8.4452 | 193.1828 | 0.31332
893 | 8.4552 | 168.131 | 0.27269
894 | 8.4652 | 162.1002 | 0.26291
895 | 8.4752 | 170.1522 | 0.27597
896 | 8.4852 | 147.1065 | 0.23859
897 | 8.4952 | 157.1219 | 0.25484
898 | 8.5052 | 169.1433 | 0.27433
899 | 8.5152 | 187.1118 | 0.30348
900 | 8.5252 | 185.1302 | 0.30026
901 | 8.5352 | 178.1476 | 0.28894
902 | 8.5452 | 190.2205 | 0.30852
903 | 8.5552 | 159.1706 | 0.25816
904 | 8.5652 | 154.083 | 0.24991
905 | 8.5752 | 165.0603 | 0.26771
906 | 8.5852 | 182.1113 | 0.29537
907 | 8.5952 | 169.1157 | 0.27429
908 | 8.6052 | 178.2121 | 0.28904
909 | 8.6152 | 159.1556 | 0.25813
910 | 8.6252 | 183.1528 | 0.29705
911 | 8.6352 | 189.156 | 0.30679
912 | 8.6452 | 175.1238 | 0.28403
913 | 8.6552 | 137.0933 | 0.22235
914 | 8.6651 | 184.1504 | 0.29867
915 | 8.6751 | 173.129 | 0.2808
916 | 8.6851 | 180.1669 | 0.29221
917 | 8.6951 | 157.1155 | 0.25482
918 | 8.7051 | 169.1325 | 0.27432
919 | 8.7151 | 157.1127 | 0.25482
920 | 8.7251 | 149.1046 | 0.24183
921 | 8.7351 | 170.1113 | 0.2759
922 | 8.7451 | 152.0686 | 0.24664
923 | 8.7551 | 157.0901 | 0.25478
924 | 8.7651 | 151.0867 | 0.24505
925 | 8.7751 | 171.1461 | 0.27758
926 | 8.7851 | 167.1377 | 0.27108
927 | 8.7951 | 163.114 | 0.26455
928 | 8.8051 | 169.1498 | 0.27434
929 | 8.8151 | 147.1025 | 0.23858
930 | 8.8251 | 150.0923 | 0.24343
931 | 8.8351 | 164.1227 | 0.26619
932 | 8.8451 | 153.0736 | 0.24827
933 | 8.8551 | 173.1334 | 0.2808
934 | 8.8651 | 155.0881 | 0.25154
935 | 8.8751 | 169.1198 | 0.27429
936 | 8.8851 | 146.0991 | 0.23696
937 | 8.8951 | 143.0738 | 0.23205
938 | 8.9051 | 169.1569 | 0.27435
939 | 8.9151 | 162.1161 | 0.26294
940 | 8.9251 | 161.1282 | 0.26133
941 | 8.9351 | 158.1186 | 0.25645
942 | 8.9451 | 165.0925 | 0.26776
943 | 8.9551 | 158.0943 | 0.25641
944 | 8.9651 | 167.1338 | 0.27107
945 | 8.9751 | 138.0824 | 0.22396
946 | 8.9851 | 164.1255 | 0.26619
947 | 8.9951 | 154.1166 | 0.24996
948 | 9.005 | 170.1542 | 0.27597
949 | 9.015 | 160.0916 | 0.25965
950 | 9.025 | 178.1273 | 0.2889
951 | 9.035 | 158.0962 | 0.25642
952 | 9.045 | 173.1206 | 0.28078
953 | 9.055 | 137.0861 | 0.22234
954 | 9.065 | 154.069 | 0.24988
955 | 9.075 | 168.097 | 0.27264
956 | 9.085 | 157.0857 | 0.25478
957 | 9.095 | 137.1052 | 0.22237
958 | 9.105 | 152.1132 | 0.24671
959 | 9.115 | 143.0805 | 0.23206
960 | 9.125 | 148.1031 | 0.24021
961 | 9.135 | 147.0917 | 0.23857
962 | 9.145 | 146.1027 | 0.23696
963 | 9.155 | 155.1225 | 0.25159
964 | 9.165 | 136.0733 | 0.2207
965 | 9.175 | 147.0609 | 0.23852
966 | 9.185 | 135.0667 | 0.21906
967 | 9.195 | 169.1214 | 0.2743
968 | 9.205 | 174.1033 | 0.28238
969 | 9.215 | 151.0856 | 0.24504
970 | 9.225 | 139.0724 | 0.22556
971 | 9.235 | 146.0717 | 0.23691
972 | 9.245 | 133.0556 | 0.2158
973 | 9.255 | 158.1306 | 0.25647
974 | 9.265 | 136.0881 | 0.22072
975 | 9.275 | 146.0864 | 0.23694
976 | 9.285 | 150.073 | 0.2434
977 | 9.295 | 151.0657 | 0.24501
978 | 9.305 | 141.0971 | 0.22884
979 | 9.315 | 132.0594 | 0.21419
980 | 9.325 | 152.1163 | 0.24672
981 | 9.3349 | 135.0886 | 0.2191
982 | 9.3449 | 136.0914 | 0.22073
983 | 9.3549 | 129.0616 | 0.20932
984 | 9.3649 | 168.0852 | 0.27262
985 | 9.3749 | 122.0722 | 0.19799
986 | 9.3849 | 136.0814 | 0.22071
987 | 9.3949 | 152.0995 | 0.24669
988 | 9.4049 | 133.0724 | 0.21583
989 | 9.4149 | 141.045 | 0.22876
990 | 9.4249 | 139.0752 | 0.22557
991 | 9.4349 | 141.0652 | 0.22879
992 | 9.4449 | 133.0948 | 0.21587
993 | 9.4549 | 129.0851 | 0.20936
994 | 9.4649 | 159.1125 | 0.25806
995 | 9.4749 | 132.0616 | 0.21419
996 | 9.4849 | 141.0809 | 0.22882
997 | 9.4949 | 122.0509 | 0.19795
998 | 9.5049 | 153.1122 | 0.24833
999 | 9.5149 | 145.0858 | 0.23531
1000 | 9.5249 | 141.0609 | 0.22879
1001 | 9.5349 | 141.0727 | 0.2288
1002 | 9.5449 | 133.0851 | 0.21585
1003 | 9.5549 | 145.0842 | 0.23531
1004 | 9.5649 | 135.0668 | 0.21906
1005 | 9.5749 | 132.0625 | 0.21419
1006 | 9.5849 | 128.0798 | 0.20773
1007 | 9.5949 | 126.0783 | 0.20449
1008 | 9.6049 | 129.0871 | 0.20937
1009 | 9.6149 | 137.0568 | 0.22229
1010 | 9.6249 | 136.0911 | 0.22073
1011 | 9.6349 | 159.1049 | 0.25805
1012 | 9.6449 | 130.0569 | 0.21094
1013 | 9.6549 | 138.0851 | 0.22396
1014 | 9.6648 | 151.0966 | 0.24506
1015 | 9.6748 | 124.057 | 0.20121
1016 | 9.6848 | 132.0497 | 0.21417
1017 | 9.6948 | 141.07 | 0.2288
1018 | 9.7048 | 115.0486 | 0.1866
1019 | 9.7148 | 142.0895 | 0.23045
1020 | 9.7248 | 118.0781 | 0.19151
1021 | 9.7348 | 137.1014 | 0.22236
1022 | 9.7448 | 134.0727 | 0.21745
1023 | 9.7548 | 120.051 | 0.19471
1024 | 9.7648 | 126.0585 | 0.20445
1025 | 9.7748 | 131.0659 | 0.21257
1026 | 9.7848 | 130.0545 | 0.21093
1027 | 9.7948 | 109.0289 | 0.17683
1028 | 9.8048 | 142.0989 | 0.23047
1029 | 9.8148 | 139.0738 | 0.22556
1030 | 9.8248 | 139.0708 | 0.22556
1031 | 9.8348 | 126.0682 | 0.20447
1032 | 9.8448 | 113.04 | 0.18334
1033 | 9.8548 | 125.0683 | 0.20285
1034 | 9.8648 | 122.07 | 0.19798
1035 | 9.8748 | 141.0875 | 0.22883
1036 | 9.8848 | 139.0972 | 0.2256
1037 | 9.8948 | 111.0646 | 0.18014
1038 | 9.9048 | 126.0593 | 0.20445
1039 | 9.9148 | 147.087 | 0.23856
1040 | 9.9248 | 127.0623 | 0.20608
1041 | 9.9348 | 148.0977 | 0.2402
1042 | 9.9448 | 135.0626 | 0.21906
1043 | 9.9548 | 152.0996 | 0.24669
1044 | 9.9648 | 120.0506 | 0.19471
1045 | 9.9748 | 125.0559 | 0.20283
1046 | 9.9848 | 126.0699 | 0.20447
1047 | 9.9948 | 127.0516 | 0.20606
1048 | 10.0047 | 138.074 | 0.22394
1049 | 10.0147 | 120.0613 | 0.19473
1050 | 10.0247 | 123.0698 | 0.19961
1051 | 10.0347 | 142.0884 | 0.23045
1052 | 10.0447 | 134.0597 | 0.21743
1053 | 10.0547 | 123.057 | 0.19959
1054 | 10.0647 | 109.0302 | 0.17684
1055 | 10.0747 | 111.0262 | 0.18007
1056 | 10.0847 | 143.089 | 0.23208
1057 | 10.0947 | 110.0584 | 0.1785
1058 | 10.1047 | 128.0837 | 0.20774
1059 | 10.1147 | 107.0688 | 0.17365
1060 | 10.1247 | 105.0386 | 0.17036
1061 | 10.1347 | 140.0804 | 0.2272
1062 | 10.1447 | 136.0669 | 0.22069
1063 | 10.1547 | 119.0603 | 0.1931
1064 | 10.1647 | 140.0752 | 0.22719
1065 | 10.1747 | 132.0432 | 0.21416
1066 | 10.1847 | 120.0506 | 0.19471
1067 | 10.1947 | 116.0693 | 0.18825
1068 | 10.2047 | 126.0567 | 0.20445
1069 | 10.2147 | 130.0892 | 0.21099
1070 | 10.2247 | 106.0574 | 0.17201
1071 | 10.2347 | 124.056 | 0.20121
1072 | 10.2447 | 117.0609 | 0.18986
1073 | 10.2547 | 109.0637 | 0.17689
1074 | 10.2647 | 139.052 | 0.22553
1075 | 10.2747 | 122.051 | 0.19795
1076 | 10.2847 | 119.0627 | 0.19311
1077 | 10.2947 | 94.0345 | 0.15251
1078 | 10.3047 | 101.0593 | 0.16391
1079 | 10.3147 | 135.0841 | 0.21909
1080 | 10.3247 | 134.0529 | 0.21742
1081 | 10.3346 | 121.0488 | 0.19633
1082 | 10.3446 | 121.0589 | 0.19634
1083 | 10.3546 | 80.0177 | 0.12978
1084 | 10.3646 | 108.0521 | 0.17525
1085 | 10.3746 | 117.0899 | 0.18991
1086 | 10.3846 | 110.0758 | 0.17853
1087 | 10.3946 | 114.0534 | 0.18498
1088 | 10.4046 | 101.0207 | 0.16384
1089 | 10.4146 | 117.0479 | 0.18984
1090 | 10.4246 | 116.0317 | 0.18819
1091 | 10.4346 | 97.0309 | 0.15737
1092 | 10.4446 | 114.0492 | 0.18498
1093 | 10.4546 | 115.0416 | 0.18659
1094 | 10.4646 | 113.034 | 0.18333
1095 | 10.4746 | 109.0364 | 0.17685
1096 | 10.4846 | 124.0714 | 0.20123
1097 | 10.4946 | 126.077 | 0.20448
1098 | 10.5046 | 118.0711 | 0.1915
1099 | 10.5146 | 118.0624 | 0.19148
1100 | 10.5246 | 100.0337 | 0.16224
1101 | 10.5346 | 110.0482 | 0.17849
1102 | 10.5446 | 116.0462 | 0.18821
1103 | 10.5546 | 95.0108 | 0.1541
1104 | 10.5646 | 110.0421 | 0.17848
1105 | 10.5746 | 114.0695 | 0.18501
1106 | 10.5846 | 106.0463 | 0.172
1107 | 10.5946 | 125.073 | 0.20286
1108 | 10.6046 | 103.0373 | 0.16712
1109 | 10.6146 | 120.0388 | 0.19469
1110 | 10.6246 | 107.042 | 0.17361
1111 | 10.6346 | 105.07 | 0.17041
1112 | 10.6446 | 116.0664 | 0.18825
1113 | 10.6546 | 87.0291 | 0.14115
1114 | 10.6645 | 115.0756 | 0.18664
1115 | 10.6745 | 95.0269 | 0.15412
1116 | 10.6845 | 100.0539 | 0.16228
1117 | 10.6945 | 121.0567 | 0.19634
1118 | 10.7045 | 107.0347 | 0.1736
1119 | 10.7145 | 90.0329 | 0.14602
1120 | 10.7245 | 109.0435 | 0.17686
1121 | 10.7345 | 104.048 | 0.16875
1122 | 10.7445 | 97.0462 | 0.1574
1123 | 10.7545 | 89.0292 | 0.1444
1124 | 10.7645 | 121.0613 | 0.19635
1125 | 10.7745 | 105.0327 | 0.17035
1126 | 10.7845 | 113.0555 | 0.18336
1127 | 10.7945 | 109.0564 | 0.17688
1128 | 10.8045 | 100.0569 | 0.16228
1129 | 10.8145 | 124.0842 | 0.20125
1130 | 10.8245 | 114.0461 | 0.18497
1131 | 10.8345 | 112.0398 | 0.18172
1132 | 10.8445 | 84.0301 | 0.13629
1133 | 10.8545 | 103.029 | 0.1671
1134 | 10.8645 | 107.0158 | 0.17357
1135 | 10.8745 | 92.0165 | 0.14924
1136 | 10.8845 | 104.0366 | 0.16874
1137 | 10.8945 | 96.0249 | 0.15574
1138 | 10.9045 | 90.0467 | 0.14605
1139 | 10.9145 | 109.0744 | 0.17691
1140 | 10.9245 | 121.0826 | 0.19638
1141 | 10.9345 | 99.0508 | 0.16065
1142 | 10.9445 | 102.0275 | 0.16548
1143 | 10.9545 | 123.0535 | 0.19958
1144 | 10.9645 | 104.0132 | 0.1687
1145 | 10.9745 | 102.0322 | 0.16549
1146 | 10.9845 | 114.0537 | 0.18498
1147 | 10.9945 | 112.0685 | 0.18176
1148 | 11.0044 | 85.0562 | 0.13795
1149 | 11.0144 | 99.0762 | 0.16069
1150 | 11.0244 | 104.0259 | 0.16872
1151 | 11.0344 | 111.0251 | 0.18007
1152 | 11.0444 | 108.0351 | 0.17522
1153 | 11.0544 | 82.0044 | 0.133
1154 | 11.0644 | 111.0571 | 0.18012
1155 | 11.0744 | 88.0551 | 0.14282
1156 | 11.0844 | 93.056 | 0.15093
1157 | 11.0944 | 85.0381 | 0.13792
1158 | 11.1044 | 104.0533 | 0.16876
1159 | 11.1144 | 112.0516 | 0.18174
1160 | 11.1244 | 83.0254 | 0.13466
1161 | 11.1344 | 98.0546 | 0.15903
1162 | 11.1444 | 98.045 | 0.15902
1163 | 11.1544 | 96.0394 | 0.15577
1164 | 11.1644 | 115.0544 | 0.18661
1165 | 11.1744 | 89.0218 | 0.14438
1166 | 11.1844 | 108.0496 | 0.17525
1167 | 11.1944 | 79.0244 | 0.12817
1168 | 11.2044 | 91.0441 | 0.14766
1169 | 11.2144 | 90.0491 | 0.14605
1170 | 11.2244 | 100.0495 | 0.16227
1171 | 11.2344 | 91.044 | 0.14766
1172 | 11.2444 | 100.0427 | 0.16226
1173 | 11.2544 | 79.0184 | 0.12816
1174 | 11.2644 | 98.0499 | 0.15903
1175 | 11.2744 | 107.0567 | 0.17363
1176 | 11.2844 | 95.0463 | 0.15416
1177 | 11.2944 | 79.0211 | 0.12816
1178 | 11.3044 | 97.039 | 0.15739
1179 | 11.3144 | 95.014 | 0.1541
1180 | 11.3244 | 96.0492 | 0.15578
1181 | 11.3343 | 78.0282 | 0.12655
1182 | 11.3443 | 83.0266 | 0.13466
1183 | 11.3543 | 82.0389 | 0.13306
1184 | 11.3643 | 107.0572 | 0.17364
1185 | 11.3743 | 70.0224 | 0.11357
1186 | 11.3843 | 92.0411 | 0.14928
1187 | 11.3943 | 99.0514 | 0.16065
1188 | 11.4043 | 85.045 | 0.13793
1189 | 11.4143 | 87.0413 | 0.14117
1190 | 11.4243 | 93.0409 | 0.1509
1191 | 11.4343 | 100.0569 | 0.16228
1192 | 11.4443 | 88.034 | 0.14278
1193 | 11.4543 | 88.0428 | 0.1428
1194 | 11.4643 | 86.0173 | 0.13951
1195 | 11.4743 | 75.0112 | 0.12166
1196 | 11.4843 | 76.0204 | 0.1233
1197 | 11.4943 | 93.0507 | 0.15092
1198 | 11.5043 | 90.0628 | 0.14607
1199 | 11.5143 | 85.0425 | 0.13793
1200 | 11.5243 | 87.0465 | 0.14118
1201 | 11.5343 | 99.0541 | 0.16066
1202 | 11.5443 | 94.0292 | 0.15251
1203 | 11.5543 | 73.008 | 0.11841
1204 | 11.5643 | 95.0125 | 0.1541
1205 | 11.5743 | 90.0456 | 0.14604
1206 | 11.5843 | 80.0323 | 0.1298
1207 | 11.5943 | 89.0465 | 0.14442
1208 | 11.6043 | 77.0514 | 0.12497
1209 | 11.6143 | 79.032 | 0.12818
1210 | 11.6243 | 82.0436 | 0.13307
1211 | 11.6343 | 72.0166 | 0.1168
1212 | 11.6443 | 72.0152 | 0.1168
1213 | 11.6543 | 90.0403 | 0.14604
1214 | 11.6642 | 81.0217 | 0.13141
1215 | 11.6742 | 83.0211 | 0.13465
1216 | 11.6842 | 77.0331 | 0.12494
1217 | 11.6942 | 94.051 | 0.15254
1218 | 11.7042 | 77.0398 | 0.12495
1219 | 11.7142 | 91.0592 | 0.14769
1220 | 11.7242 | 85.0554 | 0.13795
1221 | 11.7342 | 78.0317 | 0.12656
1222 | 11.7442 | 93.0435 | 0.15091
1223 | 11.7542 | 85.0173 | 0.13789
1224 | 11.7642 | 80.0136 | 0.12977
1225 | 11.7742 | 78.031 | 0.12656
1226 | 11.7842 | 84.0477 | 0.13632
1227 | 11.7942 | 92.0537 | 0.1493
1228 | 11.8042 | 78.0476 | 0.12659
1229 | 11.8142 | 89.0548 | 0.14444
1230 | 11.8242 | 90.0562 | 0.14606
1231 | 11.8342 | 74.0267 | 0.12006
1232 | 11.8442 | 75.0166 | 0.12167
1233 | 11.8542 | 73.021 | 0.11843
1234 | 11.8642 | 65.0034 | 0.10543
1235 | 11.8742 | 85.0371 | 0.13792
1236 | 11.8842 | 79.0443 | 0.1282
1237 | 11.8942 | 85.038 | 0.13792
1238 | 11.9042 | 70.035 | 0.11359
1239 | 11.9142 | 86.0409 | 0.13955
1240 | 11.9242 | 96.041 | 0.15577
1241 | 11.9342 | 76.0273 | 0.12331
1242 | 11.9442 | 67.0176 | 0.1087
1243 | 11.9542 | 90.0477 | 0.14605
1244 | 11.9642 | 60.0217 | 0.097349
1245 | 11.9742 | 74.0369 | 0.12008
1246 | 11.9842 | 85.0633 | 0.13796
1247 | 11.9942 | 70.0336 | 0.11359
1248 | 12.0041 | 62.0278 | 0.1006
1249 | 12.0141 | 98.0526 | 0.15903
1250 | 12.0241 | 75.0274 | 0.12169
1251 | 12.0341 | 73.0331 | 0.11845
1252 | 12.0441 | 75.0247 | 0.12168
1253 | 12.0541 | 64.0215 | 0.10384
1254 | 12.0641 | 73.0248 | 0.11844
1255 | 12.0741 | 91.0389 | 0.14766
1256 | 12.0841 | 72.0292 | 0.11682
1257 | 12.0941 | 68.0217 | 0.11032
1258 | 12.1041 | 74.0406 | 0.12009
1259 | 12.1141 | 76.0245 | 0.1233
1260 | 12.1241 | 51.0028 | 0.082721
1261 | 12.1341 | 64.0322 | 0.10385
1262 | 12.1441 | 79.0604 | 0.12823
1263 | 12.1541 | 85.0571 | 0.13795
1264 | 12.1641 | 73.019 | 0.11843
1265 | 12.1741 | 92.0505 | 0.1493
1266 | 12.1841 | 75.0304 | 0.12169
1267 | 12.1941 | 79.0225 | 0.12817
1268 | 12.2041 | 82.0343 | 0.13305
1269 | 12.2141 | 86.036 | 0.13954
1270 | 12.2241 | 78.0158 | 0.12653
1271 | 12.2341 | 68.0308 | 0.11034
1272 | 12.2441 | 69.0325 | 0.11196
1273 | 12.2541 | 68.0304 | 0.11034
1274 | 12.2641 | 75.0396 | 0.12171
1275 | 12.2741 | 76.0491 | 0.12334
1276 | 12.2841 | 68.0414 | 0.11036
1277 | 12.2941 | 78.0301 | 0.12656
1278 | 12.3041 | 86.0486 | 0.13956
1279 | 12.3141 | 73.0293 | 0.11845
1280 | 12.3241 | 62.0208 | 0.10059
1281 | 12.334 | 77.0302 | 0.12493
1282 | 12.344 | 63.0056 | 0.10219
1283 | 12.354 | 74.027 | 0.12006
1284 | 12.364 | 83.0433 | 0.13469
1285 | 12.374 | 66.0352 | 0.1071
1286 | 12.384 | 50.0198 | 0.081127
1287 | 12.394 | 68.0394 | 0.11035
1288 | 12.404 | 70.0367 | 0.11359
1289 | 12.414 | 54.0041 | 0.087589
1290 | 12.424 | 75.0329 | 0.1217
1291 | 12.434 | 55.0035 | 0.08921
1292 | 12.444 | 76.0247 | 0.1233
1293 | 12.454 | 72.0345 | 0.11683
1294 | 12.464 | 64.0265 | 0.10384
1295 | 12.474 | 72.033 | 0.11683
1296 | 12.484 | 67.0356 | 0.10872
1297 | 12.494 | 63.0172 | 0.10221
1298 | 12.504 | 68.036 | 0.11035
1299 | 12.514 | 66.0332 | 0.1071
1300 | 12.524 | 74.0294 | 0.12007
1301 | 12.534 | 64.0288 | 0.10385
1302 | 12.544 | 66.0235 | 0.10708
1303 | 12.554 | 55.0194 | 0.089236
1304 | 12.564 | 60.0318 | 0.097365
1305 | 12.574 | 82.0531 | 0.13308
1306 | 12.584 | 75.0354 | 0.1217
1307 | 12.594 | 58.0144 | 0.094093
1308 | 12.604 | 82.0531 | 0.13308
1309 | 12.614 | 89.0538 | 0.14444
1310 | 12.624 | 70.043 | 0.1136
1311 | 12.634 | 68.0467 | 0.11036
1312 | 12.644 | 77.0438 | 0.12496
1313 | 12.654 | 58.0229 | 0.094107
1314 | 12.6639 | 54.0109 | 0.0876
1315 | 12.6739 | 60.0063 | 0.097324
1316 | 12.6839 | 63.0152 | 0.1022
1317 | 12.6939 | 77.0442 | 0.12496
1318 | 12.7039 | 65.0311 | 0.10547
1319 | 12.7139 | 83.0397 | 0.13468
1320 | 12.7239 | 61.0284 | 0.098982
1321 | 12.7339 | 72.0348 | 0.11683
1322 | 12.7439 | 58.029 | 0.094117
1323 | 12.7539 | 50.0256 | 0.081136
1324 | 12.7639 | 45.0102 | 0.073002
1325 | 12.7739 | 87.0596 | 0.1412
1326 | 12.7839 | 72.0295 | 0.11682
1327 | 12.7939 | 63.0187 | 0.10221
1328 | 12.8039 | 72.0408 | 0.11684
1329 | 12.8139 | 60.0199 | 0.097346
1330 | 12.8239 | 48.025 | 0.077891
1331 | 12.8339 | 53.0274 | 0.086005
1332 | 12.8439 | 57.0165 | 0.092475
1333 | 12.8539 | 56.0197 | 0.090858
1334 | 12.8639 | 62.0194 | 0.10059
1335 | 12.8739 | 59.0118 | 0.095711
1336 | 12.8839 | 51.0154 | 0.082742
1337 | 12.8939 | 61.0327 | 0.098989
1338 | 12.9039 | 61.0332 | 0.098989
1339 | 12.9139 | 62.0342 | 0.10061
1340 | 12.9239 | 64.0242 | 0.10384
1341 | 12.9339 | 59.0262 | 0.095734
1342 | 12.9439 | 58.0255 | 0.094111
1343 | 12.9539 | 54.0172 | 0.08761
1344 | 12.9639 | 52.0191 | 0.084369
1345 | 12.9739 | 57.0237 | 0.092486
1346 | 12.9839 | 52.0186 | 0.084369
1347 | 12.9939 | 60.0341 | 0.097369
1348 | 13.0038 | 61.0326 | 0.098988
1349 | 13.0138 | 52.0228 | 0.084375
1350 | 13.0238 | 60.0482 | 0.097392
1351 | 13.0338 | 53.0282 | 0.086006
1352 | 13.0438 | 62.0314 | 0.10061
1353 | 13.0538 | 59.0231 | 0.095729
1354 | 13.0638 | 77.0235 | 0.12492
1355 | 13.0738 | 43.0097 | 0.069757
1356 | 13.0838 | 58.022 | 0.094106
1357 | 13.0938 | 60.032 | 0.097366
1358 | 13.1038 | 50.0361 | 0.081153
1359 | 13.1138 | 51.0228 | 0.082754
1360 | 13.1238 | 51.0096 | 0.082732
1361 | 13.1338 | 56.0147 | 0.09085
1362 | 13.1438 | 48.0169 | 0.077878
1363 | 13.1538 | 46.0226 | 0.074644
1364 | 13.1638 | 50.0262 | 0.081137
1365 | 13.1738 | 58.0376 | 0.094131
1366 | 13.1838 | 47.0142 | 0.076252
1367 | 13.1938 | 57.0175 | 0.092476
1368 | 13.2038 | 45.0149 | 0.073009
1369 | 13.2138 | 67.0399 | 0.10873
1370 | 13.2238 | 57.0404 | 0.092514
1371 | 13.2338 | 55.0399 | 0.089269
1372 | 13.2438 | 43.0107 | 0.069759
1373 | 13.2538 | 42.0175 | 0.068148
1374 | 13.2638 | 55.0224 | 0.089241
1375 | 13.2738 | 50.0074 | 0.081107
1376 | 13.2838 | 46.0042 | 0.074614
1377 | 13.2938 | 62.0244 | 0.1006
1378 | 13.3038 | 60.023 | 0.097351
1379 | 13.3138 | 71.0451 | 0.11523
1380 | 13.3238 | 39.0299 | 0.063302
1381 | 13.3337 | 55.0286 | 0.089251
1382 | 13.3437 | 49.0285 | 0.079519
1383 | 13.3537 | 39.0112 | 0.063272
1384 | 13.3637 | 52.0312 | 0.084389
1385 | 13.3737 | 43.0219 | 0.069777
1386 | 13.3837 | 60.0184 | 0.097344
1387 | 13.3937 | 50.0173 | 0.081123
1388 | 13.4037 | 49.0171 | 0.079501
1389 | 13.4137 | 56.0248 | 0.090866
1390 | 13.4237 | 58.0332 | 0.094124
1391 | 13.4337 | 41.0115 | 0.066516
1392 | 13.4437 | 47.0137 | 0.076251
1393 | 13.4537 | 43.0131 | 0.069763
1394 | 13.4637 | 43.0169 | 0.069769
1395 | 13.4737 | 38.0127 | 0.061653
1396 | 13.4837 | 50.0174 | 0.081123
1397 | 13.4937 | 45.0199 | 0.073017
1398 | 13.5037 | 62.0205 | 0.10059
1399 | 13.5137 | 54.0245 | 0.087622
1400 | 13.5237 | 43.0213 | 0.069776
1401 | 13.5337 | 38.0176 | 0.061661
1402 | 13.5437 | 47.0236 | 0.076267
1403 | 13.5537 | 39.0259 | 0.063296
1404 | 13.5637 | 40.0187 | 0.064906
1405 | 13.5737 | 39.007 | 0.063265
1406 | 13.5837 | 50.0202 | 0.081127
1407 | 13.5937 | 52.0308 | 0.084388
1408 | 13.6037 | 48.0179 | 0.07788
1409 | 13.6137 | 56.0201 | 0.090859
1410 | 13.6237 | 45.0238 | 0.073024
1411 | 13.6337 | 41.0216 | 0.066533
1412 | 13.6437 | 51.016 | 0.082743
1413 | 13.6537 | 39.0228 | 0.063291
1414 | 13.6636 | 47.0207 | 0.076263
1415 | 13.6736 | 50.0187 | 0.081125
1416 | 13.6836 | 46.0265 | 0.07465
1417 | 13.6936 | 43.0176 | 0.06977
1418 | 13.7036 | 41.0142 | 0.066521
1419 | 13.7136 | 41.0136 | 0.06652
1420 | 13.7236 | 40.0101 | 0.064892
1421 | 13.7336 | 27.0013 | 0.043793
1422 | 13.7436 | 42.0237 | 0.068158
1423 | 13.7536 | 37.0171 | 0.060038
1424 | 13.7636 | 45.0187 | 0.073016
1425 | 13.7736 | 43.0211 | 0.069776
1426 | 13.7836 | 41.0027 | 0.066502
1427 | 13.7936 | 49.0235 | 0.079511
1428 | 13.8036 | 42.0137 | 0.068142
1429 | 13.8136 | 46.0143 | 0.07463
1430 | 13.8236 | 50.0326 | 0.081148
1431 | 13.8336 | 44.0243 | 0.071403
1432 | 13.8436 | 44.0222 | 0.071399
1433 | 13.8536 | 30.0142 | 0.04868
1434 | 13.8636 | 53.0245 | 0.086
1435 | 13.8736 | 48.0189 | 0.077882
1436 | 13.8836 | 31.9996 | 0.0519
1437 | 13.8936 | 22.9975 | 0.037299
1438 | 13.9036 | 40.0043 | 0.064883
1439 | 13.9136 | 56.0385 | 0.090889
1440 | 13.9236 | 35.0254 | 0.056808
1441 | 13.9336 | 45.0278 | 0.07303
1442 | 13.9436 | 50.0372 | 0.081155
1443 | 13.9536 | 45.0182 | 0.073015
1444 | 13.9636 | 46.0178 | 0.074636
1445 | 13.9736 | 57.0232 | 0.092486
1446 | 13.9836 | 32.0081 | 0.051914
1447 | 13.9936 | 38.0196 | 0.061664
1448 | 14.0035 | 42.0232 | 0.068157
1449 | 14.0135 | 39.023 | 0.063291
1450 | 14.0235 | 28.0122 | 0.045433
1451 | 14.0335 | 31.0053 | 0.050287
1452 | 14.0435 | 50.0291 | 0.081142
1453 | 14.0535 | 36.0161 | 0.058414
1454 | 14.0635 | 42.02 | 0.068152
1455 | 14.0735 | 37.0157 | 0.060036
1456 | 14.0835 | 46.0188 | 0.074638
1457 | 14.0935 | 51.0243 | 0.082756
1458 | 14.1035 | 40.0236 | 0.064914
1459 | 14.1135 | 37.0221 | 0.060046
1460 | 14.1235 | 36.0157 | 0.058414
1461 | 14.1335 | 37.0198 | 0.060042
1462 | 14.1435 | 34.0147 | 0.055168
1463 | 14.1535 | 37.0142 | 0.060033
1464 | 14.1635 | 48.0224 | 0.077887
1465 | 14.1735 | 36.0045 | 0.058396
1466 | 14.1835 | 49.0253 | 0.079514
1467 | 14.1935 | 43.0229 | 0.069779
1468 | 14.2035 | 39.0143 | 0.063277
1469 | 14.2135 | 36.0134 | 0.05841
1470 | 14.2235 | 40.0164 | 0.064902
1471 | 14.2335 | 34.0163 | 0.055171
1472 | 14.2435 | 45.0267 | 0.073029
1473 | 14.2535 | 30.0144 | 0.04868
1474 | 14.2635 | 35.0121 | 0.056786
1475 | 14.2735 | 40.0161 | 0.064902
1476 | 14.2835 | 33.01 | 0.053539
1477 | 14.2935 | 41.0238 | 0.066536
1478 | 14.3035 | 34.0195 | 0.055176
1479 | 14.3135 | 28.0114 | 0.045432
1480 | 14.3235 | 29.0068 | 0.047046
1481 | 14.3334 | 39.015 | 0.063278
1482 | 14.3434 | 38.0183 | 0.061662
1483 | 14.3534 | 24.0015 | 0.038928
1484 | 14.3634 | 34.0177 | 0.055173
1485 | 14.3734 | 29.0166 | 0.047062
1486 | 14.3834 | 29.0155 | 0.04706
1487 | 14.3934 | 34.0268 | 0.055188
1488 | 14.4034 | 33.0147 | 0.053546
1489 | 14.4134 | 40.0104 | 0.064893
1490 | 14.4234 | 48.0266 | 0.077894
1491 | 14.4334 | 40.0088 | 0.06489
1492 | 14.4434 | 29.0089 | 0.047049
1493 | 14.4534 | 35.0226 | 0.056803
1494 | 14.4634 | 42.0204 | 0.068153
1495 | 14.4734 | 32.0241 | 0.05194
1496 | 14.4834 | 33.0132 | 0.053544
1497 | 14.4934 | 30.0112 | 0.048675
1498 | 14.5034 | 30.0156 | 0.048682
1499 | 14.5134 | 35.0107 | 0.056784
1500 | 14.5234 | 26.0052 | 0.042178
1501 | 14.5334 | 39.0177 | 0.063283
1502 | 14.5434 | 37.024 | 0.060049
1503 | 14.5534 | 30.0165 | 0.048684
1504 | 14.5634 | 38.022 | 0.061668
1505 | 14.5734 | 25.0069 | 0.040559
1506 | 14.5834 | 33.009 | 0.053537
1507 | 14.5934 | 39.017 | 0.063281
1508 | 14.6034 | 33.0025 | 0.053527
1509 | 14.6134 | 37.0171 | 0.060038
1510 | 14.6234 | 41.0217 | 0.066533
1511 | 14.6334 | 35.0104 | 0.056783
1512 | 14.6434 | 27.0154 | 0.043816
1513 | 14.6534 | 30.0117 | 0.048676
1514 | 14.6633 | 31.0117 | 0.050298
1515 | 14.6733 | 39.0282 | 0.0633
1516 | 14.6833 | 28.0149 | 0.045437
1517 | 14.6933 | 31.0116 | 0.050298
1518 | 14.7033 | 33.0265 | 0.053565
1519 | 14.7133 | 32.0114 | 0.051919
1520 | 14.7233 | 31.0058 | 0.050288
1521 | 14.7333 | 28.0168 | 0.04544
1522 | 14.7433 | 25.0068 | 0.040558
1523 | 14.7533 | 29.0202 | 0.047068
1524 | 14.7633 | 30.0242 | 0.048696
1525 | 14.7733 | 16.0015 | 0.025953
1526 | 14.7833 | 28.019 | 0.045444
1527 | 14.7933 | 30.0161 | 0.048683
1528 | 14.8033 | 33.0127 | 0.053543
1529 | 14.8133 | 40.0107 | 0.064893
1530 | 14.8233 | 26.9983 | 0.043788
1531 | 14.8333 | 37.0154 | 0.060035
1532 | 14.8433 | 27.0073 | 0.043803
1533 | 14.8533 | 19.0053 | 0.030825
1534 | 14.8633 | 30.0236 | 0.048695
1535 | 14.8733 | 39.0232 | 0.063292
1536 | 14.8833 | 33.0169 | 0.05355
1537 | 14.8933 | 26.0096 | 0.042185
1538 | 14.9033 | 25.0119 | 0.040567
1539 | 14.9133 | 27.0034 | 0.043797
1540 | 14.9233 | 21.0024 | 0.034064
1541 | 14.9333 | 31.0214 | 0.050314
1542 | 14.9433 | 32.0197 | 0.051933
1543 | 14.9533 | 28.0155 | 0.045438
1544 | 14.9633 | 22.0073 | 0.035693
1545 | 14.9733 | 19.0048 | 0.030824
1546 | 14.9833 | 22.0051 | 0.03569
1547 | 14.9933 | 36.0244 | 0.058428
1548 | 15.0032 | 22.0111 | 0.0357
1549 | 15.0132 | 31.0133 | 0.0503
1550 | 15.0232 | 35.0166 | 0.056793
1551 | 15.0332 | 34.0073 | 0.055156
1552 | 15.0432 | 31.0114 | 0.050297
1553 | 15.0532 | 32.0155 | 0.051926
1554 | 15.0632 | 24.0129 | 0.038946
1555 | 15.0732 | 11.9989 | 0.019461
1556 | 15.0832 | 30.0125 | 0.048677
1557 | 15.0932 | 23.0086 | 0.037317
1558 | 15.1032 | 29.0183 | 0.047065
1559 | 15.1132 | 15.9993 | 0.025949
1560 | 15.1232 | 24.0056 | 0.038934
1561 | 15.1332 | 37.0259 | 0.060052
1562 | 15.1432 | 28.0151 | 0.045438
1563 | 15.1532 | 29.0114 | 0.047053
1564 | 15.1632 | 27.0119 | 0.04381
1565 | 15.1732 | 25.0094 | 0.040563
1566 | 15.1832 | 30.0158 | 0.048682
1567 | 15.1932 | 32.0167 | 0.051928
1568 | 15.2032 | 27.0141 | 0.043814
1569 | 15.2132 | 27.0138 | 0.043813
1570 | 15.2232 | 25.018 | 0.040577
1571 | 15.2332 | 31.0238 | 0.050317
1572 | 15.2432 | 22.0113 | 0.0357
1573 | 15.2532 | 38.0236 | 0.06167
1574 | 15.2632 | 20.008 | 0.032451
1575 | 15.2732 | 23.0053 | 0.037312
1576 | 15.2832 | 22.0084 | 0.035695
1577 | 15.2932 | 26.0093 | 0.042184
1578 | 15.3032 | 11.9999 | 0.019463
1579 | 15.3132 | 25.0137 | 0.04057
1580 | 15.3232 | 31.0179 | 0.050308
1581 | 15.3331 | 24.0174 | 0.038954
1582 | 15.3431 | 16.0062 | 0.02596
1583 | 15.3531 | 31.0139 | 0.050301
1584 | 15.3631 | 30.0174 | 0.048685
1585 | 15.3731 | 19.01 | 0.030832
1586 | 15.3831 | 20.0035 | 0.032444
1587 | 15.3931 | 33.0222 | 0.053559
1588 | 15.4031 | 15.0015 | 0.024331
1589 | 15.4131 | 27.0107 | 0.043808
1590 | 15.4231 | 27.0055 | 0.0438
1591 | 15.4331 | 20.0008 | 0.032439
1592 | 15.4431 | 24.0124 | 0.038946
1593 | 15.4531 | 24.011 | 0.038943
1594 | 15.4631 | 26.0136 | 0.042191
1595 | 15.4731 | 27.0162 | 0.043817
1596 | 15.4831 | 24.0109 | 0.038943
1597 | 15.4931 | 20.011 | 0.032456
1598 | 15.5031 | 21.0133 | 0.034081
1599 | 15.5131 | 27.018 | 0.04382
1600 | 15.5231 | 21.0108 | 0.034077
1601 | 15.5331 | 34.0182 | 0.055174
1602 | 15.5431 | 18.0051 | 0.029202
1603 | 15.5531 | 28.0127 | 0.045434
1604 | 15.5631 | 26.0171 | 0.042197
1605 | 15.5731 | 18.0126 | 0.029214
1606 | 15.5831 | 21.0132 | 0.034081
1607 | 15.5931 | 23.0135 | 0.037325
1608 | 15.6031 | 18.0057 | 0.029203
1609 | 15.6131 | 28.0173 | 0.045441
1610 | 15.6231 | 22.0097 | 0.035697
1611 | 15.6331 | 28.0208 | 0.045447
1612 | 15.6431 | 21.0167 | 0.034087
1613 | 15.6531 | 32.0272 | 0.051945
1614 | 15.663 | 13.0109 | 0.021102
1615 | 15.673 | 15.0032 | 0.024334
1616 | 15.683 | 20.007 | 0.032449
1617 | 15.693 | 14.0022 | 0.02271
1618 | 15.703 | 25.0118 | 0.040566
1619 | 15.713 | 21.0095 | 0.034075
1620 | 15.723 | 27.0178 | 0.04382
1621 | 15.733 | 18.0104 | 0.029211
1622 | 15.743 | 19.0134 | 0.030838
1623 | 15.753 | 18.0099 | 0.02921
1624 | 15.763 | 17.0117 | 0.027591
1625 | 15.773 | 17.0061 | 0.027582
1626 | 15.783 | 25.0096 | 0.040563
1627 | 15.793 | 17.0061 | 0.027582
1628 | 15.803 | 19.0125 | 0.030836
1629 | 15.813 | 18.0094 | 0.029209
1630 | 15.823 | 20.0074 | 0.03245
1631 | 15.833 | 24.0157 | 0.038951
1632 | 15.843 | 21.0098 | 0.034076
1633 | 15.853 | 14.0053 | 0.022715
1634 | 15.863 | 16.0119 | 0.02597
1635 | 15.873 | 22.015 | 0.035706
1636 | 15.883 | 18.0085 | 0.029208
1637 | 15.893 | 18.0083 | 0.029208
1638 | 15.903 | 20.0113 | 0.032456
1639 | 15.913 | 23.0131 | 0.037325
1640 | 15.923 | 28.0158 | 0.045439
1641 | 15.933 | 18.0083 | 0.029208
1642 | 15.943 | 18.0129 | 0.029215
1643 | 15.953 | 23.0151 | 0.037328
1644 | 15.963 | 21.009 | 0.034074
1645 | 15.973 | 22.0116 | 0.035701
1646 | 15.983 | 16.0067 | 0.025961
1647 | 15.993 | 18.009 | 0.029209
1648 | 16.0029 | 15.0107 | 0.024346
1649 | 16.0129 | 22.0156 | 0.035707
1650 | 16.0229 | 20.0087 | 0.032452
1651 | 16.0329 | 21.0126 | 0.03408
1652 | 16.0429 | 14.005 | 0.022715
1653 | 16.0529 | 15.0077 | 0.024341
1654 | 16.0629 | 18.0111 | 0.029212
1655 | 16.0729 | 21.0126 | 0.03408
1656 | 16.0829 | 19.0102 | 0.030833
1657 | 16.0929 | 15.0082 | 0.024342
1658 | 16.1029 | 20.0144 | 0.032461
1659 | 16.1129 | 15.0083 | 0.024342
1660 | 16.1229 | 15.0084 | 0.024342
1661 | 16.1329 | 14.0094 | 0.022722
1662 | 16.1429 | 9.9971 | 0.016214
1663 | 16.1529 | 19.0106 | 0.030833
1664 | 16.1629 | 24.0173 | 0.038954
1665 | 16.1729 | 15.0029 | 0.024333
1666 | 16.1829 | 25.0122 | 0.040567
1667 | 16.1929 | 16.0059 | 0.02596
1668 | 16.2029 | 13.0035 | 0.02109
1669 | 16.2129 | 20.0153 | 0.032463
1670 | 16.2229 | 9.0086 | 0.014611
1671 | 16.2329 | 22.0158 | 0.035707
1672 | 16.2429 | 15.0132 | 0.02435
1673 | 16.2529 | 13.0085 | 0.021098
1674 | 16.2629 | 21.013 | 0.034081
1675 | 16.2729 | 18.0135 | 0.029216
1676 | 16.2829 | 19.0088 | 0.03083
1677 | 16.2929 | 11.0021 | 0.017844
1678 | 16.3029 | 16.0102 | 0.025967
1679 | 16.3129 | 17.013 | 0.027593
1680 | 16.3229 | 18.0149 | 0.029218
1681 | 16.3328 | 21.0188 | 0.03409
1682 | 16.3428 | 18.0117 | 0.029213
1683 | 16.3528 | 26.0194 | 0.042201
1684 | 16.3628 | 15.0057 | 0.024338
1685 | 16.3728 | 18.009 | 0.029209
1686 | 16.3828 | 21.0155 | 0.034085
1687 | 16.3928 | 11.001 | 0.017843
1688 | 16.4028 | 19.0126 | 0.030836
1689 | 16.4128 | 15.0055 | 0.024337
1690 | 16.4228 | 11.0052 | 0.017849
1691 | 16.4328 | 14.009 | 0.022721
1692 | 16.4428 | 17.0155 | 0.027597
1693 | 16.4528 | 5.003 | 0.0081143
1694 | 16.4628 | 19.0127 | 0.030837
1695 | 16.4728 | 19.0104 | 0.030833
1696 | 16.4828 | 9.0012 | 0.014599
1697 | 16.4928 | 16.0081 | 0.025964
1698 | 16.5028 | 7.0018 | 0.011356
1699 | 16.5128 | 10.0088 | 0.016233
1700 | 16.5228 | 18.0156 | 0.029219
1701 | 16.5328 | 9.0012 | 0.014599
1702 | 16.5428 | 14.0055 | 0.022715
1703 | 16.5528 | 17.005 | 0.02758
1704 | 16.5628 | 24.0125 | 0.038946
1705 | 16.5728 | 21.0128 | 0.034081
1706 | 16.5828 | 16.0139 | 0.025973
1707 | 16.5928 | 18.0134 | 0.029216
1708 | 16.6028 | 14.0121 | 0.022726
1709 | 16.6128 | 7.9983 | 0.012972
1710 | 16.6228 | 18.0108 | 0.029212
1711 | 16.6328 | 14.01 | 0.022723
1712 | 16.6428 | 14.0069 | 0.022718
1713 | 16.6528 | 10.0063 | 0.016229
1714 | 16.6627 | 22.0194 | 0.035713
1715 | 16.6727 | 15.0101 | 0.024345
1716 | 16.6827 | 8.0015 | 0.012978
1717 | 16.6927 | 12.0061 | 0.019473
1718 | 16.7027 | 12.0051 | 0.019471
1719 | 16.7127 | 15.0083 | 0.024342
1720 | 16.7227 | 13.0129 | 0.021106
1721 | 16.7327 | 16.0147 | 0.025974
1722 | 16.7427 | 10.009 | 0.016234
1723 | 16.7527 | 12.0068 | 0.019474
1724 | 16.7627 | 16.0066 | 0.025961
1725 | 16.7727 | 15.0043 | 0.024335
1726 | 16.7827 | 23.0166 | 0.037331
1727 | 16.7927 | 14.0114 | 0.022725
1728 | 16.8027 | 14.011 | 0.022724
1729 | 16.8127 | 10.0055 | 0.016228
1730 | 16.8227 | 17.0142 | 0.027595
1731 | 16.8327 | 16.0109 | 0.025968
1732 | 16.8427 | 12.0048 | 0.019471
1733 | 16.8527 | 9.0058 | 0.014606
1734 | 16.8627 | 18.0108 | 0.029212
1735 | 16.8727 | 16.0076 | 0.025963
1736 | 16.8827 | 8.0072 | 0.012987
1737 | 16.8927 | 12.0089 | 0.019477
1738 | 16.9027 | 16.0103 | 0.025967
1739 | 16.9127 | 13.007 | 0.021096
1740 | 16.9227 | 13.0079 | 0.021098
1741 | 16.9327 | 10.0057 | 0.016228
1742 | 16.9427 | 13.0117 | 0.021104
1743 | 16.9527 | 11.0078 | 0.017853
1744 | 16.9627 | 12.0093 | 0.019478
1745 | 16.9727 | 6.0055 | 0.0097402
1746 | 16.9827 | 8.0015 | 0.012978
1747 | 16.9927 | 11.0031 | 0.017846
1748 | 17.0026 | 12.0049 | 0.019471
1749 | 17.0126 | 10.005 | 0.016227
1750 | 17.0226 | 15.0099 | 0.024345
1751 | 17.0326 | 10.0083 | 0.016232
1752 | 17.0426 | 14.0127 | 0.022727
1753 | 17.0526 | 11.0055 | 0.01785
1754 | 17.0626 | 11.0094 | 0.017856
1755 | 17.0726 | 11.0098 | 0.017857
1756 | 17.0826 | 6.0055 | 0.0097403
1757 | 17.0926 | 12.0095 | 0.019478
1758 | 17.1026 | 14.0122 | 0.022726
1759 | 17.1126 | 10.0065 | 0.01623
1760 | 17.1226 | 9.0054 | 0.014606
1761 | 17.1326 | 17.0148 | 0.027596
1762 | 17.1426 | 8.0034 | 0.012981
1763 | 17.1526 | 14.0083 | 0.02272
1764 | 17.1626 | 13.0073 | 0.021096
1765 | 17.1726 | 19.0165 | 0.030843
1766 | 17.1826 | 15.0118 | 0.024348
1767 | 17.1926 | 9.0075 | 0.014609
1768 | 17.2026 | 12.0119 | 0.019482
1769 | 17.2126 | 11.0067 | 0.017852
1770 | 17.2226 | 10.0067 | 0.01623
1771 | 17.2326 | 12.0114 | 0.019481
1772 | 17.2426 | 8.0037 | 0.012981
1773 | 17.2526 | 8.0052 | 0.012984
1774 | 17.2626 | 8.0042 | 0.012982
1775 | 17.2726 | 9.0021 | 0.0146
1776 | 17.2826 | 12.0066 | 0.019473
1777 | 17.2926 | 10.0067 | 0.01623
1778 | 17.3026 | 12.0112 | 0.019481
1779 | 17.3126 | 6.0072 | 0.0097431
1780 | 17.3226 | 6.0048 | 0.0097392
1781 | 17.3325 | 8.0056 | 0.012984
1782 | 17.3425 | 8.0065 | 0.012986
1783 | 17.3525 | 10.0037 | 0.016225
1784 | 17.3625 | 6.0018 | 0.0097342
1785 | 17.3725 | 10.0088 | 0.016233
1786 | 17.3825 | 5.0008 | 0.0081108
1787 | 17.3925 | 5.002 | 0.0081127
1788 | 17.4025 | 4.0026 | 0.0064917
1789 | 17.4125 | 4.003 | 0.0064924
1790 | 17.4225 | 12.01 | 0.019479
1791 | 17.4325 | 9.0077 | 0.01461
1792 | 17.4425 | 9.0064 | 0.014607
1793 | 17.4525 | 9.0036 | 0.014603
1794 | 17.4625 | 9.0059 | 0.014607
1795 | 17.4725 | 7.0053 | 0.011362
1796 | 17.4825 | 8.0054 | 0.012984
1797 | 17.4925 | 6.0045 | 0.0097386
1798 | 17.5025 | 8.0067 | 0.012986
1799 | 17.5125 | 4.0039 | 0.0064939
1800 | 17.5225 | 11.0073 | 0.017853
1801 | 17.5325 | 12.0096 | 0.019478
1802 | 17.5425 | 8.0064 | 0.012986
1803 | 17.5525 | 5.0033 | 0.0081148
1804 | 17.5625 | 8.006 | 0.012985
1805 | 17.5725 | 11.0079 | 0.017854
1806 | 17.5825 | 6.002 | 0.0097347
1807 | 17.5925 | 10.0075 | 0.016231
1808 | 17.6025 | 7.0069 | 0.011364
1809 | 17.6125 | 4.0035 | 0.0064933
1810 | 17.6225 | 7.0062 | 0.011363
1811 | 17.6325 | 9.0067 | 0.014608
1812 | 17.6425 | 8.0047 | 0.012983
1813 | 17.6525 | 6.0015 | 0.0097339
1814 | 17.6624 | 8.0045 | 0.012983
1815 | 17.6724 | 10.0048 | 0.016227
1816 | 17.6824 | 8.0064 | 0.012986
1817 | 17.6924 | 4.0035 | 0.0064932
1818 | 17.7024 | 7.0073 | 0.011365
1819 | 17.7124 | 10.0058 | 0.016228
1820 | 17.7224 | 8.0055 | 0.012984
1821 | 17.7324 | 8.007 | 0.012987
1822 | 17.7424 | 7.0042 | 0.01136
1823 | 17.7524 | 4.0001 | 0.0064877
1824 | 17.7624 | 6.005 | 0.0097395
1825 | 17.7724 | 10.0083 | 0.016232
1826 | 17.7824 | 6.0054 | 0.0097402
1827 | 17.7924 | 8.0067 | 0.012986
1828 | 17.8024 | 5.0047 | 0.0081171
1829 | 17.8124 | 6.0045 | 0.0097386
1830 | 17.8224 | 7.005 | 0.011361
1831 | 17.8324 | 7.0051 | 0.011361
1832 | 17.8424 | 6.0054 | 0.0097401
1833 | 17.8524 | 5.0037 | 0.0081155
1834 | 17.8624 | 6.0054 | 0.0097401
1835 | 17.8724 | 6.0048 | 0.0097392
1836 | 17.8824 | 5.0038 | 0.0081156
1837 | 17.8924 | 13.0095 | 0.0211
1838 | 17.9024 | 5.0039 | 0.0081159
1839 | 17.9124 | 5.0034 | 0.0081151
1840 | 17.9224 | 10.0076 | 0.016231
1841 | 17.9324 | 9.0048 | 0.014605
1842 | 17.9424 | 8.0063 | 0.012985
1843 | 17.9524 | 7.0063 | 0.011364
1844 | 17.9624 | 3.0029 | 0.0048704
1845 | 17.9724 | 2.0022 | 0.0032474
1846 | 17.9824 | 6.0059 | 0.009741
1847 | 17.9924 | 2.002 | 0.003247
1848 | 18.0023 | 5.0044 | 0.0081166
1849 | 18.0123 | 5.0044 | 0.0081165
1850 | 18.0223 | 2.0017 | 0.0032465
1851 | 18.0323 | 8.0059 | 0.012985
1852 | 18.0423 | 6.0051 | 0.0097396
1853 | 18.0523 | 4.0037 | 0.0064935
1854 | 18.0623 | 3.0027 | 0.00487
1855 | 18.0723 | 3.0029 | 0.0048704
1856 | 18.0823 | 2.0021 | 0.0032471
1857 | 18.0923 | 6.0043 | 0.0097383
1858 | 18.1023 | 4.0032 | 0.0064927
1859 | 18.1123 | 8.0071 | 0.012987
1860 | 18.1223 | 6.0042 | 0.0097382
1861 | 18.1323 | 3.0024 | 0.0048695
1862 | 18.1423 | 9.0081 | 0.01461
1863 | 18.1523 | 3.0027 | 0.00487
1864 | 18.1623 | 9.008 | 0.01461
1865 | 18.1723 | 4.0037 | 0.0064936
1866 | 18.1823 | 5.0046 | 0.0081169
1867 | 18.1923 | 1.0012 | 0.0016238
1868 | 18.2023 | 4.0036 | 0.0064934
1869 | 18.2123 | 5.0044 | 0.0081166
1870 | 18.2223 | 6.0053 | 0.00974
1871 | 18.2323 | 6.0042 | 0.0097382
1872 | 18.2423 | 6.0039 | 0.0097377
1873 | 18.2523 | 5.0041 | 0.0081161
1874 | 18.2623 | 2.0018 | 0.0032467
1875 | 18.2723 | 3.0026 | 0.00487
1876 | 18.2823 | 8.0071 | 0.012987
1877 | 18.2923 | 6.0053 | 0.00974
1878 | 18.3023 | 9.0079 | 0.01461
1879 | 18.3123 | 7.0062 | 0.011363
1880 | 18.3223 | 6.0053 | 0.00974
1881 | 18.3322 | 1.0009 | 0.0016233
1882 | 18.3422 | 5.0044 | 0.0081166
1883 | 18.3522 | 2.0018 | 0.0032467
1884 | 18.3622 | 10.0088 | 0.016233
1885 | 18.3722 | 3.0026 | 0.00487
1886 | 18.3822 | 3.0026 | 0.00487
1887 | 18.3922 | 6.0053 | 0.00974
1888 | 18.4022 | 3.0026 | 0.00487
1889 | 18.4122 | 2.0018 | 0.0032466
1890 | 18.4222 | 4.0035 | 0.0064933
1891 | 18.4322 | 5.0044 | 0.0081166
1892 | 18.4422 | 4.0035 | 0.0064933
1893 | 18.4522 | 5.0044 | 0.0081166
1894 | 18.4622 | 5.0044 | 0.0081166
1895 | 18.4722 | 0 | 0
1896 | 18.4822 | 2.0018 | 0.0032466
1897 | 18.4922 | 1.0009 | 0.0016233
1898 | 18.5022 | 5.0044 | 0.0081166
1899 | 18.5122 | 7.0062 | 0.011363
1900 | 18.5222 | 7.0062 | 0.011363
1901 | 18.5322 | 2.0018 | 0.0032466
1902 | 18.5422 | 2.0018 | 0.0032466
1903 | 18.5522 | 3.0026 | 0.00487
1904 | 18.5622 | 5.0044 | 0.0081166
1905 | 18.5722 | 2.0018 | 0.0032466
1906 | 18.5822 | 4.0035 | 0.0064933
1907 | 18.5922 | 5.0044 | 0.0081166
1908 | 18.6022 | 2.0018 | 0.0032466
1909 | 18.6122 | 6.0053 | 0.0097399
1910 | 18.6222 | 6.0053 | 0.0097399
1911 | 18.6322 | 0 | 0
1912 | 18.6422 | 3.0026 | 0.00487
1913 | 18.6522 | 4.0035 | 0.0064933
1914 | 18.6621 | 5.0044 | 0.0081166
1915 | 18.6721 | 3.0026 | 0.00487
1916 | 18.6821 | 3.0026 | 0.00487
1917 | 18.6921 | 1.0009 | 0.0016233
1918 | 18.7021 | 4.0035 | 0.0064933
1919 | 18.7121 | 2.0018 | 0.0032466
1920 | 18.7221 | 1.0009 | 0.0016233
1921 | 18.7321 | 6.0053 | 0.0097399
1922 | 18.7421 | 5.0044 | 0.0081166
1923 | 18.7521 | 5.0044 | 0.0081166
1924 | 18.7621 | 3.0026 | 0.00487
1925 | 18.7721 | 3.0026 | 0.00487
1926 | 18.7821 | 1.0009 | 0.0016233
1927 | 18.7921 | 1.0009 | 0.0016233
1928 | 18.8021 | 5.0044 | 0.0081166
1929 | 18.8121 | 0 | 0
1930 | 18.8221 | 1.0009 | 0.0016233
1931 | 18.8321 | 0 | 0
1932 | 18.8421 | 2.0018 | 0.0032466
1933 | 18.8521 | 1.0009 | 0.0016233
1934 | 18.8621 | 3.0026 | 0.00487
1935 | 18.8721 | 2.0018 | 0.0032466
1936 | 18.8821 | 0 | 0
1937 | 18.8921 | 4.0035 | 0.0064933
1938 | 18.9021 | 3.0026 | 0.00487
1939 | 18.9121 | 4.0035 | 0.0064933
1940 | 18.9221 | 0 | 0
1941 | 18.9321 | 2.0018 | 0.0032466
1942 | 18.9421 | 1.0009 | 0.0016233
1943 | 18.9521 | 0 | 0
1944 | 18.9621 | 4.0035 | 0.0064933
1945 | 18.9721 | 2.0018 | 0.0032466
1946 | 18.9821 | 0 | 0
1947 | 18.9921 | 4.0035 | 0.0064933
1948 | 19.002 | 1.0009 | 0.0016233
1949 | 19.012 | 3.0026 | 0.00487
1950 | 19.022 | 5.0044 | 0.0081166
1951 | 19.032 | 3.0026 | 0.00487
1952 | 19.042 | 2.0018 | 0.0032466
1953 | 19.052 | 0 | 0
1954 | 19.062 | 0 | 0
1955 | 19.072 | 2.0018 | 0.0032466
1956 | 19.082 | 2.0018 | 0.0032466
1957 | 19.092 | 1.0009 | 0.0016233
1958 | 19.102 | 5.0044 | 0.0081166
1959 | 19.112 | 2.0018 | 0.0032466
1960 | 19.122 | 0 | 0
1961 | 19.132 | 4.0035 | 0.0064933
1962 | 19.142 | 2.0018 | 0.0032466
1963 | 19.152 | 2.0018 | 0.0032466
1964 | 19.162 | 1.0009 | 0.0016233
1965 | 19.172 | 1.0009 | 0.0016233
1966 | 19.182 | 1.0009 | 0.0016233
1967 | 19.192 | 2.0018 | 0.0032466
1968 | 19.202 | 4.0035 | 0.0064933
1969 | 19.212 | 1.0009 | 0.0016233
1970 | 19.222 | 1.0009 | 0.0016233
1971 | 19.232 | 2.0018 | 0.0032466
1972 | 19.242 | 1.0009 | 0.0016233
1973 | 19.252 | 1.0009 | 0.0016233
1974 | 19.262 | 0 | 0
1975 | 19.272 | 3.0026 | 0.00487
1976 | 19.282 | 1.0009 | 0.0016233
1977 | 19.292 | 1.0009 | 0.0016233
1978 | 19.302 | 1.0009 | 0.0016233
1979 | 19.312 | 1.0009 | 0.0016233
1980 | 19.322 | 2.0018 | 0.0032466
1981 | 19.3319 | 3.0026 | 0.00487
1982 | 19.3419 | 1.0009 | 0.0016233
1983 | 19.3519 | 0 | 0
1984 | 19.3619 | 1.0009 | 0.0016233
1985 | 19.3719 | 1.0009 | 0.0016233
1986 | 19.3819 | 2.0018 | 0.0032466
1987 | 19.3919 | 2.0018 | 0.0032466
1988 | 19.4019 | 3.0026 | 0.00487
1989 | 19.4119 | 2.0018 | 0.0032466
1990 | 19.4219 | 4.0035 | 0.0064933
1991 | 19.4319 | 0 | 0
1992 | 19.4419 | 1.0009 | 0.0016233
1993 | 19.4519 | 0 | 0
1994 | 19.4619 | 4.0035 | 0.0064933
1995 | 19.4719 | 1.0009 | 0.0016233
1996 | 19.4819 | 0 | 0
1997 | 19.4919 | 2.0018 | 0.0032466
1998 | 19.5019 | 3.0026 | 0.00487
1999 | 19.5119 | 0 | 0
2000 | 19.5219 | 1.0009 | 0.0016233
2001 | 19.5319 | 0 | 0
2002 | 19.5419 | 1.0009 | 0.0016233
2003 | 19.5519 | 0 | 0
2004 | 19.5619 | 1.0009 | 0.0016233
2005 | 19.5719 | 1.0009 | 0.0016233
2006 | 19.5819 | 1.0009 | 0.0016233
2007 | 19.5919 | 0 | 0
2008 | 19.6019 | 1.0009 | 0.0016233
2009 | 19.6119 | 0 | 0
2010 | 19.6219 | 1.0009 | 0.0016233
2011 | 19.6319 | 1.0009 | 0.0016233
2012 | 19.6419 | 2.0018 | 0.0032466
2013 | 19.6519 | 0 | 0
2014 | 19.6618 | 1.0009 | 0.0016233
2015 | 19.6718 | 1.0009 | 0.0016233
2016 | 19.6818 | 3.0026 | 0.00487
2017 | 19.6918 | 0 | 0
2018 | 19.7018 | 0 | 0
2019 | 19.7118 | 0 | 0
2020 | 19.7218 | 0 | 0
2021 | 19.7318 | 0 | 0
2022 | 19.7418 | 0 | 0
2023 | 19.7518 | 0 | 0
2024 | 19.7618 | 0 | 0
2025 | 19.7718 | 0 | 0
2026 | 19.7818 | 1.0009 | 0.0016233
2027 | 19.7918 | 0 | 0
2028 | 19.8018 | 0 | 0
2029 | 19.8118 | 0 | 0
2030 | 19.8218 | 0 | 0
2031 | 19.8318 | 0 | 0
2032 | 19.8418 | 1.0009 | 0.0016233
2033 | 19.8518 | 0 | 0
2034 | 19.8618 | 0 | 0
2035 | 19.8718 | 1.0009 | 0.0016233
2036 | 19.8818 | 0 | 0
2037 | 19.8918 | 0 | 0
2038 | 19.9018 | 0 | 0
2039 | 19.9118 | 0 | 0
2040 | 19.9218 | 0 | 0
2041 | 19.9318 | 0 | 0
2042 | 19.9418 | 0 | 0
2043 | 19.9518 | 0 | 0
2044 | 19.9618 | 0 | 0
2045 | 19.9718 | 0 | 0
2046 | 19.9818 | 1.0009 | 0.0016233
2047 | 19.9918 | 1 | 0.0016219