## Spectrum
Bruker Nano Berlin, Germany |  |  | 1/17/2020
Esprit
Spectrum: | GrapheneCement001.xlsx
Date: | 1/17/2020
Primary energy: |  | 30 | keV
Tilt angle: |  | 0 | °
Take off angle: |  | 35 | °
Azimut angle: |  | 45 | °
Real time: |  | 377487 | ms
Life time: |  | 306996 | ms
Detector type: |  | XFlash 6¦60
Si dead layer: |  | 0.029 | µm
Detector thickness: |  | 0.45 | mm
Window type: |  | slew AP3.3
Fano factor: |  | 0.10774
Mn FWHM: |  | 123.8341 | eV
Calibration, lin.: |  | 9.997 | eV
Calibration, abs.: |  | -472.1083 | eV
Channels: |  | 2047
Channel | Energy | Counts | CPS
0 | -0.47211 | 0 | 0
1 | -0.46211 | 0 | 0
2 | -0.45211 | 0 | 0
3 | -0.44212 | 0 | 0
4 | -0.43212 | 0 | 0
5 | -0.42212 | 0 | 0
6 | -0.41213 | 0 | 0
7 | -0.40213 | 0 | 0
8 | -0.39213 | 0 | 0
9 | -0.38214 | 0 | 0
10 | -0.37214 | 0 | 0
11 | -0.36214 | 0 | 0
12 | -0.35214 | 0 | 0
13 | -0.34215 | 0 | 0
14 | -0.33215 | 0 | 0
15 | -0.32215 | 0 | 0
16 | -0.31216 | 0 | 0
17 | -0.30216 | 0 | 0
18 | -0.29216 | 0 | 0
19 | -0.28217 | 0 | 0
20 | -0.27217 | 0 | 0
21 | -0.26217 | 0 | 0
22 | -0.25217 | 0 | 0
23 | -0.24218 | 0 | 0
24 | -0.23218 | 0 | 0
25 | -0.22218 | 0 | 0
26 | -0.21219 | 0 | 0
27 | -0.20219 | 0 | 0
28 | -0.19219 | 0 | 0
29 | -0.1822 | 4 | 0.010596
30 | -0.1722 | 4 | 0.010596
31 | -0.1622 | 6 | 0.015895
32 | -0.1522 | 8 | 0.021193
33 | -0.14221 | 12 | 0.031789
34 | -0.13221 | 22 | 0.05828
35 | -0.12221 | 20 | 0.052982
36 | -0.11222 | 29 | 0.076824
37 | -0.10222 | 18 | 0.047684
38 | -0.092222 | 36 | 0.095368
39 | -0.082225 | 40 | 0.10596
40 | -0.072228 | 36 | 0.095368
41 | -0.062231 | 177 | 0.46889
42 | -0.052234 | 1167 | 3.0915
43 | -0.042237 | 7303 | 19.3464
44 | -0.03224 | 31071 | 82.3101
45 | -0.022243 | 89335 | 236.6572
46 | -0.012246 | 177061 | 469.0519
47 | -0.0022493 | 244304 | 647.1852
48 | 0.0077477 | 240490 | 637.0815
49 | 0.017745 | 169675 | 449.4857
50 | 0.027742 | 87386 | 231.4941
51 | 0.037739 | 33544 | 88.8613
52 | 0.047736 | 9961 | 26.3877
53 | 0.057733 | 2375 | 6.2916
54 | 0.06773 | 560 | 1.4835
55 | 0.077727 | 143 | 0.37882
56 | 0.087724 | 61.5139 | 0.16296
57 | 0.097721 | 1688.369 | 4.4727
58 | 0.10772 | 2837.9769 | 7.5181
59 | 0.11771 | 1601.5482 | 4.2427
60 | 0.12771 | 723.0885 | 1.9155
61 | 0.13771 | 368.2459 | 0.97552
62 | 0.14771 | 322.5539 | 0.85448
63 | 0.1577 | 383.4073 | 1.0157
64 | 0.1677 | 368.6141 | 0.97649
65 | 0.1777 | 314.139 | 0.83219
66 | 0.18769 | 367.8938 | 0.97459
67 | 0.19769 | 476.4063 | 1.262
68 | 0.20769 | 584.611 | 1.5487
69 | 0.21768 | 902.5394 | 2.3909
70 | 0.22768 | 1612.385 | 4.2714
71 | 0.23768 | 3002.2219 | 7.9532
72 | 0.24768 | 5458.795 | 14.4609
73 | 0.25767 | 8866.8055 | 23.489
74 | 0.26767 | 12026.089 | 31.8583
75 | 0.27767 | 13481.2011 | 35.713
76 | 0.28766 | 12542.9746 | 33.2276
77 | 0.29766 | 9687.7296 | 25.6637
78 | 0.30766 | 6217.2429 | 16.4701
79 | 0.31765 | 3462.6583 | 9.1729
80 | 0.32765 | 1720.967 | 4.559
81 | 0.33765 | 886.4744 | 2.3484
82 | 0.34765 | 594.3576 | 1.5745
83 | 0.35764 | 472.3617 | 1.2513
84 | 0.36764 | 431.7326 | 1.1437
85 | 0.37764 | 425.883 | 1.1282
86 | 0.38763 | 396.659 | 1.0508
87 | 0.39763 | 408.0821 | 1.081
88 | 0.40763 | 386.8875 | 1.0249
89 | 0.41762 | 369.347 | 0.97844
90 | 0.42762 | 429.7561 | 1.1385
91 | 0.43762 | 471.9259 | 1.2502
92 | 0.44762 | 528.3104 | 1.3995
93 | 0.45761 | 777.0584 | 2.0585
94 | 0.46761 | 1241.9922 | 3.2902
95 | 0.47761 | 2416.758 | 6.4022
96 | 0.4876 | 4488.0455 | 11.8893
97 | 0.4976 | 7970.5745 | 21.1148
98 | 0.5076 | 12336.0323 | 32.6794
99 | 0.51759 | 15725.6389 | 41.6588
100 | 0.52759 | 17589.7012 | 46.5968
101 | 0.53759 | 16148.6195 | 42.7793
102 | 0.54759 | 12367.8012 | 32.7635
103 | 0.55758 | 8173.8655 | 21.6534
104 | 0.56758 | 4467.2582 | 11.8342
105 | 0.57758 | 2291.7701 | 6.0711
106 | 0.58757 | 1145.8869 | 3.0356
107 | 0.59757 | 606.4449 | 1.6065
108 | 0.60757 | 457.4506 | 1.2118
109 | 0.61756 | 429.0669 | 1.1366
110 | 0.62756 | 418.4831 | 1.1086
111 | 0.63756 | 361.0985 | 0.95659
112 | 0.64756 | 442.2646 | 1.1716
113 | 0.65755 | 525.5172 | 1.3921
114 | 0.66755 | 587.4522 | 1.5562
115 | 0.67755 | 554.1392 | 1.468
116 | 0.68754 | 587.1611 | 1.5554
117 | 0.69754 | 713.3702 | 1.8898
118 | 0.70754 | 751.0348 | 1.9896
119 | 0.71753 | 741.1001 | 1.9632
120 | 0.72753 | 782.1572 | 2.072
121 | 0.73753 | 690.6928 | 1.8297
122 | 0.74753 | 650.1863 | 1.7224
123 | 0.75752 | 634.2223 | 1.6801
124 | 0.76752 | 596.8157 | 1.581
125 | 0.77752 | 585.9232 | 1.5522
126 | 0.78751 | 597.1566 | 1.5819
127 | 0.79751 | 638.257 | 1.6908
128 | 0.80751 | 678.9363 | 1.7986
129 | 0.8175 | 617.862 | 1.6368
130 | 0.8275 | 644.9947 | 1.7087
131 | 0.8375 | 661.21 | 1.7516
132 | 0.8475 | 691.4863 | 1.8318
133 | 0.85749 | 692.9214 | 1.8356
134 | 0.86749 | 722.3548 | 1.9136
135 | 0.87749 | 724.1937 | 1.9185
136 | 0.88748 | 687.3563 | 1.8209
137 | 0.89748 | 780.3943 | 2.0673
138 | 0.90748 | 798.5742 | 2.1155
139 | 0.91747 | 813.8684 | 2.156
140 | 0.92747 | 823.6245 | 2.1819
141 | 0.93747 | 904.9766 | 2.3974
142 | 0.94747 | 885.4333 | 2.3456
143 | 0.95746 | 947.3711 | 2.5097
144 | 0.96746 | 905.6762 | 2.3992
145 | 0.97746 | 980.0733 | 2.5963
146 | 0.98745 | 961.0112 | 2.5458
147 | 0.99745 | 1095.3019 | 2.9016
148 | 1.0074 | 1061.6436 | 2.8124
149 | 1.0174 | 1104.2426 | 2.9252
150 | 1.0274 | 1190.2958 | 3.1532
151 | 1.0374 | 1118.3773 | 2.9627
152 | 1.0474 | 1204.0554 | 3.1897
153 | 1.0574 | 1213.8472 | 3.2156
154 | 1.0674 | 1229.3969 | 3.2568
155 | 1.0774 | 1271.0207 | 3.3671
156 | 1.0874 | 1243.6269 | 3.2945
157 | 1.0974 | 1220.3977 | 3.233
158 | 1.1074 | 1275.4292 | 3.3787
159 | 1.1174 | 1271.5378 | 3.3684
160 | 1.1274 | 1250.0213 | 3.3114
161 | 1.1374 | 1346.4573 | 3.5669
162 | 1.1474 | 1302.8123 | 3.4513
163 | 1.1574 | 1328.5153 | 3.5194
164 | 1.1674 | 1421.6644 | 3.7661
165 | 1.1774 | 1516.7415 | 4.018
166 | 1.1874 | 1550.0848 | 4.1063
167 | 1.1974 | 1786.5188 | 4.7327
168 | 1.2074 | 2100.7233 | 5.565
169 | 1.2174 | 2580.9574 | 6.8372
170 | 1.2274 | 3131.7368 | 8.2963
171 | 1.2374 | 3885.6962 | 10.2936
172 | 1.2474 | 4326.1865 | 11.4605
173 | 1.2574 | 4469.7308 | 11.8408
174 | 1.2674 | 4550.9986 | 12.056
175 | 1.2774 | 4157.1207 | 11.0126
176 | 1.2874 | 3617.6442 | 9.5835
177 | 1.2974 | 3143.8255 | 8.3283
178 | 1.3074 | 2583.2366 | 6.8432
179 | 1.3174 | 2240.1477 | 5.9344
180 | 1.3274 | 2034.0281 | 5.3883
181 | 1.3373 | 2033.2174 | 5.3862
182 | 1.3473 | 1865.0337 | 4.9407
183 | 1.3573 | 1813.1819 | 4.8033
184 | 1.3673 | 1833.3833 | 4.8568
185 | 1.3773 | 1877.1069 | 4.9726
186 | 1.3873 | 1950.7642 | 5.1678
187 | 1.3973 | 1939.9145 | 5.139
188 | 1.4073 | 2116.2663 | 5.6062
189 | 1.4173 | 2263.8098 | 5.9971
190 | 1.4273 | 2684.7321 | 7.1121
191 | 1.4373 | 3256.6031 | 8.6271
192 | 1.4473 | 4167.9469 | 11.0413
193 | 1.4573 | 5401.0534 | 14.3079
194 | 1.4673 | 6615.2996 | 17.5246
195 | 1.4773 | 7683.9939 | 20.3557
196 | 1.4873 | 8374.0152 | 22.1836
197 | 1.4973 | 8360.7019 | 22.1483
198 | 1.5073 | 7673.071 | 20.3267
199 | 1.5173 | 6728.9393 | 17.8256
200 | 1.5273 | 5531.6923 | 14.654
201 | 1.5373 | 4506.9554 | 11.9394
202 | 1.5473 | 3646.044 | 9.6587
203 | 1.5573 | 3129.6613 | 8.2908
204 | 1.5673 | 2792.1567 | 7.3967
205 | 1.5773 | 2619.5505 | 6.9394
206 | 1.5873 | 2471.9675 | 6.5485
207 | 1.5973 | 2423.1853 | 6.4193
208 | 1.6073 | 2390.66 | 6.3331
209 | 1.6173 | 2390.8006 | 6.3335
210 | 1.6273 | 2448.3521 | 6.4859
211 | 1.6373 | 2549.0599 | 6.7527
212 | 1.6473 | 2840.7312 | 7.5254
213 | 1.6573 | 3614.0467 | 9.574
214 | 1.6672 | 5320.7923 | 14.0953
215 | 1.6772 | 8353.1705 | 22.1284
216 | 1.6872 | 13068.7476 | 34.6204
217 | 1.6972 | 19837.2164 | 52.5507
218 | 1.7072 | 28543.51 | 75.6146
219 | 1.7172 | 38095.8451 | 100.9196
220 | 1.7272 | 46427.9409 | 122.9922
221 | 1.7372 | 51904.7259 | 137.5007
222 | 1.7472 | 53124.7099 | 140.7326
223 | 1.7572 | 49380.8236 | 130.8146
224 | 1.7672 | 42334.1286 | 112.1472
225 | 1.7772 | 33905.7041 | 89.8195
226 | 1.7872 | 24787.0813 | 65.6634
227 | 1.7972 | 17508.9763 | 46.383
228 | 1.8072 | 12356.7701 | 32.7343
229 | 1.8172 | 8780.8709 | 23.2614
230 | 1.8272 | 6648.5405 | 17.6126
231 | 1.8372 | 5611.5448 | 14.8655
232 | 1.8472 | 4781.2553 | 12.666
233 | 1.8572 | 4161.9209 | 11.0253
234 | 1.8672 | 3646.0049 | 9.6586
235 | 1.8772 | 3395.6027 | 8.9953
236 | 1.8872 | 2873.834 | 7.6131
237 | 1.8972 | 2473.7355 | 6.5532
238 | 1.9072 | 2399.5582 | 6.3567
239 | 1.9172 | 2290.7264 | 6.0684
240 | 1.9272 | 2138.7363 | 5.6657
241 | 1.9372 | 2196.5428 | 5.8189
242 | 1.9472 | 2328.3868 | 6.1681
243 | 1.9572 | 2369.0417 | 6.2758
244 | 1.9672 | 2395.4075 | 6.3457
245 | 1.9772 | 2479.1309 | 6.5675
246 | 1.9872 | 2534.5275 | 6.7142
247 | 1.9972 | 2502.259 | 6.6287
248 | 2.0071 | 2516.4434 | 6.6663
249 | 2.0171 | 2537.7127 | 6.7226
250 | 2.0271 | 2514.999 | 6.6625
251 | 2.0371 | 2462.0147 | 6.5221
252 | 2.0471 | 2376.2451 | 6.2949
253 | 2.0571 | 2328.3791 | 6.1681
254 | 2.0671 | 2257.1229 | 5.9793
255 | 2.0771 | 2282.0528 | 6.0454
256 | 2.0871 | 2276.6774 | 6.0311
257 | 2.0971 | 2261.299 | 5.9904
258 | 2.1071 | 2269.0316 | 6.0109
259 | 2.1171 | 2339.484 | 6.1975
260 | 2.1271 | 2331.9936 | 6.1777
261 | 2.1371 | 2308.2093 | 6.1147
262 | 2.1471 | 2391.8344 | 6.3362
263 | 2.1571 | 2372.1155 | 6.284
264 | 2.1671 | 2376.7958 | 6.2964
265 | 2.1771 | 2435.4986 | 6.4519
266 | 2.1871 | 2453.3096 | 6.4991
267 | 2.1971 | 2452.4425 | 6.4968
268 | 2.2071 | 2470.3603 | 6.5442
269 | 2.2171 | 2576.4142 | 6.8252
270 | 2.2271 | 2785.212 | 7.3783
271 | 2.2371 | 3081.2307 | 8.1625
272 | 2.2471 | 3553.2211 | 9.4128
273 | 2.2571 | 4251.4052 | 11.2624
274 | 2.2671 | 5099.7631 | 13.5098
275 | 2.2771 | 6013.4249 | 15.9302
276 | 2.2871 | 6921.0057 | 18.3344
277 | 2.2971 | 7693.8586 | 20.3818
278 | 2.3071 | 8147.1362 | 21.5826
279 | 2.3171 | 8193.0261 | 21.7041
280 | 2.3271 | 7853.7329 | 20.8053
281 | 2.337 | 7180.6171 | 19.0222
282 | 2.347 | 6284.2125 | 16.6475
283 | 2.357 | 5339.9864 | 14.1461
284 | 2.367 | 4499.7571 | 11.9203
285 | 2.377 | 3820.7847 | 10.1216
286 | 2.387 | 3298.9542 | 8.7393
287 | 2.397 | 2943.4224 | 7.7974
288 | 2.407 | 2768.1087 | 7.333
289 | 2.417 | 2720.8092 | 7.2077
290 | 2.427 | 2719.6776 | 7.2047
291 | 2.437 | 2731.5882 | 7.2362
292 | 2.447 | 2768.6067 | 7.3343
293 | 2.457 | 2788.2494 | 7.3863
294 | 2.467 | 2790.6609 | 7.3927
295 | 2.477 | 2768.438 | 7.3339
296 | 2.487 | 2750.7066 | 7.2869
297 | 2.497 | 2721.7147 | 7.2101
298 | 2.507 | 2717.9499 | 7.2001
299 | 2.517 | 2688.0445 | 7.1209
300 | 2.527 | 2599.0397 | 6.8851
301 | 2.537 | 2506.1086 | 6.6389
302 | 2.547 | 2468.7212 | 6.5399
303 | 2.557 | 2497.4064 | 6.6159
304 | 2.567 | 2492.8172 | 6.6037
305 | 2.577 | 2525.9638 | 6.6915
306 | 2.587 | 2531.2361 | 6.7055
307 | 2.597 | 2510.7382 | 6.6512
308 | 2.607 | 2571.1621 | 6.8113
309 | 2.617 | 2595.7073 | 6.8763
310 | 2.627 | 2610.5266 | 6.9155
311 | 2.637 | 2550.1577 | 6.7556
312 | 2.647 | 2518.3352 | 6.6713
313 | 2.657 | 2516.3581 | 6.6661
314 | 2.6669 | 2516.5551 | 6.6666
315 | 2.6769 | 2481.0428 | 6.5725
316 | 2.6869 | 2462.154 | 6.5225
317 | 2.6969 | 2525.9564 | 6.6915
318 | 2.7069 | 2535.7668 | 6.7175
319 | 2.7169 | 2512.2102 | 6.6551
320 | 2.7269 | 2548.2172 | 6.7505
321 | 2.7369 | 2526.8324 | 6.6938
322 | 2.7469 | 2489.1067 | 6.5939
323 | 2.7569 | 2497.8825 | 6.6171
324 | 2.7669 | 2502.877 | 6.6304
325 | 2.7769 | 2494.822 | 6.609
326 | 2.7869 | 2480.1053 | 6.57
327 | 2.7969 | 2481.8964 | 6.5748
328 | 2.8069 | 2500.0162 | 6.6228
329 | 2.8169 | 2502.1774 | 6.6285
330 | 2.8269 | 2491.923 | 6.6013
331 | 2.8369 | 2502.9584 | 6.6306
332 | 2.8469 | 2482.1107 | 6.5754
333 | 2.8569 | 2480.5501 | 6.5712
334 | 2.8669 | 2539.4929 | 6.7274
335 | 2.8769 | 2550.0228 | 6.7553
336 | 2.8869 | 2503.8025 | 6.6328
337 | 2.8969 | 2511.5479 | 6.6533
338 | 2.9069 | 2561.4952 | 6.7857
339 | 2.9169 | 2541.9902 | 6.734
340 | 2.9269 | 2500.2839 | 6.6235
341 | 2.9369 | 2479.8893 | 6.5695
342 | 2.9469 | 2480.1648 | 6.5702
343 | 2.9569 | 2511.7642 | 6.6539
344 | 2.9669 | 2559.0173 | 6.7791
345 | 2.9769 | 2509.9825 | 6.6492
346 | 2.9869 | 2518.9452 | 6.6729
347 | 2.9969 | 2577.2761 | 6.8275
348 | 3.0068 | 2561.7966 | 6.7864
349 | 3.0168 | 2482.7423 | 6.577
350 | 3.0268 | 2466.7133 | 6.5346
351 | 3.0368 | 2482.2381 | 6.5757
352 | 3.0468 | 2507.2409 | 6.6419
353 | 3.0568 | 2513.339 | 6.6581
354 | 3.0668 | 2547.3128 | 6.7481
355 | 3.0768 | 2587.8031 | 6.8553
356 | 3.0868 | 2611.3742 | 6.9178
357 | 3.0968 | 2611.9568 | 6.9193
358 | 3.1068 | 2568.9003 | 6.8053
359 | 3.1168 | 2530.1011 | 6.7025
360 | 3.1268 | 2638.7083 | 6.9902
361 | 3.1368 | 2562.7838 | 6.7891
362 | 3.1468 | 2529.1359 | 6.6999
363 | 3.1568 | 2595.7177 | 6.8763
364 | 3.1668 | 2585.2543 | 6.8486
365 | 3.1768 | 2579.3876 | 6.8331
366 | 3.1868 | 2620.5291 | 6.942
367 | 3.1968 | 2546.8232 | 6.7468
368 | 3.2068 | 2610.3597 | 6.9151
369 | 3.2168 | 2601.0138 | 6.8903
370 | 3.2268 | 2598.9408 | 6.8848
371 | 3.2368 | 2604.8268 | 6.9004
372 | 3.2468 | 2576.9237 | 6.8265
373 | 3.2568 | 2615.6173 | 6.929
374 | 3.2668 | 2706.8823 | 7.1708
375 | 3.2768 | 2685.6901 | 7.1147
376 | 3.2868 | 2671.8175 | 7.0779
377 | 3.2968 | 2705.1913 | 7.1663
378 | 3.3068 | 2719.289 | 7.2037
379 | 3.3168 | 2718.3542 | 7.2012
380 | 3.3268 | 2671.8628 | 7.078
381 | 3.3367 | 2651.5527 | 7.0242
382 | 3.3467 | 2645.1373 | 7.0072
383 | 3.3567 | 2641.8586 | 6.9985
384 | 3.3667 | 2604.9078 | 6.9007
385 | 3.3767 | 2523.3232 | 6.6845
386 | 3.3867 | 2490.3492 | 6.5972
387 | 3.3967 | 2486.9536 | 6.5882
388 | 3.4067 | 2490.6716 | 6.598
389 | 3.4167 | 2500.2069 | 6.6233
390 | 3.4267 | 2513.7407 | 6.6591
391 | 3.4367 | 2530.4878 | 6.7035
392 | 3.4467 | 2539.4804 | 6.7273
393 | 3.4567 | 2551.435 | 6.759
394 | 3.4667 | 2587.6927 | 6.8551
395 | 3.4767 | 2651.5966 | 7.0243
396 | 3.4867 | 2715.1372 | 7.1927
397 | 3.4967 | 2777.0149 | 7.3566
398 | 3.5067 | 2898.8405 | 7.6793
399 | 3.5167 | 3086.7941 | 8.1772
400 | 3.5267 | 3314.9917 | 8.7817
401 | 3.5367 | 3662.7318 | 9.7029
402 | 3.5467 | 4254.3687 | 11.2702
403 | 3.5567 | 5288.5514 | 14.0099
404 | 3.5667 | 7127.5401 | 18.8816
405 | 3.5767 | 10290.5742 | 27.2607
406 | 3.5867 | 15540.4911 | 41.1683
407 | 3.5967 | 23696.9416 | 62.7755
408 | 3.6067 | 34728.0388 | 91.998
409 | 3.6167 | 50362.1237 | 133.4142
410 | 3.6267 | 71916.1592 | 190.5129
411 | 3.6367 | 98157.1016 | 260.0278
412 | 3.6467 | 127021.9888 | 336.4937
413 | 3.6567 | 157058.4322 | 416.0632
414 | 3.6666 | 185456.9068 | 491.2935
415 | 3.6766 | 207592.611 | 549.9331
416 | 3.6866 | 220279.692 | 583.5425
417 | 3.6966 | 222491.3489 | 589.4014
418 | 3.7066 | 213304.7378 | 565.0651
419 | 3.7166 | 194355.9784 | 514.868
420 | 3.7266 | 168469.6798 | 446.2927
421 | 3.7366 | 138820.5514 | 367.7492
422 | 3.7466 | 108966.6672 | 288.6634
423 | 3.7566 | 81498.8042 | 215.8983
424 | 3.7666 | 58129.4703 | 153.9907
425 | 3.7766 | 39637.0719 | 105.0025
426 | 3.7866 | 26344.2458 | 69.7885
427 | 3.7966 | 17180.2921 | 45.5123
428 | 3.8066 | 11040.8608 | 29.2483
429 | 3.8166 | 7362.4645 | 19.5039
430 | 3.8266 | 5322.1119 | 14.0988
431 | 3.8366 | 4170.8076 | 11.0489
432 | 3.8466 | 3543.707 | 9.3876
433 | 3.8566 | 3261.1407 | 8.6391
434 | 3.8666 | 3196.6013 | 8.4681
435 | 3.8766 | 3344.5684 | 8.8601
436 | 3.8866 | 3664.724 | 9.7082
437 | 3.8966 | 4181.4625 | 11.0771
438 | 3.9066 | 4881.0523 | 12.9304
439 | 3.9166 | 5811.2852 | 15.3947
440 | 3.9266 | 7199.9406 | 19.0733
441 | 3.9366 | 9151.0378 | 24.242
442 | 3.9466 | 11609.943 | 30.7559
443 | 3.9566 | 14520.7686 | 38.4669
444 | 3.9666 | 17692.5797 | 46.8694
445 | 3.9766 | 20900.167 | 55.3666
446 | 3.9866 | 23938.8386 | 63.4163
447 | 3.9966 | 26460.9948 | 70.0978
448 | 4.0065 | 28149.7047 | 74.5713
449 | 4.0165 | 28753.5482 | 76.171
450 | 4.0265 | 28130.5597 | 74.5206
451 | 4.0365 | 26365.3895 | 69.8445
452 | 4.0465 | 23645.5185 | 62.6393
453 | 4.0565 | 20325.4683 | 53.8442
454 | 4.0665 | 16833.1233 | 44.5926
455 | 4.0765 | 13439.797 | 35.6033
456 | 4.0865 | 10328.0166 | 27.3599
457 | 4.0965 | 7703.3638 | 20.407
458 | 4.1065 | 5632.6386 | 14.9214
459 | 4.1165 | 4136.852 | 10.9589
460 | 4.1265 | 3135.7678 | 8.307
461 | 4.1365 | 2432.0279 | 6.4427
462 | 4.1465 | 1984.2566 | 5.2565
463 | 4.1565 | 1700.0521 | 4.5036
464 | 4.1665 | 1548.2953 | 4.1016
465 | 4.1765 | 1469.4375 | 3.8927
466 | 4.1865 | 1412.5329 | 3.7419
467 | 4.1965 | 1381.3986 | 3.6595
468 | 4.2065 | 1365.4047 | 3.6171
469 | 4.2165 | 1359.0331 | 3.6002
470 | 4.2265 | 1369.1138 | 3.6269
471 | 4.2365 | 1370.0157 | 3.6293
472 | 4.2465 | 1365.8763 | 3.6183
473 | 4.2565 | 1383.5069 | 3.665
474 | 4.2665 | 1395.6979 | 3.6973
475 | 4.2765 | 1369.5159 | 3.628
476 | 4.2865 | 1316.9896 | 3.4888
477 | 4.2965 | 1280.6888 | 3.3927
478 | 4.3065 | 1276.4948 | 3.3816
479 | 4.3165 | 1286.0134 | 3.4068
480 | 4.3265 | 1294.3499 | 3.4289
481 | 4.3364 | 1290.7446 | 3.4193
482 | 4.3464 | 1291.1566 | 3.4204
483 | 4.3564 | 1309.1176 | 3.468
484 | 4.3664 | 1297.0508 | 3.436
485 | 4.3764 | 1291.3711 | 3.421
486 | 4.3864 | 1319.3705 | 3.4951
487 | 4.3964 | 1316.5552 | 3.4877
488 | 4.4064 | 1331.1127 | 3.5262
489 | 4.4164 | 1326.9755 | 3.5153
490 | 4.4264 | 1386.727 | 3.6736
491 | 4.4364 | 1392.9683 | 3.6901
492 | 4.4464 | 1453.2862 | 3.8499
493 | 4.4564 | 1458.6874 | 3.8642
494 | 4.4664 | 1480.174 | 3.9211
495 | 4.4764 | 1478.4732 | 3.9166
496 | 4.4864 | 1528.5318 | 4.0492
497 | 4.4964 | 1540.2336 | 4.0802
498 | 4.5064 | 1496.9893 | 3.9657
499 | 4.5164 | 1544.6807 | 4.092
500 | 4.5264 | 1540.3167 | 4.0804
501 | 4.5364 | 1466.7825 | 3.8857
502 | 4.5464 | 1427.4555 | 3.7815
503 | 4.5564 | 1479.6893 | 3.9198
504 | 4.5664 | 1441.6467 | 3.8191
505 | 4.5764 | 1372.9688 | 3.6371
506 | 4.5864 | 1354.7641 | 3.5889
507 | 4.5964 | 1324.3631 | 3.5084
508 | 4.6064 | 1327.0194 | 3.5154
509 | 4.6164 | 1361.5021 | 3.6068
510 | 4.6264 | 1327.5116 | 3.5167
511 | 4.6364 | 1310.8771 | 3.4726
512 | 4.6464 | 1283.6849 | 3.4006
513 | 4.6564 | 1310.2076 | 3.4709
514 | 4.6663 | 1333.6361 | 3.5329
515 | 4.6763 | 1251.5129 | 3.3154
516 | 4.6863 | 1281.4384 | 3.3947
517 | 4.6963 | 1287.2003 | 3.4099
518 | 4.7063 | 1316.8908 | 3.4886
519 | 4.7163 | 1350.5834 | 3.5778
520 | 4.7263 | 1347.1223 | 3.5687
521 | 4.7363 | 1264.805 | 3.3506
522 | 4.7463 | 1263.384 | 3.3468
523 | 4.7563 | 1274.6285 | 3.3766
524 | 4.7663 | 1288.4305 | 3.4132
525 | 4.7763 | 1282.4859 | 3.3974
526 | 4.7863 | 1331.115 | 3.5263
527 | 4.7963 | 1306.8311 | 3.4619
528 | 4.8063 | 1296.9093 | 3.4356
529 | 4.8163 | 1274.6964 | 3.3768
530 | 4.8263 | 1323.8019 | 3.5069
531 | 4.8363 | 1263.4028 | 3.3469
532 | 4.8463 | 1297.6883 | 3.4377
533 | 4.8563 | 1323.8232 | 3.5069
534 | 4.8663 | 1293.9316 | 3.4278
535 | 4.8763 | 1304.1815 | 3.4549
536 | 4.8863 | 1290.2733 | 3.4181
537 | 4.8963 | 1305.6239 | 3.4587
538 | 4.9063 | 1308.1192 | 3.4653
539 | 4.9163 | 1267.3588 | 3.3574
540 | 4.9263 | 1274.4884 | 3.3762
541 | 4.9363 | 1312.4589 | 3.4768
542 | 4.9463 | 1326.3599 | 3.5137
543 | 4.9563 | 1265.5749 | 3.3526
544 | 4.9663 | 1323.2978 | 3.5055
545 | 4.9763 | 1253.1236 | 3.3196
546 | 4.9863 | 1252.8795 | 3.319
547 | 4.9963 | 1252.305 | 3.3175
548 | 5.0062 | 1270.1523 | 3.3648
549 | 5.0162 | 1237.7332 | 3.2789
550 | 5.0262 | 1265.9989 | 3.3538
551 | 5.0362 | 1221.7591 | 3.2366
552 | 5.0462 | 1189.7057 | 3.1516
553 | 5.0562 | 1196.1364 | 3.1687
554 | 5.0662 | 1257.1432 | 3.3303
555 | 5.0762 | 1246.5803 | 3.3023
556 | 5.0862 | 1250.7947 | 3.3135
557 | 5.0962 | 1225.7779 | 3.2472
558 | 5.1062 | 1223.4257 | 3.241
559 | 5.1162 | 1277.3171 | 3.3837
560 | 5.1262 | 1259.0578 | 3.3354
561 | 5.1362 | 1311.4231 | 3.4741
562 | 5.1462 | 1266.7499 | 3.3557
563 | 5.1562 | 1212.9607 | 3.2133
564 | 5.1662 | 1266.1907 | 3.3543
565 | 5.1762 | 1241.9872 | 3.2901
566 | 5.1862 | 1232.7067 | 3.2656
567 | 5.1962 | 1230.2175 | 3.259
568 | 5.2062 | 1210.3031 | 3.2062
569 | 5.2162 | 1254.8122 | 3.3241
570 | 5.2262 | 1242.7457 | 3.2922
571 | 5.2362 | 1157.6318 | 3.0667
572 | 5.2462 | 1215.9572 | 3.2212
573 | 5.2562 | 1255.1063 | 3.3249
574 | 5.2662 | 1182.3112 | 3.1321
575 | 5.2762 | 1218.7545 | 3.2286
576 | 5.2862 | 1260.541 | 3.3393
577 | 5.2962 | 1165.9239 | 3.0886
578 | 5.3062 | 1229.6666 | 3.2575
579 | 5.3162 | 1191.5797 | 3.1566
580 | 5.3262 | 1214.3875 | 3.217
581 | 5.3361 | 1230.9282 | 3.2608
582 | 5.3461 | 1208.7618 | 3.2021
583 | 5.3561 | 1200.8618 | 3.1812
584 | 5.3661 | 1200.672 | 3.1807
585 | 5.3761 | 1183.1512 | 3.1343
586 | 5.3861 | 1183.2524 | 3.1346
587 | 5.3961 | 1191.411 | 3.1562
588 | 5.4061 | 1197.2625 | 3.1717
589 | 5.4161 | 1214.8391 | 3.2182
590 | 5.4261 | 1225.1798 | 3.2456
591 | 5.4361 | 1219.3635 | 3.2302
592 | 5.4461 | 1206.542 | 3.1962
593 | 5.4561 | 1190.6742 | 3.1542
594 | 5.4661 | 1197.5336 | 3.1724
595 | 5.4761 | 1222.6573 | 3.2389
596 | 5.4861 | 1213.7673 | 3.2154
597 | 5.4961 | 1187.5282 | 3.1459
598 | 5.5061 | 1183.7451 | 3.1359
599 | 5.5161 | 1189.9263 | 3.1522
600 | 5.5261 | 1191.6451 | 3.1568
601 | 5.5361 | 1178.2494 | 3.1213
602 | 5.5461 | 1185.2982 | 3.14
603 | 5.5561 | 1218.3975 | 3.2277
604 | 5.5661 | 1215.2186 | 3.2192
605 | 5.5761 | 1192.3731 | 3.1587
606 | 5.5861 | 1187.8835 | 3.1468
607 | 5.5961 | 1176.4026 | 3.1164
608 | 5.6061 | 1140.8342 | 3.0222
609 | 5.6161 | 1161.4265 | 3.0767
610 | 5.6261 | 1189.2087 | 3.1503
611 | 5.6361 | 1148.9636 | 3.0437
612 | 5.6461 | 1152.006 | 3.0518
613 | 5.6561 | 1171.8862 | 3.1044
614 | 5.666 | 1159.7126 | 3.0722
615 | 5.676 | 1093.8225 | 2.8976
616 | 5.686 | 1224.637 | 3.2442
617 | 5.696 | 1185.9605 | 3.1417
618 | 5.706 | 1147.6277 | 3.0402
619 | 5.716 | 1179.6811 | 3.1251
620 | 5.726 | 1120.5107 | 2.9683
621 | 5.736 | 1207.1159 | 3.1978
622 | 5.746 | 1182.5664 | 3.1327
623 | 5.756 | 1144.2085 | 3.0311
624 | 5.766 | 1152.7057 | 3.0536
625 | 5.776 | 1164.9317 | 3.086
626 | 5.786 | 1127.3091 | 2.9864
627 | 5.796 | 1190.5358 | 3.1538
628 | 5.806 | 1175.2147 | 3.1133
629 | 5.816 | 1251.9725 | 3.3166
630 | 5.826 | 1205.0065 | 3.1922
631 | 5.836 | 1183.2998 | 3.1347
632 | 5.846 | 1196.1721 | 3.1688
633 | 5.856 | 1241.1305 | 3.2879
634 | 5.866 | 1202.4048 | 3.1853
635 | 5.876 | 1214.2459 | 3.2167
636 | 5.886 | 1221.1938 | 3.2351
637 | 5.896 | 1248.1169 | 3.3064
638 | 5.906 | 1218.7156 | 3.2285
639 | 5.916 | 1222.1447 | 3.2376
640 | 5.926 | 1177.0388 | 3.1181
641 | 5.936 | 1209.0364 | 3.2029
642 | 5.946 | 1176.89 | 3.1177
643 | 5.956 | 1137.9199 | 3.0145
644 | 5.966 | 1180.3886 | 3.127
645 | 5.976 | 1101.546 | 2.9181
646 | 5.986 | 1141.3312 | 3.0235
647 | 5.996 | 1201.4271 | 3.1827
648 | 6.0059 | 1135.3395 | 3.0076
649 | 6.0159 | 1134.7739 | 3.0061
650 | 6.0259 | 1082.2098 | 2.8669
651 | 6.0359 | 1103.0335 | 2.922
652 | 6.0459 | 1126.9889 | 2.9855
653 | 6.0559 | 1096.788 | 2.9055
654 | 6.0659 | 1116.7434 | 2.9584
655 | 6.0759 | 1099.5164 | 2.9127
656 | 6.0859 | 1175.5167 | 3.1141
657 | 6.0959 | 1109.8783 | 2.9402
658 | 6.1059 | 1153.9934 | 3.057
659 | 6.1159 | 1127.294 | 2.9863
660 | 6.1259 | 1079.4959 | 2.8597
661 | 6.1359 | 1112.8824 | 2.9481
662 | 6.1459 | 1192.2837 | 3.1585
663 | 6.1559 | 1136.1126 | 3.0097
664 | 6.1659 | 1090.9439 | 2.89
665 | 6.1759 | 1056.8519 | 2.7997
666 | 6.1859 | 1132.1951 | 2.9993
667 | 6.1959 | 1131.3497 | 2.9971
668 | 6.2059 | 1119.2705 | 2.9651
669 | 6.2159 | 1070.9884 | 2.8372
670 | 6.2259 | 1105.0068 | 2.9273
671 | 6.2359 | 1161.2146 | 3.0762
672 | 6.2459 | 1173.2595 | 3.1081
673 | 6.2559 | 1241.3393 | 3.2884
674 | 6.2659 | 1344.6594 | 3.5621
675 | 6.2759 | 1403.8221 | 3.7189
676 | 6.2859 | 1553.1949 | 4.1146
677 | 6.2959 | 1736.5647 | 4.6003
678 | 6.3059 | 2044.5204 | 5.4161
679 | 6.3159 | 2317.4312 | 6.1391
680 | 6.3259 | 2750.6783 | 7.2868
681 | 6.3358 | 3236.1672 | 8.5729
682 | 6.3458 | 3654.6695 | 9.6816
683 | 6.3558 | 4167.4697 | 11.04
684 | 6.3658 | 4656.144 | 12.3346
685 | 6.3758 | 4996.9801 | 13.2375
686 | 6.3858 | 5393.3511 | 14.2875
687 | 6.3958 | 5555.9237 | 14.7182
688 | 6.4058 | 5401.7309 | 14.3097
689 | 6.4158 | 5377.5533 | 14.2457
690 | 6.4258 | 5197.9224 | 13.7698
691 | 6.4358 | 4757.5946 | 12.6033
692 | 6.4458 | 4340.327 | 11.498
693 | 6.4558 | 3863.1091 | 10.2338
694 | 6.4658 | 3366.4718 | 8.9181
695 | 6.4758 | 2942.07 | 7.7938
696 | 6.4858 | 2431.3452 | 6.4409
697 | 6.4958 | 2189.796 | 5.801
698 | 6.5058 | 1842.8424 | 4.8819
699 | 6.5158 | 1657.357 | 4.3905
700 | 6.5258 | 1480.5791 | 3.9222
701 | 6.5358 | 1331.0396 | 3.5261
702 | 6.5458 | 1250.9261 | 3.3138
703 | 6.5558 | 1161.7747 | 3.0777
704 | 6.5658 | 1048.2912 | 2.777
705 | 6.5758 | 1089.3241 | 2.8857
706 | 6.5858 | 1001.9918 | 2.6544
707 | 6.5958 | 1053.3756 | 2.7905
708 | 6.6058 | 966.974 | 2.5616
709 | 6.6158 | 1063.3075 | 2.8168
710 | 6.6258 | 1091.0419 | 2.8903
711 | 6.6358 | 1042.0647 | 2.7605
712 | 6.6458 | 959.7516 | 2.5425
713 | 6.6558 | 1011.9633 | 2.6808
714 | 6.6657 | 1043.8353 | 2.7652
715 | 6.6757 | 990.8337 | 2.6248
716 | 6.6857 | 1054.9737 | 2.7947
717 | 6.6957 | 1032.0528 | 2.734
718 | 6.7057 | 1013.9703 | 2.6861
719 | 6.7157 | 1036.0549 | 2.7446
720 | 6.7257 | 1030.9969 | 2.7312
721 | 6.7357 | 1042.0565 | 2.7605
722 | 6.7457 | 1005.324 | 2.6632
723 | 6.7557 | 1025.1583 | 2.7157
724 | 6.7657 | 1058.3235 | 2.8036
725 | 6.7757 | 984.7304 | 2.6086
726 | 6.7857 | 1056.2558 | 2.7981
727 | 6.7957 | 1027.2111 | 2.7212
728 | 6.8057 | 983.5856 | 2.6056
729 | 6.8157 | 998.1349 | 2.6442
730 | 6.8257 | 977.4853 | 2.5895
731 | 6.8357 | 1010.0184 | 2.6756
732 | 6.8457 | 984.5511 | 2.6082
733 | 6.8557 | 1014.7681 | 2.6882
734 | 6.8657 | 973.8422 | 2.5798
735 | 6.8757 | 1047.156 | 2.774
736 | 6.8857 | 993.7823 | 2.6326
737 | 6.8957 | 1003.6588 | 2.6588
738 | 6.9057 | 1012.3909 | 2.6819
739 | 6.9157 | 1086.798 | 2.879
740 | 6.9257 | 1054.6103 | 2.7938
741 | 6.9357 | 1018.715 | 2.6987
742 | 6.9457 | 1108.8398 | 2.9374
743 | 6.9557 | 1082.7374 | 2.8683
744 | 6.9657 | 1100.7411 | 2.916
745 | 6.9757 | 1191.0932 | 3.1553
746 | 6.9857 | 1246.2874 | 3.3015
747 | 6.9957 | 1335.6066 | 3.5382
748 | 7.0056 | 1351.6839 | 3.5807
749 | 7.0156 | 1430.9788 | 3.7908
750 | 7.0256 | 1461.0398 | 3.8704
751 | 7.0356 | 1476.0474 | 3.9102
752 | 7.0456 | 1472.9974 | 3.9021
753 | 7.0556 | 1582.2914 | 4.1916
754 | 7.0656 | 1532.3589 | 4.0594
755 | 7.0756 | 1543.5956 | 4.0891
756 | 7.0856 | 1502.4886 | 3.9802
757 | 7.0956 | 1414.2834 | 3.7466
758 | 7.1056 | 1432.2423 | 3.7941
759 | 7.1156 | 1275.9282 | 3.3801
760 | 7.1256 | 1241.8893 | 3.2899
761 | 7.1356 | 1174.6013 | 3.1116
762 | 7.1456 | 1145.4901 | 3.0345
763 | 7.1556 | 1036.9843 | 2.7471
764 | 7.1656 | 1033.0115 | 2.7365
765 | 7.1756 | 980.7972 | 2.5982
766 | 7.1856 | 963.6516 | 2.5528
767 | 7.1956 | 964.379 | 2.5547
768 | 7.2056 | 947.6775 | 2.5105
769 | 7.2156 | 910.6088 | 2.4123
770 | 7.2256 | 942.3169 | 2.4963
771 | 7.2356 | 922.3052 | 2.4433
772 | 7.2456 | 916.9594 | 2.4291
773 | 7.2556 | 960.3045 | 2.5439
774 | 7.2656 | 909.1347 | 2.4084
775 | 7.2756 | 902.8318 | 2.3917
776 | 7.2856 | 910.5795 | 2.4122
777 | 7.2956 | 915.351 | 2.4249
778 | 7.3056 | 920.7524 | 2.4392
779 | 7.3156 | 918.5544 | 2.4333
780 | 7.3256 | 899.0489 | 2.3817
781 | 7.3355 | 893.171 | 2.3661
782 | 7.3455 | 906.7577 | 2.4021
783 | 7.3555 | 908.4458 | 2.4066
784 | 7.3655 | 929.4871 | 2.4623
785 | 7.3755 | 952.1835 | 2.5224
786 | 7.3855 | 926.0217 | 2.4531
787 | 7.3955 | 906.2217 | 2.4007
788 | 7.4055 | 926.5635 | 2.4546
789 | 7.4155 | 934.3768 | 2.4753
790 | 7.4255 | 904.1031 | 2.3951
791 | 7.4355 | 882.3803 | 2.3375
792 | 7.4455 | 902.6832 | 2.3913
793 | 7.4555 | 945.7323 | 2.5053
794 | 7.4655 | 962.8894 | 2.5508
795 | 7.4755 | 948.548 | 2.5128
796 | 7.4855 | 940.7082 | 2.492
797 | 7.4955 | 949.371 | 2.515
798 | 7.5055 | 955.2519 | 2.5306
799 | 7.5155 | 949.2287 | 2.5146
800 | 7.5255 | 940.704 | 2.492
801 | 7.5355 | 928.6817 | 2.4602
802 | 7.5455 | 914.2915 | 2.422
803 | 7.5555 | 894.6318 | 2.37
804 | 7.5655 | 902.2483 | 2.3901
805 | 7.5755 | 925.0534 | 2.4506
806 | 7.5855 | 856.8662 | 2.2699
807 | 7.5955 | 866.4547 | 2.2953
808 | 7.6055 | 853.724 | 2.2616
809 | 7.6155 | 850.9681 | 2.2543
810 | 7.6255 | 874.2341 | 2.3159
811 | 7.6355 | 871.72 | 2.3093
812 | 7.6455 | 845.9309 | 2.241
813 | 7.6555 | 829.9473 | 2.1986
814 | 7.6654 | 827.4623 | 2.192
815 | 7.6754 | 848.8161 | 2.2486
816 | 7.6854 | 882.5711 | 2.338
817 | 7.6954 | 886.7231 | 2.349
818 | 7.7054 | 868.9007 | 2.3018
819 | 7.7154 | 858.8579 | 2.2752
820 | 7.7254 | 845.5581 | 2.24
821 | 7.7354 | 827.9123 | 2.1932
822 | 7.7454 | 824.5746 | 2.1844
823 | 7.7554 | 825.0032 | 2.1855
824 | 7.7654 | 816.9161 | 2.1641
825 | 7.7754 | 826.2747 | 2.1889
826 | 7.7854 | 843.2603 | 2.2339
827 | 7.7954 | 844.3215 | 2.2367
828 | 7.8054 | 850.1275 | 2.2521
829 | 7.8154 | 852.1541 | 2.2574
830 | 7.8254 | 846.3437 | 2.242
831 | 7.8354 | 839.1175 | 2.2229
832 | 7.8454 | 823.6623 | 2.182
833 | 7.8554 | 828.6392 | 2.1951
834 | 7.8654 | 833.8349 | 2.2089
835 | 7.8754 | 812.0027 | 2.1511
836 | 7.8854 | 804.7666 | 2.1319
837 | 7.8954 | 815.9853 | 2.1616
838 | 7.9054 | 820.4398 | 2.1734
839 | 7.9154 | 818.3935 | 2.168
840 | 7.9254 | 828.6844 | 2.1953
841 | 7.9354 | 822.7364 | 2.1795
842 | 7.9454 | 792.8203 | 2.1003
843 | 7.9554 | 811.589 | 2.15
844 | 7.9654 | 832.4548 | 2.2053
845 | 7.9754 | 849.2978 | 2.2499
846 | 7.9854 | 826.1269 | 2.1885
847 | 7.9954 | 816.9855 | 2.1643
848 | 8.0053 | 854.9538 | 2.2649
849 | 8.0153 | 834.7865 | 2.2114
850 | 8.0253 | 808.8386 | 2.1427
851 | 8.0353 | 819.7469 | 2.1716
852 | 8.0453 | 867.869 | 2.2991
853 | 8.0553 | 834.7895 | 2.2114
854 | 8.0653 | 804.8508 | 2.1321
855 | 8.0753 | 854.0339 | 2.2624
856 | 8.0853 | 846.0444 | 2.2413
857 | 8.0953 | 817.117 | 2.1646
858 | 8.1053 | 793.2108 | 2.1013
859 | 8.1153 | 782.2831 | 2.0723
860 | 8.1253 | 847.4518 | 2.245
861 | 8.1353 | 809.4269 | 2.1443
862 | 8.1453 | 816.6659 | 2.1634
863 | 8.1553 | 756.7008 | 2.0046
864 | 8.1653 | 818.9136 | 2.1694
865 | 8.1753 | 803.1081 | 2.1275
866 | 8.1853 | 786.2532 | 2.0829
867 | 8.1953 | 812.5688 | 2.1526
868 | 8.2053 | 739.4299 | 1.9588
869 | 8.2153 | 778.6548 | 2.0627
870 | 8.2253 | 793.8896 | 2.1031
871 | 8.2353 | 808.8977 | 2.1428
872 | 8.2453 | 771.9465 | 2.045
873 | 8.2553 | 771.0332 | 2.0425
874 | 8.2653 | 736.0727 | 1.9499
875 | 8.2753 | 803.2831 | 2.128
876 | 8.2853 | 815.337 | 2.1599
877 | 8.2953 | 760.254 | 2.014
878 | 8.3053 | 754.3151 | 1.9983
879 | 8.3153 | 789.403 | 2.0912
880 | 8.3253 | 793.4148 | 2.1018
881 | 8.3352 | 787.3829 | 2.0859
882 | 8.3452 | 735.2938 | 1.9479
883 | 8.3552 | 778.3183 | 2.0618
884 | 8.3652 | 732.2897 | 1.9399
885 | 8.3752 | 828.4916 | 2.1948
886 | 8.3852 | 751.3915 | 1.9905
887 | 8.3952 | 763.4066 | 2.0223
888 | 8.4052 | 762.4379 | 2.0198
889 | 8.4152 | 811.5237 | 2.1498
890 | 8.4252 | 739.379 | 1.9587
891 | 8.4352 | 774.4616 | 2.0516
892 | 8.4452 | 740.3702 | 1.9613
893 | 8.4552 | 756.4382 | 2.0039
894 | 8.4652 | 756.4133 | 2.0038
895 | 8.4752 | 764.4385 | 2.0251
896 | 8.4852 | 761.4168 | 2.0171
897 | 8.4952 | 774.4739 | 2.0517
898 | 8.5052 | 742.4803 | 1.9669
899 | 8.5152 | 729.418 | 1.9323
900 | 8.5252 | 785.4662 | 2.0808
901 | 8.5352 | 738.3221 | 1.9559
902 | 8.5452 | 743.359 | 1.9692
903 | 8.5552 | 751.4365 | 1.9906
904 | 8.5652 | 744.3896 | 1.972
905 | 8.5752 | 786.4138 | 2.0833
906 | 8.5852 | 748.3711 | 1.9825
907 | 8.5952 | 784.5118 | 2.0782
908 | 8.6052 | 820.5197 | 2.1736
909 | 8.6152 | 746.3525 | 1.9772
910 | 8.6252 | 704.238 | 1.8656
911 | 8.6352 | 770.3526 | 2.0407
912 | 8.6452 | 773.4181 | 2.0489
913 | 8.6552 | 815.4099 | 2.1601
914 | 8.6651 | 724.268 | 1.9187
915 | 8.6751 | 801.3385 | 2.1228
916 | 8.6851 | 716.1821 | 1.8972
917 | 8.6951 | 748.3382 | 1.9824
918 | 8.7051 | 761.3046 | 2.0168
919 | 8.7151 | 759.2688 | 2.0114
920 | 8.7251 | 725.221 | 1.9212
921 | 8.7351 | 732.1736 | 1.9396
922 | 8.7451 | 721.2422 | 1.9106
923 | 8.7551 | 725.1864 | 1.9211
924 | 8.7651 | 707.2231 | 1.8735
925 | 8.7751 | 734.3015 | 1.9452
926 | 8.7851 | 736.3735 | 1.9507
927 | 8.7951 | 748.3035 | 1.9823
928 | 8.8051 | 760.2823 | 2.0141
929 | 8.8151 | 703.2567 | 1.863
930 | 8.8251 | 668.1769 | 1.7701
931 | 8.8351 | 690.3861 | 1.8289
932 | 8.8451 | 671.3675 | 1.7785
933 | 8.8551 | 707.4438 | 1.8741
934 | 8.8651 | 672.3333 | 1.7811
935 | 8.8751 | 675.3499 | 1.7891
936 | 8.8851 | 710.3703 | 1.8818
937 | 8.8951 | 691.4909 | 1.8318
938 | 8.9051 | 754.5533 | 1.9989
939 | 8.9151 | 693.5369 | 1.8372
940 | 8.9251 | 721.5147 | 1.9114
941 | 8.9351 | 672.4935 | 1.7815
942 | 8.9451 | 680.4551 | 1.8026
943 | 8.9551 | 780.6396 | 2.068
944 | 8.9651 | 661.4393 | 1.7522
945 | 8.9751 | 705.5498 | 1.8691
946 | 8.9851 | 702.4961 | 1.861
947 | 8.9951 | 693.5343 | 1.8372
948 | 9.005 | 668.4909 | 1.7709
949 | 9.015 | 684.5222 | 1.8134
950 | 9.025 | 625.4272 | 1.6568
951 | 9.035 | 729.5074 | 1.9325
952 | 9.045 | 717.5297 | 1.9008
953 | 9.055 | 687.4679 | 1.8212
954 | 9.065 | 693.4051 | 1.8369
955 | 9.075 | 679.4012 | 1.7998
956 | 9.085 | 698.4122 | 1.8502
957 | 9.095 | 665.4532 | 1.7629
958 | 9.105 | 654.4934 | 1.7338
959 | 9.115 | 674.4557 | 1.7867
960 | 9.125 | 671.4321 | 1.7787
961 | 9.135 | 669.4032 | 1.7733
962 | 9.145 | 712.4701 | 1.8874
963 | 9.155 | 700.4625 | 1.8556
964 | 9.165 | 724.5912 | 1.9195
965 | 9.175 | 723.5462 | 1.9167
966 | 9.185 | 684.5076 | 1.8133
967 | 9.195 | 692.6017 | 1.8348
968 | 9.205 | 638.4846 | 1.6914
969 | 9.215 | 684.5182 | 1.8134
970 | 9.225 | 706.5037 | 1.8716
971 | 9.235 | 642.487 | 1.702
972 | 9.245 | 708.5885 | 1.8771
973 | 9.255 | 678.6368 | 1.7978
974 | 9.265 | 679.6278 | 1.8004
975 | 9.275 | 663.5373 | 1.7578
976 | 9.285 | 668.5234 | 1.771
977 | 9.295 | 668.5379 | 1.771
978 | 9.305 | 709.5954 | 1.8798
979 | 9.315 | 633.5116 | 1.6782
980 | 9.325 | 679.6314 | 1.8004
981 | 9.3349 | 675.6783 | 1.7899
982 | 9.3449 | 672.6626 | 1.7819
983 | 9.3549 | 642.5788 | 1.7023
984 | 9.3649 | 677.5841 | 1.795
985 | 9.3749 | 669.5764 | 1.7738
986 | 9.3849 | 659.6053 | 1.7474
987 | 9.3949 | 621.5583 | 1.6466
988 | 9.4049 | 650.5939 | 1.7235
989 | 9.4149 | 611.5692 | 1.6201
990 | 9.4249 | 677.628 | 1.7951
991 | 9.4349 | 595.47 | 1.5775
992 | 9.4449 | 650.6005 | 1.7235
993 | 9.4549 | 609.5078 | 1.6146
994 | 9.4649 | 641.6076 | 1.6997
995 | 9.4749 | 648.5668 | 1.7181
996 | 9.4849 | 615.5276 | 1.6306
997 | 9.4949 | 661.6107 | 1.7527
998 | 9.5049 | 643.6023 | 1.705
999 | 9.5149 | 602.5345 | 1.5962
1000 | 9.5249 | 631.5387 | 1.673
1001 | 9.5349 | 671.584 | 1.7791
1002 | 9.5449 | 684.6238 | 1.8136
1003 | 9.5549 | 635.5491 | 1.6836
1004 | 9.5649 | 664.631 | 1.7607
1005 | 9.5749 | 641.6239 | 1.6997
1006 | 9.5849 | 634.5446 | 1.681
1007 | 9.5949 | 603.5033 | 1.5987
1008 | 9.6049 | 648.5675 | 1.7181
1009 | 9.6149 | 591.5443 | 1.5671
1010 | 9.6249 | 602.6439 | 1.5965
1011 | 9.6349 | 632.6547 | 1.676
1012 | 9.6449 | 645.638 | 1.7104
1013 | 9.6549 | 651.6915 | 1.7264
1014 | 9.6648 | 637.681 | 1.6893
1015 | 9.6748 | 591.6312 | 1.5673
1016 | 9.6848 | 634.6982 | 1.6814
1017 | 9.6948 | 594.6427 | 1.5753
1018 | 9.7048 | 638.6963 | 1.692
1019 | 9.7148 | 618.6964 | 1.639
1020 | 9.7248 | 632.7464 | 1.6762
1021 | 9.7348 | 618.7463 | 1.6391
1022 | 9.7448 | 608.6883 | 1.6125
1023 | 9.7548 | 616.7112 | 1.6337
1024 | 9.7648 | 640.6983 | 1.6973
1025 | 9.7748 | 559.6008 | 1.4824
1026 | 9.7848 | 626.6919 | 1.6602
1027 | 9.7948 | 598.6718 | 1.5859
1028 | 9.8048 | 630.7519 | 1.6709
1029 | 9.8148 | 586.7128 | 1.5543
1030 | 9.8248 | 583.7213 | 1.5463
1031 | 9.8348 | 619.805 | 1.6419
1032 | 9.8448 | 596.692 | 1.5807
1033 | 9.8548 | 577.6492 | 1.5302
1034 | 9.8648 | 582.6064 | 1.5434
1035 | 9.8748 | 615.5721 | 1.6307
1036 | 9.8848 | 644.6062 | 1.7076
1037 | 9.8948 | 577.5053 | 1.5299
1038 | 9.9048 | 600.5327 | 1.5909
1039 | 9.9148 | 626.4302 | 1.6595
1040 | 9.9248 | 597.1964 | 1.582
1041 | 9.9348 | 584.0023 | 1.5471
1042 | 9.9448 | 529.6318 | 1.403
1043 | 9.9548 | 648.4947 | 1.7179
1044 | 9.9648 | 592.125 | 1.5686
1045 | 9.9748 | 548.604 | 1.4533
1046 | 9.9848 | 641.2415 | 1.6987
1047 | 9.9948 | 607.777 | 1.6101
1048 | 10.0047 | 605.1842 | 1.6032
1049 | 10.0147 | 600.6701 | 1.5912
1050 | 10.0247 | 578.0769 | 1.5314
1051 | 10.0347 | 589.6329 | 1.562
1052 | 10.0447 | 603.2036 | 1.5979
1053 | 10.0547 | 569.9242 | 1.5098
1054 | 10.0647 | 577.7815 | 1.5306
1055 | 10.0747 | 590.7097 | 1.5648
1056 | 10.0847 | 597.8353 | 1.5837
1057 | 10.0947 | 597.0138 | 1.5815
1058 | 10.1047 | 629.3825 | 1.6673
1059 | 10.1147 | 601.7097 | 1.594
1060 | 10.1247 | 588.1915 | 1.5582
1061 | 10.1347 | 592.7548 | 1.5703
1062 | 10.1447 | 597.2789 | 1.5823
1063 | 10.1547 | 571.7774 | 1.5147
1064 | 10.1647 | 576.3411 | 1.5268
1065 | 10.1747 | 590.737 | 1.5649
1066 | 10.1847 | 568.1113 | 1.505
1067 | 10.1947 | 590.5531 | 1.5644
1068 | 10.2047 | 560.8243 | 1.4857
1069 | 10.2147 | 573.1356 | 1.5183
1070 | 10.2247 | 556.2929 | 1.4737
1071 | 10.2347 | 571.4191 | 1.5137
1072 | 10.2447 | 549.4858 | 1.4556
1073 | 10.2547 | 527.5853 | 1.3976
1074 | 10.2647 | 548.6736 | 1.4535
1075 | 10.2747 | 556.6281 | 1.4746
1076 | 10.2847 | 593.6554 | 1.5727
1077 | 10.2947 | 566.5806 | 1.5009
1078 | 10.3047 | 530.5356 | 1.4054
1079 | 10.3147 | 563.4941 | 1.4928
1080 | 10.3247 | 584.4948 | 1.5484
1081 | 10.3346 | 561.3807 | 1.4872
1082 | 10.3446 | 514.2945 | 1.3624
1083 | 10.3546 | 550.3286 | 1.4579
1084 | 10.3646 | 565.2479 | 1.4974
1085 | 10.3746 | 580.2863 | 1.5372
1086 | 10.3846 | 555.2454 | 1.4709
1087 | 10.3946 | 534.1353 | 1.415
1088 | 10.4046 | 581.2191 | 1.5397
1089 | 10.4146 | 556.1942 | 1.4734
1090 | 10.4246 | 583.2601 | 1.5451
1091 | 10.4346 | 590.3448 | 1.5639
1092 | 10.4446 | 527.3749 | 1.3971
1093 | 10.4546 | 576.5383 | 1.5273
1094 | 10.4646 | 576.5635 | 1.5274
1095 | 10.4746 | 563.6404 | 1.4931
1096 | 10.4846 | 589.7275 | 1.5622
1097 | 10.4946 | 527.7065 | 1.3979
1098 | 10.5046 | 582.8507 | 1.544
1099 | 10.5146 | 546.8388 | 1.4486
1100 | 10.5246 | 527.8809 | 1.3984
1101 | 10.5346 | 494.8954 | 1.311
1102 | 10.5446 | 561.0097 | 1.4862
1103 | 10.5546 | 551.998 | 1.4623
1104 | 10.5646 | 524.9769 | 1.3907
1105 | 10.5746 | 573.9503 | 1.5205
1106 | 10.5846 | 482.8586 | 1.2791
1107 | 10.5946 | 527.8912 | 1.3984
1108 | 10.6046 | 513.834 | 1.3612
1109 | 10.6146 | 552.8872 | 1.4647
1110 | 10.6246 | 538.8344 | 1.4274
1111 | 10.6346 | 577.8335 | 1.5307
1112 | 10.6446 | 493.6497 | 1.3077
1113 | 10.6546 | 552.6235 | 1.464
1114 | 10.6645 | 504.5221 | 1.3365
1115 | 10.6745 | 555.5094 | 1.4716
1116 | 10.6845 | 507.4499 | 1.3443
1117 | 10.6945 | 554.4735 | 1.4689
1118 | 10.7045 | 514.3826 | 1.3626
1119 | 10.7145 | 546.3318 | 1.4473
1120 | 10.7245 | 504.2702 | 1.3359
1121 | 10.7345 | 546.2815 | 1.4472
1122 | 10.7445 | 503.3126 | 1.3333
1123 | 10.7545 | 521.3516 | 1.3811
1124 | 10.7645 | 499.4771 | 1.3232
1125 | 10.7745 | 515.4867 | 1.3656
1126 | 10.7845 | 542.5841 | 1.4374
1127 | 10.7945 | 501.6293 | 1.3289
1128 | 10.8045 | 514.724 | 1.3636
1129 | 10.8145 | 541.8142 | 1.4353
1130 | 10.8245 | 516.8989 | 1.3693
1131 | 10.8345 | 532.9264 | 1.4118
1132 | 10.8445 | 479.9225 | 1.2714
1133 | 10.8545 | 463.029 | 1.2266
1134 | 10.8645 | 510.0735 | 1.3512
1135 | 10.8745 | 498.083 | 1.3195
1136 | 10.8845 | 508.0902 | 1.346
1137 | 10.8945 | 514.1095 | 1.3619
1138 | 10.9045 | 511.1285 | 1.354
1139 | 10.9145 | 459.0838 | 1.2162
1140 | 10.9245 | 524.2021 | 1.3887
1141 | 10.9345 | 511.1561 | 1.3541
1142 | 10.9445 | 459.1036 | 1.2162
1143 | 10.9545 | 505.1218 | 1.3381
1144 | 10.9645 | 516.1185 | 1.3672
1145 | 10.9745 | 535.1999 | 1.4178
1146 | 10.9845 | 499.1092 | 1.3222
1147 | 10.9945 | 521.0754 | 1.3804
1148 | 11.0044 | 470.0155 | 1.2451
1149 | 11.0144 | 499.0314 | 1.322
1150 | 11.0244 | 536.0378 | 1.42
1151 | 11.0344 | 529.0232 | 1.4014
1152 | 11.0444 | 507.9665 | 1.3457
1153 | 11.0544 | 521.0352 | 1.3803
1154 | 11.0644 | 524.065 | 1.3883
1155 | 11.0744 | 490.0438 | 1.2982
1156 | 11.0844 | 465.0131 | 1.2319
1157 | 11.0944 | 475.9711 | 1.2609
1158 | 11.1044 | 494.9796 | 1.3112
1159 | 11.1144 | 502.9946 | 1.3325
1160 | 11.1244 | 488.0366 | 1.2929
1161 | 11.1344 | 465.0423 | 1.2319
1162 | 11.1444 | 486.1066 | 1.2877
1163 | 11.1544 | 478.1263 | 1.2666
1164 | 11.1644 | 456.108 | 1.2083
1165 | 11.1744 | 475.1271 | 1.2587
1166 | 11.1844 | 508.1489 | 1.3461
1167 | 11.1944 | 458.141 | 1.2137
1168 | 11.2044 | 495.2591 | 1.312
1169 | 11.2144 | 444.2486 | 1.1769
1170 | 11.2244 | 493.2777 | 1.3067
1171 | 11.2344 | 474.2697 | 1.2564
1172 | 11.2444 | 458.2837 | 1.214
1173 | 11.2544 | 445.2696 | 1.1796
1174 | 11.2644 | 466.2864 | 1.2352
1175 | 11.2744 | 473.3182 | 1.2539
1176 | 11.2844 | 460.3484 | 1.2195
1177 | 11.2944 | 453.3611 | 1.201
1178 | 11.3044 | 482.3559 | 1.2778
1179 | 11.3144 | 448.3107 | 1.1876
1180 | 11.3244 | 443.3161 | 1.1744
1181 | 11.3343 | 491.3419 | 1.3016
1182 | 11.3443 | 486.3305 | 1.2883
1183 | 11.3543 | 491.3336 | 1.3016
1184 | 11.3643 | 467.3365 | 1.238
1185 | 11.3743 | 429.3026 | 1.1373
1186 | 11.3843 | 471.3399 | 1.2486
1187 | 11.3943 | 484.3522 | 1.2831
1188 | 11.4043 | 444.3104 | 1.177
1189 | 11.4143 | 457.3491 | 1.2116
1190 | 11.4243 | 461.3837 | 1.2223
1191 | 11.4343 | 451.3891 | 1.1958
1192 | 11.4443 | 457.4123 | 1.2117
1193 | 11.4543 | 464.4223 | 1.2303
1194 | 11.4643 | 448.3921 | 1.1878
1195 | 11.4743 | 433.3589 | 1.148
1196 | 11.4843 | 433.37 | 1.148
1197 | 11.4943 | 464.4119 | 1.2303
1198 | 11.5043 | 437.4173 | 1.1588
1199 | 11.5143 | 465.4647 | 1.2331
1200 | 11.5243 | 456.4775 | 1.2093
1201 | 11.5343 | 453.418 | 1.2011
1202 | 11.5443 | 439.4537 | 1.1642
1203 | 11.5543 | 425.4519 | 1.1271
1204 | 11.5643 | 430.498 | 1.1404
1205 | 11.5743 | 421.5268 | 1.1167
1206 | 11.5843 | 396.4293 | 1.0502
1207 | 11.5943 | 459.5334 | 1.2173
1208 | 11.6043 | 442.4819 | 1.1722
1209 | 11.6143 | 454.478 | 1.204
1210 | 11.6243 | 477.5179 | 1.265
1211 | 11.6343 | 458.4532 | 1.2145
1212 | 11.6443 | 443.4275 | 1.1747
1213 | 11.6543 | 397.4258 | 1.0528
1214 | 11.6642 | 424.4629 | 1.1244
1215 | 11.6742 | 437.506 | 1.159
1216 | 11.6842 | 416.47 | 1.1033
1217 | 11.6942 | 462.5218 | 1.2253
1218 | 11.7042 | 417.4101 | 1.1058
1219 | 11.7142 | 397.4462 | 1.0529
1220 | 11.7242 | 449.498 | 1.1908
1221 | 11.7342 | 438.4915 | 1.1616
1222 | 11.7442 | 372.4847 | 0.98675
1223 | 11.7542 | 439.51 | 1.1643
1224 | 11.7642 | 407.4763 | 1.0794
1225 | 11.7742 | 439.5014 | 1.1643
1226 | 11.7842 | 415.5011 | 1.1007
1227 | 11.7942 | 464.5462 | 1.2306
1228 | 11.8042 | 412.5366 | 1.0928
1229 | 11.8142 | 412.5079 | 1.0928
1230 | 11.8242 | 441.523 | 1.1696
1231 | 11.8342 | 409.5328 | 1.0849
1232 | 11.8442 | 425.5711 | 1.1274
1233 | 11.8542 | 409.5551 | 1.085
1234 | 11.8642 | 453.6095 | 1.2017
1235 | 11.8742 | 415.5491 | 1.1008
1236 | 11.8842 | 409.5458 | 1.0849
1237 | 11.8942 | 436.6474 | 1.1567
1238 | 11.9042 | 429.6303 | 1.1381
1239 | 11.9142 | 384.592 | 1.0188
1240 | 11.9242 | 456.6575 | 1.2097
1241 | 11.9342 | 447.588 | 1.1857
1242 | 11.9442 | 409.5983 | 1.0851
1243 | 11.9542 | 421.6399 | 1.117
1244 | 11.9642 | 386.6062 | 1.0242
1245 | 11.9742 | 401.6006 | 1.0639
1246 | 11.9842 | 424.6418 | 1.1249
1247 | 11.9942 | 428.5992 | 1.1354
1248 | 12.0041 | 384.5761 | 1.0188
1249 | 12.0141 | 379.6043 | 1.0056
1250 | 12.0241 | 436.6542 | 1.1567
1251 | 12.0341 | 418.6534 | 1.1091
1252 | 12.0441 | 430.6454 | 1.1408
1253 | 12.0541 | 400.6186 | 1.0613
1254 | 12.0641 | 431.6763 | 1.1436
1255 | 12.0741 | 403.6543 | 1.0693
1256 | 12.0841 | 433.6544 | 1.1488
1257 | 12.0941 | 397.6463 | 1.0534
1258 | 12.1041 | 383.6188 | 1.0162
1259 | 12.1141 | 426.6736 | 1.1303
1260 | 12.1241 | 376.6267 | 0.99772
1261 | 12.1341 | 384.6252 | 1.0189
1262 | 12.1441 | 437.6516 | 1.1594
1263 | 12.1541 | 401.6516 | 1.064
1264 | 12.1641 | 419.6853 | 1.1118
1265 | 12.1741 | 427.7012 | 1.133
1266 | 12.1841 | 415.6858 | 1.1012
1267 | 12.1941 | 388.6498 | 1.0296
1268 | 12.2041 | 373.6407 | 0.98981
1269 | 12.2141 | 412.6773 | 1.0932
1270 | 12.2241 | 382.6771 | 1.0137
1271 | 12.2341 | 388.6644 | 1.0296
1272 | 12.2441 | 394.7133 | 1.0456
1273 | 12.2541 | 372.6738 | 0.98725
1274 | 12.2641 | 394.6953 | 1.0456
1275 | 12.2741 | 371.6713 | 0.98459
1276 | 12.2841 | 373.6482 | 0.98983
1277 | 12.2941 | 355.6313 | 0.9421
1278 | 12.3041 | 372.6202 | 0.98711
1279 | 12.3141 | 363.6468 | 0.96334
1280 | 12.3241 | 414.7046 | 1.0986
1281 | 12.334 | 377.6619 | 1.0005
1282 | 12.344 | 384.6881 | 1.0191
1283 | 12.354 | 399.7066 | 1.0589
1284 | 12.364 | 370.6886 | 0.98199
1285 | 12.374 | 368.6761 | 0.97666
1286 | 12.384 | 362.6394 | 0.96067
1287 | 12.394 | 387.6563 | 1.0269
1288 | 12.404 | 388.6854 | 1.0297
1289 | 12.414 | 375.7199 | 0.99532
1290 | 12.424 | 391.7421 | 1.0378
1291 | 12.434 | 356.746 | 0.94506
1292 | 12.444 | 356.7471 | 0.94506
1293 | 12.454 | 356.7195 | 0.94498
1294 | 12.464 | 399.7965 | 1.0591
1295 | 12.474 | 368.7688 | 0.9769
1296 | 12.484 | 408.7949 | 1.0829
1297 | 12.494 | 359.791 | 0.95312
1298 | 12.504 | 392.8306 | 1.0406
1299 | 12.514 | 304.7482 | 0.80731
1300 | 12.524 | 390.8317 | 1.0354
1301 | 12.534 | 352.8292 | 0.93468
1302 | 12.544 | 360.8148 | 0.95583
1303 | 12.554 | 349.7801 | 0.9266
1304 | 12.564 | 364.8078 | 0.96641
1305 | 12.574 | 331.7572 | 0.87886
1306 | 12.584 | 389.8027 | 1.0326
1307 | 12.594 | 378.8609 | 1.0036
1308 | 12.604 | 323.7629 | 0.85768
1309 | 12.614 | 369.8316 | 0.97972
1310 | 12.624 | 371.8005 | 0.98494
1311 | 12.634 | 381.8125 | 1.0115
1312 | 12.644 | 372.8557 | 0.98773
1313 | 12.654 | 374.83 | 0.99296
1314 | 12.6639 | 378.8616 | 1.0036
1315 | 12.6739 | 342.7951 | 0.9081
1316 | 12.6839 | 364.7959 | 0.96638
1317 | 12.6939 | 353.7901 | 0.93722
1318 | 12.7039 | 377.8128 | 1.0009
1319 | 12.7139 | 363.8297 | 0.96382
1320 | 12.7239 | 306.766 | 0.81265
1321 | 12.7339 | 355.8117 | 0.94258
1322 | 12.7439 | 371.8067 | 0.98495
1323 | 12.7539 | 354.8194 | 0.93995
1324 | 12.7639 | 335.7881 | 0.88954
1325 | 12.7739 | 351.7902 | 0.93193
1326 | 12.7839 | 341.8019 | 0.90547
1327 | 12.7939 | 359.836 | 0.95324
1328 | 12.8039 | 308.7935 | 0.81802
1329 | 12.8139 | 307.7948 | 0.81538
1330 | 12.8239 | 302.7686 | 0.80206
1331 | 12.8339 | 312.7888 | 0.82861
1332 | 12.8439 | 348.8155 | 0.92405
1333 | 12.8539 | 349.8018 | 0.92666
1334 | 12.8639 | 355.8376 | 0.94265
1335 | 12.8739 | 331.8081 | 0.87899
1336 | 12.8839 | 346.855 | 0.91885
1337 | 12.8939 | 334.8603 | 0.88708
1338 | 12.9039 | 334.8629 | 0.88708
1339 | 12.9139 | 335.8851 | 0.88979
1340 | 12.9239 | 346.8921 | 0.91895
1341 | 12.9339 | 371.9144 | 0.98524
1342 | 12.9439 | 349.8838 | 0.92688
1343 | 12.9539 | 307.8901 | 0.81563
1344 | 12.9639 | 308.8793 | 0.81825
1345 | 12.9739 | 346.9135 | 0.91901
1346 | 12.9839 | 332.9375 | 0.88198
1347 | 12.9939 | 307.9285 | 0.81573
1348 | 13.0038 | 320.9205 | 0.85015
1349 | 13.0138 | 340.9021 | 0.90308
1350 | 13.0238 | 324.8988 | 0.86069
1351 | 13.0338 | 294.893 | 0.7812
1352 | 13.0438 | 296.9098 | 0.78654
1353 | 13.0538 | 330.992 | 0.87683
1354 | 13.0638 | 328.9877 | 0.87152
1355 | 13.0738 | 311.9781 | 0.82646
1356 | 13.0838 | 332.0036 | 0.87951
1357 | 13.0938 | 337.0085 | 0.89277
1358 | 13.1038 | 339.9948 | 0.90068
1359 | 13.1138 | 318.9768 | 0.845
1360 | 13.1238 | 324.9444 | 0.86081
1361 | 13.1338 | 326.972 | 0.86618
1362 | 13.1438 | 332.9874 | 0.88212
1363 | 13.1538 | 336.0232 | 0.89016
1364 | 13.1638 | 320.0147 | 0.84775
1365 | 13.1738 | 309.0002 | 0.81857
1366 | 13.1838 | 314.0074 | 0.83184
1367 | 13.1938 | 307.0057 | 0.81329
1368 | 13.2038 | 307.9855 | 0.81588
1369 | 13.2138 | 313.9973 | 0.83181
1370 | 13.2238 | 328.9804 | 0.8715
1371 | 13.2338 | 317.9968 | 0.8424
1372 | 13.2438 | 330.006 | 0.87422
1373 | 13.2538 | 304.9916 | 0.80795
1374 | 13.2638 | 304.0024 | 0.80533
1375 | 13.2738 | 286.9651 | 0.7602
1376 | 13.2838 | 339.0559 | 0.89819
1377 | 13.2938 | 295.0033 | 0.78149
1378 | 13.3038 | 299.0059 | 0.7921
1379 | 13.3138 | 272.9943 | 0.72319
1380 | 13.3238 | 266.9818 | 0.70726
1381 | 13.3337 | 322.0513 | 0.85315
1382 | 13.3437 | 275.0212 | 0.72856
1383 | 13.3537 | 318.0403 | 0.84252
1384 | 13.3637 | 307.0324 | 0.81336
1385 | 13.3737 | 305.0317 | 0.80806
1386 | 13.3837 | 332.083 | 0.87972
1387 | 13.3937 | 341.0648 | 0.90351
1388 | 13.4037 | 300.0596 | 0.79489
1389 | 13.4137 | 312.0684 | 0.8267
1390 | 13.4237 | 282.0529 | 0.74719
1391 | 13.4337 | 305.1035 | 0.80825
1392 | 13.4437 | 282.0569 | 0.7472
1393 | 13.4537 | 334.1193 | 0.88511
1394 | 13.4637 | 275.0415 | 0.72861
1395 | 13.4737 | 302.0267 | 0.8001
1396 | 13.4837 | 295.0653 | 0.78166
1397 | 13.4937 | 261.0697 | 0.6916
1398 | 13.5037 | 302.1069 | 0.80031
1399 | 13.5137 | 291.1156 | 0.77119
1400 | 13.5237 | 309.1031 | 0.81884
1401 | 13.5337 | 287.0925 | 0.76054
1402 | 13.5437 | 304.1378 | 0.80569
1403 | 13.5537 | 266.0794 | 0.70487
1404 | 13.5637 | 310.1494 | 0.82162
1405 | 13.5737 | 309.108 | 0.81886
1406 | 13.5837 | 287.0823 | 0.76051
1407 | 13.5937 | 274.0994 | 0.72612
1408 | 13.6037 | 279.0803 | 0.73931
1409 | 13.6137 | 277.1012 | 0.73407
1410 | 13.6237 | 299.1294 | 0.79242
1411 | 13.6337 | 292.1072 | 0.77382
1412 | 13.6437 | 247.0831 | 0.65455
1413 | 13.6537 | 269.0781 | 0.71281
1414 | 13.6636 | 264.0876 | 0.69959
1415 | 13.6736 | 270.1045 | 0.71553
1416 | 13.6836 | 313.1427 | 0.82955
1417 | 13.6936 | 262.1194 | 0.69438
1418 | 13.7036 | 267.1194 | 0.70763
1419 | 13.7136 | 269.1362 | 0.71297
1420 | 13.7236 | 290.1667 | 0.76868
1421 | 13.7336 | 260.1005 | 0.68903
1422 | 13.7436 | 307.1382 | 0.81364
1423 | 13.7536 | 283.1122 | 0.74999
1424 | 13.7636 | 266.0772 | 0.70486
1425 | 13.7736 | 268.1025 | 0.71023
1426 | 13.7836 | 266.1404 | 0.70503
1427 | 13.7936 | 291.1497 | 0.77128
1428 | 13.8036 | 272.1791 | 0.72103
1429 | 13.8136 | 258.1737 | 0.68393
1430 | 13.8236 | 260.1609 | 0.68919
1431 | 13.8336 | 294.191 | 0.77934
1432 | 13.8436 | 261.1758 | 0.69188
1433 | 13.8536 | 284.1651 | 0.75278
1434 | 13.8636 | 262.1546 | 0.69447
1435 | 13.8736 | 277.1563 | 0.73421
1436 | 13.8836 | 276.1742 | 0.73161
1437 | 13.8936 | 302.1822 | 0.80051
1438 | 13.9036 | 268.1715 | 0.71041
1439 | 13.9136 | 268.2385 | 0.71059
1440 | 13.9236 | 264.2264 | 0.69996
1441 | 13.9336 | 269.2535 | 0.71328
1442 | 13.9436 | 277.2471 | 0.73445
1443 | 13.9536 | 262.1949 | 0.69458
1444 | 13.9636 | 269.2048 | 0.71315
1445 | 13.9736 | 244.1667 | 0.64682
1446 | 13.9836 | 272.2193 | 0.72114
1447 | 13.9936 | 228.1916 | 0.6045
1448 | 14.0035 | 258.2342 | 0.68409
1449 | 14.0135 | 248.2394 | 0.65761
1450 | 14.0235 | 252.2141 | 0.66814
1451 | 14.0335 | 262.229 | 0.69467
1452 | 14.0435 | 266.1902 | 0.70516
1453 | 14.0535 | 290.2373 | 0.76887
1454 | 14.0635 | 256.2199 | 0.67875
1455 | 14.0735 | 264.2458 | 0.70001
1456 | 14.0835 | 276.2139 | 0.73172
1457 | 14.0935 | 274.2251 | 0.72645
1458 | 14.1035 | 272.2452 | 0.7212
1459 | 14.1135 | 265.2426 | 0.70265
1460 | 14.1235 | 278.2682 | 0.73716
1461 | 14.1335 | 305.2927 | 0.80875
1462 | 14.1435 | 301.2996 | 0.79817
1463 | 14.1535 | 283.2743 | 0.75042
1464 | 14.1635 | 263.2625 | 0.69741
1465 | 14.1735 | 270.293 | 0.71603
1466 | 14.1835 | 244.2718 | 0.6471
1467 | 14.1935 | 258.2863 | 0.68423
1468 | 14.2035 | 270.3046 | 0.71606
1469 | 14.2135 | 240.2777 | 0.63652
1470 | 14.2235 | 252.2696 | 0.66829
1471 | 14.2335 | 267.2964 | 0.70809
1472 | 14.2435 | 231.2728 | 0.61266
1473 | 14.2535 | 241.298 | 0.63922
1474 | 14.2635 | 249.3458 | 0.66054
1475 | 14.2735 | 249.3145 | 0.66046
1476 | 14.2835 | 217.2692 | 0.57557
1477 | 14.2935 | 252.3174 | 0.66841
1478 | 14.3035 | 250.323 | 0.66313
1479 | 14.3135 | 245.3417 | 0.64993
1480 | 14.3235 | 251.3233 | 0.66578
1481 | 14.3334 | 270.3659 | 0.71623
1482 | 14.3434 | 207.2689 | 0.54908
1483 | 14.3534 | 256.2945 | 0.67895
1484 | 14.3634 | 225.3032 | 0.59685
1485 | 14.3734 | 264.32 | 0.70021
1486 | 14.3834 | 243.3178 | 0.64457
1487 | 14.3934 | 217.3215 | 0.57571
1488 | 14.4034 | 243.3228 | 0.64459
1489 | 14.4134 | 216.3199 | 0.57305
1490 | 14.4234 | 247.3394 | 0.65523
1491 | 14.4334 | 247.3451 | 0.65524
1492 | 14.4434 | 245.3474 | 0.64995
1493 | 14.4534 | 241.3261 | 0.6393
1494 | 14.4634 | 214.3174 | 0.56775
1495 | 14.4734 | 237.3744 | 0.62883
1496 | 14.4834 | 228.3673 | 0.60497
1497 | 14.4934 | 244.3832 | 0.64739
1498 | 14.5034 | 205.3562 | 0.54401
1499 | 14.5134 | 235.3695 | 0.62352
1500 | 14.5234 | 236.3723 | 0.62617
1501 | 14.5334 | 227.3903 | 0.60238
1502 | 14.5434 | 211.3915 | 0.56
1503 | 14.5534 | 222.3784 | 0.5891
1504 | 14.5634 | 224.4199 | 0.59451
1505 | 14.5734 | 236.4089 | 0.62627
1506 | 14.5834 | 228.3705 | 0.60498
1507 | 14.5934 | 240.4008 | 0.63685
1508 | 14.6034 | 255.412 | 0.67661
1509 | 14.6134 | 235.381 | 0.62355
1510 | 14.6234 | 252.4213 | 0.66869
1511 | 14.6334 | 231.3765 | 0.61294
1512 | 14.6434 | 237.3933 | 0.62888
1513 | 14.6534 | 237.406 | 0.62891
1514 | 14.6633 | 218.3702 | 0.57848
1515 | 14.6733 | 234.4036 | 0.62096
1516 | 14.6833 | 237.4303 | 0.62898
1517 | 14.6933 | 244.4246 | 0.6475
1518 | 14.7033 | 199.4047 | 0.52824
1519 | 14.7133 | 237.4237 | 0.62896
1520 | 14.7233 | 240.4094 | 0.63687
1521 | 14.7333 | 212.3984 | 0.56266
1522 | 14.7433 | 200.4108 | 0.53091
1523 | 14.7533 | 229.4258 | 0.60777
1524 | 14.7633 | 251.4589 | 0.66614
1525 | 14.7733 | 236.4551 | 0.62639
1526 | 14.7833 | 224.4448 | 0.59458
1527 | 14.7933 | 225.4584 | 0.59726
1528 | 14.8033 | 192.4454 | 0.50981
1529 | 14.8133 | 216.451 | 0.5734
1530 | 14.8233 | 206.4413 | 0.54688
1531 | 14.8333 | 213.4627 | 0.56548
1532 | 14.8433 | 198.4543 | 0.52572
1533 | 14.8533 | 223.4854 | 0.59203
1534 | 14.8633 | 211.4762 | 0.56022
1535 | 14.8733 | 250.4801 | 0.66355
1536 | 14.8833 | 212.4555 | 0.56282
1537 | 14.8933 | 221.4851 | 0.58674
1538 | 14.9033 | 188.4667 | 0.49927
1539 | 14.9133 | 206.4916 | 0.54702
1540 | 14.9233 | 196.4653 | 0.52046
1541 | 14.9333 | 202.491 | 0.53642
1542 | 14.9433 | 186.4695 | 0.49398
1543 | 14.9533 | 212.4973 | 0.56293
1544 | 14.9633 | 198.4829 | 0.5258
1545 | 14.9733 | 232.5189 | 0.61597
1546 | 14.9833 | 204.4793 | 0.54169
1547 | 14.9933 | 216.4934 | 0.57351
1548 | 15.0032 | 211.5278 | 0.56036
1549 | 15.0132 | 215.5221 | 0.57094
1550 | 15.0232 | 234.5311 | 0.6213
1551 | 15.0332 | 195.4944 | 0.51788
1552 | 15.0432 | 217.5181 | 0.57623
1553 | 15.0532 | 209.5133 | 0.55502
1554 | 15.0632 | 212.5145 | 0.56297
1555 | 15.0732 | 209.5462 | 0.55511
1556 | 15.0832 | 194.5104 | 0.51528
1557 | 15.0932 | 183.4882 | 0.48608
1558 | 15.1032 | 211.5358 | 0.56038
1559 | 15.1132 | 197.5051 | 0.52321
1560 | 15.1232 | 200.543 | 0.53126
1561 | 15.1332 | 174.5262 | 0.46234
1562 | 15.1432 | 212.5488 | 0.56306
1563 | 15.1532 | 178.5262 | 0.47293
1564 | 15.1632 | 191.5411 | 0.50741
1565 | 15.1732 | 182.5384 | 0.48356
1566 | 15.1832 | 178.5461 | 0.47299
1567 | 15.1932 | 194.5574 | 0.5154
1568 | 15.2032 | 173.5486 | 0.45975
1569 | 15.2132 | 206.5789 | 0.54725
1570 | 15.2232 | 230.6122 | 0.61091
1571 | 15.2332 | 194.6087 | 0.51554
1572 | 15.2432 | 173.5669 | 0.4598
1573 | 15.2532 | 185.5634 | 0.49158
1574 | 15.2632 | 181.5663 | 0.48099
1575 | 15.2732 | 199.5889 | 0.52873
1576 | 15.2832 | 187.5787 | 0.49691
1577 | 15.2932 | 169.5602 | 0.44918
1578 | 15.3032 | 194.5954 | 0.5155
1579 | 15.3132 | 169.5597 | 0.44918
1580 | 15.3232 | 211.5865 | 0.56051
1581 | 15.3331 | 199.6101 | 0.52879
1582 | 15.3431 | 186.5853 | 0.49428
1583 | 15.3531 | 205.5912 | 0.54463
1584 | 15.3631 | 191.5957 | 0.50756
1585 | 15.3731 | 190.6061 | 0.50493
1586 | 15.3831 | 199.633 | 0.52885
1587 | 15.3931 | 183.637 | 0.48647
1588 | 15.4031 | 206.6395 | 0.54741
1589 | 15.4131 | 189.6567 | 0.50242
1590 | 15.4231 | 187.6414 | 0.49708
1591 | 15.4331 | 186.6292 | 0.4944
1592 | 15.4431 | 178.6206 | 0.47318
1593 | 15.4531 | 185.6309 | 0.49175
1594 | 15.4631 | 170.6095 | 0.45196
1595 | 15.4731 | 168.6119 | 0.44667
1596 | 15.4831 | 197.636 | 0.52356
1597 | 15.4931 | 186.6144 | 0.49436
1598 | 15.5031 | 193.6622 | 0.51303
1599 | 15.5131 | 199.6567 | 0.52891
1600 | 15.5231 | 185.6186 | 0.49172
1601 | 15.5331 | 161.6009 | 0.4281
1602 | 15.5431 | 187.6173 | 0.49702
1603 | 15.5531 | 144.5964 | 0.38305
1604 | 15.5631 | 162.622 | 0.4308
1605 | 15.5731 | 167.6428 | 0.4441
1606 | 15.5831 | 177.6675 | 0.47066
1607 | 15.5931 | 159.6186 | 0.42285
1608 | 15.6031 | 202.6731 | 0.5369
1609 | 15.6131 | 183.6671 | 0.48655
1610 | 15.6231 | 197.6664 | 0.52364
1611 | 15.6331 | 182.6377 | 0.48383
1612 | 15.6431 | 212.6666 | 0.56337
1613 | 15.6531 | 194.6864 | 0.51574
1614 | 15.663 | 154.6419 | 0.40966
1615 | 15.673 | 177.6827 | 0.4707
1616 | 15.683 | 159.672 | 0.42299
1617 | 15.693 | 175.6841 | 0.4654
1618 | 15.703 | 195.7135 | 0.51846
1619 | 15.713 | 185.6935 | 0.49192
1620 | 15.723 | 199.7021 | 0.52903
1621 | 15.733 | 179.6836 | 0.476
1622 | 15.743 | 184.7044 | 0.4893
1623 | 15.753 | 177.683 | 0.4707
1624 | 15.763 | 163.6611 | 0.43355
1625 | 15.773 | 187.7081 | 0.49726
1626 | 15.783 | 170.696 | 0.45219
1627 | 15.793 | 218.7192 | 0.57941
1628 | 15.803 | 171.6757 | 0.45479
1629 | 15.813 | 173.678 | 0.46009
1630 | 15.823 | 153.6789 | 0.40711
1631 | 15.833 | 203.715 | 0.53966
1632 | 15.843 | 171.7012 | 0.45485
1633 | 15.853 | 159.6897 | 0.42303
1634 | 15.863 | 159.668 | 0.42298
1635 | 15.873 | 154.6804 | 0.40976
1636 | 15.883 | 155.6865 | 0.41243
1637 | 15.893 | 149.7 | 0.39657
1638 | 15.903 | 165.7278 | 0.43903
1639 | 15.913 | 157.7111 | 0.41779
1640 | 15.923 | 145.7181 | 0.38602
1641 | 15.933 | 158.7326 | 0.4205
1642 | 15.943 | 161.7307 | 0.42844
1643 | 15.953 | 158.7377 | 0.42051
1644 | 15.963 | 158.76 | 0.42057
1645 | 15.973 | 177.7834 | 0.47097
1646 | 15.983 | 172.7931 | 0.45775
1647 | 15.993 | 172.7887 | 0.45773
1648 | 16.0029 | 157.7459 | 0.41788
1649 | 16.0129 | 130.708 | 0.34626
1650 | 16.0229 | 166.7513 | 0.44174
1651 | 16.0329 | 172.7675 | 0.45768
1652 | 16.0429 | 149.7381 | 0.39667
1653 | 16.0529 | 150.7537 | 0.39936
1654 | 16.0629 | 135.7397 | 0.35959
1655 | 16.0729 | 162.7589 | 0.43116
1656 | 16.0829 | 130.7449 | 0.34636
1657 | 16.0929 | 173.7814 | 0.46036
1658 | 16.1029 | 171.7681 | 0.45503
1659 | 16.1129 | 148.773 | 0.39411
1660 | 16.1229 | 168.7874 | 0.44713
1661 | 16.1329 | 156.7813 | 0.41533
1662 | 16.1429 | 142.785 | 0.37825
1663 | 16.1529 | 167.7918 | 0.4445
1664 | 16.1629 | 150.76 | 0.39938
1665 | 16.1729 | 164.7846 | 0.43653
1666 | 16.1829 | 148.789 | 0.39416
1667 | 16.1929 | 156.8101 | 0.41541
1668 | 16.2029 | 173.8548 | 0.46056
1669 | 16.2129 | 160.8306 | 0.42606
1670 | 16.2229 | 138.8177 | 0.36774
1671 | 16.2329 | 148.8219 | 0.39424
1672 | 16.2429 | 150.795 | 0.39947
1673 | 16.2529 | 148.7993 | 0.39418
1674 | 16.2629 | 163.8045 | 0.43393
1675 | 16.2729 | 155.7929 | 0.41271
1676 | 16.2829 | 145.7869 | 0.3862
1677 | 16.2929 | 141.8216 | 0.3757
1678 | 16.3029 | 163.8332 | 0.43401
1679 | 16.3129 | 121.8014 | 0.32266
1680 | 16.3229 | 154.8347 | 0.41017
1681 | 16.3328 | 167.8339 | 0.44461
1682 | 16.3428 | 150.8155 | 0.39953
1683 | 16.3528 | 148.8007 | 0.39419
1684 | 16.3628 | 162.8425 | 0.43139
1685 | 16.3728 | 142.8406 | 0.3784
1686 | 16.3828 | 164.8527 | 0.43671
1687 | 16.3928 | 141.8257 | 0.37571
1688 | 16.4028 | 143.8383 | 0.38104
1689 | 16.4128 | 156.8608 | 0.41554
1690 | 16.4228 | 140.8363 | 0.37309
1691 | 16.4328 | 126.8266 | 0.33598
1692 | 16.4428 | 141.8524 | 0.37578
1693 | 16.4528 | 122.8302 | 0.32539
1694 | 16.4628 | 145.8718 | 0.38643
1695 | 16.4728 | 152.8985 | 0.40504
1696 | 16.4828 | 146.8835 | 0.38911
1697 | 16.4928 | 132.8648 | 0.35197
1698 | 16.5028 | 150.8781 | 0.39969
1699 | 16.5128 | 140.8672 | 0.37317
1700 | 16.5228 | 146.8876 | 0.38912
1701 | 16.5328 | 146.8816 | 0.3891
1702 | 16.5428 | 135.8895 | 0.35998
1703 | 16.5528 | 125.8749 | 0.33345
1704 | 16.5628 | 147.8915 | 0.39178
1705 | 16.5728 | 147.8959 | 0.39179
1706 | 16.5828 | 137.8766 | 0.36525
1707 | 16.5928 | 133.8795 | 0.35466
1708 | 16.6028 | 130.8766 | 0.3467
1709 | 16.6128 | 135.8721 | 0.35994
1710 | 16.6228 | 163.9082 | 0.43421
1711 | 16.6328 | 150.9135 | 0.39978
1712 | 16.6428 | 136.9141 | 0.3627
1713 | 16.6528 | 136.908 | 0.36268
1714 | 16.6627 | 135.9234 | 0.36007
1715 | 16.6727 | 154.9276 | 0.41042
1716 | 16.6827 | 129.9084 | 0.34414
1717 | 16.6927 | 146.9286 | 0.38923
1718 | 16.7027 | 133.9114 | 0.35474
1719 | 16.7127 | 137.9207 | 0.36537
1720 | 16.7227 | 133.9316 | 0.3548
1721 | 16.7327 | 152.9456 | 0.40517
1722 | 16.7427 | 142.9262 | 0.37863
1723 | 16.7527 | 109.9008 | 0.29114
1724 | 16.7627 | 130.9178 | 0.34681
1725 | 16.7727 | 135.9275 | 0.36009
1726 | 16.7827 | 135.9466 | 0.36014
1727 | 16.7927 | 132.9559 | 0.35221
1728 | 16.8027 | 135.9313 | 0.3601
1729 | 16.8127 | 139.935 | 0.3707
1730 | 16.8227 | 111.8915 | 0.29641
1731 | 16.8327 | 138.9462 | 0.36808
1732 | 16.8427 | 144.9537 | 0.384
1733 | 16.8527 | 127.9391 | 0.33892
1734 | 16.8627 | 148.9688 | 0.39463
1735 | 16.8727 | 114.9565 | 0.30453
1736 | 16.8827 | 126.9438 | 0.33629
1737 | 16.8927 | 134.9599 | 0.35752
1738 | 16.9027 | 132.9481 | 0.35219
1739 | 16.9127 | 130.9716 | 0.34696
1740 | 16.9227 | 126.9788 | 0.33638
1741 | 16.9327 | 119.9826 | 0.31785
1742 | 16.9427 | 127.971 | 0.33901
1743 | 16.9527 | 124.9598 | 0.33103
1744 | 16.9627 | 128.9628 | 0.34164
1745 | 16.9727 | 115.9677 | 0.30721
1746 | 16.9827 | 96.9496 | 0.25683
1747 | 16.9927 | 127.0003 | 0.33644
1748 | 17.0026 | 130.0056 | 0.3444
1749 | 17.0126 | 120.9813 | 0.32049
1750 | 17.0226 | 117.9811 | 0.31254
1751 | 17.0326 | 121.9809 | 0.32314
1752 | 17.0426 | 123.9975 | 0.32848
1753 | 17.0526 | 116.9753 | 0.30988
1754 | 17.0626 | 136.9776 | 0.36287
1755 | 17.0726 | 143.0052 | 0.37883
1756 | 17.0826 | 110.9767 | 0.29399
1757 | 17.0926 | 133.0015 | 0.35233
1758 | 17.1026 | 142.0042 | 0.37618
1759 | 17.1126 | 131.9975 | 0.34967
1760 | 17.1226 | 120.9961 | 0.32053
1761 | 17.1326 | 112.9857 | 0.29931
1762 | 17.1426 | 106.9723 | 0.28338
1763 | 17.1526 | 127.0018 | 0.33644
1764 | 17.1626 | 90.9973 | 0.24106
1765 | 17.1726 | 115.0195 | 0.3047
1766 | 17.1826 | 115.0137 | 0.30468
1767 | 17.1926 | 120.0288 | 0.31797
1768 | 17.2026 | 111.0122 | 0.29408
1769 | 17.2126 | 116.0125 | 0.30733
1770 | 17.2226 | 116.0202 | 0.30735
1771 | 17.2326 | 124.0321 | 0.32857
1772 | 17.2426 | 134.0325 | 0.35507
1773 | 17.2526 | 94.0065 | 0.24903
1774 | 17.2626 | 115.0352 | 0.30474
1775 | 17.2726 | 132.0431 | 0.3498
1776 | 17.2826 | 125.062 | 0.3313
1777 | 17.2926 | 131.0807 | 0.34725
1778 | 17.3026 | 116.049 | 0.30743
1779 | 17.3126 | 114.0526 | 0.30214
1780 | 17.3226 | 102.0487 | 0.27034
1781 | 17.3325 | 98.0313 | 0.25969
1782 | 17.3425 | 133.0685 | 0.35251
1783 | 17.3525 | 104.0534 | 0.27565
1784 | 17.3625 | 101.0539 | 0.2677
1785 | 17.3725 | 117.0797 | 0.31016
1786 | 17.3825 | 132.0623 | 0.34985
1787 | 17.3925 | 128.0583 | 0.33924
1788 | 17.4025 | 97.0328 | 0.25705
1789 | 17.4125 | 120.0778 | 0.3181
1790 | 17.4225 | 102.068 | 0.27039
1791 | 17.4325 | 106.0792 | 0.28101
1792 | 17.4425 | 103.0603 | 0.27302
1793 | 17.4525 | 94.0572 | 0.24917
1794 | 17.4625 | 110.0637 | 0.29157
1795 | 17.4725 | 106.0619 | 0.28097
1796 | 17.4825 | 106.0666 | 0.28098
1797 | 17.4925 | 94.0648 | 0.24919
1798 | 17.5025 | 118.0756 | 0.31279
1799 | 17.5125 | 122.0817 | 0.32341
1800 | 17.5225 | 97.0472 | 0.25709
1801 | 17.5325 | 101.0682 | 0.26774
1802 | 17.5425 | 121.0957 | 0.32079
1803 | 17.5525 | 119.0972 | 0.3155
1804 | 17.5625 | 119.0893 | 0.31548
1805 | 17.5725 | 101.0879 | 0.26779
1806 | 17.5825 | 116.1053 | 0.30757
1807 | 17.5925 | 101.0962 | 0.26781
1808 | 17.6025 | 108.0923 | 0.28635
1809 | 17.6125 | 127.1192 | 0.33675
1810 | 17.6225 | 111.0968 | 0.29431
1811 | 17.6325 | 116.1017 | 0.30756
1812 | 17.6425 | 105.1036 | 0.27843
1813 | 17.6525 | 106.1201 | 0.28112
1814 | 17.6624 | 119.1487 | 0.31564
1815 | 17.6724 | 102.1145 | 0.27051
1816 | 17.6824 | 108.1251 | 0.28643
1817 | 17.6924 | 111.1221 | 0.29437
1818 | 17.7024 | 108.0925 | 0.28635
1819 | 17.7124 | 96.0837 | 0.25454
1820 | 17.7224 | 95.0999 | 0.25193
1821 | 17.7324 | 81.0901 | 0.21482
1822 | 17.7424 | 90.0954 | 0.23867
1823 | 17.7524 | 114.1402 | 0.30237
1824 | 17.7624 | 117.1246 | 0.31027
1825 | 17.7724 | 104.1024 | 0.27578
1826 | 17.7824 | 98.0902 | 0.25985
1827 | 17.7924 | 114.0965 | 0.30225
1828 | 17.8024 | 104.0902 | 0.27575
1829 | 17.8124 | 109.106 | 0.28903
1830 | 17.8224 | 109.1153 | 0.28906
1831 | 17.8324 | 100.0991 | 0.26517
1832 | 17.8424 | 105.1216 | 0.27848
1833 | 17.8524 | 114.1389 | 0.30237
1834 | 17.8624 | 94.1198 | 0.24933
1835 | 17.8724 | 107.128 | 0.28379
1836 | 17.8824 | 98.1362 | 0.25997
1837 | 17.8924 | 87.1251 | 0.2308
1838 | 17.9024 | 103.1327 | 0.27321
1839 | 17.9124 | 116.1434 | 0.30768
1840 | 17.9224 | 107.1722 | 0.28391
1841 | 17.9324 | 94.1522 | 0.24942
1842 | 17.9424 | 91.1679 | 0.24151
1843 | 17.9524 | 75.1454 | 0.19907
1844 | 17.9624 | 96.1743 | 0.25478
1845 | 17.9724 | 84.1493 | 0.22292
1846 | 17.9824 | 91.154 | 0.24148
1847 | 17.9924 | 110.1611 | 0.29183
1848 | 18.0023 | 97.1682 | 0.25741
1849 | 18.0123 | 110.1976 | 0.29192
1850 | 18.0223 | 107.1897 | 0.28396
1851 | 18.0323 | 107.1859 | 0.28395
1852 | 18.0423 | 75.165 | 0.19912
1853 | 18.0523 | 95.1674 | 0.25211
1854 | 18.0623 | 84.1609 | 0.22295
1855 | 18.0723 | 80.1671 | 0.21237
1856 | 18.0823 | 90.1658 | 0.23886
1857 | 18.0923 | 94.1516 | 0.24942
1858 | 18.1023 | 109.1896 | 0.28925
1859 | 18.1123 | 78.1566 | 0.20704
1860 | 18.1223 | 80.1641 | 0.21236
1861 | 18.1323 | 96.2019 | 0.25485
1862 | 18.1423 | 103.2125 | 0.27342
1863 | 18.1523 | 93.1965 | 0.24689
1864 | 18.1623 | 87.2051 | 0.23101
1865 | 18.1723 | 101.2169 | 0.26813
1866 | 18.1823 | 101.2003 | 0.26809
1867 | 18.1923 | 96.1808 | 0.25479
1868 | 18.2023 | 108.1961 | 0.28662
1869 | 18.2123 | 90.1917 | 0.23893
1870 | 18.2223 | 81.1793 | 0.21505
1871 | 18.2323 | 95.1862 | 0.25216
1872 | 18.2423 | 99.2448 | 0.26291
1873 | 18.2523 | 100.2613 | 0.2656
1874 | 18.2623 | 100.2591 | 0.2656
1875 | 18.2723 | 86.2466 | 0.22848
1876 | 18.2823 | 98.2575 | 0.26029
1877 | 18.2923 | 78.2402 | 0.20727
1878 | 18.3023 | 90.2521 | 0.23909
1879 | 18.3123 | 89.2533 | 0.23644
1880 | 18.3223 | 85.2516 | 0.22584
1881 | 18.3322 | 92.2593 | 0.2444
1882 | 18.3422 | 82.2529 | 0.2179
1883 | 18.3522 | 90.2635 | 0.23912
1884 | 18.3622 | 100.2757 | 0.26564
1885 | 18.3722 | 91.2702 | 0.24178
1886 | 18.3822 | 85.2669 | 0.22588
1887 | 18.3922 | 79.264 | 0.20998
1888 | 18.4022 | 93.2785 | 0.2471
1889 | 18.4122 | 78.267 | 0.20734
1890 | 18.4222 | 94.283 | 0.24976
1891 | 18.4322 | 86.2787 | 0.22856
1892 | 18.4422 | 87.2831 | 0.23122
1893 | 18.4522 | 93.2924 | 0.24714
1894 | 18.4622 | 86.2904 | 0.22859
1895 | 18.4722 | 77.2859 | 0.20474
1896 | 18.4822 | 80.2908 | 0.2127
1897 | 18.4922 | 86.2976 | 0.22861
1898 | 18.5022 | 82.2958 | 0.21801
1899 | 18.5122 | 86.3009 | 0.22862
1900 | 18.5222 | 82.2987 | 0.21802
1901 | 18.5322 | 68.2881 | 0.1809
1902 | 18.5422 | 61.2846 | 0.16235
1903 | 18.5522 | 92.3147 | 0.24455
1904 | 18.5622 | 84.3103 | 0.22335
1905 | 18.5722 | 103.3297 | 0.27373
1906 | 18.5822 | 69.3019 | 0.18359
1907 | 18.5922 | 85.3177 | 0.22601
1908 | 18.6022 | 86.3204 | 0.22867
1909 | 18.6122 | 79.3159 | 0.21012
1910 | 18.6222 | 63.302 | 0.16769
1911 | 18.6322 | 89.3235 | 0.23663
1912 | 18.6422 | 77.3118 | 0.20481
1913 | 18.6522 | 97.3296 | 0.25784
1914 | 18.6621 | 68.3043 | 0.18094
1915 | 18.6721 | 70.3052 | 0.18625
1916 | 18.6821 | 65.3007 | 0.17299
1917 | 18.6921 | 88.3234 | 0.23398
1918 | 18.7021 | 91.3294 | 0.24194
1919 | 18.7121 | 93.3333 | 0.24725
1920 | 18.7221 | 79.3231 | 0.21013
1921 | 18.7321 | 89.3356 | 0.23666
1922 | 18.7421 | 66.3197 | 0.17569
1923 | 18.7521 | 74.3299 | 0.19691
1924 | 18.7621 | 88.3451 | 0.23403
1925 | 18.7721 | 77.3395 | 0.20488
1926 | 18.7821 | 77.3441 | 0.20489
1927 | 18.7921 | 59.3314 | 0.15717
1928 | 18.8021 | 82.3538 | 0.21816
1929 | 18.8121 | 91.3649 | 0.24203
1930 | 18.8221 | 66.3464 | 0.17576
1931 | 18.8321 | 75.3562 | 0.19963
1932 | 18.8421 | 72.3546 | 0.19167
1933 | 18.8521 | 85.3684 | 0.22615
1934 | 18.8621 | 79.3658 | 0.21025
1935 | 18.8721 | 73.3611 | 0.19434
1936 | 18.8821 | 83.3693 | 0.22085
1937 | 18.8921 | 91.3774 | 0.24207
1938 | 18.9021 | 82.372 | 0.21821
1939 | 18.9121 | 64.3578 | 0.17049
1940 | 18.9221 | 70.3631 | 0.1864
1941 | 18.9321 | 75.3681 | 0.19966
1942 | 18.9421 | 67.3627 | 0.17845
1943 | 18.9521 | 78.3729 | 0.20762
1944 | 18.9621 | 76.3702 | 0.20231
1945 | 18.9721 | 72.3659 | 0.1917
1946 | 18.9821 | 71.3652 | 0.18905
1947 | 18.9921 | 81.3736 | 0.21557
1948 | 19.002 | 76.3678 | 0.20231
1949 | 19.012 | 73.3644 | 0.19435
1950 | 19.022 | 83.3743 | 0.22087
1951 | 19.032 | 63.3586 | 0.16784
1952 | 19.042 | 61.3582 | 0.16254
1953 | 19.052 | 78.3739 | 0.20762
1954 | 19.062 | 68.3668 | 0.18111
1955 | 19.072 | 65.367 | 0.17316
1956 | 19.082 | 79.382 | 0.21029
1957 | 19.092 | 72.3781 | 0.19174
1958 | 19.102 | 66.3761 | 0.17584
1959 | 19.112 | 62.3765 | 0.16524
1960 | 19.122 | 52.3701 | 0.13873
1961 | 19.132 | 86.4018 | 0.22889
1962 | 19.142 | 77.3965 | 0.20503
1963 | 19.152 | 79.4014 | 0.21034
1964 | 19.162 | 54.3818 | 0.14406
1965 | 19.172 | 59.3884 | 0.15733
1966 | 19.182 | 56.3884 | 0.14938
1967 | 19.192 | 74.4071 | 0.19711
1968 | 19.202 | 63.3993 | 0.16795
1969 | 19.212 | 73.409 | 0.19447
1970 | 19.222 | 71.4086 | 0.18917
1971 | 19.232 | 70.4097 | 0.18652
1972 | 19.242 | 61.4022 | 0.16266
1973 | 19.252 | 73.4107 | 0.19447
1974 | 19.262 | 70.4055 | 0.18651
1975 | 19.272 | 84.4164 | 0.22363
1976 | 19.282 | 60.394 | 0.15999
1977 | 19.292 | 58.3903 | 0.15468
1978 | 19.302 | 61.3916 | 0.16263
1979 | 19.312 | 73.4025 | 0.19445
1980 | 19.322 | 59.3912 | 0.15733
1981 | 19.3319 | 60.3926 | 0.15999
1982 | 19.3419 | 59.3923 | 0.15734
1983 | 19.3519 | 74.4071 | 0.19711
1984 | 19.3619 | 61.3972 | 0.16265
1985 | 19.3719 | 76.4107 | 0.20242
1986 | 19.3819 | 76.4105 | 0.20242
1987 | 19.3919 | 71.4071 | 0.18916
1988 | 19.4019 | 64.4031 | 0.17061
1989 | 19.4119 | 53.3958 | 0.14145
1990 | 19.4219 | 75.4175 | 0.19979
1991 | 19.4319 | 61.4073 | 0.16267
1992 | 19.4419 | 67.4139 | 0.17859
1993 | 19.4519 | 83.429 | 0.22101
1994 | 19.4619 | 74.4226 | 0.19715
1995 | 19.4719 | 63.4154 | 0.16799
1996 | 19.4819 | 62.4173 | 0.16535
1997 | 19.4919 | 65.4231 | 0.17331
1998 | 19.5019 | 43.4074 | 0.11499
1999 | 19.5119 | 63.4296 | 0.16803
2000 | 19.5219 | 61.4329 | 0.16274
2001 | 19.5319 | 67.4436 | 0.17866
2002 | 19.5419 | 70.4508 | 0.18663
2003 | 19.5519 | 65.4497 | 0.17338
2004 | 19.5619 | 61.449 | 0.16278
2005 | 19.5719 | 59.4499 | 0.15749
2006 | 19.5819 | 72.4623 | 0.19196
2007 | 19.5919 | 56.4475 | 0.14953
2008 | 19.6019 | 59.4502 | 0.15749
2009 | 19.6119 | 65.4564 | 0.1734
2010 | 19.6219 | 68.4585 | 0.18135
2011 | 19.6319 | 56.4464 | 0.14953
2012 | 19.6419 | 64.4537 | 0.17074
2013 | 19.6519 | 73.4643 | 0.19461
2014 | 19.6618 | 76.4698 | 0.20258
2015 | 19.6718 | 45.4444 | 0.12039
2016 | 19.6818 | 67.4656 | 0.17872
2017 | 19.6918 | 48.4506 | 0.12835
2018 | 19.7018 | 65.4668 | 0.17343
2019 | 19.7118 | 47.4519 | 0.1257
2020 | 19.7218 | 65.4695 | 0.17344
2021 | 19.7318 | 63.4694 | 0.16814
2022 | 19.7418 | 72.4784 | 0.192
2023 | 19.7518 | 54.4633 | 0.14428
2024 | 19.7618 | 45.4567 | 0.12042
2025 | 19.7718 | 55.4673 | 0.14694
2026 | 19.7818 | 59.4729 | 0.15755
2027 | 19.7918 | 55.4712 | 0.14695
2028 | 19.8018 | 67.4828 | 0.17877
2029 | 19.8118 | 59.4764 | 0.15756
2030 | 19.8218 | 56.4745 | 0.14961
2031 | 19.8318 | 66.4844 | 0.17612
2032 | 19.8418 | 80.4978 | 0.21325
2033 | 19.8518 | 57.4785 | 0.15227
2034 | 19.8618 | 71.4919 | 0.18939
2035 | 19.8718 | 63.4859 | 0.16818
2036 | 19.8818 | 51.4768 | 0.13637
2037 | 19.8918 | 59.4858 | 0.15758
2038 | 19.9018 | 64.492 | 0.17085
2039 | 19.9118 | 50.4809 | 0.13373
2040 | 19.9218 | 55.487 | 0.14699
2041 | 19.9318 | 71.5028 | 0.18942
2042 | 19.9418 | 60.4938 | 0.16025
2043 | 19.9518 | 53.4883 | 0.1417
2044 | 19.9618 | 44.4817 | 0.11784
2045 | 19.9718 | 51.4879 | 0.1364
2046 | 19.9818 | 54.4425 | 0.14422