## Spectrum
Bruker Nano Berlin, Germany |  |  | 5/15/2020
Esprit
Spectrum: | 5%_Olivine_Cement.xlsx
Date: | 5/15/2020
Primary energy: |  | 20 | keV
Tilt angle: |  | 0 | °
Take off angle: |  | 35 | °
Azimut angle: |  | 45 | °
Real time: |  | 1207960 | ms
Life time: |  | 1182276 | ms
Detector type: |  | XFlash 6¦60
Si dead layer: |  | 0.029 | µm
Detector thickness: |  | 0.45 | mm
Window type: |  | slew AP3.3
Fano factor: |  | 0.10774
Mn FWHM: |  | 123.7211 | eV
Calibration, lin.: |  | 9.997 | eV
Calibration, abs.: |  | -472.1083 | eV
Channels: |  | 2048
Channel | Energy | Counts | CPS
0 | -0.47211 | 0 | 0
1 | -0.46211 | 0 | 0
2 | -0.45211 | 0 | 0
3 | -0.44212 | 0 | 0
4 | -0.43212 | 0 | 0
5 | -0.42212 | 0 | 0
6 | -0.41213 | 0 | 0
7 | -0.40213 | 0 | 0
8 | -0.39213 | 0 | 0
9 | -0.38214 | 0 | 0
10 | -0.37214 | 0 | 0
11 | -0.36214 | 0 | 0
12 | -0.35214 | 0 | 0
13 | -0.34215 | 0 | 0
14 | -0.33215 | 0 | 0
15 | -0.32215 | 0 | 0
16 | -0.31216 | 0 | 0
17 | -0.30216 | 0 | 0
18 | -0.29216 | 0 | 0
19 | -0.28217 | 0 | 0
20 | -0.27217 | 0 | 0
21 | -0.26217 | 0 | 0
22 | -0.25217 | 0 | 0
23 | -0.24218 | 0 | 0
24 | -0.23218 | 0 | 0
25 | -0.22218 | 0 | 0
26 | -0.21219 | 0 | 0
27 | -0.20219 | 0 | 0
28 | -0.19219 | 0 | 0
29 | -0.1822 | 0 | 0
30 | -0.1722 | 1 | 0.00082784
31 | -0.1622 | 1 | 0.00082784
32 | -0.1522 | 4 | 0.0033114
33 | -0.14221 | 6 | 0.0049671
34 | -0.13221 | 7 | 0.0057949
35 | -0.12221 | 5 | 0.0041392
36 | -0.11222 | 7 | 0.0057949
37 | -0.10222 | 6 | 0.0049671
38 | -0.092222 | 9 | 0.0074506
39 | -0.082225 | 6 | 0.0049671
40 | -0.072228 | 17 | 0.014073
41 | -0.062231 | 134 | 0.11093
42 | -0.052234 | 1134 | 0.93877
43 | -0.042237 | 7347 | 6.0822
44 | -0.03224 | 32414 | 26.8337
45 | -0.022243 | 95422 | 78.9943
46 | -0.012246 | 191071 | 158.1766
47 | -0.0022493 | 265817 | 220.0545
48 | 0.0077477 | 261522 | 216.4989
49 | 0.017745 | 183457 | 151.8734
50 | 0.027742 | 93637 | 77.5166
51 | 0.037739 | 35132 | 29.0837
52 | 0.047736 | 10064 | 8.3314
53 | 0.057733 | 2230 | 1.8461
54 | 0.06773 | 366 | 0.30299
55 | 0.077727 | 55 | 0.045531
56 | 0.087724 | 15 | 0.012418
57 | 0.097721 | 785.9308 | 0.65063
58 | 0.10772 | 1375.7379 | 1.1389
59 | 0.11771 | 810.6857 | 0.67112
60 | 0.12771 | 391.2337 | 0.32388
61 | 0.13771 | 188.6963 | 0.15621
62 | 0.14771 | 180.7869 | 0.14966
63 | 0.1577 | 206.6911 | 0.17111
64 | 0.1677 | 179.998 | 0.14901
65 | 0.1777 | 224.6563 | 0.18598
66 | 0.18769 | 288.053 | 0.23846
67 | 0.19769 | 366.3547 | 0.30328
68 | 0.20769 | 459.8524 | 0.38069
69 | 0.21768 | 720.9815 | 0.59686
70 | 0.22768 | 1462.9295 | 1.2111
71 | 0.23768 | 3128.0694 | 2.5895
72 | 0.24768 | 5922.3315 | 4.9028
73 | 0.25767 | 10138.498 | 8.3931
74 | 0.26767 | 14083.8529 | 11.6592
75 | 0.27767 | 16394.7029 | 13.5722
76 | 0.28766 | 15228.0756 | 12.6064
77 | 0.29766 | 11644.3044 | 9.6396
78 | 0.30766 | 7246.7374 | 5.9992
79 | 0.31765 | 3693.8159 | 3.0579
80 | 0.32765 | 1705.0574 | 1.4115
81 | 0.33765 | 744.1488 | 0.61604
82 | 0.34765 | 405.7513 | 0.3359
83 | 0.35764 | 299.536 | 0.24797
84 | 0.36764 | 260.0748 | 0.2153
85 | 0.37764 | 238.3708 | 0.19733
86 | 0.38763 | 243.0266 | 0.20119
87 | 0.39763 | 238.1012 | 0.19711
88 | 0.40763 | 252.9411 | 0.2094
89 | 0.41762 | 268.1466 | 0.22198
90 | 0.42762 | 263.7587 | 0.21835
91 | 0.43762 | 292.8592 | 0.24244
92 | 0.44762 | 432.1462 | 0.35775
93 | 0.45761 | 594.7421 | 0.49235
94 | 0.46761 | 996.7091 | 0.82512
95 | 0.47761 | 1976.1587 | 1.6359
96 | 0.4876 | 3977.887 | 3.2931
97 | 0.4976 | 7066.0173 | 5.8495
98 | 0.5076 | 10764.5817 | 8.9114
99 | 0.51759 | 14029.7908 | 11.6144
100 | 0.52759 | 15807.0488 | 13.0857
101 | 0.53759 | 14226.6649 | 11.7774
102 | 0.54759 | 11073.1634 | 9.1668
103 | 0.55758 | 7271.3706 | 6.0195
104 | 0.56758 | 3911.3424 | 3.238
105 | 0.57758 | 1924.1523 | 1.5929
106 | 0.58757 | 891.4003 | 0.73794
107 | 0.59757 | 520.8197 | 0.43116
108 | 0.60757 | 340.7787 | 0.28211
109 | 0.61756 | 330.3557 | 0.27348
110 | 0.62756 | 346.2386 | 0.28663
111 | 0.63756 | 351.8743 | 0.2913
112 | 0.64756 | 341.8208 | 0.28297
113 | 0.65755 | 393.1704 | 0.32548
114 | 0.66755 | 485.8603 | 0.40222
115 | 0.67755 | 587.8085 | 0.48661
116 | 0.68754 | 633.0061 | 0.52403
117 | 0.69754 | 736.4766 | 0.60969
118 | 0.70754 | 779.3207 | 0.64515
119 | 0.71753 | 796.9076 | 0.65971
120 | 0.72753 | 739.2486 | 0.61198
121 | 0.73753 | 673.2192 | 0.55732
122 | 0.74753 | 607.4604 | 0.50288
123 | 0.75752 | 556.7511 | 0.4609
124 | 0.76752 | 471.4715 | 0.3903
125 | 0.77752 | 543.5135 | 0.44994
126 | 0.78751 | 533.66 | 0.44179
127 | 0.79751 | 514.6394 | 0.42604
128 | 0.80751 | 509.5648 | 0.42184
129 | 0.8175 | 595.1358 | 0.49268
130 | 0.8275 | 607.5048 | 0.50292
131 | 0.8375 | 540.0806 | 0.4471
132 | 0.8475 | 611.373 | 0.50612
133 | 0.85749 | 642.5591 | 0.53194
134 | 0.86749 | 673.5235 | 0.55757
135 | 0.87749 | 674.6392 | 0.55849
136 | 0.88748 | 668.6366 | 0.55353
137 | 0.89748 | 704.3391 | 0.58308
138 | 0.90748 | 734.9924 | 0.60846
139 | 0.91747 | 724.5865 | 0.59984
140 | 0.92747 | 704.5329 | 0.58324
141 | 0.93747 | 776.9604 | 0.6432
142 | 0.94747 | 816.0797 | 0.67559
143 | 0.95746 | 855.3927 | 0.70813
144 | 0.96746 | 828.585 | 0.68594
145 | 0.97746 | 898.9985 | 0.74423
146 | 0.98745 | 857.4205 | 0.70981
147 | 0.99745 | 876.6833 | 0.72576
148 | 1.0074 | 933.1204 | 0.77248
149 | 1.0174 | 944.2536 | 0.78169
150 | 1.0274 | 962.1331 | 0.79649
151 | 1.0374 | 1042.2114 | 0.86279
152 | 1.0474 | 1032.1289 | 0.85444
153 | 1.0574 | 1083.6152 | 0.89706
154 | 1.0674 | 1050.4138 | 0.86958
155 | 1.0774 | 1037.0646 | 0.85853
156 | 1.0874 | 1122.0377 | 0.92887
157 | 1.0974 | 1129.7349 | 0.93524
158 | 1.1074 | 1107.6797 | 0.91698
159 | 1.1174 | 1177.7551 | 0.975
160 | 1.1274 | 1108.6001 | 0.91775
161 | 1.1374 | 1200.5208 | 0.99384
162 | 1.1474 | 1138.3193 | 0.94235
163 | 1.1574 | 1200.5563 | 0.99387
164 | 1.1674 | 1202.1659 | 0.9952
165 | 1.1774 | 1352.1543 | 1.1194
166 | 1.1874 | 1421.7129 | 1.177
167 | 1.1974 | 1660.5324 | 1.3747
168 | 1.2074 | 1993.8019 | 1.6506
169 | 1.2174 | 2453.0181 | 2.0307
170 | 1.2274 | 3306.7949 | 2.7375
171 | 1.2374 | 4049.4865 | 3.3523
172 | 1.2474 | 4761.0014 | 3.9414
173 | 1.2574 | 5061.5271 | 4.1901
174 | 1.2674 | 5025.8204 | 4.1606
175 | 1.2774 | 4450.3766 | 3.6842
176 | 1.2874 | 3753.4019 | 3.1072
177 | 1.2974 | 3090.9731 | 2.5588
178 | 1.3074 | 2447.7208 | 2.0263
179 | 1.3174 | 2015.9551 | 1.6689
180 | 1.3274 | 1760.5895 | 1.4575
181 | 1.3373 | 1526.9538 | 1.2641
182 | 1.3473 | 1488.3033 | 1.2321
183 | 1.3573 | 1465.5044 | 1.2132
184 | 1.3673 | 1479.1875 | 1.2245
185 | 1.3773 | 1512.0101 | 1.2517
186 | 1.3873 | 1504.0741 | 1.2451
187 | 1.3973 | 1536.9579 | 1.2724
188 | 1.4073 | 1631.726 | 1.3508
189 | 1.4173 | 1672.1538 | 1.3843
190 | 1.4273 | 1894.5391 | 1.5684
191 | 1.4373 | 2237.7559 | 1.8525
192 | 1.4473 | 2744.5321 | 2.272
193 | 1.4573 | 3437.1675 | 2.8454
194 | 1.4673 | 4175.3198 | 3.4565
195 | 1.4773 | 4655.8149 | 3.8543
196 | 1.4873 | 5028.9437 | 4.1632
197 | 1.4973 | 5155.051 | 4.2676
198 | 1.5073 | 4868.8282 | 4.0306
199 | 1.5173 | 4314.5706 | 3.5718
200 | 1.5273 | 3578.8586 | 2.9627
201 | 1.5373 | 2899.1689 | 2.4001
202 | 1.5473 | 2581.6895 | 2.1372
203 | 1.5573 | 2140.3764 | 1.7719
204 | 1.5673 | 1871.3589 | 1.5492
205 | 1.5773 | 1714.9779 | 1.4197
206 | 1.5873 | 1725.866 | 1.4287
207 | 1.5973 | 1738.2246 | 1.439
208 | 1.6073 | 1704.0944 | 1.4107
209 | 1.6173 | 1675.7092 | 1.3872
210 | 1.6273 | 1671.5915 | 1.3838
211 | 1.6373 | 1760.1808 | 1.4572
212 | 1.6473 | 2019.812 | 1.6721
213 | 1.6573 | 2615.7808 | 2.1655
214 | 1.6672 | 3757.4113 | 3.1105
215 | 1.6772 | 5861.5491 | 4.8524
216 | 1.6872 | 9306.2802 | 7.7041
217 | 1.6972 | 14230.7679 | 11.7808
218 | 1.7072 | 20389.1023 | 16.879
219 | 1.7172 | 27105.0988 | 22.4387
220 | 1.7272 | 33046.6923 | 27.3574
221 | 1.7372 | 37148.1906 | 30.7528
222 | 1.7472 | 37833.703 | 31.3203
223 | 1.7572 | 35232.7117 | 29.1671
224 | 1.7672 | 30155.4178 | 24.9639
225 | 1.7772 | 23507.2391 | 19.4603
226 | 1.7872 | 17377.1166 | 14.3855
227 | 1.7972 | 12189.142 | 10.0907
228 | 1.8072 | 8509.5131 | 7.0445
229 | 1.8172 | 5930.2886 | 4.9093
230 | 1.8272 | 4512.0597 | 3.7353
231 | 1.8372 | 3794.1967 | 3.141
232 | 1.8472 | 3186.2951 | 2.6377
233 | 1.8572 | 2752.7877 | 2.2789
234 | 1.8672 | 2456.0633 | 2.0332
235 | 1.8772 | 2130.3783 | 1.7636
236 | 1.8872 | 1875.6015 | 1.5527
237 | 1.8972 | 1684.7469 | 1.3947
238 | 1.9072 | 1549.1835 | 1.2825
239 | 1.9172 | 1429.2219 | 1.1832
240 | 1.9272 | 1402.1397 | 1.1608
241 | 1.9372 | 1352.6768 | 1.1198
242 | 1.9472 | 1377.9747 | 1.1407
243 | 1.9572 | 1451.7772 | 1.2018
244 | 1.9672 | 1457.6701 | 1.2067
245 | 1.9772 | 1465.8342 | 1.2135
246 | 1.9872 | 1524.7575 | 1.2623
247 | 1.9972 | 1559.7355 | 1.2912
248 | 2.0071 | 1534.7064 | 1.2705
249 | 2.0171 | 1542.6148 | 1.277
250 | 2.0271 | 1478.7617 | 1.2242
251 | 2.0371 | 1512.9734 | 1.2525
252 | 2.0471 | 1536.5377 | 1.272
253 | 2.0571 | 1435.6919 | 1.1885
254 | 2.0671 | 1362.7014 | 1.1281
255 | 2.0771 | 1373.5487 | 1.1371
256 | 2.0871 | 1397.2248 | 1.1567
257 | 2.0971 | 1389.0365 | 1.1499
258 | 2.1071 | 1387.4145 | 1.1486
259 | 2.1171 | 1392.5685 | 1.1528
260 | 2.1271 | 1424.0575 | 1.1789
261 | 2.1371 | 1418.2501 | 1.1741
262 | 2.1471 | 1408.4227 | 1.166
263 | 2.1571 | 1392.0758 | 1.1524
264 | 2.1671 | 1413.6661 | 1.1703
265 | 2.1771 | 1388.7947 | 1.1497
266 | 2.1871 | 1358.657 | 1.1248
267 | 2.1971 | 1385.7715 | 1.1472
268 | 2.2071 | 1437.9602 | 1.1904
269 | 2.2171 | 1440.36 | 1.1924
270 | 2.2271 | 1576.6889 | 1.3052
271 | 2.2371 | 1738.8964 | 1.4395
272 | 2.2471 | 2017.8468 | 1.6705
273 | 2.2571 | 2304.5452 | 1.9078
274 | 2.2671 | 2744.3407 | 2.2719
275 | 2.2771 | 3313.0798 | 2.7427
276 | 2.2871 | 3810.7943 | 3.1547
277 | 2.2971 | 4210.2595 | 3.4854
278 | 2.3071 | 4491.0056 | 3.7178
279 | 2.3171 | 4498.2701 | 3.7239
280 | 2.3271 | 4227.6699 | 3.4998
281 | 2.337 | 3876.8932 | 3.2095
282 | 2.347 | 3357.7611 | 2.7797
283 | 2.357 | 2880.4031 | 2.3845
284 | 2.367 | 2431.2343 | 2.0127
285 | 2.377 | 1988.2359 | 1.6459
286 | 2.387 | 1728.139 | 1.4306
287 | 2.397 | 1635.6675 | 1.3541
288 | 2.407 | 1511.895 | 1.2516
289 | 2.417 | 1464.7199 | 1.2126
290 | 2.427 | 1486.9388 | 1.231
291 | 2.437 | 1506.4019 | 1.2471
292 | 2.447 | 1484.411 | 1.2289
293 | 2.457 | 1505.9845 | 1.2467
294 | 2.467 | 1511.2873 | 1.2511
295 | 2.477 | 1517.1513 | 1.256
296 | 2.487 | 1514.1 | 1.2534
297 | 2.497 | 1470.0295 | 1.217
298 | 2.507 | 1443.8217 | 1.1953
299 | 2.517 | 1407.4786 | 1.1652
300 | 2.527 | 1385.8067 | 1.1472
301 | 2.537 | 1365.9197 | 1.1308
302 | 2.547 | 1319.9574 | 1.0927
303 | 2.557 | 1267.7008 | 1.0495
304 | 2.567 | 1297.1797 | 1.0739
305 | 2.577 | 1360.3675 | 1.1262
306 | 2.587 | 1369.8056 | 1.134
307 | 2.597 | 1331.9826 | 1.1027
308 | 2.607 | 1362.1347 | 1.1276
309 | 2.617 | 1377.0997 | 1.14
310 | 2.627 | 1352.2595 | 1.1195
311 | 2.637 | 1352.4516 | 1.1196
312 | 2.647 | 1361.6701 | 1.1272
313 | 2.657 | 1364.8264 | 1.1299
314 | 2.6669 | 1324.1893 | 1.0962
315 | 2.6769 | 1291.381 | 1.0691
316 | 2.6869 | 1280.8503 | 1.0603
317 | 2.6969 | 1272.8459 | 1.0537
318 | 2.7069 | 1270.27 | 1.0516
319 | 2.7169 | 1269.3252 | 1.0508
320 | 2.7269 | 1234.1476 | 1.0217
321 | 2.7369 | 1226.5585 | 1.0154
322 | 2.7469 | 1267.1816 | 1.049
323 | 2.7569 | 1274.0694 | 1.0547
324 | 2.7669 | 1262.5591 | 1.0452
325 | 2.7769 | 1269.8982 | 1.0513
326 | 2.7869 | 1244.9073 | 1.0306
327 | 2.7969 | 1249.0292 | 1.034
328 | 2.8069 | 1263.3428 | 1.0458
329 | 2.8169 | 1230.8265 | 1.0189
330 | 2.8269 | 1241.8401 | 1.028
331 | 2.8369 | 1265.0113 | 1.0472
332 | 2.8469 | 1250.1344 | 1.0349
333 | 2.8569 | 1224.3178 | 1.0135
334 | 2.8669 | 1195.1445 | 0.98939
335 | 2.8769 | 1205.396 | 0.99788
336 | 2.8869 | 1228.555 | 1.017
337 | 2.8969 | 1225.7839 | 1.0148
338 | 2.9069 | 1214.5422 | 1.0054
339 | 2.9169 | 1206.527 | 0.99881
340 | 2.9269 | 1205.9056 | 0.9983
341 | 2.9369 | 1219.7074 | 1.0097
342 | 2.9469 | 1220.5928 | 1.0105
343 | 2.9569 | 1254.1187 | 1.0382
344 | 2.9669 | 1248.6283 | 1.0337
345 | 2.9769 | 1209.3798 | 1.0012
346 | 2.9869 | 1215.3702 | 1.0061
347 | 2.9969 | 1184.6042 | 0.98067
348 | 3.0068 | 1141.1317 | 0.94468
349 | 3.0168 | 1179.039 | 0.97606
350 | 3.0268 | 1207.4763 | 0.9996
351 | 3.0368 | 1196.5617 | 0.99056
352 | 3.0468 | 1190.6527 | 0.98567
353 | 3.0568 | 1214.1494 | 1.0051
354 | 3.0668 | 1230.0237 | 1.0183
355 | 3.0768 | 1209.9353 | 1.0016
356 | 3.0868 | 1182.9368 | 0.97928
357 | 3.0968 | 1201.7832 | 0.99489
358 | 3.1068 | 1175.3956 | 0.97304
359 | 3.1168 | 1167.7565 | 0.96672
360 | 3.1268 | 1190.4276 | 0.98549
361 | 3.1368 | 1223.8574 | 1.0132
362 | 3.1468 | 1193.8201 | 0.98829
363 | 3.1568 | 1146.0508 | 0.94875
364 | 3.1668 | 1189.9564 | 0.9851
365 | 3.1768 | 1183.5583 | 0.9798
366 | 3.1868 | 1184.264 | 0.98038
367 | 3.1968 | 1207.6156 | 0.99971
368 | 3.2068 | 1163.6704 | 0.96334
369 | 3.2168 | 1173.7809 | 0.97171
370 | 3.2268 | 1206.6625 | 0.99893
371 | 3.2368 | 1210.2245 | 1.0019
372 | 3.2468 | 1197.1309 | 0.99104
373 | 3.2568 | 1175.7623 | 0.97335
374 | 3.2668 | 1225.689 | 1.0147
375 | 3.2768 | 1275.9124 | 1.0563
376 | 3.2868 | 1264.4899 | 1.0468
377 | 3.2968 | 1246.8645 | 1.0322
378 | 3.3068 | 1297.7126 | 1.0743
379 | 3.3168 | 1309.3081 | 1.0839
380 | 3.3268 | 1254.1914 | 1.0383
381 | 3.3367 | 1224.0709 | 1.0133
382 | 3.3467 | 1207.2841 | 0.99944
383 | 3.3567 | 1194.3345 | 0.98872
384 | 3.3667 | 1181.9657 | 0.97848
385 | 3.3767 | 1080.6886 | 0.89464
386 | 3.3867 | 1077.3768 | 0.8919
387 | 3.3967 | 1102.3804 | 0.9126
388 | 3.4067 | 1113.9512 | 0.92218
389 | 3.4167 | 1133.8317 | 0.93863
390 | 3.4267 | 1178.2699 | 0.97542
391 | 3.4367 | 1137.9089 | 0.94201
392 | 3.4467 | 1140.4033 | 0.94407
393 | 3.4567 | 1129.808 | 0.9353
394 | 3.4667 | 1142.0748 | 0.94546
395 | 3.4767 | 1181.386 | 0.978
396 | 3.4867 | 1174.5289 | 0.97232
397 | 3.4967 | 1201.8987 | 0.99498
398 | 3.5067 | 1276.1026 | 1.0564
399 | 3.5167 | 1269.5545 | 1.051
400 | 3.5267 | 1257.6396 | 1.0411
401 | 3.5367 | 1361.2342 | 1.1269
402 | 3.5467 | 1594.4547 | 1.32
403 | 3.5567 | 1915.5724 | 1.5858
404 | 3.5667 | 2526.5587 | 2.0916
405 | 3.5767 | 3530.142 | 2.9224
406 | 3.5867 | 5134.5495 | 4.2506
407 | 3.5967 | 7653.1911 | 6.3356
408 | 3.6067 | 11469.6598 | 9.4951
409 | 3.6167 | 16814.3686 | 13.9196
410 | 3.6267 | 23981.9673 | 19.8533
411 | 3.6367 | 32695.2709 | 27.0665
412 | 3.6467 | 42399.8945 | 35.1004
413 | 3.6567 | 52657.3117 | 43.5919
414 | 3.6666 | 61619.7695 | 51.0114
415 | 3.6766 | 68914.6291 | 57.0504
416 | 3.6866 | 73257.8256 | 60.6459
417 | 3.6966 | 73919.1055 | 61.1933
418 | 3.7066 | 70678.8282 | 58.5109
419 | 3.7166 | 64448.5717 | 53.3532
420 | 3.7266 | 55890.365 | 46.2684
421 | 3.7366 | 46038.1614 | 38.1123
422 | 3.7466 | 36251.9441 | 30.0109
423 | 3.7566 | 27174.8355 | 22.4965
424 | 3.7666 | 19327.7532 | 16.0003
425 | 3.7766 | 13043.6508 | 10.7981
426 | 3.7866 | 8688.7857 | 7.1929
427 | 3.7966 | 5796.7014 | 4.7988
428 | 3.8066 | 3845.6237 | 3.1836
429 | 3.8166 | 2569.0812 | 2.1268
430 | 3.8266 | 1831.8514 | 1.5165
431 | 3.8366 | 1498.1944 | 1.2403
432 | 3.8466 | 1311.7664 | 1.0859
433 | 3.8566 | 1236.0186 | 1.0232
434 | 3.8666 | 1238.9533 | 1.0257
435 | 3.8766 | 1323.252 | 1.0954
436 | 3.8866 | 1378.9382 | 1.1415
437 | 3.8966 | 1449.5327 | 1.2
438 | 3.9066 | 1663.1056 | 1.3768
439 | 3.9166 | 1974.0089 | 1.6342
440 | 3.9266 | 2476.6841 | 2.0503
441 | 3.9366 | 3109.1846 | 2.5739
442 | 3.9466 | 3831.661 | 3.172
443 | 3.9566 | 4800.4795 | 3.974
444 | 3.9666 | 5969.3588 | 4.9417
445 | 3.9766 | 7017.084 | 5.809
446 | 3.9866 | 7985.8805 | 6.611
447 | 3.9966 | 8947.1305 | 7.4068
448 | 4.0065 | 9549.6035 | 7.9056
449 | 4.0165 | 9696.459 | 8.0271
450 | 4.0265 | 9433.6054 | 7.8095
451 | 4.0365 | 8801.035 | 7.2859
452 | 4.0465 | 7899.996 | 6.5399
453 | 4.0565 | 6821.8997 | 5.6475
454 | 4.0665 | 5724.6237 | 4.7391
455 | 4.0765 | 4625.5137 | 3.8292
456 | 4.0865 | 3583.8456 | 2.9669
457 | 4.0965 | 2741.7278 | 2.2697
458 | 4.1065 | 2087.4733 | 1.7281
459 | 4.1165 | 1594.2987 | 1.3198
460 | 4.1265 | 1234.1787 | 1.0217
461 | 4.1365 | 1030.4042 | 0.85301
462 | 4.1465 | 880.609 | 0.72901
463 | 4.1565 | 822.4588 | 0.68087
464 | 4.1665 | 749.7692 | 0.62069
465 | 4.1765 | 696.2317 | 0.57637
466 | 4.1865 | 706.9444 | 0.58524
467 | 4.1965 | 691.4062 | 0.57238
468 | 4.2065 | 691.6347 | 0.57256
469 | 4.2165 | 711.8707 | 0.58932
470 | 4.2265 | 679.6321 | 0.56263
471 | 4.2365 | 657.4433 | 0.54426
472 | 4.2465 | 656.9797 | 0.54388
473 | 4.2565 | 667.0744 | 0.55223
474 | 4.2665 | 692.8513 | 0.57357
475 | 4.2765 | 654.5573 | 0.54187
476 | 4.2865 | 642.6304 | 0.532
477 | 4.2965 | 678.6103 | 0.56178
478 | 4.3065 | 668.1234 | 0.5531
479 | 4.3165 | 648.6307 | 0.53696
480 | 4.3265 | 658.3884 | 0.54504
481 | 4.3364 | 683.0142 | 0.56543
482 | 4.3464 | 671.5452 | 0.55593
483 | 4.3564 | 679.9412 | 0.56288
484 | 4.3664 | 653.1267 | 0.54069
485 | 4.3764 | 631.6801 | 0.52293
486 | 4.3864 | 668.0888 | 0.55307
487 | 4.3964 | 669.295 | 0.55407
488 | 4.4064 | 658.9218 | 0.54548
489 | 4.4164 | 696.9418 | 0.57696
490 | 4.4264 | 706.7273 | 0.58506
491 | 4.4364 | 710.7365 | 0.58838
492 | 4.4464 | 701.9466 | 0.5811
493 | 4.4564 | 725.4815 | 0.60058
494 | 4.4664 | 738.2404 | 0.61115
495 | 4.4764 | 733.8906 | 0.60755
496 | 4.4864 | 785.8867 | 0.65059
497 | 4.4964 | 769.3197 | 0.63688
498 | 4.5064 | 768.885 | 0.63652
499 | 4.5164 | 791.5145 | 0.65525
500 | 4.5264 | 761.8965 | 0.63073
501 | 4.5364 | 763.0538 | 0.63169
502 | 4.5464 | 724.5498 | 0.59981
503 | 4.5564 | 707.2736 | 0.58551
504 | 4.5664 | 706.7021 | 0.58504
505 | 4.5764 | 678.3744 | 0.56159
506 | 4.5864 | 693.0451 | 0.57373
507 | 4.5964 | 669.5937 | 0.55432
508 | 4.6064 | 643.9126 | 0.53306
509 | 4.6164 | 651.0862 | 0.539
510 | 4.6264 | 643.3319 | 0.53258
511 | 4.6364 | 625.3984 | 0.51773
512 | 4.6464 | 640.1977 | 0.52998
513 | 4.6564 | 658.8558 | 0.54543
514 | 4.6663 | 621.1276 | 0.5142
515 | 4.6763 | 613.116 | 0.50756
516 | 4.6863 | 591.4568 | 0.48963
517 | 4.6963 | 589.7365 | 0.48821
518 | 4.7063 | 615.5668 | 0.50959
519 | 4.7163 | 629.5842 | 0.5212
520 | 4.7263 | 646.8747 | 0.53551
521 | 4.7363 | 608.1479 | 0.50345
522 | 4.7463 | 596.7597 | 0.49402
523 | 4.7563 | 570.5356 | 0.47231
524 | 4.7663 | 630.8951 | 0.52228
525 | 4.7763 | 625.8242 | 0.51808
526 | 4.7863 | 618.7561 | 0.51223
527 | 4.7963 | 636.515 | 0.52693
528 | 4.8063 | 617.4426 | 0.51114
529 | 4.8163 | 608.8662 | 0.50405
530 | 4.8263 | 635.4823 | 0.52608
531 | 4.8363 | 661.4298 | 0.54756
532 | 4.8463 | 634.0264 | 0.52487
533 | 4.8563 | 620.3128 | 0.51352
534 | 4.8663 | 635.0423 | 0.52571
535 | 4.8763 | 637.2219 | 0.52752
536 | 4.8863 | 628.5057 | 0.5203
537 | 4.8963 | 622.3944 | 0.51524
538 | 4.9063 | 630.7153 | 0.52213
539 | 4.9163 | 612.6875 | 0.50721
540 | 4.9263 | 583.746 | 0.48325
541 | 4.9363 | 584.6119 | 0.48397
542 | 4.9463 | 590.6654 | 0.48898
543 | 4.9563 | 626.1192 | 0.51833
544 | 4.9663 | 615.4467 | 0.50949
545 | 4.9763 | 609.0219 | 0.50417
546 | 4.9863 | 595.9482 | 0.49335
547 | 4.9963 | 618.5912 | 0.5121
548 | 5.0062 | 600.5164 | 0.49713
549 | 5.0162 | 596.9396 | 0.49417
550 | 5.0262 | 581.7486 | 0.4816
551 | 5.0362 | 565.0405 | 0.46776
552 | 5.0462 | 576.6908 | 0.47741
553 | 5.0562 | 584.0933 | 0.48354
554 | 5.0662 | 589.8038 | 0.48826
555 | 5.0762 | 572.3054 | 0.47378
556 | 5.0862 | 554.6337 | 0.45915
557 | 5.0962 | 577.6709 | 0.47822
558 | 5.1062 | 575.3454 | 0.4763
559 | 5.1162 | 591.0027 | 0.48926
560 | 5.1262 | 595.9519 | 0.49335
561 | 5.1362 | 606.2909 | 0.50191
562 | 5.1462 | 542.5497 | 0.44915
563 | 5.1562 | 564.4156 | 0.46725
564 | 5.1662 | 561.9433 | 0.4652
565 | 5.1762 | 556.3217 | 0.46055
566 | 5.1862 | 559.4084 | 0.4631
567 | 5.1962 | 555.6537 | 0.45999
568 | 5.2062 | 576.9362 | 0.47761
569 | 5.2162 | 589.6309 | 0.48812
570 | 5.2262 | 547.7236 | 0.45343
571 | 5.2362 | 559.5181 | 0.46319
572 | 5.2462 | 580.2189 | 0.48033
573 | 5.2562 | 564.6692 | 0.46746
574 | 5.2662 | 535.9842 | 0.44371
575 | 5.2762 | 575.8652 | 0.47673
576 | 5.2862 | 558.7738 | 0.46258
577 | 5.2962 | 560.7879 | 0.46424
578 | 5.3062 | 544.4219 | 0.4507
579 | 5.3162 | 545.4793 | 0.45157
580 | 5.3262 | 550.2298 | 0.4555
581 | 5.3361 | 549.6396 | 0.45501
582 | 5.3461 | 559.6462 | 0.4633
583 | 5.3561 | 557.0405 | 0.46114
584 | 5.3661 | 542.2793 | 0.44892
585 | 5.3761 | 499.39 | 0.41342
586 | 5.3861 | 583.6498 | 0.48317
587 | 5.3961 | 578.6476 | 0.47903
588 | 5.4061 | 553.5297 | 0.45824
589 | 5.4161 | 504.7456 | 0.41785
590 | 5.4261 | 551.3554 | 0.45644
591 | 5.4361 | 583.7111 | 0.48322
592 | 5.4461 | 540.761 | 0.44766
593 | 5.4561 | 554.415 | 0.45897
594 | 5.4661 | 564.9818 | 0.46772
595 | 5.4761 | 561.4466 | 0.46479
596 | 5.4861 | 538.2067 | 0.44555
597 | 5.4961 | 550.7381 | 0.45592
598 | 5.5061 | 512.2917 | 0.4241
599 | 5.5161 | 538.5371 | 0.44582
600 | 5.5261 | 504.6841 | 0.4178
601 | 5.5361 | 513.9754 | 0.42549
602 | 5.5461 | 533.9574 | 0.44203
603 | 5.5561 | 531.5017 | 0.44
604 | 5.5661 | 529.5129 | 0.43835
605 | 5.5761 | 565.7315 | 0.46834
606 | 5.5861 | 545.8533 | 0.45188
607 | 5.5961 | 525.32 | 0.43488
608 | 5.6061 | 489.4096 | 0.40515
609 | 5.6161 | 497.3708 | 0.41174
610 | 5.6261 | 527.6923 | 0.43685
611 | 5.6361 | 497.6717 | 0.41199
612 | 5.6461 | 535.2738 | 0.44312
613 | 5.6561 | 492.1256 | 0.4074
614 | 5.666 | 497.1349 | 0.41155
615 | 5.676 | 548.9697 | 0.45446
616 | 5.686 | 491.5391 | 0.40692
617 | 5.696 | 502.2105 | 0.41575
618 | 5.706 | 503.6039 | 0.4169
619 | 5.716 | 497.8117 | 0.41211
620 | 5.726 | 536.6337 | 0.44425
621 | 5.736 | 501.457 | 0.41513
622 | 5.746 | 511.0712 | 0.42309
623 | 5.756 | 486.6682 | 0.40288
624 | 5.766 | 481.3584 | 0.39849
625 | 5.776 | 497.3511 | 0.41173
626 | 5.786 | 505.2866 | 0.4183
627 | 5.796 | 473.0324 | 0.3916
628 | 5.806 | 476.9866 | 0.39487
629 | 5.816 | 539.6358 | 0.44673
630 | 5.826 | 460.9939 | 0.38163
631 | 5.836 | 476.6111 | 0.39456
632 | 5.846 | 523.9654 | 0.43376
633 | 5.856 | 492.1418 | 0.40742
634 | 5.866 | 506.7645 | 0.41952
635 | 5.876 | 471.8832 | 0.39064
636 | 5.886 | 536.3918 | 0.44405
637 | 5.896 | 510.3636 | 0.4225
638 | 5.906 | 463.0457 | 0.38333
639 | 5.916 | 538.4027 | 0.44571
640 | 5.926 | 502.1937 | 0.41574
641 | 5.936 | 501.3515 | 0.41504
642 | 5.946 | 475.0526 | 0.39327
643 | 5.956 | 507.2785 | 0.41995
644 | 5.966 | 479.1153 | 0.39663
645 | 5.976 | 473.0975 | 0.39165
646 | 5.986 | 497.0802 | 0.4115
647 | 5.996 | 481.0726 | 0.39825
648 | 6.0059 | 494.2156 | 0.40913
649 | 6.0159 | 476.1728 | 0.3942
650 | 6.0259 | 480.1634 | 0.3975
651 | 6.0359 | 448.8981 | 0.37162
652 | 6.0459 | 490.1012 | 0.40573
653 | 6.0559 | 453.0298 | 0.37504
654 | 6.0659 | 506.3189 | 0.41915
655 | 6.0759 | 513.2505 | 0.42489
656 | 6.0859 | 454.9901 | 0.37666
657 | 6.0959 | 455.9795 | 0.37748
658 | 6.1059 | 468.9368 | 0.38821
659 | 6.1159 | 441.9836 | 0.36589
660 | 6.1259 | 455.0615 | 0.37672
661 | 6.1359 | 426.1154 | 0.35276
662 | 6.1459 | 442.9863 | 0.36672
663 | 6.1559 | 493.1745 | 0.40827
664 | 6.1659 | 476.0347 | 0.39408
665 | 6.1759 | 458.046 | 0.37919
666 | 6.1859 | 460.8992 | 0.38155
667 | 6.1959 | 461.9397 | 0.38241
668 | 6.2059 | 454.9683 | 0.37664
669 | 6.2159 | 467.0871 | 0.38667
670 | 6.2259 | 467.9936 | 0.38742
671 | 6.2359 | 454.8987 | 0.37658
672 | 6.2459 | 465.9506 | 0.38573
673 | 6.2559 | 529.2257 | 0.43812
674 | 6.2659 | 496.1609 | 0.41074
675 | 6.2759 | 568.2923 | 0.47046
676 | 6.2859 | 667.6649 | 0.55272
677 | 6.2959 | 683.6316 | 0.56594
678 | 6.3059 | 794.0731 | 0.65737
679 | 6.3159 | 924.3308 | 0.7652
680 | 6.3259 | 1045.9128 | 0.86585
681 | 6.3358 | 1154.1633 | 0.95546
682 | 6.3458 | 1440.0882 | 1.1922
683 | 6.3558 | 1539.4387 | 1.2744
684 | 6.3658 | 1735.0251 | 1.4363
685 | 6.3758 | 1857.3837 | 1.5376
686 | 6.3858 | 2004.652 | 1.6595
687 | 6.3958 | 2108.998 | 1.7459
688 | 6.4058 | 2068.8527 | 1.7127
689 | 6.4158 | 2005.8157 | 1.6605
690 | 6.4258 | 1847.2397 | 1.5292
691 | 6.4358 | 1902.4347 | 1.5749
692 | 6.4458 | 1652.588 | 1.3681
693 | 6.4558 | 1354.6782 | 1.1215
694 | 6.4658 | 1331.4506 | 1.1022
695 | 6.4758 | 1093.8098 | 0.9055
696 | 6.4858 | 964.4174 | 0.79839
697 | 6.4958 | 845.1583 | 0.69966
698 | 6.5058 | 688.595 | 0.57005
699 | 6.5158 | 647.4875 | 0.53602
700 | 6.5258 | 599.3013 | 0.49613
701 | 6.5358 | 490.9887 | 0.40646
702 | 6.5458 | 470.8602 | 0.3898
703 | 6.5558 | 451.7779 | 0.374
704 | 6.5658 | 450.8586 | 0.37324
705 | 6.5758 | 393.6736 | 0.3259
706 | 6.5858 | 411.8707 | 0.34096
707 | 6.5958 | 414.8013 | 0.34339
708 | 6.6058 | 419.7256 | 0.34747
709 | 6.6158 | 424.6791 | 0.35157
710 | 6.6258 | 372.5745 | 0.30843
711 | 6.6358 | 411.6505 | 0.34078
712 | 6.6458 | 414.7049 | 0.34331
713 | 6.6558 | 438.7655 | 0.36323
714 | 6.6657 | 424.8441 | 0.3517
715 | 6.6757 | 385.6981 | 0.3193
716 | 6.6857 | 433.8326 | 0.35914
717 | 6.6957 | 445.8481 | 0.36909
718 | 6.7057 | 421.6976 | 0.3491
719 | 6.7157 | 434.7426 | 0.3599
720 | 6.7257 | 416.7034 | 0.34496
721 | 6.7357 | 397.6941 | 0.32923
722 | 6.7457 | 386.5902 | 0.32004
723 | 6.7557 | 393.6278 | 0.32586
724 | 6.7657 | 383.6196 | 0.31758
725 | 6.7757 | 424.806 | 0.35167
726 | 6.7857 | 411.7102 | 0.34083
727 | 6.7957 | 408.7183 | 0.33835
728 | 6.8057 | 362.5612 | 0.30014
729 | 6.8157 | 379.6698 | 0.31431
730 | 6.8257 | 387.6026 | 0.32087
731 | 6.8357 | 405.6318 | 0.3358
732 | 6.8457 | 406.6121 | 0.33661
733 | 6.8557 | 391.5863 | 0.32417
734 | 6.8657 | 412.6196 | 0.34158
735 | 6.8757 | 371.5472 | 0.30758
736 | 6.8857 | 378.5919 | 0.31341
737 | 6.8957 | 390.7352 | 0.32347
738 | 6.9057 | 359.544 | 0.29765
739 | 6.9157 | 403.6909 | 0.33419
740 | 6.9257 | 403.5767 | 0.3341
741 | 6.9357 | 443.7294 | 0.36734
742 | 6.9457 | 443.6767 | 0.36729
743 | 6.9557 | 413.7287 | 0.3425
744 | 6.9657 | 428.7242 | 0.35492
745 | 6.9757 | 483.8599 | 0.40056
746 | 6.9857 | 478.7852 | 0.39636
747 | 6.9957 | 521.9779 | 0.43212
748 | 7.0056 | 569.9734 | 0.47185
749 | 7.0156 | 529.8752 | 0.43865
750 | 7.0256 | 537.8952 | 0.44529
751 | 7.0356 | 587.0934 | 0.48602
752 | 7.0456 | 598.0971 | 0.49513
753 | 7.0556 | 619.1893 | 0.51259
754 | 7.0656 | 584.1049 | 0.48355
755 | 7.0756 | 598.1 | 0.49513
756 | 7.0856 | 537.9507 | 0.44534
757 | 7.0956 | 547.017 | 0.45284
758 | 7.1056 | 504.8847 | 0.41796
759 | 7.1156 | 536.8942 | 0.44446
760 | 7.1256 | 478.7517 | 0.39633
761 | 7.1356 | 464.7779 | 0.38476
762 | 7.1456 | 435.7327 | 0.36072
763 | 7.1556 | 426.7263 | 0.35326
764 | 7.1656 | 384.572 | 0.31836
765 | 7.1756 | 367.5325 | 0.30426
766 | 7.1856 | 366.4433 | 0.30336
767 | 7.1956 | 354.428 | 0.29341
768 | 7.2056 | 373.5123 | 0.30921
769 | 7.2156 | 386.5676 | 0.32002
770 | 7.2256 | 317.4465 | 0.2628
771 | 7.2356 | 356.5684 | 0.29518
772 | 7.2456 | 364.5772 | 0.30181
773 | 7.2556 | 344.4553 | 0.28515
774 | 7.2656 | 368.4432 | 0.30501
775 | 7.2756 | 394.5046 | 0.32659
776 | 7.2856 | 350.4219 | 0.29009
777 | 7.2956 | 351.4405 | 0.29094
778 | 7.3056 | 391.5449 | 0.32414
779 | 7.3156 | 317.3828 | 0.26274
780 | 7.3256 | 342.406 | 0.28346
781 | 7.3355 | 334.4368 | 0.27686
782 | 7.3455 | 345.4364 | 0.28597
783 | 7.3555 | 359.5285 | 0.29763
784 | 7.3655 | 350.4848 | 0.29015
785 | 7.3755 | 380.4705 | 0.31497
786 | 7.3855 | 354.4358 | 0.29342
787 | 7.3955 | 367.4793 | 0.30421
788 | 7.4055 | 355.4336 | 0.29424
789 | 7.4155 | 352.4293 | 0.29176
790 | 7.4255 | 347.473 | 0.28765
791 | 7.4355 | 347.4393 | 0.28762
792 | 7.4455 | 320.3576 | 0.26521
793 | 7.4555 | 363.4228 | 0.30086
794 | 7.4655 | 325.3335 | 0.26932
795 | 7.4755 | 346.4496 | 0.28681
796 | 7.4855 | 335.4241 | 0.27768
797 | 7.4955 | 352.4974 | 0.29181
798 | 7.5055 | 362.4736 | 0.30007
799 | 7.5155 | 345.4556 | 0.28598
800 | 7.5255 | 315.3628 | 0.26107
801 | 7.5355 | 347.4135 | 0.2876
802 | 7.5455 | 339.3743 | 0.28095
803 | 7.5555 | 345.4034 | 0.28594
804 | 7.5655 | 345.3379 | 0.28589
805 | 7.5755 | 349.4539 | 0.28929
806 | 7.5855 | 293.3728 | 0.24287
807 | 7.5955 | 294.3708 | 0.24369
808 | 7.6055 | 315.3803 | 0.26109
809 | 7.6155 | 339.4219 | 0.28099
810 | 7.6255 | 314.3101 | 0.2602
811 | 7.6355 | 315.293 | 0.26101
812 | 7.6455 | 314.2483 | 0.26015
813 | 7.6555 | 328.3558 | 0.27183
814 | 7.6654 | 318.3623 | 0.26355
815 | 7.6754 | 329.4355 | 0.27272
816 | 7.6854 | 290.329 | 0.24035
817 | 7.6954 | 353.4069 | 0.29257
818 | 7.7054 | 314.3223 | 0.26021
819 | 7.7154 | 322.3423 | 0.26685
820 | 7.7254 | 329.3896 | 0.27268
821 | 7.7354 | 343.4076 | 0.28429
822 | 7.7454 | 323.3408 | 0.26768
823 | 7.7554 | 316.3496 | 0.26189
824 | 7.7654 | 314.3167 | 0.2602
825 | 7.7754 | 307.3849 | 0.25447
826 | 7.7854 | 334.4032 | 0.27683
827 | 7.7954 | 317.3146 | 0.26269
828 | 7.8054 | 304.2812 | 0.2519
829 | 7.8154 | 288.2995 | 0.23867
830 | 7.8254 | 322.3833 | 0.26688
831 | 7.8354 | 306.3414 | 0.2536
832 | 7.8454 | 300.2944 | 0.2486
833 | 7.8554 | 322.3444 | 0.26685
834 | 7.8654 | 290.2603 | 0.24029
835 | 7.8754 | 288.2992 | 0.23867
836 | 7.8854 | 255.1862 | 0.21125
837 | 7.8954 | 301.3573 | 0.24948
838 | 7.9054 | 292.3097 | 0.24199
839 | 7.9154 | 301.3576 | 0.24948
840 | 7.9254 | 284.2611 | 0.23532
841 | 7.9354 | 330.3101 | 0.27344
842 | 7.9454 | 316.2811 | 0.26183
843 | 7.9554 | 300.2417 | 0.24855
844 | 7.9654 | 295.2775 | 0.24444
845 | 7.9754 | 316.3215 | 0.26186
846 | 7.9854 | 312.3729 | 0.2586
847 | 7.9954 | 311.4087 | 0.2578
848 | 8.0053 | 294.2818 | 0.24362
849 | 8.0153 | 290.2747 | 0.2403
850 | 8.0253 | 315.2752 | 0.261
851 | 8.0353 | 300.2244 | 0.24854
852 | 8.0453 | 300.2135 | 0.24853
853 | 8.0553 | 291.2858 | 0.24114
854 | 8.0653 | 340.4114 | 0.28181
855 | 8.0753 | 255.2752 | 0.21133
856 | 8.0853 | 307.3072 | 0.2544
857 | 8.0953 | 301.2774 | 0.24941
858 | 8.1053 | 278.2337 | 0.23033
859 | 8.1153 | 296.3348 | 0.24532
860 | 8.1253 | 293.2847 | 0.24279
861 | 8.1353 | 325.3253 | 0.26932
862 | 8.1453 | 311.2717 | 0.25768
863 | 8.1553 | 313.2941 | 0.25936
864 | 8.1653 | 269.2439 | 0.22289
865 | 8.1753 | 301.3221 | 0.24945
866 | 8.1853 | 289.2734 | 0.23947
867 | 8.1953 | 285.2698 | 0.23616
868 | 8.2053 | 283.2474 | 0.23448
869 | 8.2153 | 320.3433 | 0.26519
870 | 8.2253 | 285.2763 | 0.23616
871 | 8.2353 | 290.2467 | 0.24028
872 | 8.2453 | 268.2163 | 0.22204
873 | 8.2553 | 294.2546 | 0.2436
874 | 8.2653 | 284.2573 | 0.23532
875 | 8.2753 | 289.2531 | 0.23946
876 | 8.2853 | 281.2316 | 0.23282
877 | 8.2953 | 310.2676 | 0.25685
878 | 8.3053 | 293.3053 | 0.24281
879 | 8.3153 | 274.2695 | 0.22705
880 | 8.3253 | 306.3129 | 0.25358
881 | 8.3352 | 247.1717 | 0.20462
882 | 8.3452 | 278.2349 | 0.23033
883 | 8.3552 | 307.257 | 0.25436
884 | 8.3652 | 297.2772 | 0.2461
885 | 8.3752 | 286.2356 | 0.23696
886 | 8.3852 | 300.2884 | 0.24859
887 | 8.3952 | 287.2286 | 0.23778
888 | 8.4052 | 287.2903 | 0.23783
889 | 8.4152 | 246.2189 | 0.20383
890 | 8.4252 | 277.2829 | 0.22955
891 | 8.4352 | 265.205 | 0.21955
892 | 8.4452 | 257.1548 | 0.21288
893 | 8.4552 | 288.2367 | 0.23861
894 | 8.4652 | 281.2625 | 0.23284
895 | 8.4752 | 274.2501 | 0.22704
896 | 8.4852 | 264.1854 | 0.2187
897 | 8.4952 | 287.2128 | 0.23777
898 | 8.5052 | 275.2188 | 0.22784
899 | 8.5152 | 265.1987 | 0.21954
900 | 8.5252 | 248.215 | 0.20548
901 | 8.5352 | 268.2072 | 0.22203
902 | 8.5452 | 261.2325 | 0.21626
903 | 8.5552 | 269.2292 | 0.22288
904 | 8.5652 | 247.1797 | 0.20463
905 | 8.5752 | 285.2558 | 0.23615
906 | 8.5852 | 282.2097 | 0.23363
907 | 8.5952 | 281.2474 | 0.23283
908 | 8.6052 | 278.2273 | 0.23033
909 | 8.6152 | 280.2611 | 0.23201
910 | 8.6252 | 277.234 | 0.22951
911 | 8.6352 | 262.1643 | 0.21703
912 | 8.6452 | 232.124 | 0.19216
913 | 8.6552 | 278.2338 | 0.23033
914 | 8.6651 | 249.1709 | 0.20627
915 | 8.6751 | 275.2412 | 0.22786
916 | 8.6851 | 260.1685 | 0.21538
917 | 8.6951 | 286.2602 | 0.23698
918 | 8.7051 | 237.1679 | 0.19634
919 | 8.7151 | 257.2091 | 0.21293
920 | 8.7251 | 271.1613 | 0.22448
921 | 8.7351 | 277.1717 | 0.22945
922 | 8.7451 | 236.1545 | 0.1955
923 | 8.7551 | 294.269 | 0.24361
924 | 8.7651 | 281.2169 | 0.2328
925 | 8.7751 | 266.2592 | 0.22042
926 | 8.7851 | 248.1663 | 0.20544
927 | 8.7951 | 270.2099 | 0.22369
928 | 8.8051 | 240.1624 | 0.19882
929 | 8.8151 | 232.1571 | 0.19219
930 | 8.8251 | 255.2003 | 0.21127
931 | 8.8351 | 249.1866 | 0.20629
932 | 8.8451 | 224.1305 | 0.18554
933 | 8.8551 | 241.1075 | 0.1996
934 | 8.8651 | 261.1849 | 0.21622
935 | 8.8751 | 248.1398 | 0.20542
936 | 8.8851 | 232.1637 | 0.19219
937 | 8.8951 | 234.169 | 0.19385
938 | 8.9051 | 236.1505 | 0.1955
939 | 8.9151 | 247.1806 | 0.20463
940 | 8.9251 | 233.1519 | 0.19301
941 | 8.9351 | 270.2222 | 0.2237
942 | 8.9451 | 252.1973 | 0.20878
943 | 8.9551 | 235.2066 | 0.19471
944 | 8.9651 | 240.1752 | 0.19883
945 | 8.9751 | 231.1441 | 0.19135
946 | 8.9851 | 220.1381 | 0.18224
947 | 8.9951 | 223.1217 | 0.18471
948 | 9.005 | 249.1742 | 0.20628
949 | 9.015 | 263.202 | 0.21789
950 | 9.025 | 253.1816 | 0.20959
951 | 9.035 | 256.1708 | 0.21207
952 | 9.045 | 257.1537 | 0.21288
953 | 9.055 | 245.1368 | 0.20293
954 | 9.065 | 247.185 | 0.20463
955 | 9.075 | 251.1958 | 0.20795
956 | 9.085 | 229.1579 | 0.18971
957 | 9.095 | 254.163 | 0.21041
958 | 9.105 | 215.1097 | 0.17808
959 | 9.115 | 230.1562 | 0.19053
960 | 9.125 | 267.1932 | 0.22119
961 | 9.135 | 235.1395 | 0.19466
962 | 9.145 | 231.1362 | 0.19134
963 | 9.155 | 256.1883 | 0.21208
964 | 9.165 | 246.1797 | 0.2038
965 | 9.175 | 222.1445 | 0.1839
966 | 9.185 | 246.1341 | 0.20376
967 | 9.195 | 241.1377 | 0.19962
968 | 9.205 | 246.1711 | 0.20379
969 | 9.215 | 246.2183 | 0.20383
970 | 9.225 | 219.1365 | 0.18141
971 | 9.235 | 228.1353 | 0.18886
972 | 9.245 | 212.0918 | 0.17558
973 | 9.255 | 232.1629 | 0.19219
974 | 9.265 | 214.1331 | 0.17727
975 | 9.275 | 229.2118 | 0.18975
976 | 9.285 | 239.1834 | 0.19801
977 | 9.295 | 230.1829 | 0.19056
978 | 9.305 | 223.1257 | 0.18471
979 | 9.315 | 262.1616 | 0.21703
980 | 9.325 | 202.0712 | 0.16728
981 | 9.3349 | 204.077 | 0.16894
982 | 9.3449 | 219.1437 | 0.18142
983 | 9.3549 | 223.1416 | 0.18473
984 | 9.3649 | 218.1425 | 0.18059
985 | 9.3749 | 240.1374 | 0.1988
986 | 9.3849 | 241.1213 | 0.19961
987 | 9.3949 | 256.1666 | 0.21207
988 | 9.4049 | 222.1145 | 0.18388
989 | 9.4149 | 227.1786 | 0.18807
990 | 9.4249 | 205.1372 | 0.16982
991 | 9.4349 | 217.1098 | 0.17973
992 | 9.4449 | 226.1521 | 0.18722
993 | 9.4549 | 222.1198 | 0.18388
994 | 9.4649 | 221.1597 | 0.18309
995 | 9.4749 | 208.1037 | 0.17228
996 | 9.4849 | 218.1179 | 0.18057
997 | 9.4949 | 218.1229 | 0.18057
998 | 9.5049 | 208.1418 | 0.17231
999 | 9.5149 | 231.1409 | 0.19135
1000 | 9.5249 | 183.0733 | 0.15156
1001 | 9.5349 | 206.1236 | 0.17064
1002 | 9.5449 | 228.1509 | 0.18887
1003 | 9.5549 | 219.1454 | 0.18142
1004 | 9.5649 | 198.1421 | 0.16403
1005 | 9.5749 | 202.1359 | 0.16734
1006 | 9.5849 | 208.0807 | 0.17226
1007 | 9.5949 | 216.0918 | 0.17889
1008 | 9.6049 | 207.0974 | 0.17144
1009 | 9.6149 | 214.1218 | 0.17726
1010 | 9.6249 | 196.115 | 0.16235
1011 | 9.6349 | 226.1043 | 0.18718
1012 | 9.6449 | 182.0971 | 0.15075
1013 | 9.6549 | 210.125 | 0.17395
1014 | 9.6648 | 189.0896 | 0.15654
1015 | 9.6748 | 221.1512 | 0.18308
1016 | 9.6848 | 223.1165 | 0.18471
1017 | 9.6948 | 220.1196 | 0.18222
1018 | 9.7048 | 221.1261 | 0.18306
1019 | 9.7148 | 204.0965 | 0.16896
1020 | 9.7248 | 217.1291 | 0.17975
1021 | 9.7348 | 182.0663 | 0.15072
1022 | 9.7448 | 173.1084 | 0.14331
1023 | 9.7548 | 228.1657 | 0.18889
1024 | 9.7648 | 201.1197 | 0.1665
1025 | 9.7748 | 213.1277 | 0.17644
1026 | 9.7848 | 226.1148 | 0.18719
1027 | 9.7948 | 231.1384 | 0.19135
1028 | 9.8048 | 190.0851 | 0.15736
1029 | 9.8148 | 188.1087 | 0.15572
1030 | 9.8248 | 180.0784 | 0.14908
1031 | 9.8348 | 200.117 | 0.16567
1032 | 9.8448 | 201.094 | 0.16647
1033 | 9.8548 | 200.0952 | 0.16565
1034 | 9.8648 | 168.0654 | 0.13913
1035 | 9.8748 | 203.0815 | 0.16812
1036 | 9.8848 | 196.1156 | 0.16235
1037 | 9.8948 | 205.1289 | 0.16981
1038 | 9.9048 | 195.0928 | 0.16151
1039 | 9.9148 | 188.0794 | 0.1557
1040 | 9.9248 | 180.0803 | 0.14908
1041 | 9.9348 | 193.1057 | 0.15986
1042 | 9.9448 | 186.1089 | 0.15407
1043 | 9.9548 | 198.1285 | 0.16402
1044 | 9.9648 | 176.0848 | 0.14577
1045 | 9.9748 | 187.0947 | 0.15488
1046 | 9.9848 | 204.0912 | 0.16896
1047 | 9.9948 | 193.1101 | 0.15986
1048 | 10.0047 | 199.1041 | 0.16483
1049 | 10.0147 | 188.0985 | 0.15572
1050 | 10.0247 | 192.0894 | 0.15902
1051 | 10.0347 | 196.0971 | 0.16234
1052 | 10.0447 | 202.0985 | 0.16731
1053 | 10.0547 | 165.0438 | 0.13663
1054 | 10.0647 | 180.1084 | 0.1491
1055 | 10.0747 | 182.1052 | 0.15075
1056 | 10.0847 | 197.1126 | 0.16318
1057 | 10.0947 | 181.0693 | 0.1499
1058 | 10.1047 | 200.1128 | 0.16566
1059 | 10.1147 | 178.1027 | 0.14744
1060 | 10.1247 | 192.1024 | 0.15903
1061 | 10.1347 | 171.0833 | 0.14163
1062 | 10.1447 | 198.1002 | 0.164
1063 | 10.1547 | 162.0662 | 0.13417
1064 | 10.1647 | 176.0874 | 0.14577
1065 | 10.1747 | 159.0587 | 0.13168
1066 | 10.1847 | 191.0824 | 0.15819
1067 | 10.1947 | 202.1288 | 0.16733
1068 | 10.2047 | 183.1102 | 0.15159
1069 | 10.2147 | 169.0729 | 0.13997
1070 | 10.2247 | 180.0857 | 0.14908
1071 | 10.2347 | 201.1062 | 0.16648
1072 | 10.2447 | 191.0664 | 0.15817
1073 | 10.2547 | 179.085 | 0.14825
1074 | 10.2647 | 186.1029 | 0.15406
1075 | 10.2747 | 165.0736 | 0.13665
1076 | 10.2847 | 190.0957 | 0.15737
1077 | 10.2947 | 160.0476 | 0.13249
1078 | 10.3047 | 176.062 | 0.14575
1079 | 10.3147 | 178.0952 | 0.14743
1080 | 10.3247 | 165.0712 | 0.13665
1081 | 10.3346 | 189.1029 | 0.15655
1082 | 10.3446 | 166.0673 | 0.13748
1083 | 10.3546 | 185.0767 | 0.15321
1084 | 10.3646 | 159.0307 | 0.13165
1085 | 10.3746 | 177.076 | 0.14659
1086 | 10.3846 | 198.1182 | 0.16401
1087 | 10.3946 | 187.1229 | 0.15491
1088 | 10.4046 | 166.0818 | 0.13749
1089 | 10.4146 | 186.1116 | 0.15407
1090 | 10.4246 | 164.0804 | 0.13583
1091 | 10.4346 | 199.1191 | 0.16484
1092 | 10.4446 | 161.0766 | 0.13335
1093 | 10.4546 | 179.0691 | 0.14824
1094 | 10.4646 | 162.021 | 0.13413
1095 | 10.4746 | 208.1005 | 0.17227
1096 | 10.4846 | 187.1145 | 0.1549
1097 | 10.4946 | 164.0836 | 0.13584
1098 | 10.5046 | 164.0915 | 0.13584
1099 | 10.5146 | 187.0988 | 0.15489
1100 | 10.5246 | 135.032 | 0.11179
1101 | 10.5346 | 185.0946 | 0.15323
1102 | 10.5446 | 163.0846 | 0.13501
1103 | 10.5546 | 169.0772 | 0.13997
1104 | 10.5646 | 170.0689 | 0.14079
1105 | 10.5746 | 167.0792 | 0.13832
1106 | 10.5846 | 166.0408 | 0.13746
1107 | 10.5946 | 180.0668 | 0.14907
1108 | 10.6046 | 197.095 | 0.16316
1109 | 10.6146 | 162.0929 | 0.13419
1110 | 10.6246 | 191.1284 | 0.15822
1111 | 10.6346 | 157.091 | 0.13005
1112 | 10.6446 | 163.0656 | 0.13499
1113 | 10.6546 | 171.0467 | 0.1416
1114 | 10.6645 | 154.0463 | 0.12753
1115 | 10.6745 | 159.0674 | 0.13168
1116 | 10.6845 | 153.0743 | 0.12672
1117 | 10.6945 | 153.1018 | 0.12674
1118 | 10.7045 | 132.043 | 0.10931
1119 | 10.7145 | 163.0611 | 0.13499
1120 | 10.7245 | 161.0697 | 0.13334
1121 | 10.7345 | 152.0707 | 0.12589
1122 | 10.7445 | 170.1068 | 0.14082
1123 | 10.7545 | 161.0797 | 0.13335
1124 | 10.7645 | 160.0655 | 0.13251
1125 | 10.7745 | 162.0634 | 0.13416
1126 | 10.7845 | 166.0645 | 0.13748
1127 | 10.7945 | 175.0851 | 0.14494
1128 | 10.8045 | 175.0794 | 0.14494
1129 | 10.8145 | 149.0789 | 0.12341
1130 | 10.8245 | 153.0738 | 0.12672
1131 | 10.8345 | 157.0503 | 0.13001
1132 | 10.8445 | 172.0905 | 0.14246
1133 | 10.8545 | 164.0635 | 0.13582
1134 | 10.8645 | 147.071 | 0.12175
1135 | 10.8745 | 161.0817 | 0.13335
1136 | 10.8845 | 165.0732 | 0.13665
1137 | 10.8945 | 163.0873 | 0.13501
1138 | 10.9045 | 152.0753 | 0.12589
1139 | 10.9145 | 151.0554 | 0.12505
1140 | 10.9245 | 147.0506 | 0.12173
1141 | 10.9345 | 174.0842 | 0.14411
1142 | 10.9445 | 160.0562 | 0.1325
1143 | 10.9545 | 148.0614 | 0.12257
1144 | 10.9645 | 121.0279 | 0.10019
1145 | 10.9745 | 160.0662 | 0.13251
1146 | 10.9845 | 148.0793 | 0.12259
1147 | 10.9945 | 158.0846 | 0.13087
1148 | 11.0044 | 127.0423 | 0.10517
1149 | 11.0144 | 148.0743 | 0.12258
1150 | 11.0244 | 110.0456 | 0.0911
1151 | 11.0344 | 149.058 | 0.1234
1152 | 11.0444 | 127.0502 | 0.10518
1153 | 11.0544 | 158.0896 | 0.13087
1154 | 11.0644 | 153.0673 | 0.12672
1155 | 11.0744 | 167.0844 | 0.13832
1156 | 11.0844 | 163.077 | 0.135
1157 | 11.0944 | 143.0502 | 0.11842
1158 | 11.1044 | 154.0682 | 0.12754
1159 | 11.1144 | 146.0744 | 0.12093
1160 | 11.1244 | 162.073 | 0.13417
1161 | 11.1344 | 160.0661 | 0.13251
1162 | 11.1444 | 149.0665 | 0.1234
1163 | 11.1544 | 159.0639 | 0.13168
1164 | 11.1644 | 120.027 | 0.099363
1165 | 11.1744 | 138.0524 | 0.11429
1166 | 11.1844 | 160.0857 | 0.13253
1167 | 11.1944 | 131.0578 | 0.1085
1168 | 11.2044 | 152.0764 | 0.1259
1169 | 11.2144 | 119.0231 | 0.098532
1170 | 11.2244 | 157.0727 | 0.13003
1171 | 11.2344 | 146.0657 | 0.12092
1172 | 11.2444 | 142.0621 | 0.1176
1173 | 11.2544 | 119.0447 | 0.09855
1174 | 11.2644 | 151.0818 | 0.12507
1175 | 11.2744 | 142.0873 | 0.11763
1176 | 11.2844 | 125.0411 | 0.10351
1177 | 11.2944 | 136.0487 | 0.11263
1178 | 11.3044 | 138.063 | 0.11429
1179 | 11.3144 | 117.0121 | 0.096868
1180 | 11.3244 | 127.0439 | 0.10517
1181 | 11.3343 | 164.0938 | 0.13584
1182 | 11.3443 | 153.0846 | 0.12673
1183 | 11.3543 | 142.0717 | 0.11761
1184 | 11.3643 | 136.0496 | 0.11263
1185 | 11.3743 | 136.0424 | 0.11262
1186 | 11.3843 | 165.0757 | 0.13666
1187 | 11.3943 | 122.0457 | 0.10103
1188 | 11.4043 | 139.0648 | 0.11512
1189 | 11.4143 | 141.0808 | 0.11679
1190 | 11.4243 | 126.0626 | 0.10436
1191 | 11.4343 | 150.0575 | 0.12422
1192 | 11.4443 | 140.0267 | 0.11592
1193 | 11.4543 | 134.0463 | 0.11097
1194 | 11.4643 | 139.0529 | 0.11511
1195 | 11.4743 | 131.066 | 0.1085
1196 | 11.4843 | 147.0925 | 0.12177
1197 | 11.4943 | 108.0435 | 0.089443
1198 | 11.5043 | 125.052 | 0.10352
1199 | 11.5143 | 129.051 | 0.10683
1200 | 11.5243 | 128.043 | 0.106
1201 | 11.5343 | 143.0766 | 0.11844
1202 | 11.5443 | 128.0525 | 0.10601
1203 | 11.5543 | 138.0468 | 0.11428
1204 | 11.5643 | 121.0434 | 0.1002
1205 | 11.5743 | 141.0697 | 0.11678
1206 | 11.5843 | 125.0467 | 0.10352
1207 | 11.5943 | 143.0972 | 0.11846
1208 | 11.6043 | 130.0817 | 0.10769
1209 | 11.6143 | 133.0405 | 0.11014
1210 | 11.6243 | 151.0697 | 0.12506
1211 | 11.6343 | 116.0219 | 0.096048
1212 | 11.6443 | 121.0475 | 0.10021
1213 | 11.6543 | 137.091 | 0.11349
1214 | 11.6642 | 133.0734 | 0.11016
1215 | 11.6742 | 123.0571 | 0.10187
1216 | 11.6842 | 121.0476 | 0.10021
1217 | 11.6942 | 119.0511 | 0.098556
1218 | 11.7042 | 113.0467 | 0.093585
1219 | 11.7142 | 125.055 | 0.10353
1220 | 11.7242 | 122.0456 | 0.10103
1221 | 11.7342 | 138.0495 | 0.11428
1222 | 11.7442 | 111.0303 | 0.091916
1223 | 11.7542 | 131.0756 | 0.10851
1224 | 11.7642 | 124.071 | 0.10271
1225 | 11.7742 | 131.0757 | 0.10851
1226 | 11.7842 | 120.0541 | 0.099386
1227 | 11.7942 | 131.0354 | 0.10848
1228 | 11.8042 | 140.0701 | 0.11596
1229 | 11.8142 | 102.0375 | 0.084471
1230 | 11.8242 | 113.0417 | 0.093581
1231 | 11.8342 | 120.0513 | 0.099383
1232 | 11.8442 | 135.0615 | 0.11181
1233 | 11.8542 | 109.0435 | 0.090271
1234 | 11.8642 | 107.0551 | 0.088625
1235 | 11.8742 | 121.0445 | 0.10021
1236 | 11.8842 | 116.0389 | 0.096062
1237 | 11.8942 | 125.0535 | 0.10352
1238 | 11.9042 | 113.0319 | 0.093573
1239 | 11.9142 | 112.0371 | 0.092749
1240 | 11.9242 | 123.0641 | 0.10188
1241 | 11.9342 | 130.0644 | 0.10767
1242 | 11.9442 | 100.0324 | 0.082811
1243 | 11.9542 | 112.0541 | 0.092763
1244 | 11.9642 | 125.0669 | 0.10354
1245 | 11.9742 | 116.0578 | 0.096078
1246 | 11.9842 | 116.0465 | 0.096068
1247 | 11.9942 | 140.0829 | 0.11597
1248 | 12.0041 | 113.0498 | 0.093587
1249 | 12.0141 | 115.0421 | 0.095237
1250 | 12.0241 | 117.0432 | 0.096893
1251 | 12.0341 | 122.0428 | 0.10103
1252 | 12.0441 | 127.0468 | 0.10517
1253 | 12.0541 | 127.0623 | 0.10519
1254 | 12.0641 | 106.0419 | 0.087786
1255 | 12.0741 | 125.0345 | 0.10351
1256 | 12.0841 | 114.0552 | 0.09442
1257 | 12.0941 | 119.0717 | 0.098573
1258 | 12.1041 | 119.069 | 0.09857
1259 | 12.1141 | 135.0962 | 0.11184
1260 | 12.1241 | 110.0481 | 0.091102
1261 | 12.1341 | 105.0235 | 0.086943
1262 | 12.1441 | 96.0027 | 0.079475
1263 | 12.1541 | 113.0227 | 0.093565
1264 | 12.1641 | 100.0319 | 0.082811
1265 | 12.1741 | 112.065 | 0.092772
1266 | 12.1841 | 104.0562 | 0.086142
1267 | 12.1941 | 103.0369 | 0.085298
1268 | 12.2041 | 122.0623 | 0.10105
1269 | 12.2141 | 139.0763 | 0.11513
1270 | 12.2241 | 111.0352 | 0.09192
1271 | 12.2341 | 96.0406 | 0.079506
1272 | 12.2441 | 110.0289 | 0.091087
1273 | 12.2541 | 100.0245 | 0.082804
1274 | 12.2641 | 111.0536 | 0.091935
1275 | 12.2741 | 114.0554 | 0.09442
1276 | 12.2841 | 104.056 | 0.086142
1277 | 12.2941 | 101.0552 | 0.083658
1278 | 12.3041 | 116.0664 | 0.096085
1279 | 12.3141 | 117.0521 | 0.096901
1280 | 12.3241 | 99.0274 | 0.081979
1281 | 12.334 | 130.0595 | 0.10767
1282 | 12.344 | 114.0294 | 0.094398
1283 | 12.354 | 115.0573 | 0.095249
1284 | 12.364 | 92.0301 | 0.076186
1285 | 12.374 | 99.0455 | 0.081994
1286 | 12.384 | 93.043 | 0.077025
1287 | 12.394 | 114.0629 | 0.094426
1288 | 12.404 | 118.0703 | 0.097744
1289 | 12.414 | 106.0445 | 0.087788
1290 | 12.424 | 103.0478 | 0.085307
1291 | 12.434 | 98.0328 | 0.081156
1292 | 12.444 | 78.0165 | 0.064585
1293 | 12.454 | 107.0422 | 0.088614
1294 | 12.464 | 108.0512 | 0.089449
1295 | 12.474 | 99.034 | 0.081985
1296 | 12.484 | 92.0265 | 0.076183
1297 | 12.494 | 87.0548 | 0.072068
1298 | 12.504 | 103.0538 | 0.085312
1299 | 12.514 | 106.0643 | 0.087804
1300 | 12.524 | 102.06 | 0.08449
1301 | 12.534 | 104.0272 | 0.086118
1302 | 12.544 | 103.0422 | 0.085303
1303 | 12.554 | 107.0385 | 0.088611
1304 | 12.564 | 86.0415 | 0.071229
1305 | 12.574 | 97.0558 | 0.080347
1306 | 12.584 | 114.0496 | 0.094415
1307 | 12.594 | 91.0333 | 0.075361
1308 | 12.604 | 107.0235 | 0.088599
1309 | 12.614 | 84.0081 | 0.069545
1310 | 12.624 | 100.0478 | 0.082824
1311 | 12.634 | 103.0566 | 0.085315
1312 | 12.644 | 89.0425 | 0.073713
1313 | 12.654 | 92.0401 | 0.076195
1314 | 12.6639 | 106.0534 | 0.087795
1315 | 12.6739 | 103.0519 | 0.085311
1316 | 12.6839 | 97.0393 | 0.080333
1317 | 12.6939 | 106.044 | 0.087788
1318 | 12.7039 | 92.0236 | 0.076181
1319 | 12.7139 | 103.036 | 0.085298
1320 | 12.7239 | 98.0427 | 0.081164
1321 | 12.7339 | 78.0089 | 0.064579
1322 | 12.7439 | 90.0384 | 0.074538
1323 | 12.7539 | 95.0574 | 0.078692
1324 | 12.7639 | 81.0305 | 0.06708
1325 | 12.7739 | 76.0276 | 0.062939
1326 | 12.7839 | 101.0485 | 0.083652
1327 | 12.7939 | 83.029 | 0.068735
1328 | 12.8039 | 81.0369 | 0.067086
1329 | 12.8139 | 94.0592 | 0.077866
1330 | 12.8239 | 89.0409 | 0.073712
1331 | 12.8339 | 93.0448 | 0.077026
1332 | 12.8439 | 98.04 | 0.081162
1333 | 12.8539 | 91.0318 | 0.07536
1334 | 12.8639 | 83.0416 | 0.068745
1335 | 12.8739 | 101.0412 | 0.083646
1336 | 12.8839 | 99.0486 | 0.081997
1337 | 12.8939 | 86.0375 | 0.071225
1338 | 12.9039 | 98.0296 | 0.081153
1339 | 12.9139 | 96.0361 | 0.079503
1340 | 12.9239 | 94.0285 | 0.077841
1341 | 12.9339 | 82.0251 | 0.067904
1342 | 12.9439 | 85.0446 | 0.070404
1343 | 12.9539 | 86.0387 | 0.071226
1344 | 12.9639 | 100.0503 | 0.082826
1345 | 12.9739 | 82.0328 | 0.06791
1346 | 12.9839 | 82.0366 | 0.067913
1347 | 12.9939 | 87.0529 | 0.072066
1348 | 13.0038 | 85.0495 | 0.070408
1349 | 13.0138 | 76.0287 | 0.06294
1350 | 13.0238 | 71.0257 | 0.058798
1351 | 13.0338 | 95.0328 | 0.078672
1352 | 13.0438 | 86.0166 | 0.071208
1353 | 13.0538 | 76.0282 | 0.062939
1354 | 13.0638 | 103.0633 | 0.08532
1355 | 13.0738 | 84.0577 | 0.069587
1356 | 13.0838 | 80.0568 | 0.066274
1357 | 13.0938 | 78.0312 | 0.064597
1358 | 13.1038 | 83.0253 | 0.068732
1359 | 13.1138 | 91.0392 | 0.075366
1360 | 13.1238 | 89.0286 | 0.073702
1361 | 13.1338 | 85.0363 | 0.070397
1362 | 13.1438 | 82.0504 | 0.067925
1363 | 13.1538 | 88.0415 | 0.072884
1364 | 13.1638 | 71.023 | 0.058796
1365 | 13.1738 | 77.032 | 0.06377
1366 | 13.1838 | 94.0511 | 0.077859
1367 | 13.1938 | 103.0617 | 0.085319
1368 | 13.2038 | 77.0403 | 0.063777
1369 | 13.2138 | 87.0433 | 0.072058
1370 | 13.2238 | 73.023 | 0.060452
1371 | 13.2338 | 72.0181 | 0.05962
1372 | 13.2438 | 73.0228 | 0.060451
1373 | 13.2538 | 80.0514 | 0.06627
1374 | 13.2638 | 81.0589 | 0.067104
1375 | 13.2738 | 83.0543 | 0.068756
1376 | 13.2838 | 67.0242 | 0.055485
1377 | 13.2938 | 83.0265 | 0.068733
1378 | 13.3038 | 86.0353 | 0.071224
1379 | 13.3138 | 73.0172 | 0.060447
1380 | 13.3238 | 76.0258 | 0.062937
1381 | 13.3337 | 83.0495 | 0.068752
1382 | 13.3437 | 57.0099 | 0.047195
1383 | 13.3537 | 62.0316 | 0.051352
1384 | 13.3637 | 91.0442 | 0.07537
1385 | 13.3737 | 74.0318 | 0.061287
1386 | 13.3837 | 87.0435 | 0.072058
1387 | 13.3937 | 68.0265 | 0.056315
1388 | 13.4037 | 57.0231 | 0.047206
1389 | 13.4137 | 70.0229 | 0.057968
1390 | 13.4237 | 73.0245 | 0.060453
1391 | 13.4337 | 75.0371 | 0.062119
1392 | 13.4437 | 68.0233 | 0.056313
1393 | 13.4537 | 71.0435 | 0.058813
1394 | 13.4637 | 70.0221 | 0.057967
1395 | 13.4737 | 75.0182 | 0.062103
1396 | 13.4837 | 82.0347 | 0.067912
1397 | 13.4937 | 76.0314 | 0.062942
1398 | 13.5037 | 62.0452 | 0.051364
1399 | 13.5137 | 62.0475 | 0.051366
1400 | 13.5237 | 64.0394 | 0.053015
1401 | 13.5337 | 72.0404 | 0.059638
1402 | 13.5437 | 90.0425 | 0.074541
1403 | 13.5537 | 62.0097 | 0.051334
1404 | 13.5637 | 67.0224 | 0.055484
1405 | 13.5737 | 71.0264 | 0.058799
1406 | 13.5837 | 76.0178 | 0.062931
1407 | 13.5937 | 73.0411 | 0.060466
1408 | 13.6037 | 66.0291 | 0.054662
1409 | 13.6137 | 60.0207 | 0.049688
1410 | 13.6237 | 82.0489 | 0.067924
1411 | 13.6337 | 72.0373 | 0.059635
1412 | 13.6437 | 69.0354 | 0.05715
1413 | 13.6537 | 78.0411 | 0.064606
1414 | 13.6636 | 72.0403 | 0.059638
1415 | 13.6736 | 59.0185 | 0.048858
1416 | 13.6836 | 68.0316 | 0.056319
1417 | 13.6936 | 72.045 | 0.059642
1418 | 13.7036 | 58.0265 | 0.048037
1419 | 13.7136 | 60.032 | 0.049697
1420 | 13.7236 | 63.0345 | 0.052183
1421 | 13.7336 | 73.0346 | 0.060461
1422 | 13.7436 | 57.0137 | 0.047198
1423 | 13.7536 | 68.0231 | 0.056312
1424 | 13.7636 | 70.0329 | 0.057976
1425 | 13.7736 | 72.0341 | 0.059633
1426 | 13.7836 | 78.0383 | 0.064603
1427 | 13.7936 | 73.0341 | 0.060461
1428 | 13.8036 | 60.0328 | 0.049698
1429 | 13.8136 | 66.0347 | 0.054666
1430 | 13.8236 | 85.0501 | 0.070408
1431 | 13.8336 | 55.025 | 0.045552
1432 | 13.8436 | 55.0264 | 0.045553
1433 | 13.8536 | 61.0205 | 0.050515
1434 | 13.8636 | 53.0186 | 0.043891
1435 | 13.8736 | 66.0343 | 0.054666
1436 | 13.8836 | 72.0357 | 0.059634
1437 | 13.8936 | 82.0428 | 0.067918
1438 | 13.9036 | 77.0418 | 0.063778
1439 | 13.9136 | 63.028 | 0.052177
1440 | 13.9236 | 52.0206 | 0.043065
1441 | 13.9336 | 62.0298 | 0.051351
1442 | 13.9436 | 70.0326 | 0.057976
1443 | 13.9536 | 61.0214 | 0.050516
1444 | 13.9636 | 61.0219 | 0.050516
1445 | 13.9736 | 71.0397 | 0.05881
1446 | 13.9836 | 54.0236 | 0.044723
1447 | 13.9936 | 78.0423 | 0.064607
1448 | 14.0035 | 65.0427 | 0.053845
1449 | 14.0135 | 56.0307 | 0.046385
1450 | 14.0235 | 59.0216 | 0.048861
1451 | 14.0335 | 56.0084 | 0.046366
1452 | 14.0435 | 53.0144 | 0.043888
1453 | 14.0535 | 56.0186 | 0.046375
1454 | 14.0635 | 63.0309 | 0.05218
1455 | 14.0735 | 67.0391 | 0.055498
1456 | 14.0835 | 61.0302 | 0.050523
1457 | 14.0935 | 76.0422 | 0.062951
1458 | 14.1035 | 50.017 | 0.041406
1459 | 14.1135 | 64.0346 | 0.053011
1460 | 14.1235 | 54.0345 | 0.044732
1461 | 14.1335 | 56.0315 | 0.046385
1462 | 14.1435 | 52.017 | 0.043062
1463 | 14.1535 | 51.0195 | 0.042236
1464 | 14.1635 | 62.0277 | 0.051349
1465 | 14.1735 | 51.0101 | 0.042228
1466 | 14.1835 | 65.0202 | 0.053826
1467 | 14.1935 | 58.0222 | 0.048033
1468 | 14.2035 | 58.0112 | 0.048024
1469 | 14.2135 | 52.0152 | 0.04306
1470 | 14.2235 | 63.0282 | 0.052177
1471 | 14.2335 | 59.0309 | 0.048868
1472 | 14.2435 | 38.0232 | 0.031477
1473 | 14.2535 | 55.024 | 0.045551
1474 | 14.2635 | 46.023 | 0.0381
1475 | 14.2735 | 45.0146 | 0.037265
1476 | 14.2835 | 69.0277 | 0.057144
1477 | 14.2935 | 54.0299 | 0.044728
1478 | 14.3035 | 63.025 | 0.052175
1479 | 14.3135 | 45.0101 | 0.037261
1480 | 14.3235 | 53.0295 | 0.0439
1481 | 14.3334 | 62.032 | 0.051353
1482 | 14.3434 | 54.0324 | 0.04473
1483 | 14.3534 | 75.0405 | 0.062122
1484 | 14.3634 | 64.0327 | 0.053009
1485 | 14.3734 | 49.013 | 0.040575
1486 | 14.3834 | 47.0266 | 0.038931
1487 | 14.3934 | 55.0328 | 0.045558
1488 | 14.4034 | 57.0329 | 0.047214
1489 | 14.4134 | 52.0317 | 0.043074
1490 | 14.4234 | 50.0297 | 0.041417
1491 | 14.4334 | 56.0325 | 0.046386
1492 | 14.4434 | 62.0315 | 0.051352
1493 | 14.4534 | 62.0234 | 0.051346
1494 | 14.4634 | 56.0251 | 0.04638
1495 | 14.4734 | 52.0156 | 0.043061
1496 | 14.4834 | 68.0357 | 0.056323
1497 | 14.4934 | 48.0233 | 0.039756
1498 | 14.5034 | 41.0136 | 0.033953
1499 | 14.5134 | 52.0224 | 0.043066
1500 | 14.5234 | 48.0105 | 0.039745
1501 | 14.5334 | 50.0181 | 0.041407
1502 | 14.5434 | 49.0262 | 0.040586
1503 | 14.5534 | 45.0237 | 0.037272
1504 | 14.5634 | 37.0184 | 0.030645
1505 | 14.5734 | 49.0368 | 0.040595
1506 | 14.5834 | 49.0188 | 0.04058
1507 | 14.5934 | 54.0152 | 0.044716
1508 | 14.6034 | 51.0202 | 0.042237
1509 | 14.6134 | 43.0095 | 0.035605
1510 | 14.6234 | 60.0328 | 0.049698
1511 | 14.6334 | 49.0241 | 0.040584
1512 | 14.6434 | 50.0233 | 0.041411
1513 | 14.6534 | 60.0379 | 0.049702
1514 | 14.6633 | 54.0352 | 0.044733
1515 | 14.6733 | 60.0299 | 0.049695
1516 | 14.6833 | 51.0205 | 0.042237
1517 | 14.6933 | 41.0163 | 0.033955
1518 | 14.7033 | 47.0246 | 0.038929
1519 | 14.7133 | 48.0272 | 0.039759
1520 | 14.7233 | 49.025 | 0.040585
1521 | 14.7333 | 41.0135 | 0.033953
1522 | 14.7433 | 37.0046 | 0.030634
1523 | 14.7533 | 42.018 | 0.034784
1524 | 14.7633 | 48.0291 | 0.03976
1525 | 14.7733 | 41.0252 | 0.033962
1526 | 14.7833 | 52.0356 | 0.043077
1527 | 14.7933 | 56.0269 | 0.046381
1528 | 14.8033 | 43.0125 | 0.035608
1529 | 14.8133 | 39.0088 | 0.032293
1530 | 14.8233 | 31.0041 | 0.025667
1531 | 14.8333 | 35.0182 | 0.02899
1532 | 14.8433 | 49.0264 | 0.040586
1533 | 14.8533 | 48.0295 | 0.039761
1534 | 14.8633 | 43.0259 | 0.035619
1535 | 14.8733 | 53.0287 | 0.043899
1536 | 14.8833 | 43.0151 | 0.03561
1537 | 14.8933 | 32.0134 | 0.026502
1538 | 14.9033 | 47.0234 | 0.038928
1539 | 14.9133 | 46.0157 | 0.038094
1540 | 14.9233 | 42.0203 | 0.034786
1541 | 14.9333 | 38.016 | 0.031471
1542 | 14.9433 | 41.0114 | 0.033951
1543 | 14.9533 | 38.0152 | 0.031471
1544 | 14.9633 | 39.0183 | 0.032301
1545 | 14.9733 | 43.0198 | 0.035614
1546 | 14.9833 | 47.0325 | 0.038935
1547 | 14.9933 | 45.0302 | 0.037278
1548 | 15.0032 | 28.0124 | 0.02319
1549 | 15.0132 | 28.0209 | 0.023197
1550 | 15.0232 | 36.0134 | 0.029813
1551 | 15.0332 | 46.0143 | 0.038093
1552 | 15.0432 | 46.0084 | 0.038088
1553 | 15.0532 | 42.013 | 0.03478
1554 | 15.0632 | 47.0153 | 0.038921
1555 | 15.0732 | 46.0279 | 0.038104
1556 | 15.0832 | 32.022 | 0.026509
1557 | 15.0932 | 50.0356 | 0.041422
1558 | 15.1032 | 29.0168 | 0.024021
1559 | 15.1132 | 47.027 | 0.038931
1560 | 15.1232 | 37.0173 | 0.030644
1561 | 15.1332 | 44.0258 | 0.036446
1562 | 15.1432 | 36.0198 | 0.029819
1563 | 15.1532 | 36.0173 | 0.029817
1564 | 15.1632 | 43.0229 | 0.035616
1565 | 15.1732 | 46.0235 | 0.0381
1566 | 15.1832 | 36.0095 | 0.02981
1567 | 15.1932 | 43.0213 | 0.035615
1568 | 15.2032 | 26.0089 | 0.021531
1569 | 15.2132 | 46.0272 | 0.038103
1570 | 15.2232 | 45.0223 | 0.037271
1571 | 15.2332 | 39.023 | 0.032305
1572 | 15.2432 | 37.0181 | 0.030645
1573 | 15.2532 | 19.9927 | 0.016551
1574 | 15.2632 | 25.9997 | 0.021524
1575 | 15.2732 | 30.0019 | 0.024837
1576 | 15.2832 | 34.0179 | 0.028161
1577 | 15.2932 | 43.0282 | 0.035621
1578 | 15.3032 | 41.0302 | 0.033967
1579 | 15.3132 | 37.0276 | 0.030653
1580 | 15.3232 | 40.0207 | 0.033131
1581 | 15.3331 | 52.0309 | 0.043073
1582 | 15.3431 | 26.0071 | 0.02153
1583 | 15.3531 | 38.0172 | 0.031472
1584 | 15.3631 | 37.026 | 0.030652
1585 | 15.3731 | 32.0195 | 0.026507
1586 | 15.3831 | 33.0167 | 0.027333
1587 | 15.3931 | 31.0162 | 0.025677
1588 | 15.4031 | 33.0101 | 0.027327
1589 | 15.4131 | 28.0095 | 0.023187
1590 | 15.4231 | 38.0241 | 0.031478
1591 | 15.4331 | 30.0218 | 0.024853
1592 | 15.4431 | 26.0209 | 0.021541
1593 | 15.4531 | 33.018 | 0.027334
1594 | 15.4631 | 29.0155 | 0.02402
1595 | 15.4731 | 28.007 | 0.023185
1596 | 15.4831 | 35.0069 | 0.02898
1597 | 15.4931 | 40.0124 | 0.033124
1598 | 15.5031 | 38.0186 | 0.031473
1599 | 15.5131 | 29.016 | 0.024021
1600 | 15.5231 | 35.0268 | 0.028997
1601 | 15.5331 | 36.018 | 0.029817
1602 | 15.5431 | 35.012 | 0.028984
1603 | 15.5531 | 24.0051 | 0.019872
1604 | 15.5631 | 33.0192 | 0.027335
1605 | 15.5731 | 31.0101 | 0.025671
1606 | 15.5831 | 29.0148 | 0.02402
1607 | 15.5931 | 27.0161 | 0.022365
1608 | 15.6031 | 39.0113 | 0.032295
1609 | 15.6131 | 30.0088 | 0.024843
1610 | 15.6231 | 29.0116 | 0.024017
1611 | 15.6331 | 32.0161 | 0.026504
1612 | 15.6431 | 35.0243 | 0.028995
1613 | 15.6531 | 31.0199 | 0.02568
1614 | 15.663 | 33.0159 | 0.027332
1615 | 15.673 | 30.0186 | 0.024851
1616 | 15.683 | 30.0159 | 0.024848
1617 | 15.693 | 34.018 | 0.028161
1618 | 15.703 | 36.0209 | 0.02982
1619 | 15.713 | 32.0116 | 0.026501
1620 | 15.723 | 26.0065 | 0.021529
1621 | 15.733 | 32.0191 | 0.026507
1622 | 15.743 | 35.0242 | 0.028994
1623 | 15.753 | 21.0097 | 0.017393
1624 | 15.763 | 27.0201 | 0.022368
1625 | 15.773 | 35.0183 | 0.02899
1626 | 15.783 | 42.0276 | 0.034792
1627 | 15.793 | 30.0149 | 0.024848
1628 | 15.803 | 33.0198 | 0.027335
1629 | 15.813 | 29.0222 | 0.024026
1630 | 15.823 | 27.0137 | 0.022363
1631 | 15.833 | 28.0056 | 0.023184
1632 | 15.843 | 30.017 | 0.024849
1633 | 15.853 | 32.0157 | 0.026504
1634 | 15.863 | 25.0126 | 0.020706
1635 | 15.873 | 20.0125 | 0.016567
1636 | 15.883 | 28.0156 | 0.023192
1637 | 15.893 | 36.0263 | 0.029824
1638 | 15.903 | 28.0187 | 0.023195
1639 | 15.913 | 32.0088 | 0.026498
1640 | 15.923 | 37.0199 | 0.030647
1641 | 15.933 | 39.0242 | 0.032306
1642 | 15.943 | 29.017 | 0.024021
1643 | 15.953 | 41.0261 | 0.033963
1644 | 15.963 | 32.0109 | 0.0265
1645 | 15.973 | 32.0111 | 0.0265
1646 | 15.983 | 26.0087 | 0.021531
1647 | 15.993 | 20.0126 | 0.016567
1648 | 16.0029 | 32.0252 | 0.026512
1649 | 16.0129 | 23.017 | 0.019054
1650 | 16.0229 | 31.0244 | 0.025683
1651 | 16.0329 | 32.0199 | 0.026507
1652 | 16.0429 | 20.0042 | 0.01656
1653 | 16.0529 | 34.0162 | 0.02816
1654 | 16.0629 | 31.0153 | 0.025676
1655 | 16.0729 | 22.0083 | 0.018219
1656 | 16.0829 | 28.0136 | 0.023191
1657 | 16.0929 | 18.0125 | 0.014911
1658 | 16.1029 | 32.0201 | 0.026508
1659 | 16.1129 | 24.0157 | 0.019881
1660 | 16.1229 | 32.0185 | 0.026506
1661 | 16.1329 | 14.0079 | 0.011596
1662 | 16.1429 | 23.0176 | 0.019055
1663 | 16.1529 | 23.0117 | 0.01905
1664 | 16.1629 | 22.0099 | 0.018221
1665 | 16.1729 | 19.011 | 0.015738
1666 | 16.1829 | 23.0143 | 0.019052
1667 | 16.1929 | 27.0159 | 0.022365
1668 | 16.2029 | 32.0167 | 0.026505
1669 | 16.2129 | 24.006 | 0.019873
1670 | 16.2229 | 33.0194 | 0.027335
1671 | 16.2329 | 27.0158 | 0.022365
1672 | 16.2429 | 24.0155 | 0.019881
1673 | 16.2529 | 26.0105 | 0.021533
1674 | 16.2629 | 27.0168 | 0.022366
1675 | 16.2729 | 33.0239 | 0.027339
1676 | 16.2829 | 24.0119 | 0.019878
1677 | 16.2929 | 22.017 | 0.018227
1678 | 16.3029 | 23.0169 | 0.019054
1679 | 16.3129 | 21.0098 | 0.017393
1680 | 16.3229 | 14.008 | 0.011596
1681 | 16.3328 | 30.0188 | 0.024851
1682 | 16.3428 | 32.0163 | 0.026504
1683 | 16.3528 | 24.0121 | 0.019878
1684 | 16.3628 | 27.0156 | 0.022365
1685 | 16.3728 | 21.0119 | 0.017395
1686 | 16.3828 | 26.0188 | 0.021539
1687 | 16.3928 | 25.0174 | 0.02071
1688 | 16.4028 | 19.0169 | 0.015743
1689 | 16.4128 | 17.009 | 0.014081
1690 | 16.4228 | 27.0083 | 0.022359
1691 | 16.4328 | 26.0128 | 0.021534
1692 | 16.4428 | 22.0111 | 0.018222
1693 | 16.4528 | 20.0078 | 0.016563
1694 | 16.4628 | 19.0132 | 0.01574
1695 | 16.4728 | 22.0129 | 0.018223
1696 | 16.4828 | 24.0167 | 0.019882
1697 | 16.4928 | 28.017 | 0.023194
1698 | 16.5028 | 20.0085 | 0.016564
1699 | 16.5128 | 18.0104 | 0.01491
1700 | 16.5228 | 17.011 | 0.014082
1701 | 16.5328 | 17.0101 | 0.014082
1702 | 16.5428 | 26.0141 | 0.021536
1703 | 16.5528 | 25.0201 | 0.020713
1704 | 16.5628 | 24.0156 | 0.019881
1705 | 16.5728 | 22.0066 | 0.018218
1706 | 16.5828 | 16.0076 | 0.013252
1707 | 16.5928 | 23.0133 | 0.019051
1708 | 16.6028 | 16.0019 | 0.013247
1709 | 16.6128 | 18.0114 | 0.014911
1710 | 16.6228 | 22.0197 | 0.018229
1711 | 16.6328 | 24.0173 | 0.019883
1712 | 16.6428 | 16.0095 | 0.013253
1713 | 16.6528 | 22.0115 | 0.018222
1714 | 16.6627 | 26.0124 | 0.021534
1715 | 16.6727 | 18.0054 | 0.014906
1716 | 16.6827 | 20.0151 | 0.016569
1717 | 16.6927 | 25.0176 | 0.020711
1718 | 16.7027 | 19.0127 | 0.015739
1719 | 16.7127 | 18.0149 | 0.014913
1720 | 16.7227 | 19.0108 | 0.015738
1721 | 16.7327 | 14.0105 | 0.011598
1722 | 16.7427 | 17.0129 | 0.014084
1723 | 16.7527 | 18.0127 | 0.014912
1724 | 16.7627 | 9.0028 | 0.0074529
1725 | 16.7727 | 24.0125 | 0.019879
1726 | 16.7827 | 24.0155 | 0.019881
1727 | 16.7927 | 29.02 | 0.024024
1728 | 16.8027 | 19.0119 | 0.015739
1729 | 16.8127 | 26.0189 | 0.02154
1730 | 16.8227 | 14.0053 | 0.011594
1731 | 16.8327 | 13.0048 | 0.010766
1732 | 16.8427 | 14.0071 | 0.011596
1733 | 16.8527 | 14.0092 | 0.011597
1734 | 16.8627 | 18.0116 | 0.014911
1735 | 16.8727 | 16.0111 | 0.013255
1736 | 16.8827 | 15.0113 | 0.012427
1737 | 16.8927 | 15.0121 | 0.012428
1738 | 16.9027 | 17.0148 | 0.014086
1739 | 16.9127 | 17.0127 | 0.014084
1740 | 16.9227 | 19.0123 | 0.015739
1741 | 16.9327 | 23.0181 | 0.019055
1742 | 16.9427 | 16.0104 | 0.013254
1743 | 16.9527 | 17.0069 | 0.014079
1744 | 16.9627 | 18.0122 | 0.014911
1745 | 16.9727 | 22.013 | 0.018223
1746 | 16.9827 | 14.0025 | 0.011592
1747 | 16.9927 | 17.0086 | 0.01408
1748 | 17.0026 | 25.018 | 0.020711
1749 | 17.0126 | 21.0156 | 0.017398
1750 | 17.0226 | 23.0178 | 0.019055
1751 | 17.0326 | 12.0075 | 0.0099404
1752 | 17.0426 | 15.0074 | 0.012424
1753 | 17.0526 | 11.0031 | 0.0091088
1754 | 17.0626 | 11.0042 | 0.0091097
1755 | 17.0726 | 17.0132 | 0.014084
1756 | 17.0826 | 15.0136 | 0.012429
1757 | 17.0926 | 16.0128 | 0.013256
1758 | 17.1026 | 16.0132 | 0.013256
1759 | 17.1126 | 9.0037 | 0.0074537
1760 | 17.1226 | 13.007 | 0.010768
1761 | 17.1326 | 14.0093 | 0.011597
1762 | 17.1426 | 12.0089 | 0.0099415
1763 | 17.1526 | 19.0145 | 0.015741
1764 | 17.1626 | 14.0103 | 0.011598
1765 | 17.1726 | 11.0045 | 0.00911
1766 | 17.1826 | 9.0043 | 0.0074542
1767 | 17.1926 | 9.0044 | 0.0074542
1768 | 17.2026 | 17.012 | 0.014083
1769 | 17.2126 | 11.0059 | 0.0091112
1770 | 17.2226 | 18.0123 | 0.014911
1771 | 17.2326 | 21.016 | 0.017398
1772 | 17.2426 | 22.0146 | 0.018225
1773 | 17.2526 | 15.0118 | 0.012427
1774 | 17.2626 | 12.0098 | 0.0099422
1775 | 17.2726 | 9.0036 | 0.0074535
1776 | 17.2826 | 20.0152 | 0.016569
1777 | 17.2926 | 19.0156 | 0.015742
1778 | 17.3026 | 16.0128 | 0.013256
1779 | 17.3126 | 12.007 | 0.0099399
1780 | 17.3226 | 20.0167 | 0.016571
1781 | 17.3325 | 12.0093 | 0.0099418
1782 | 17.3425 | 11.0057 | 0.009111
1783 | 17.3525 | 24.0169 | 0.019882
1784 | 17.3625 | 16.0139 | 0.013257
1785 | 17.3725 | 15.0104 | 0.012426
1786 | 17.3825 | 12.0094 | 0.0099419
1787 | 17.3925 | 10.0082 | 0.0082852
1788 | 17.4025 | 12.0075 | 0.0099403
1789 | 17.4125 | 16.0056 | 0.01325
1790 | 17.4225 | 10.0061 | 0.0082835
1791 | 17.4325 | 13.0097 | 0.01077
1792 | 17.4425 | 12.0065 | 0.0099395
1793 | 17.4525 | 12.0066 | 0.0099396
1794 | 17.4625 | 17.0144 | 0.014085
1795 | 17.4725 | 15.012 | 0.012428
1796 | 17.4825 | 10.0083 | 0.0082853
1797 | 17.4925 | 9.008 | 0.0074572
1798 | 17.5025 | 12.0102 | 0.0099426
1799 | 17.5125 | 6.0036 | 0.00497
1800 | 17.5225 | 15.0103 | 0.012426
1801 | 17.5325 | 10.0074 | 0.0082845
1802 | 17.5425 | 14.0103 | 0.011598
1803 | 17.5525 | 9.0071 | 0.0074564
1804 | 17.5625 | 6.0038 | 0.0049702
1805 | 17.5725 | 13.0095 | 0.01077
1806 | 17.5825 | 19.016 | 0.015742
1807 | 17.5925 | 8.0061 | 0.0066278
1808 | 17.6025 | 13.009 | 0.010769
1809 | 17.6125 | 10.0087 | 0.0082856
1810 | 17.6225 | 10.0086 | 0.0082855
1811 | 17.6325 | 12.007 | 0.0099399
1812 | 17.6425 | 7.0016 | 0.0057962
1813 | 17.6525 | 9.0043 | 0.0074541
1814 | 17.6624 | 21.0183 | 0.0174
1815 | 17.6724 | 12.0085 | 0.0099411
1816 | 17.6824 | 12.0087 | 0.0099413
1817 | 17.6924 | 9.0073 | 0.0074566
1818 | 17.7024 | 12.0089 | 0.0099415
1819 | 17.7124 | 18.0125 | 0.014911
1820 | 17.7224 | 15.0119 | 0.012428
1821 | 17.7324 | 13.0108 | 0.010771
1822 | 17.7424 | 6.0056 | 0.0049717
1823 | 17.7524 | 8.0067 | 0.0066283
1824 | 17.7624 | 8.0076 | 0.006629
1825 | 17.7724 | 7.0047 | 0.0057988
1826 | 17.7824 | 11.0083 | 0.0091131
1827 | 17.7924 | 13.0104 | 0.010771
1828 | 17.8024 | 12.0106 | 0.0099428
1829 | 17.8124 | 11.0079 | 0.0091128
1830 | 17.8224 | 11.0084 | 0.0091133
1831 | 17.8324 | 12.0107 | 0.009943
1832 | 17.8424 | 4.0017 | 0.0033128
1833 | 17.8524 | 11.0094 | 0.009114
1834 | 17.8624 | 7.0056 | 0.0057995
1835 | 17.8724 | 12.0106 | 0.0099429
1836 | 17.8824 | 4.0028 | 0.0033137
1837 | 17.8924 | 5.0044 | 0.0041429
1838 | 17.9024 | 11.0089 | 0.0091136
1839 | 17.9124 | 11.0097 | 0.0091143
1840 | 17.9224 | 7.0054 | 0.0057993
1841 | 17.9324 | 7.006 | 0.0057998
1842 | 17.9424 | 9.008 | 0.0074572
1843 | 17.9524 | 13.0105 | 0.010771
1844 | 17.9624 | 15.0121 | 0.012428
1845 | 17.9724 | 8.007 | 0.0066285
1846 | 17.9824 | 9.008 | 0.0074572
1847 | 17.9924 | 7.0062 | 0.0058
1848 | 18.0023 | 14.0127 | 0.0116
1849 | 18.0123 | 7.0054 | 0.0057994
1850 | 18.0223 | 7.006 | 0.0057999
1851 | 18.0323 | 10.0089 | 0.0082858
1852 | 18.0423 | 4.0037 | 0.0033144
1853 | 18.0523 | 7.0053 | 0.0057993
1854 | 18.0623 | 10.0086 | 0.0082856
1855 | 18.0723 | 5.0035 | 0.0041421
1856 | 18.0823 | 9.0077 | 0.007457
1857 | 18.0923 | 11.0089 | 0.0091136
1858 | 18.1023 | 8.007 | 0.0066285
1859 | 18.1123 | 8.0072 | 0.0066287
1860 | 18.1223 | 8.0062 | 0.0066278
1861 | 18.1323 | 7.006 | 0.0057998
1862 | 18.1423 | 7.0053 | 0.0057993
1863 | 18.1523 | 2.0015 | 0.0016569
1864 | 18.1623 | 9.0079 | 0.0074572
1865 | 18.1723 | 15.0132 | 0.012429
1866 | 18.1823 | 8.0071 | 0.0066286
1867 | 18.1923 | 8.0071 | 0.0066286
1868 | 18.2023 | 10.0088 | 0.0082857
1869 | 18.2123 | 5.0044 | 0.0041429
1870 | 18.2223 | 9.0079 | 0.0074572
1871 | 18.2323 | 5.0044 | 0.0041429
1872 | 18.2423 | 10.0088 | 0.0082857
1873 | 18.2523 | 9.0079 | 0.0074572
1874 | 18.2623 | 5.0044 | 0.0041429
1875 | 18.2723 | 6.0053 | 0.0049714
1876 | 18.2823 | 7.0062 | 0.0058
1877 | 18.2923 | 10.0088 | 0.0082857
1878 | 18.3023 | 3.0026 | 0.0024857
1879 | 18.3123 | 8.0071 | 0.0066286
1880 | 18.3223 | 12.0106 | 0.0099429
1881 | 18.3322 | 5.0044 | 0.0041429
1882 | 18.3422 | 8.0071 | 0.0066286
1883 | 18.3522 | 12.0106 | 0.0099429
1884 | 18.3622 | 5.0044 | 0.0041429
1885 | 18.3722 | 3.0026 | 0.0024857
1886 | 18.3822 | 6.0053 | 0.0049714
1887 | 18.3922 | 6.0053 | 0.0049714
1888 | 18.4022 | 9.0079 | 0.0074572
1889 | 18.4122 | 9.0079 | 0.0074572
1890 | 18.4222 | 9.0079 | 0.0074572
1891 | 18.4322 | 2.0018 | 0.0016571
1892 | 18.4422 | 6.0053 | 0.0049714
1893 | 18.4522 | 5.0044 | 0.0041429
1894 | 18.4622 | 3.0026 | 0.0024857
1895 | 18.4722 | 8.0071 | 0.0066286
1896 | 18.4822 | 2.0018 | 0.0016571
1897 | 18.4922 | 4.0035 | 0.0033143
1898 | 18.5022 | 4.0035 | 0.0033143
1899 | 18.5122 | 6.0053 | 0.0049714
1900 | 18.5222 | 9.0079 | 0.0074572
1901 | 18.5322 | 5.0044 | 0.0041429
1902 | 18.5422 | 6.0053 | 0.0049714
1903 | 18.5522 | 5.0044 | 0.0041429
1904 | 18.5622 | 5.0044 | 0.0041429
1905 | 18.5722 | 8.0071 | 0.0066286
1906 | 18.5822 | 6.0053 | 0.0049714
1907 | 18.5922 | 5.0044 | 0.0041429
1908 | 18.6022 | 3.0026 | 0.0024857
1909 | 18.6122 | 5.0044 | 0.0041429
1910 | 18.6222 | 4.0035 | 0.0033143
1911 | 18.6322 | 3.0026 | 0.0024857
1912 | 18.6422 | 2.0018 | 0.0016571
1913 | 18.6522 | 2.0018 | 0.0016571
1914 | 18.6621 | 4.0035 | 0.0033143
1915 | 18.6721 | 5.0044 | 0.0041429
1916 | 18.6821 | 3.0026 | 0.0024857
1917 | 18.6921 | 5.0044 | 0.0041429
1918 | 18.7021 | 8.0071 | 0.0066286
1919 | 18.7121 | 3.0026 | 0.0024857
1920 | 18.7221 | 7.0062 | 0.0058
1921 | 18.7321 | 9.0079 | 0.0074571
1922 | 18.7421 | 6.0053 | 0.0049714
1923 | 18.7521 | 5.0044 | 0.0041429
1924 | 18.7621 | 4.0035 | 0.0033143
1925 | 18.7721 | 4.0035 | 0.0033143
1926 | 18.7821 | 4.0035 | 0.0033143
1927 | 18.7921 | 6.0053 | 0.0049714
1928 | 18.8021 | 6.0053 | 0.0049714
1929 | 18.8121 | 5.0044 | 0.0041429
1930 | 18.8221 | 2.0018 | 0.0016571
1931 | 18.8321 | 1.0009 | 0.00082857
1932 | 18.8421 | 3.0026 | 0.0024857
1933 | 18.8521 | 2.0018 | 0.0016571
1934 | 18.8621 | 5.0044 | 0.0041429
1935 | 18.8721 | 4.0035 | 0.0033143
1936 | 18.8821 | 3.0026 | 0.0024857
1937 | 18.8921 | 2.0018 | 0.0016571
1938 | 18.9021 | 3.0026 | 0.0024857
1939 | 18.9121 | 3.0026 | 0.0024857
1940 | 18.9221 | 6.0053 | 0.0049714
1941 | 18.9321 | 3.0026 | 0.0024857
1942 | 18.9421 | 4.0035 | 0.0033143
1943 | 18.9521 | 3.0026 | 0.0024857
1944 | 18.9621 | 4.0035 | 0.0033143
1945 | 18.9721 | 4.0035 | 0.0033143
1946 | 18.9821 | 3.0026 | 0.0024857
1947 | 18.9921 | 5.0044 | 0.0041429
1948 | 19.002 | 1.0009 | 0.00082857
1949 | 19.012 | 2.0018 | 0.0016571
1950 | 19.022 | 5.0044 | 0.0041429
1951 | 19.032 | 2.0018 | 0.0016571
1952 | 19.042 | 2.0018 | 0.0016571
1953 | 19.052 | 2.0018 | 0.0016571
1954 | 19.062 | 4.0035 | 0.0033143
1955 | 19.072 | 1.0009 | 0.00082857
1956 | 19.082 | 2.0018 | 0.0016571
1957 | 19.092 | 4.0035 | 0.0033143
1958 | 19.102 | 4.0035 | 0.0033143
1959 | 19.112 | 1.0009 | 0.00082857
1960 | 19.122 | 4.0035 | 0.0033143
1961 | 19.132 | 1.0009 | 0.00082857
1962 | 19.142 | 2.0018 | 0.0016571
1963 | 19.152 | 4.0035 | 0.0033143
1964 | 19.162 | 8.0071 | 0.0066286
1965 | 19.172 | 1.0009 | 0.00082857
1966 | 19.182 | 2.0018 | 0.0016571
1967 | 19.192 | 4.0035 | 0.0033143
1968 | 19.202 | 4.0035 | 0.0033143
1969 | 19.212 | 1.0009 | 0.00082857
1970 | 19.222 | 2.0018 | 0.0016571
1971 | 19.232 | 1.0009 | 0.00082857
1972 | 19.242 | 1.0009 | 0.00082857
1973 | 19.252 | 1.0009 | 0.00082857
1974 | 19.262 | 2.0018 | 0.0016571
1975 | 19.272 | 3.0026 | 0.0024857
1976 | 19.282 | 1.0009 | 0.00082857
1977 | 19.292 | 2.0018 | 0.0016571
1978 | 19.302 | 1.0009 | 0.00082857
1979 | 19.312 | 2.0018 | 0.0016571
1980 | 19.322 | 2.0018 | 0.0016571
1981 | 19.3319 | 1.0009 | 0.00082857
1982 | 19.3419 | 2.0018 | 0.0016571
1983 | 19.3519 | 3.0026 | 0.0024857
1984 | 19.3619 | 0 | 0
1985 | 19.3719 | 1.0009 | 0.00082857
1986 | 19.3819 | 4.0035 | 0.0033143
1987 | 19.3919 | 4.0035 | 0.0033143
1988 | 19.4019 | 3.0026 | 0.0024857
1989 | 19.4119 | 0 | 0
1990 | 19.4219 | 3.0026 | 0.0024857
1991 | 19.4319 | 2.0018 | 0.0016571
1992 | 19.4419 | 1.0009 | 0.00082857
1993 | 19.4519 | 2.0018 | 0.0016571
1994 | 19.4619 | 3.0026 | 0.0024857
1995 | 19.4719 | 1.0009 | 0.00082857
1996 | 19.4819 | 1.0009 | 0.00082857
1997 | 19.4919 | 0 | 0
1998 | 19.5019 | 1.0009 | 0.00082857
1999 | 19.5119 | 0 | 0
2000 | 19.5219 | 2.0018 | 0.0016571
2001 | 19.5319 | 1.0009 | 0.00082857
2002 | 19.5419 | 1.0009 | 0.00082857
2003 | 19.5519 | 0 | 0
2004 | 19.5619 | 2.0018 | 0.0016571
2005 | 19.5719 | 1.0009 | 0.00082857
2006 | 19.5819 | 0 | 0
2007 | 19.5919 | 2.0018 | 0.0016571
2008 | 19.6019 | 0 | 0
2009 | 19.6119 | 1.0009 | 0.00082857
2010 | 19.6219 | 0 | 0
2011 | 19.6319 | 1.0009 | 0.00082857
2012 | 19.6419 | 0 | 0
2013 | 19.6519 | 1.0009 | 0.00082857
2014 | 19.6618 | 0 | 0
2015 | 19.6718 | 1.0009 | 0.00082857
2016 | 19.6818 | 0 | 0
2017 | 19.6918 | 0 | 0
2018 | 19.7018 | 1.0009 | 0.00082857
2019 | 19.7118 | 1.0009 | 0.00082857
2020 | 19.7218 | 0 | 0
2021 | 19.7318 | 0 | 0
2022 | 19.7418 | 0 | 0
2023 | 19.7518 | 0 | 0
2024 | 19.7618 | 1.0009 | 0.00082857
2025 | 19.7718 | 0 | 0
2026 | 19.7818 | 0 | 0
2027 | 19.7918 | 0 | 0
2028 | 19.8018 | 1.0009 | 0.00082857
2029 | 19.8118 | 0 | 0
2030 | 19.8218 | 1.0009 | 0.00082857
2031 | 19.8318 | 0 | 0
2032 | 19.8418 | 1.0009 | 0.00082857
2033 | 19.8518 | 0 | 0
2034 | 19.8618 | 0 | 0
2035 | 19.8718 | 1.0009 | 0.00082857
2036 | 19.8818 | 0 | 0
2037 | 19.8918 | 1.0009 | 0.00082857
2038 | 19.9018 | 0 | 0
2039 | 19.9118 | 0 | 0
2040 | 19.9218 | 0 | 0
2041 | 19.9318 | 0 | 0
2042 | 19.9418 | 0 | 0
2043 | 19.9518 | 0 | 0
2044 | 19.9618 | 0 | 0
2045 | 19.9718 | 0 | 0
2046 | 19.9818 | 0 | 0
2047 | 19.9918 | 0 | 0